## BoQ1
Government eProcurement System Created By: Partha Saha Created Date/Time: 20-May-2025 03:44 PM Tender Title: AMC of E and M at Darbhanga Airport Tender ID: 2025_AAI_232335_1
Tender Inviting Authority: Airports Authority of India, Darbhanga Airport.
Name of Work: Annual Maintenance Contract of Electrical & Mechanical Installations of Terminal Building at Civil Enclave Airport, Darbhanga(For the year 2025-2026).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -846427 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -846596 |  | ANIL ELECTRICALS & CONTRACTORS (GSTN-NA) BID ID -846353 |  | SHIVAUR INFRASTRUCTURES AND PROJECT ENGINEERS PVT LTD (GSTN-NA) BID ID -846302 |  | ES SUPPORT PRIVATE LIMITED (GSTN-NA) BID ID -844472 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -846396
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | a) Providing Operation & Maintenance Services of Electrical and Mechanical Installations i.e. Fire Alarm system ,Automatic Sliding Door, lighting etc for Terminal Building, Power House i.e. Sub-Station, DG Sets, transformer etc, ancillary building of Office's & Canteen, PAPI Light, STP & Pump operation, Car Park Area, Street light etc covering the above scope of works only minor maintenance, preventive and breakdown maintenance, ensuring serviceability, satisfactory working condition of the system, preventive maintenance on daily, weekly, monthly, quarterly, half yearly and yearly basis, maintenance of records, documents etc. by engaging manpower round the clock basis and as per details mentioned in Special Condition of Contract. b) Providing Operation & Maintenance Services of GLF Electrical and Mechanical Installation i.e. PAPI, Runway lights, Approach, CCRs, ATC, DG set, UPS and E&M installations of Apron etc of operational area covering the above scope of words only minor maintenance, preventive and breakdown maintenance, ensuring serviceability, satisfactory working condition of the system, preventive maintenance on daily, weekly, records, documents etc, by engaging manpower round the clock basis and as per details mentioned in Special condition of Contract | 12.00 | Month | 529540.00 | 468500.00 | 5622000.00 | 490950.00 | 5891400.00 | 395000.00 | 4740000.00 | 335000.00 | 4020000.00 | 442368.00 | 5308416.00 | 488307.00 | 5859684.00 | 4020000.00 | SHIVAUR INFRASTRUCTURES AND PROJECT ENGINEERS PVT LTD
2.00 | Servicing, maintenance and testing of L & T make Air Circuit Breaker - 1000A complete as required. | 3.00 | Each | 10000.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 11000.00 | 33000.00 | 25000.00 | 75000.00 | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 6000.00 | ES SUPPORT PRIVATE LIMITED
3.00 | Servicing, maintenance and calibration of earth fault ,over load relay and under voltage complete as required. | 3.00 | Each | 8000.00 | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 6000.00 | 18000.00 | 15000.00 | 45000.00 | 2000.00 | 6000.00 | 1500.00 | 4500.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Servicing, maintenance and testing of 12 kV HT - Vacuum Circuit Breaker of L&T make type UNIVEX NX, complete as required. | 3.00 | Each | 15000.00 | 4000.00 | 12000.00 | 7000.00 | 21000.00 | 10000.00 | 30000.00 | 25000.00 | 75000.00 | 2000.00 | 6000.00 | 6000.00 | 18000.00 | 6000.00 | ES SUPPORT PRIVATE LIMITED
5.00 | Dehydration and filtration of transformer oil at site including testing for BDV before and after dehydration and filtration and submission of test reports etc. as required complete as required. | 1200.00 | Ltrs | 30.00 | 20.00 | 24000.00 | 11.00 | 13200.00 | 15.00 | 18000.00 | 550.00 | 660000.00 | 8.00 | 9600.00 | 15.00 | 18000.00 | 9600.00 | ES SUPPORT PRIVATE LIMITED
6.00 | Painting of Street light Poles of height more than 7 m and up to 9 m with one coat of primer and two coats of approved aluminium paint after scrubbing and cleaning the old paint complete from the existing surface. | 10.00 | Each | 1000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 800.00 | 8000.00 | 50000.00 | 500000.00 | 900.00 | 9000.00 | 850.00 | 8500.00 | 5000.00 | M/S AMAR ENTERPRISES, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Lifting and lowering of Underground Submersible Pump Motor set up to 7.5 HP installed at various locations of airport. | 1.00 | Job | 10000.00 | 7000.00 | 7000.00 | 1500.00 | 1500.00 | 6000.00 | 6000.00 | 75000.00 | 75000.00 | 4000.00 | 4000.00 | 6500.00 | 6500.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.00 | Supply and top up of transformer oil as per latest government specifications for transformer, AVR. | 100.00 | Ltrs | 250.00 | 210.00 | 21000.00 | 100.00 | 10000.00 | 15.00 | 1500.00 | 590.00 | 59000.00 | 150.00 | 15000.00 | 132.00 | 13200.00 | 1500.00 | ANIL ELECTRICALS & CONTRACTORS
9.00 | Supply and fixing of wall mounted 400 mm sweep fan suitable to work on single phase, 230V, 50 Hz AC supply. | 2.00 | Nos. | 3500.00 | 1600.00 | 3200.00 | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 5500.00 | 11000.00 | 1800.00 | 3600.00 | 3894.00 | 7788.00 | 3200.00 | M/S AMAR ENTERPRISES
10.00 | Decoration of Terminal building 16 days with minimum 27000 (60X450 nos tricolour style,LED decorative light on three occasions.
10.01 | Deepawali (10 days) | 10.00 | Nos | 6000.00 | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 1100.00 | 11000.00 | 10000.00 | 100000.00 | 1000.00 | 10000.00 | 5190.00 | 51900.00 | 10000.00 | ES SUPPORT PRIVATE LIMITED
10.02 | Republic day (03 days) | 3.00 | Nos | 6000.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 1100.00 | 3300.00 | 10000.00 | 30000.00 | 1000.00 | 3000.00 | 6472.00 | 19416.00 | 3000.00 | ES SUPPORT PRIVATE LIMITED
10.03 | Independence day (03 days) | 3.00 | Nos | 6000.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 1100.00 | 3300.00 | 10000.00 | 30000.00 | 1000.00 | 3000.00 | 6472.00 | 19416.00 | 3000.00 | ES SUPPORT PRIVATE LIMITED
11.00 | Supply of MCCB , 4 pole ,Havells Loadline GS MCCB, 10kA, Rated Current: 63 A or equivalent. | 2.00 | Nos. | 4000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 2100.00 | 4200.00 | 3200.00 | 6400.00 | 5000.00 | 10000.00 | 1580.00 | 3160.00 | 3160.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | L&T make 4 Pole Power Contactors 700amp MCX46 (2NO+2NC) or equivalent Rated Current: 700 Amps | 2.00 | Nos. | 95000.00 | 75000.00 | 150000.00 | 120000.00 | 240000.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 76780.00 | 153560.00 | 6000.00 | ES SUPPORT PRIVATE LIMITED
13.00 | L&T make 4 Pole Power Contactors 4 amp MCXO , 22E or equivalent Rated Current: 4 Amps | 2.00 | Nos. | 2000.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 1000.00 | 2000.00 | 866.00 | 1732.00 | 1732.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supply of MCCB , 4 pole ,Havells Loadline GS MCCB, 10kA, Rated Current: 63 A or equivalent. | 2.00 | Nos. | 3500.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 2100.00 | 4200.00 | 6500.00 | 13000.00 | 1000.00 | 2000.00 | 1580.00 | 3160.00 | 2000.00 | ES SUPPORT PRIVATE LIMITED
15.00 | Supply of MCCB , 4 pole ,Havells Loadline GS MCCB, 10kA, Rated Current: 100 A or equivalent. | 2.00 | Nos. | 4200.00 | 3000.00 | 6000.00 | 7500.00 | 15000.00 | 2600.00 | 5200.00 | 4500.00 | 9000.00 | 15000.00 | 30000.00 | 1841.00 | 3682.00 | 3682.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | SITC of Over voltage relay model CGV 24 C, make Crompton greaves. | 1.00 | Nos. | 7000.00 | 5000.00 | 5000.00 | 20000.00 | 20000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 9350.00 | 9350.00 | 1000.00 | ES SUPPORT PRIVATE LIMITED
17.00 | SITC of Over current relay model CGI 14 C, make Crompton greaves. | 3.00 | Nos. | 8000.00 | 6000.00 | 18000.00 | 11000.00 | 33000.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 1000.00 | 3000.00 | 9350.00 | 28050.00 | 3000.00 | ES SUPPORT PRIVATE LIMITED
18.00 | Supply LED panel indictor lamp aux supply 240VAC colour RED , suitable for installation in LT/HT panel. | 25.00 | Nos. | 250.00 | 200.00 | 5000.00 | 200.00 | 5000.00 | 100.00 | 2500.00 | 2900.00 | 72500.00 | 50.00 | 1250.00 | 94.00 | 2350.00 | 1250.00 | ES SUPPORT PRIVATE LIMITED
19.00 | Supply LED panel indictor lamp , aux supply 240VAC colour Yellow , suitable for installation in LT/HT panel. | 25.00 | Nos. | 250.00 | 300.00 | 7500.00 | 200.00 | 5000.00 | 100.00 | 2500.00 | 2900.00 | 72500.00 | 50.00 | 1250.00 | 94.00 | 2350.00 | 1250.00 | ES SUPPORT PRIVATE LIMITED
20.00 | Supply LED panel indictor lamp ,aux supply 240VAC colour blue, suitable for installation in LT/HT panel. | 25.00 | Nos. | 600.00 | 300.00 | 7500.00 | 200.00 | 5000.00 | 100.00 | 2500.00 | 2900.00 | 72500.00 | 50.00 | 1250.00 | 157.00 | 3925.00 | 1250.00 | ES SUPPORT PRIVATE LIMITED
21.00 | Supply LED panel indictor lamp ,aux supply 240VAC colour Green, suitable for installation in LT/HT panel. | 12.00 | Nos. | 250.00 | 250.00 | 3000.00 | 200.00 | 2400.00 | 100.00 | 1200.00 | 2900.00 | 34800.00 | 50.00 | 600.00 | 94.00 | 1128.00 | 600.00 | ES SUPPORT PRIVATE LIMITED
22.00 | Supply of inline exhaust fan ,high air Flow Industrial Air Purification Centrifugal Backward Tilting Exhaust Fan Centrifugal air Blower Radial Fans. Model RC 280 or equivalent | 3.00 | Nos. | 20000.00 | 16000.00 | 48000.00 | 15000.00 | 45000.00 | 8500.00 | 25500.00 | 30000.00 | 90000.00 | 1500.00 | 4500.00 | 10452.00 | 31356.00 | 4500.00 | ES SUPPORT PRIVATE LIMITED
23.00 | Supply of inline exhaust fan ,high air Flow Industrial Air Purification Centrifugal Backward Tilting Exhaust Fan Centrifugal air Blower Radial Fans. Model RC 250 or equivalent | 2.00 | Nos. | 20000.00 | 16000.00 | 32000.00 | 15000.00 | 30000.00 | 8500.00 | 17000.00 | 30000.00 | 60000.00 | 2000.00 | 4000.00 | 12727.00 | 25454.00 | 4000.00 | ES SUPPORT PRIVATE LIMITED
24.00 | Supply of GOGATE ELECTROSYSTEM make battery backed power pack 100VA rating with input 110V AC and out put 110 volt Dc, suitable for control supply of electrical panel. | 2.00 | Nos. | 15000.00 | 12000.00 | 24000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 14300.00 | 28600.00 | 8000.00 | ES SUPPORT PRIVATE LIMITED
25.00 | Supply of 25 KVAR heavy duty cylindrical capacitor, for 440 V, make- L&T , model-LTCCR325B2 or equivalent. | 2.00 | Nos. | 10000.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 17000.00 | 34000.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 8388.00 | 16776.00 | 10000.00 | ES SUPPORT PRIVATE LIMITED
26.00 | Supply of 15 KVAR heavy duty cylindrical capacitor, for 440 V, make- L&T , model-LTCCR325B2 or equivalent. | 2.00 | Nos. | 7500.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 16000.00 | 32000.00 | 15000.00 | 30000.00 | 4000.00 | 8000.00 | 5033.00 | 10066.00 | 8000.00 | ES SUPPORT PRIVATE LIMITED
27.00 | Supply of Ceiling fan capacitor of 4 microfarads suitable for 230V Ceiling fan. | 20.00 | Nos. | 350.00 | 80.00 | 1600.00 | 60.00 | 1200.00 | 3600.00 | 72000.00 | 450.00 | 9000.00 | 30.00 | 600.00 | 44.00 | 880.00 | 600.00 | ES SUPPORT PRIVATE LIMITED
28.00 | Supply of Plug Top of 06 ampre 3 pin as per approved make. | 10.00 | Nos. | 150.00 | 50.00 | 500.00 | 60.00 | 600.00 | 60.00 | 600.00 | 450.00 | 4500.00 | 50.00 | 500.00 | 53.00 | 530.00 | 500.00 | ES SUPPORT PRIVATE LIMITED, M/S AMAR ENTERPRISES
29.00 | Supply of Plug Top of 16 ampre 3 pin as per approved make. | 10.00 | Nos. | 200.00 | 90.00 | 900.00 | 80.00 | 800.00 | 160.00 | 1600.00 | 450.00 | 4500.00 | 40.00 | 400.00 | 68.00 | 680.00 | 400.00 | ES SUPPORT PRIVATE LIMITED
30.00 | Execution of works as per CPWD DSR (E&M) 2022 excluding GST for Rs.1,00,000.00 as and when required. Note for contractor: For 10% above contractor shall quote 1,00,000+10%= 1,10,000. Similarly for 10% below contractor shall quote 100000-10%= 90,000. | 1.00 | Job | 100000.00 | 70000.00 | 70000.00 | 80000.00 | 80000.00 | 75000.00 | 75000.00 | 120000.00 | 120000.00 | 100000.00 | 100000.00 | 90000.00 | 90000.00 | 70000.00 | M/S AMAR ENTERPRISES
| Total in Figures |  |  |  |  | 6220200.00 |  | 6641500.00 |  | 5201100.00 |  | 6358700.00 |  | 5577966.00 |  | 6451193.00
Lowest Amount Quoted BY: ANIL ELECTRICALS & CONTRACTORS(5201100.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of E and M at Darbhanga Airport Tender ID: 2025_AAI_232335_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIL ELECTRICALS & CONTRACTORS (BID ID -846353) | 5201100.00 | L1
| 2 | ES SUPPORT PRIVATE LIMITED (BID ID -844472) | 5577966.00 | L2
| 3 | M/S AMAR ENTERPRISES (BID ID -846427) | 6220200.00 | L3
| 4 | SHIVAUR INFRASTRUCTURES AND PROJECT ENGINEERS PVT LTD (BID ID -846302) | 6358700.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED (BID ID -846396) | 6451193.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (BID ID -846596) | 6641500.00 | L6