## BoQ1
Government eProcurement System Created By: AMIT JINDAL Created Date/Time: 11-Aug-2025 05:38 PM Tender Title: Construction of DVOR building and other associated work at Dehradun Airport Tender ID: 2025_AAI_232446_1
Tender Inviting Authority: AGM (Engg.-C), AAI, DEHRADUN AIRPORT
Name of Work: Construction of DVOR building and other associated work at Dehradun Airport.
Contract No: 2025_AAI_232446_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD (GSTN-19AAGCR6941N1ZN) BID ID -856910 |  | S K SINGHAL (GSTN-09AAYFS0724P1ZA) BID ID -858426 |  | M/s MB Enterprises (GSTN-07ABAFM8147M1ZV) BID ID -861575 |  | Fermium Constructions LLP (GSTN-06AADFF1864C1ZU) BID ID -861993 |  | FTTC PROJECTS PRIVATE LIMITED (GSTN-NA) BID ID -861300 |  | R K AND CO (GSTN-NA) BID ID -853437
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 3 KM and for all lift, as directed by Engineer-in- Charge: All kinds of soil | 3200.00 | sqm | 1.25 | 150.00 | 480000.00 | 110.00 | 352000.00 | 80.00 | 256000.00 | 250.00 | 800000.00 | 304.68 | 974976.00 | 90.00 | 288000.00 | 256000.00 | M/s MB Enterprises
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 3 KM and for all lift, as directed by Engineer-in-charge: All kinds of soil | 1740.00 | Cum | 1.25 | 150.00 | 261000.00 | 145.00 | 252300.00 | 100.00 | 174000.00 | 350.00 | 609000.00 | 338.91 | 589703.40 | 108.00 | 187920.00 | 174000.00 | M/s MB Enterprises
3.00 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 3KM : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 210.00 | Cum | 0.00 | 180.00 | 37800.00 | 300.00 | 63000.00 | 200.00 | 42000.00 | 300.00 | 63000.00 | 478.63 | 100512.30 | 180.00 | 37800.00 | 37800.00 | R K AND CO, RECHI CONSTRUCTION PVT LTD
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 3 KM and for all lift. | 2040.00 | Cum | 100.00 | 320.00 | 652800.00 | 140.00 | 285600.00 | 110.00 | 224400.00 | 500.00 | 1020000.00 | 353.71 | 721568.40 | 108.00 | 220320.00 | 220320.00 | R K AND CO
5.00 | Earth work in excavation by mechinical / manual means and supplying the excavated earth (including royalty) by mechanical transport and banking the excavated earth in layers not exceeding 20cm in depth, breaking clods, watering, rolling each layer with ½ tonne roller or wooden or steel rammers, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up in embankments for roads/ surrounding areas, flood banks, marginal banks and guide banks or filling up ground depressions. Note: The rate includes all lead and all lift involves in excavation, supplying, banking, filling : All kinds of soil | 11650.00 | Cum | 53.00 | 440.00 | 5126000.00 | 245.00 | 2854250.00 | 325.00 | 3786250.00 | 250.00 | 2912500.00 | 316.24 | 3684196.00 | 504.00 | 5871600.00 | 2854250.00 | S K SINGHAL
6.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 21.00 | Cum | 10.00 | 1800.00 | 37800.00 | 2500.00 | 52500.00 | 1450.00 | 30450.00 | 1000.00 | 21000.00 | 1500.00 | 31500.00 | 1800.00 | 37800.00 | 21000.00 | Fermium Constructions LLP
7.00 | Supplying, spreading and levelling of good earth (including royalty charges) including ramming and watering of the earth in layers not exceeding 20 cm within Airport premises, complete as directed by Engineer-in-Charge. Note: The rate includes all lead and all lift involves in supplying,spreding and levelling | 1790.00 | Cum | 11.00 | 490.00 | 877100.00 | 450.00 | 805500.00 | 540.00 | 966600.00 | 700.00 | 1253000.00 | 560.40 | 1003116.00 | 510.00 | 912900.00 | 805500.00 | S K SINGHAL
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 557.00 | Cum | 1.25 | 5500.00 | 3063500.00 | 5000.00 | 2785000.00 | 4500.00 | 2506500.00 | 5500.00 | 3063500.00 | 5449.60 | 3035427.20 | 4200.00 | 2339400.00 | 2339400.00 | R K AND CO
9.00 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately. Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer | 380.00 | Cum | 1.25 | 8000.00 | 3040000.00 | 7050.00 | 2679000.00 | 7050.00 | 2679000.00 | 7500.00 | 2850000.00 | 8878.76 | 3373928.80 | 8100.00 | 3078000.00 | 2679000.00 | S K SINGHAL, M/s MB Enterprises
10.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of joints in roads / pavements all complete as per direction of the Engineer-in-Charge. Using grade 'A' sealing compound conforming to IS: 1834. | 2010.00 | Per cm depth per cm width per metre length | 0.00 | 8.00 | 16080.00 | 12.00 | 24120.00 | 5.80 | 11658.00 | 40.00 | 80400.00 | 6.92 | 13909.20 | 5.60 | 11256.00 | 11256.00 | R K AND CO
11.00 | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | 200.00 | Per cm depth per cm width per metre length | 100.00 | 5.00 | 1000.00 | 15.00 | 3000.00 | 3.60 | 720.00 | 40.00 | 8000.00 | 4.24 | 848.00 | 4.50 | 900.00 | 720.00 | M/s MB Enterprises
12.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base /base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 380.00 | Cum | 53.00 | 2800.00 | 1064000.00 | 2375.00 | 902500.00 | 1800.00 | 684000.00 | 2000.00 | 760000.00 | 2185.73 | 830577.40 | 2690.00 | 1022200.00 | 684000.00 | M/s MB Enterprises
13.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 40.00 | Cum | 10.00 | 12000.00 | 480000.00 | 9000.00 | 360000.00 | 6550.00 | 262000.00 | 8000.00 | 320000.00 | 7588.20 | 303528.00 | 8100.00 | 324000.00 | 262000.00 | M/s MB Enterprises
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate derived from natural sources 20 mm nominal size derived from natural sources) | 190.00 | Cum | 11.00 | 6000.00 | 1140000.00 | 6200.00 | 1178000.00 | 5150.00 | 978500.00 | 6500.00 | 1235000.00 | 6302.80 | 1197532.00 | 6390.00 | 1214100.00 | 978500.00 | M/s MB Enterprises
15.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 140.00 | Cum | 1.25 | 7500.00 | 1050000.00 | 6900.00 | 966000.00 | 6250.00 | 875000.00 | 7000.00 | 980000.00 | 8079.04 | 1131065.60 | 7200.00 | 1008000.00 | 875000.00 | M/s MB Enterprises
16.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 50.00 | Cum | 1.25 | 8000.00 | 400000.00 | 6950.00 | 347500.00 | 6700.00 | 335000.00 | 7000.00 | 350000.00 | 8381.34 | 419067.00 | 8750.00 | 437500.00 | 335000.00 | M/s MB Enterprises
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 380.00 | Sqm | 0.00 | 350.00 | 133000.00 | 400.00 | 152000.00 | 265.00 | 100700.00 | 500.00 | 190000.00 | 313.72 | 119213.60 | 207.00 | 78660.00 | 78660.00 | R K AND CO
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 150.00 | Sqm | 100.00 | 700.00 | 105000.00 | 650.00 | 97500.00 | 470.00 | 70500.00 | 500.00 | 75000.00 | 741.80 | 111270.00 | 540.00 | 81000.00 | 70500.00 | M/s MB Enterprises
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls Under 20 cm wide | 100.00 | metre | 53.00 | 180.00 | 18000.00 | 400.00 | 40000.00 | 140.00 | 14000.00 | 700.00 | 70000.00 | 166.84 | 16684.00 | 180.00 | 18000.00 | 14000.00 | M/s MB Enterprises
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 170.00 | Sqm | 10.00 | 600.00 | 102000.00 | 650.00 | 110500.00 | 400.00 | 68000.00 | 500.00 | 85000.00 | 589.12 | 100150.40 | 450.00 | 76500.00 | 68000.00 | M/s MB Enterprises
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 180.00 | Sqm | 11.00 | 650.00 | 117000.00 | 650.00 | 117000.00 | 420.00 | 75600.00 | 500.00 | 90000.00 | 769.04 | 138427.20 | 685.00 | 123300.00 | 75600.00 | M/s MB Enterprises
22.00 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 360.00 | Sqm | 1.25 | 600.00 | 216000.00 | 650.00 | 234000.00 | 450.00 | 162000.00 | 3000.00 | 1080000.00 | 674.00 | 242640.00 | 615.00 | 221400.00 | 162000.00 | M/s MB Enterprises
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 19600.00 | Kg | 1.25 | 85.00 | 1666000.00 | 76.50 | 1499400.00 | 73.90 | 1448440.00 | 80.00 | 1568000.00 | 87.78 | 1720488.00 | 81.00 | 1587600.00 | 1448440.00 | M/s MB Enterprises
24.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 7200.00 | Kg | 0.00 | 88.00 | 633600.00 | 76.50 | 550800.00 | 73.90 | 532080.00 | 80.00 | 576000.00 | 87.78 | 632016.00 | 81.00 | 583200.00 | 532080.00 | M/s MB Enterprises
25.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 40.00 | Cum | 100.00 | 7000.00 | 280000.00 | 7500.00 | 300000.00 | 6500.00 | 260000.00 | 6500.00 | 260000.00 | 5705.80 | 228232.00 | 6300.00 | 252000.00 | 228232.00 | FTTC PROJECTS PRIVATE LIMITED
26.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 50.00 | Cum | 53.00 | 7500.00 | 375000.00 | 8000.00 | 400000.00 | 6500.00 | 325000.00 | 6500.00 | 325000.00 | 7284.76 | 364238.00 | 7200.00 | 360000.00 | 325000.00 | M/s MB Enterprises, Fermium Constructions LLP
27.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 20.00 | Sqm | 10.00 | 600.00 | 12000.00 | 1200.00 | 24000.00 | 1100.00 | 22000.00 | 900.00 | 18000.00 | 899.04 | 17980.80 | 72.00 | 1440.00 | 1440.00 | R K AND CO
28.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 20.00 | Sqm | 11.00 | 85.00 | 1700.00 | 100.00 | 2000.00 | 72.00 | 1440.00 | 100.00 | 2000.00 | 83.84 | 1676.80 | 85.00 | 1700.00 | 1440.00 | M/s MB Enterprises
29.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 70.00 | Sqm | 1.25 | 900.00 | 63000.00 | 1200.00 | 84000.00 | 1200.00 | 84000.00 | 1500.00 | 105000.00 | 950.96 | 66567.20 | 900.00 | 63000.00 | 63000.00 | R K AND CO, RECHI CONSTRUCTION PVT LTD
30.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 10.00 | Sqm | 1.25 | 3000.00 | 30000.00 | 4500.00 | 45000.00 | 2365.00 | 23650.00 | 3500.00 | 35000.00 | 2605.39 | 26053.90 | 3215.00 | 32150.00 | 23650.00 | M/s MB Enterprises
31.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Using R2 series with frame (40mm & above) x (40mm & above) & sash (25mm & above) x (50mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2 metre). | 5.00 | Sqm | 0.00 | 7000.00 | 35000.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 5000.00 | 25000.00 | 6224.14 | 31120.70 | 7615.00 | 38075.00 | 25000.00 | S K SINGHAL, Fermium Constructions LLP
32.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Fixed window / ventilator with mullion / transom. Using R2 series with frame (39mm & above ) x (39mm & above) & mullion (39mm & above) x (60mm & above). (Height upto 1.2 metre) | 5.00 | Sqm | 100.00 | 7000.00 | 35000.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 6000.00 | 30000.00 | 6574.05 | 32870.25 | 7810.00 | 39050.00 | 25000.00 | S K SINGHAL
33.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 8.00 | Nos | 53.00 | 200.00 | 1600.00 | 500.00 | 4000.00 | 205.00 | 1640.00 | 500.00 | 4000.00 | 227.44 | 1819.52 | 260.00 | 2080.00 | 1600.00 | RECHI CONSTRUCTION PVT LTD
34.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 8.00 | Nos | 10.00 | 100.00 | 800.00 | 250.00 | 2000.00 | 70.00 | 560.00 | 1000.00 | 8000.00 | 74.78 | 598.24 | 87.00 | 696.00 | 560.00 | M/s MB Enterprises
35.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 8.00 | Nos | 11.00 | 80.00 | 640.00 | 220.00 | 1760.00 | 45.00 | 360.00 | 1200.00 | 9600.00 | 48.53 | 388.24 | 56.00 | 448.00 | 360.00 | M/s MB Enterprises
36.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 20 mm dia | 20.00 | meter | 1.25 | 375.00 | 7500.00 | 500.00 | 10000.00 | 268.00 | 5360.00 | 4000.00 | 80000.00 | 294.94 | 5898.80 | 285.00 | 5700.00 | 5360.00 | M/s MB Enterprises
37.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 4.00 | Each | 1.25 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 765.00 | 3060.00 | 6000.00 | 24000.00 | 843.64 | 3374.56 | 1050.00 | 4200.00 | 3060.00 | M/s MB Enterprises
38.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 18.00 | Each | 1.25 | 100.00 | 1800.00 | 150.00 | 2700.00 | 45.00 | 810.00 | 5000.00 | 90000.00 | 49.69 | 894.42 | 61.00 | 1098.00 | 810.00 | M/s MB Enterprises
39.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 50.00 | 500.00 | 1000.00 | 10000.00 | 54.26 | 542.60 | 55.00 | 550.00 | 500.00 | M/s MB Enterprises
40.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 250.00 | Kg | 100.00 | 150.00 | 37500.00 | 130.00 | 32500.00 | 115.00 | 28750.00 | 180.00 | 45000.00 | 125.10 | 31275.00 | 135.00 | 33750.00 | 28750.00 | M/s MB Enterprises
41.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1080.00 | Kg | 53.00 | 120.00 | 129600.00 | 130.00 | 140400.00 | 117.50 | 126900.00 | 140.00 | 151200.00 | 129.45 | 139806.00 | 126.00 | 136080.00 | 126900.00 | M/s MB Enterprises
42.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 530.00 | Kg | 10.00 | 600.00 | 318000.00 | 600.00 | 318000.00 | 500.00 | 265000.00 | 800.00 | 424000.00 | 579.30 | 307029.00 | 650.00 | 344500.00 | 265000.00 | M/s MB Enterprises
43.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 20.00 | sqm | 11.00 | 900.00 | 18000.00 | 900.00 | 18000.00 | 900.00 | 18000.00 | 1200.00 | 24000.00 | 822.41 | 16448.20 | 950.00 | 19000.00 | 16448.20 | FTTC PROJECTS PRIVATE LIMITED
44.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 60.00 | sqm | 1.25 | 1000.00 | 60000.00 | 1400.00 | 84000.00 | 950.00 | 57000.00 | 1400.00 | 84000.00 | 1165.09 | 69905.40 | 1310.00 | 78600.00 | 57000.00 | M/s MB Enterprises
45.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 10.00 | sqm | 1.25 | 1200.00 | 12000.00 | 1600.00 | 16000.00 | 1000.00 | 10000.00 | 1400.00 | 14000.00 | 162.15 | 1621.50 | 1560.00 | 15600.00 | 1621.50 | FTTC PROJECTS PRIVATE LIMITED
46.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 50.00 | Mtr | 0.00 | 300.00 | 15000.00 | 400.00 | 20000.00 | 250.00 | 12500.00 | 600.00 | 30000.00 | 283.05 | 14152.50 | 310.00 | 15500.00 | 12500.00 | M/s MB Enterprises
47.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 20.00 | Nos | 100.00 | 130.00 | 2600.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 300.00 | 6000.00 | 112.76 | 2255.20 | 111.00 | 2220.00 | 2000.00 | M/s MB Enterprises
48.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 80.00 | Sqm | 53.00 | 900.00 | 72000.00 | 1500.00 | 120000.00 | 1400.00 | 112000.00 | 1400.00 | 112000.00 | 1016.85 | 81348.00 | 1210.00 | 96800.00 | 72000.00 | RECHI CONSTRUCTION PVT LTD
49.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 250.00 | Sqm | 10.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 270.00 | 67500.00 | 350.00 | 87500.00 | 257.74 | 64435.00 | 310.00 | 77500.00 | 64435.00 | FTTC PROJECTS PRIVATE LIMITED
50.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 250.00 | Sqm | 11.00 | 350.00 | 87500.00 | 350.00 | 87500.00 | 295.00 | 73750.00 | 400.00 | 100000.00 | 296.51 | 74127.50 | 345.00 | 86250.00 | 73750.00 | M/s MB Enterprises
51.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 250.00 | Sqm | 1.25 | 280.00 | 70000.00 | 250.00 | 62500.00 | 200.00 | 50000.00 | 300.00 | 75000.00 | 225.34 | 56335.00 | 280.00 | 70000.00 | 50000.00 | M/s MB Enterprises
52.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 280.00 | sqm | 1.25 | 150.00 | 42000.00 | 150.00 | 42000.00 | 140.00 | 39200.00 | 140.00 | 39200.00 | 120.45 | 33726.00 | 110.00 | 30800.00 | 30800.00 | R K AND CO
53.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two Coat | 360.00 | sqm | 0.00 | 120.00 | 43200.00 | 160.00 | 57600.00 | 125.00 | 45000.00 | 140.00 | 50400.00 | 107.10 | 38556.00 | 95.00 | 34200.00 | 34200.00 | R K AND CO
54.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 200.00 | Sqm | 100.00 | 160.00 | 32000.00 | 160.00 | 32000.00 | 110.00 | 22000.00 | 120.00 | 24000.00 | 169.69 | 33938.00 | 155.00 | 31000.00 | 22000.00 | M/s MB Enterprises
55.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 610.00 | Sqm | 53.00 | 120.00 | 73200.00 | 120.00 | 73200.00 | 80.00 | 48800.00 | 60.00 | 36600.00 | 117.04 | 71394.40 | 95.00 | 57950.00 | 36600.00 | Fermium Constructions LLP
56.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Nos | 10.00 | 5500.00 | 5500.00 | 10000.00 | 10000.00 | 4450.00 | 4450.00 | 10000.00 | 10000.00 | 4560.89 | 4560.89 | 5455.00 | 5455.00 | 4450.00 | M/s MB Enterprises
57.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Nos | 11.00 | 3300.00 | 3300.00 | 3500.00 | 3500.00 | 1520.00 | 1520.00 | 6000.00 | 6000.00 | 1854.20 | 1854.20 | 2100.00 | 2100.00 | 1520.00 | M/s MB Enterprises
58.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required: Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 1.00 | Nos | 1.25 | 3500.00 | 3500.00 | 8000.00 | 8000.00 | 3350.00 | 3350.00 | 6000.00 | 6000.00 | 3458.56 | 3458.56 | 4500.00 | 4500.00 | 3350.00 | M/s MB Enterprises
59.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 90.00 | Metre | 1.25 | 400.00 | 36000.00 | 280.00 | 25200.00 | 275.00 | 24750.00 | 500.00 | 45000.00 | 281.09 | 25298.10 | 310.00 | 27900.00 | 24750.00 | M/s MB Enterprises
60.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 32 mm nominal dia Pipes | 90.00 | Metre | 0.00 | 500.00 | 45000.00 | 260.00 | 23400.00 | 325.00 | 29250.00 | 600.00 | 54000.00 | 363.13 | 32681.70 | 465.00 | 41850.00 | 23400.00 | S K SINGHAL
61.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50 mm nominal dia Pipes | 280.00 | Metre | 100.00 | 800.00 | 224000.00 | 575.00 | 161000.00 | 400.00 | 112000.00 | 650.00 | 182000.00 | 555.98 | 155674.40 | 640.00 | 179200.00 | 112000.00 | M/s MB Enterprises
62.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 10.00 | Each | 53.00 | 530.00 | 5300.00 | 800.00 | 8000.00 | 400.00 | 4000.00 | 2000.00 | 20000.00 | 435.68 | 4356.80 | 550.00 | 5500.00 | 4000.00 | M/s MB Enterprises
63.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 32 mm nominal bore | 10.00 | Each | 10.00 | 550.00 | 5500.00 | 1000.00 | 10000.00 | 450.00 | 4500.00 | 2500.00 | 25000.00 | 482.72 | 4827.20 | 580.00 | 5800.00 | 4500.00 | M/s MB Enterprises
64.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore | 20.00 | Each | 11.00 | 800.00 | 16000.00 | 1250.00 | 25000.00 | 700.00 | 14000.00 | 3000.00 | 60000.00 | 718.66 | 14373.20 | 950.00 | 19000.00 | 14000.00 | M/s MB Enterprises
65.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 2.00 | Each | 1.25 | 400.00 | 800.00 | 2500.00 | 5000.00 | 350.00 | 700.00 | 3000.00 | 6000.00 | 354.76 | 709.52 | 450.00 | 900.00 | 700.00 | M/s MB Enterprises
66.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 2.00 | Each | 1.25 | 700.00 | 1400.00 | 3000.00 | 6000.00 | 550.00 | 1100.00 | 3500.00 | 7000.00 | 574.49 | 1148.98 | 760.00 | 1520.00 | 1100.00 | M/s MB Enterprises
67.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 5.00 | Each | 0.00 | 500.00 | 2500.00 | 2500.00 | 12500.00 | 390.00 | 1950.00 | 800.00 | 4000.00 | 402.01 | 2010.05 | 510.00 | 2550.00 | 1950.00 | M/s MB Enterprises
68.00 | Providing and Fixing health faucet of 'Jaquar'/Cera or approved equivalent make as per direction of Engineer-in-Charge. | 2.00 | Each | 100.00 | 800.00 | 1600.00 | 2500.00 | 5000.00 | 1175.00 | 2350.00 | 2500.00 | 5000.00 | 1327.62 | 2655.24 | 910.00 | 1820.00 | 1600.00 | RECHI CONSTRUCTION PVT LTD
69.00 | Providing and fixing of CP liquid soap container of Jaquar / Cera or approved equivalent make as per direction of Engineer In Charge. | 1.00 | Each | 53.00 | 250.00 | 250.00 | 1500.00 | 1500.00 | 1650.00 | 1650.00 | 4000.00 | 4000.00 | 1197.70 | 1197.70 | 2100.00 | 2100.00 | 250.00 | RECHI CONSTRUCTION PVT LTD
70.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | Each | 10.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 1100.00 | 1100.00 | 2000.00 | 2000.00 | 1125.57 | 1125.57 | 1485.00 | 1485.00 | 1000.00 | RECHI CONSTRUCTION PVT LTD
71.00 | Providing and fixing stainless steel toilet paper holder of 'Jaquar'/ Cera or approved equivalent make) fixed in position by means of C.P. screws and rawl pulgs embedded in the walls complete including cutting and making good the walls wherever reuired. | 1.00 | Each | 11.00 | 500.00 | 500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 1136.80 | 1136.80 | 910.00 | 910.00 | 500.00 | RECHI CONSTRUCTION PVT LTD
72.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 2.00 | Each | 1.25 | 100.00 | 200.00 | 300.00 | 600.00 | 80.00 | 160.00 | 500.00 | 1000.00 | 83.69 | 167.38 | 110.00 | 220.00 | 160.00 | M/s MB Enterprises
73.00 | Providing & fixing of 100mm dia SS grating complete as per direction of Engineer-In-Charge. | 3.00 | Each | 1.25 | 100.00 | 300.00 | 600.00 | 1800.00 | 275.00 | 825.00 | 1200.00 | 3600.00 | 138.04 | 414.12 | 310.00 | 930.00 | 300.00 | RECHI CONSTRUCTION PVT LTD
74.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Ltr | 0.00 | 15.00 | 15000.00 | 12.00 | 12000.00 | 8.00 | 8000.00 | 30.00 | 30000.00 | 7.70 | 7700.00 | 9.50 | 9500.00 | 7700.00 | FTTC PROJECTS PRIVATE LIMITED
75.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each | 100.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 18500.00 | 18500.00 | 12000.00 | 12000.00 | 18803.33 | 18803.33 | 21000.00 | 21000.00 | 12000.00 | Fermium Constructions LLP
76.00 | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete. | 290.00 | Sqm | 53.00 | 800.00 | 232000.00 | 750.00 | 217500.00 | 600.00 | 174000.00 | 500.00 | 145000.00 | 618.21 | 179280.90 | 760.00 | 220400.00 | 145000.00 | Fermium Constructions LLP
77.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm | 200.00 | Metre | 10.00 | 2350.00 | 470000.00 | 1000.00 | 200000.00 | 1600.00 | 320000.00 | 1500.00 | 300000.00 | 1873.59 | 374718.00 | 2350.00 | 470000.00 | 200000.00 | S K SINGHAL
78.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 6.00 | Nos | 11.00 | 18000.00 | 108000.00 | 25000.00 | 150000.00 | 16000.00 | 96000.00 | 16000.00 | 96000.00 | 18314.38 | 109886.28 | 2340.00 | 14040.00 | 14040.00 | R K AND CO
79.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 6.00 | Each | 1.25 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 1840.00 | 11040.00 | 3000.00 | 18000.00 | 1895.36 | 11372.16 | 2460.00 | 14760.00 | 11040.00 | M/s MB Enterprises
80.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge. External work PN - 10 Pipe, 50 mm OD (SDR-11) | 1080.00 | Metre | 1.25 | 500.00 | 540000.00 | 500.00 | 540000.00 | 530.00 | 572400.00 | 400.00 | 432000.00 | 406.07 | 438555.60 | 380.00 | 410400.00 | 410400.00 | R K AND CO
81.00 | Providing and fixing PPR Unions PPR Union 50mm | 10.00 | Each | 0.00 | 700.00 | 7000.00 | 1000.00 | 10000.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 547.47 | 5474.70 | 665.00 | 6650.00 | 2000.00 | Fermium Constructions LLP
82.00 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination as approved by Engineer-in-Charge, with necessary fixing arrangement and screws etc. complete. 12 mm thick. | 80.00 | Sqm | 100.00 | 1000.00 | 80000.00 | 3500.00 | 280000.00 | 750.00 | 60000.00 | 3000.00 | 240000.00 | 909.56 | 72764.80 | 1165.00 | 93200.00 | 60000.00 | M/s MB Enterprises
83.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 30.00 | Sqm | 53.00 | 1500.00 | 45000.00 | 2800.00 | 84000.00 | 1400.00 | 42000.00 | 2500.00 | 75000.00 | 1461.19 | 43835.70 | 1750.00 | 52500.00 | 42000.00 | M/s MB Enterprises
84.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 20.00 | Sqm | 10.00 | 1600.00 | 32000.00 | 3000.00 | 60000.00 | 1450.00 | 29000.00 | 2500.00 | 50000.00 | 1766.03 | 35320.60 | 2160.00 | 43200.00 | 29000.00 | M/s MB Enterprises
85.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.(Granite for white grey colour or Equivalent) Area of slab upto 0.50 sqm | 30.00 | Sqm | 11.00 | 2000.00 | 60000.00 | 4500.00 | 135000.00 | 3200.00 | 96000.00 | 5000.00 | 150000.00 | 3128.03 | 93840.90 | 5325.00 | 159750.00 | 60000.00 | RECHI CONSTRUCTION PVT LTD
86.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 100.00 | Kg | 1.25 | 550.00 | 55000.00 | 600.00 | 60000.00 | 335.00 | 33500.00 | 550.00 | 55000.00 | 371.29 | 37129.00 | 410.00 | 41000.00 | 33500.00 | M/s MB Enterprises
87.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 150.00 | Kg | 1.25 | 550.00 | 82500.00 | 650.00 | 97500.00 | 410.00 | 61500.00 | 550.00 | 82500.00 | 448.95 | 67342.50 | 515.00 | 77250.00 | 61500.00 | M/s MB Enterprises
88.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer in-charge. Pre-laminated particle board with decorative lamination on both sides | 10.00 | Sqm | 0.00 | 800.00 | 8000.00 | 3500.00 | 35000.00 | 760.00 | 7600.00 | 1200.00 | 12000.00 | 836.55 | 8365.50 | 1023.00 | 10230.00 | 7600.00 | M/s MB Enterprises
89.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 10.00 | Sqm | 100.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 800.00 | 8000.00 | 2500.00 | 25000.00 | 882.60 | 8826.00 | 900.00 | 9000.00 | 7000.00 | S K SINGHAL
90.00 | Providing and fixing factory made single extrude WPC(Wood Polymer Composite ) solid plain white color board for backing of cup boards and bathroom /kitchen cabinets etc. of required size comprising of virgin polymer of K value 58-60 (suspension Grade ), calcium carbonate and natural fibers (wood powder /rice husk /wheat husk ) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge) minimum compressive strength50 N\mm , modulus of elasticity 850 N/mm N/mm and resistance to spread of flame of Class A category with property of being termite /borer proof , water / moisture proof and fire retardent and fixing with stainless steel screws etc. all as per direction of Engineer-In- Charge . (Note: stainless steel screws shall be paid separately) (i) 12 mm thick | 30.00 | Sqm | 53.00 | 1800.00 | 54000.00 | 3500.00 | 105000.00 | 1150.00 | 34500.00 | 3000.00 | 90000.00 | 1283.33 | 38499.90 | 1590.00 | 47700.00 | 34500.00 | M/s MB Enterprises
91.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesive for cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additive (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/ mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel piano hinges/soft close clip on concealed hinges and necessary S.S screws shall be paid separately) 18 mm thick | 30.00 | Sqm | 10.00 | 2600.00 | 78000.00 | 4000.00 | 120000.00 | 2100.00 | 63000.00 | 3000.00 | 90000.00 | 2244.68 | 67340.40 | 2750.00 | 82500.00 | 63000.00 | M/s MB Enterprises
92.00 | Providing and mixing integral crystalline admixture for water proofing treatment to RCC structures like basement raft, retaining walls, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc. at the time of transporting of concrete into the drum of the ready-mix truck , using integral crystalline admixture @0.80% (minimum) to the weight of cement content per cubic meter of concrete) or higher as recommended by the manufacturer's specification in reinforced cement concrete at site of work. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e. by reducing permeability of concrete by more than 90%, compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure. The crystalline admixture shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the Engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. | 100.00 | Kg | 11.00 | 330.00 | 33000.00 | 500.00 | 50000.00 | 265.00 | 26500.00 | 300.00 | 30000.00 | 291.00 | 29100.00 | 345.00 | 34500.00 | 26500.00 | M/s MB Enterprises
93.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 100.00 | Sqm | 10.00 | 410.00 | 41000.00 | 1500.00 | 150000.00 | 385.00 | 38500.00 | 450.00 | 45000.00 | 422.33 | 42233.00 | 450.00 | 45000.00 | 38500.00 | M/s MB Enterprises
94.00 | Providing and fixing soil, waste and vent pipes : 110 mm dia- Type B SWR pipe 6 kg pressure | 210.00 | Mtr | 11.00 | 250.00 | 52500.00 | 500.00 | 105000.00 | 400.00 | 84000.00 | 600.00 | 126000.00 | 507.50 | 106575.00 | 1530.00 | 321300.00 | 52500.00 | RECHI CONSTRUCTION PVT LTD
95.00 | Providing and fixing SWR bend of required degree with access door, insertion rubber washer 3 mm thick, solvent, bolts and nuts complete. 110 mm dia | 10.00 | Nos | 1.25 | 60.00 | 600.00 | 400.00 | 4000.00 | 95.00 | 950.00 | 300.00 | 3000.00 | 245.00 | 2450.00 | 1530.00 | 15300.00 | 600.00 | RECHI CONSTRUCTION PVT LTD
96.00 | Providing the services of JCB with Driver and all necessary T&P saftey tools etc. complete as per the directions of EIC. | 120.00 | Hours | 1.25 | 1200.00 | 144000.00 | 1100.00 | 132000.00 | 1350.00 | 162000.00 | 1100.00 | 132000.00 | 1740.00 | 208800.00 | 900.00 | 108000.00 | 108000.00 | R K AND CO
97.00 | Providing (Crane/Hydra) of capacity 15-17 Ton with boom not less than 50 feet for erection of Steel Structure at site minimum eight working hours per day i/c the cost of driver, diesel and other maintenance as per direction of Engineer-in-charge. | 80.00 | Hours | 0.00 | 2500.00 | 200000.00 | 1200.00 | 96000.00 | 6500.00 | 520000.00 | 1200.00 | 96000.00 | 1856.00 | 148480.00 | 27000.00 | 2160000.00 | 96000.00 | S K SINGHAL, Fermium Constructions LLP
98.00 | Providing the services of labour (unskilled) for with all necessary T&P saftey tools etc. complete as per the directions of EIC. | 240.00 | Day | 100.00 | 700.00 | 168000.00 | 900.00 | 216000.00 | 620.00 | 148800.00 | 700.00 | 168000.00 | 627.56 | 150614.40 | 650.00 | 156000.00 | 148800.00 | M/s MB Enterprises
99.00 | Survey with high precise Total Station instrument for newly DVOR Building along with officials of revenue department of state govt. Provision of two number MUV vehicles for transportation of personal and material, Supply of ample manpower to assist the team of officials like arrangement of total station equipment, provision of measurement tapes/chain, wooden pegs and manpower for holding chain /measurement tapes, provision of temporary wooden pegs and permanent pegs with flags/ranging rods, etc. all complete as per direction of Engineer In charge. | 8.00 | Day | 53.00 | 10000.00 | 80000.00 | 2000.00 | 16000.00 | 20000.00 | 160000.00 | 10000.00 | 80000.00 | 9280.00 | 74240.00 | 19650.00 | 157200.00 | 16000.00 | S K SINGHAL
100.00 | Providing the services of extra labour for Survey (semi skilled) with all necessary T&P saftey tools etc. complete as per the directions of EIC. | 50.00 | Day | 10.00 | 800.00 | 40000.00 | 700.00 | 35000.00 | 650.00 | 32500.00 | 1000.00 | 50000.00 | 733.12 | 36656.00 | 860.00 | 43000.00 | 32500.00 | M/s MB Enterprises
101.00 | Supplying Welder with Welding Machine Gas for various welding works i/c all accessories and material as per direction of Engineer-in-charge. | 3.00 | Day | 11.00 | 3000.00 | 9000.00 | 1100.00 | 3300.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 1450.00 | 4350.00 | 2160.00 | 6480.00 | 3300.00 | S K SINGHAL
102.00 | Supplying Welder with Welding Machine Arc for various welding works i/c all accessories and material as per direction of Engineer-in-charge. | 7.00 | Day | 100.00 | 3200.00 | 22400.00 | 1200.00 | 8400.00 | 1500.00 | 10500.00 | 3000.00 | 21000.00 | 1392.00 | 9744.00 | 1100.00 | 7700.00 | 7700.00 | R K AND CO
103.00 | Providing and fixing 12mm x 150 mm anchor with chemical grouting minimum anchoring depth of 100mm with chemical @ 7 ML complete including drilling in RCC and all other consumables/ materials required during installation as per the direction of Engineer-in-charge. (HILTI/WUERTH/FISCHER makes only) | 150.00 | Nos | 53.00 | 150.00 | 22500.00 | 350.00 | 52500.00 | 450.00 | 67500.00 | 600.00 | 90000.00 | 672.80 | 100920.00 | 80.00 | 12000.00 | 12000.00 | R K AND CO
104.00 | Preparation and submission of detailed structral design and drawings of DVOR building etc. complete as per scope of work including vetting through NIT/govt. institute as per direction of Engineer-In-Charge | 1.00 | Job | 10.00 | 125000.00 | 125000.00 | 150000.00 | 150000.00 | 110000.00 | 110000.00 | 500000.00 | 500000.00 | 393410.79 | 393410.79 | 169573.00 | 169573.00 | 110000.00 | M/s MB Enterprises
105.00 | Supply of 1.5TR capacity inverter type split AC 5 star BEE rating with High EER Rotary compressor operating on R410A refrigerant with minimum EER of 4.5, Noise level < 35db, with stablilizer free operation on power supply of 230V, 50Hz at single phase with 1 year warranty on AC and extended warranty on compressor as per OEM. The condensor & evaporater coil shall be 100% copper and shall be supplied with all the accessories like remote control, connecting pipes, wire as per OEM. | 9.00 | Each | 10.00 | 45000.00 | 405000.00 | 46500.00 | 418500.00 | 33470.00 | 301230.00 | 75000.00 | 675000.00 | 36400.00 | 327600.00 | 38035.00 | 342315.00 | 301230.00 | M/s MB Enterprises
106.00 | Installation, testing & commissioning of 1.5 Ton Split A/C's i/c mounting of indoor unit & outdoor unit with supply & fixing of outdoor stand at their respective locations , laying refrigerant pipeline (concealed / on surfcae as directed by E-I-C) & insulation upto standard length on surface/ recess as required, connecting both the units , leak testing of entire system, connecting both indoor and outdoor units with three core 2.5 sq mm PVC insulated flexible copper(Cable supplied by AAI) as per manufacturer's guidelines etc as required. | 9.00 | Job | 22.00 | 5500.00 | 49500.00 | 5000.00 | 45000.00 | 1423.00 | 12807.00 | 3000.00 | 27000.00 | 6650.00 | 59850.00 | 1618.00 | 14562.00 | 12807.00 | M/s MB Enterprises
107.00 | Providing & fixing of suitable size Copper Refrigerant piping(Supply & Return) for 1.5 Tr inverter type AC suitable for R410A/R32 type refrigerent on surface or in recess i/c chase cutting & backfilling with expanded polythene foam/Nitrile rubber insulation tubing covering with Aluminum foil tape on exposed pipe for Split type airconditioners etc as required. (Measurement of 1 r.mtr.will include both supply & return Cu. Piping with insulation excluding standard length supplied by OEM with AC unit). | 50.00 | Meter | 0.00 | 2200.00 | 110000.00 | 600.00 | 30000.00 | 652.00 | 32600.00 | 10000.00 | 500000.00 | 1575.00 | 78750.00 | 741.00 | 37050.00 | 30000.00 | S K SINGHAL
108.00 | Supply of 3 x 2.5 sqmm size & 1.1 KV grade FR PVC round sheathed copper (flexible) conductor unarmoured cable conforming to IS:694 with up to date ammendments in the existing conduit /pipe/raceway /on surface as required (Measurement excluding standard length supplied by OEM with i/d unit). | 100.00 | Meter | 10.00 | 190.00 | 19000.00 | 140.00 | 14000.00 | 122.00 | 12200.00 | 150.00 | 15000.00 | 192.50 | 19250.00 | 139.00 | 13900.00 | 12200.00 | M/s MB Enterprises
109.00 | Providing & fixing of 20mm dia rigid uPVC( ISI marked) piping complete with fittings and concealed in wall/clamping on surface and repairing of wall as per site condition/requirement. | 25.00 | Meter | 22.00 | 25.00 | 625.00 | 90.00 | 2250.00 | 25.00 | 625.00 | 100.00 | 2500.00 | 45.50 | 1137.50 | 28.00 | 700.00 | 625.00 | RECHI CONSTRUCTION PVT LTD, M/s MB Enterprises
110.00 | Supply of LED Street Light fixture having system lumen output not less than 4500 Lumens with system efficacy of not less than 110 lumens per watt, made of high pressure die cast Aluminium/ standard alloy housing, toughened glass protector complying to tender specifications complete with electronic driver and accessories etc suitable for outdoor applications. (Similar to Halonix make, Cat no: HLSLD-09-45-CWL-R or equivalent) | 6.00 | Each | 1.00 | 2600.00 | 15600.00 | 4500.00 | 27000.00 | 3278.00 | 19668.00 | 5000.00 | 30000.00 | 2485.00 | 14910.00 | 3726.00 | 22356.00 | 14910.00 | FTTC PROJECTS PRIVATE LIMITED
111.00 | Providing & fixing single arm bracket made of 32/40 mm dia. B-Class GI pipe (Appox length 1 mtr) suitable for supplied street light fixture i/c clamping, fastners etc. as per site requirement and direction of E-I-C. | 6.00 | Job | 22.00 | 220.00 | 1320.00 | 1500.00 | 9000.00 | 660.00 | 3960.00 | 800.00 | 4800.00 | 2275.00 | 13650.00 | 752.00 | 4512.00 | 1320.00 | RECHI CONSTRUCTION PVT LTD
112.00 | Supply of 600mmx600mm LED panel indoor recessed mounting type with high efficiency PMMA diffuser, fabricated with CRCA sheet steel housing duly powder coated having system lumen output not less than 3600 Lumens & integrated electronic driver with minimum system efficacy of 100 lm/W complying to tender specifications complete with all accessories. (Similar to Halonix make, Cat no-HLFPR22-27-36-WC-HL2 or equivalent as per AAI preferred make list) | 5.00 | Each | 0.00 | 7000.00 | 35000.00 | 2400.00 | 12000.00 | 3223.00 | 16115.00 | 2200.00 | 11000.00 | 8540.00 | 42700.00 | 3663.00 | 18315.00 | 11000.00 | Fermium Constructions LLP
113.00 | Supply of 600mmx600mm LED panel indoor surface mounting type with high efficiency PMMA diffuser, fabricated with CRCA sheet steel housing duly powder coated having system lumen output not less than 3600 Lumens & integrated electronic driver with minimum system efficacy of 100 lm/W complying to tender specifications complete with all accessories. [Similar to Halonix make, Cat no- HLFPS22-02-36-CW-R or equivalent as per AAI preferred makes list] | 12.00 | Each | 10.00 | 7000.00 | 84000.00 | 2800.00 | 33600.00 | 3095.00 | 37140.00 | 2400.00 | 28800.00 | 8540.00 | 102480.00 | 3518.00 | 42216.00 | 28800.00 | Fermium Constructions LLP
114.00 | Supply of Round LED downlighter for outdoor application surface mounting having high efficiency PMMA diffuser/Specially designed flat opal diffuser fixed to housing made of pressure die cast aluminium housing & integrated electronic driver with system lumen output not less than 900 Lumens with efficacy of 100lm/W complying to tender specifications complete with all accessories. [Similar to Halonix make, Cat no- HLDLS-R27-09-CW or equivalent as per AAI preferred makes list] | 5.00 | Each | 22.00 | 600.00 | 3000.00 | 750.00 | 3750.00 | 868.00 | 4340.00 | 1200.00 | 6000.00 | 595.00 | 2975.00 | 986.00 | 4930.00 | 2975.00 | FTTC PROJECTS PRIVATE LIMITED
115.00 | Supply & installation of single dome LED aviation light with Die-cast aluminum housing with Red polycarbonate dome for better illumination, Integral driver suitable for outdoor applications, complete as per technical specifications complete with all accessories. [Similar to Bajaj make, Cat no- BGAV 302 LED or equivalent as per AAI preferred makes list] | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 1800.00 | 7200.00 | 4833.00 | 19332.00 | 15000.00 | 60000.00 | 4690.00 | 18760.00 | 5493.00 | 21972.00 | 7200.00 | S K SINGHAL
116.00 | Supply of hand held rechargable portable 10W LED emergency light with ABS plastic body with minimum 6 hours battery backup, 3.7V-1200 mAh Lithium-ion battery and charging lead complete with all accessories. [Similar to Havells make, Cat no- LHEXTDPGEN1K010 or equivalent] | 2.00 | Each | 22.00 | 780.00 | 1560.00 | 500.00 | 1000.00 | 1356.00 | 2712.00 | 5000.00 | 10000.00 | 1995.00 | 3990.00 | 1541.00 | 3082.00 | 1000.00 | S K SINGHAL
117.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.85, Air delivery minimum 215 CMM, 350 RPM (tolerance as per IS : 3742019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 3.00 | Each | 0.00 | 5600.00 | 16800.00 | 2500.00 | 7500.00 | 3760.00 | 11280.00 | 4000.00 | 12000.00 | 1911.00 | 5733.00 | 4272.00 | 12816.00 | 5733.00 | FTTC PROJECTS PRIVATE LIMITED
118.00 | Supply & installation of Wall bracket fan of 400 mm sweep,1300-1400 RPM suitable for operation on 230 V, 50 Hz A.C. supply complete with pull cord control for speed & oscillation on & off , copper wound motor, double ball bearing, blades, outer cage for protection, capacitor etc. complete as required. (Similar to Havells make Cat no: - Swing or eqvi preferred make list of AAI) | 3.00 | Each | 10.00 | 2600.00 | 7800.00 | 3000.00 | 9000.00 | 2222.00 | 6666.00 | 3500.00 | 10500.00 | 2555.00 | 7665.00 | 2525.00 | 7575.00 | 6666.00 | M/s MB Enterprises
119.00 | Supply of 300mm sweep 1400 RPM heavy duty exhaust fan suitable for operation on 220V, 50Hz, Single Phase AC Supply with all accessories such as, motor, blade, MS Powder Coated louvre shutter, capacitor etc. including all fixing accessories as required. (Similar to Havells make Cat no: - Turbo Force or eqvi preferred make list of AAI) | 1.00 | Each | 22.00 | 1780.00 | 1780.00 | 4500.00 | 4500.00 | 3123.00 | 3123.00 | 4000.00 | 4000.00 | 2065.00 | 2065.00 | 3549.00 | 3549.00 | 1780.00 | RECHI CONSTRUCTION PVT LTD
120.00 | Supply of 200mm sweep modular type plastic body exhaust fan suitable for 230/240 volts, 50 hz, single phase A.C. supply with all accessories including louvers, shutters, etc. as required. (Similar to Havells make Cat no: - Ventil Air Dx or eqvi preferred make list of AAI) | 2.00 | Each | 0.00 | 1600.00 | 3200.00 | 2000.00 | 4000.00 | 1376.00 | 2752.00 | 2000.00 | 4000.00 | 1960.00 | 3920.00 | 1519.00 | 3038.00 | 2752.00 | M/s MB Enterprises
121.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings/ fixtures of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 31.00 | Each | 1.00 | 140.00 | 4340.00 | 300.00 | 9300.00 | 92.40 | 2864.40 | 400.00 | 12400.00 | 105.00 | 3255.00 | 105.00 | 3255.00 | 2864.40 | M/s MB Enterprises
122.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings/ fixtures of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 3.00 | Each | 1.00 | 140.00 | 420.00 | 400.00 | 1200.00 | 122.16 | 366.48 | 400.00 | 1200.00 | 105.00 | 315.00 | 207.00 | 621.00 | 315.00 | FTTC PROJECTS PRIVATE LIMITED
123.00 | Installation of exhaust fan in the existing opening, including gravity louver made of GI sheet & making good the damage, connection, testing, commissioning etc. as required. Upto 450mm sweep | 3.00 | Each | 10.00 | 400.00 | 1200.00 | 400.00 | 1200.00 | 405.00 | 1215.00 | 400.00 | 1200.00 | 105.00 | 315.00 | 460.00 | 1380.00 | 315.00 | FTTC PROJECTS PRIVATE LIMITED
124.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 35.00 | Point | 22.00 | 400.00 | 14000.00 | 1221.00 | 42735.00 | 925.00 | 32375.00 | 2000.00 | 70000.00 | 710.50 | 24867.50 | 1051.00 | 36785.00 | 14000.00 | RECHI CONSTRUCTION PVT LTD
125.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 8.00 | Point | 0.00 | 400.00 | 3200.00 | 1244.00 | 9952.00 | 575.00 | 4600.00 | 2500.00 | 20000.00 | 454.30 | 3634.40 | 655.00 | 5240.00 | 3200.00 | RECHI CONSTRUCTION PVT LTD
126.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
126.10 | 2 X 1.5sqmm + 1X 1.5sqmm earth wire | 100.00 | Meter | 22.00 | 75.00 | 7500.00 | 327.00 | 32700.00 | 210.00 | 21000.00 | 350.00 | 35000.00 | 163.10 | 16310.00 | 240.00 | 24000.00 | 7500.00 | RECHI CONSTRUCTION PVT LTD
126.20 | 2 X 2.5sqmm + 1X 2.5sqmm earth wire | 100.00 | Meter | 0.00 | 120.00 | 12000.00 | 369.00 | 36900.00 | 260.00 | 26000.00 | 400.00 | 40000.00 | 192.50 | 19250.00 | 293.00 | 29300.00 | 12000.00 | RECHI CONSTRUCTION PVT LTD
126.30 | 2 X 4sqmm + 1X 4sqmm earth wire | 150.00 | Meter | 10.00 | 165.00 | 24750.00 | 428.00 | 64200.00 | 322.00 | 48300.00 | 450.00 | 67500.00 | 233.80 | 35070.00 | 366.00 | 54900.00 | 24750.00 | RECHI CONSTRUCTION PVT LTD
126.40 | 4 X 4sqmm + 2X 4sqmm earth wire | 50.00 | Meter | 22.00 | 210.00 | 10500.00 | 677.00 | 33850.00 | 525.00 | 26250.00 | 900.00 | 45000.00 | 375.90 | 18795.00 | 596.00 | 29800.00 | 10500.00 | RECHI CONSTRUCTION PVT LTD
127.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required.
127.10 | 1 X 1.5sqmm | 50.00 | Meter | 0.00 | 1100.00 | 55000.00 | 45.00 | 2250.00 | 49.00 | 2450.00 | 50.00 | 2500.00 | 31.50 | 1575.00 | 46.00 | 2300.00 | 1575.00 | FTTC PROJECTS PRIVATE LIMITED
127.20 | 2 X 1.5sqmm | 50.00 | Meter | 1.00 | 2100.00 | 105000.00 | 70.00 | 3500.00 | 65.00 | 3250.00 | 100.00 | 5000.00 | 49.00 | 2450.00 | 73.00 | 3650.00 | 2450.00 | FTTC PROJECTS PRIVATE LIMITED
127.30 | 3 X 1.5sqmm | 50.00 | Meter | 22.00 | 75.00 | 3750.00 | 95.00 | 4750.00 | 88.00 | 4400.00 | 150.00 | 7500.00 | 66.50 | 3325.00 | 100.00 | 5000.00 | 3325.00 | FTTC PROJECTS PRIVATE LIMITED
127.40 | 2 X 4sqmm | 50.00 | Meter | 0.00 | 110.00 | 5500.00 | 160.00 | 8000.00 | 145.00 | 7250.00 | 200.00 | 10000.00 | 102.90 | 5145.00 | 165.00 | 8250.00 | 5145.00 | FTTC PROJECTS PRIVATE LIMITED
127.50 | 6 X 4sqmm | 50.00 | Meter | 10.00 | 330.00 | 16500.00 | 550.00 | 27500.00 | 398.00 | 19900.00 | 500.00 | 25000.00 | 277.20 | 13860.00 | 452.00 | 22600.00 | 13860.00 | FTTC PROJECTS PRIVATE LIMITED
128.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 48.00 | Each | 22.00 | 500.00 | 24000.00 | 586.00 | 28128.00 | 616.00 | 29568.00 | 600.00 | 28800.00 | 410.20 | 19689.60 | 700.00 | 33600.00 | 19689.60 | FTTC PROJECTS PRIVATE LIMITED
129.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
129.10 | 5/6 A switch | 10.00 | Each | 0.00 | 45.00 | 450.00 | 250.00 | 2500.00 | 84.00 | 840.00 | 200.00 | 2000.00 | 72.10 | 721.00 | 95.00 | 950.00 | 450.00 | RECHI CONSTRUCTION PVT LTD
129.20 | 15/16 A switch | 10.00 | Each | 1.00 | 70.00 | 700.00 | 350.00 | 3500.00 | 145.00 | 1450.00 | 300.00 | 3000.00 | 109.20 | 1092.00 | 164.00 | 1640.00 | 700.00 | RECHI CONSTRUCTION PVT LTD
129.30 | 6 pin 15/16 A socket outlet | 10.00 | Each | 1.00 | 150.00 | 1500.00 | 450.00 | 4500.00 | 208.00 | 2080.00 | 350.00 | 3500.00 | 137.90 | 1379.00 | 237.00 | 2370.00 | 1379.00 | FTTC PROJECTS PRIVATE LIMITED
130.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
130.10 | 25mm | 50.00 | Meter | 0.00 | 30.00 | 1500.00 | 150.00 | 7500.00 | 130.00 | 6500.00 | 100.00 | 5000.00 | 101.50 | 5075.00 | 148.00 | 7400.00 | 1500.00 | RECHI CONSTRUCTION PVT LTD
130.20 | 32mm | 50.00 | Meter | 1.00 | 38.00 | 1900.00 | 175.00 | 8750.00 | 170.00 | 8500.00 | 150.00 | 7500.00 | 128.80 | 6440.00 | 193.00 | 9650.00 | 1900.00 | RECHI CONSTRUCTION PVT LTD
131.00 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc, as required.
131.10 | 75 mm X 75 mm X 60 mm deep | 5.00 | Each | 0.00 | 80.00 | 400.00 | 500.00 | 2500.00 | 185.00 | 925.00 | 200.00 | 1000.00 | 124.60 | 623.00 | 208.00 | 1040.00 | 400.00 | RECHI CONSTRUCTION PVT LTD
131.20 | 150 mm X 75 mm X 60 mm deep | 5.00 | Each | 0.00 | 130.00 | 650.00 | 600.00 | 3000.00 | 230.00 | 1150.00 | 300.00 | 1500.00 | 151.20 | 756.00 | 261.00 | 1305.00 | 650.00 | RECHI CONSTRUCTION PVT LTD
132.00 | Supplying and fixing following way horizontal type three pole and neutral(TPN), sheet steel, MCB Per Phase Isolation (PPI) distribution board, IP-43, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder coated including earthing etc.. as required. (But without MCB/RCCB/Isolator)
132.10 | 6 way (8+6+18), Double Door | 2.00 | Each | 0.00 | 3200.00 | 6400.00 | 10000.00 | 20000.00 | 7510.00 | 15020.00 | 10000.00 | 20000.00 | 151.20 | 302.40 | 8536.00 | 17072.00 | 302.40 | FTTC PROJECTS PRIVATE LIMITED
133.00 | Supplying and fixing following way, single pole and neutral(SPN), sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
133.10 | 12 way, Double Door | 3.00 | Each | 0.00 | 2400.00 | 7200.00 | 8000.00 | 24000.00 | 2744.00 | 8232.00 | 3500.00 | 10500.00 | 1620.50 | 4861.50 | 3119.00 | 9357.00 | 4861.50 | FTTC PROJECTS PRIVATE LIMITED
134.00 | Supplying and fixing 5 A to 32 A rating, 240 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
134.10 | Single Pole and Neutral | 48.00 | Each | 0.00 | 180.00 | 8640.00 | 250.00 | 12000.00 | 790.00 | 37920.00 | 200.00 | 9600.00 | 419.30 | 20126.40 | 898.00 | 43104.00 | 8640.00 | RECHI CONSTRUCTION PVT LTD
134.20 | Double pole | 3.00 | Each | 1.00 | 550.00 | 1650.00 | 1400.00 | 4200.00 | 805.00 | 2415.00 | 800.00 | 2400.00 | 459.20 | 1377.60 | 915.00 | 2745.00 | 1377.60 | FTTC PROJECTS PRIVATE LIMITED
135.00 | Supplying and fixing following rating Double pole, 240 V, 10kA "C" curve miniature circuit breaker in the existing MCB DB complete with connection, testing and commissioning etc. as required.
135.10 | 63A Rating | 2.00 | Each | 0.00 | 750.00 | 1500.00 | 300.00 | 600.00 | 1315.00 | 2630.00 | 900.00 | 1800.00 | 368.90 | 737.80 | 1494.00 | 2988.00 | 600.00 | S K SINGHAL
135.20 | 40 A Rating | 1.00 | Each | 1.00 | 550.00 | 550.00 | 275.00 | 275.00 | 1218.00 | 1218.00 | 900.00 | 900.00 | 304.50 | 304.50 | 1384.00 | 1384.00 | 275.00 | S K SINGHAL
136.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
136.10 | 40 A | 9.00 | Each | 0.00 | 1700.00 | 15300.00 | 1000.00 | 9000.00 | 2965.00 | 26685.00 | 3200.00 | 28800.00 | 2170.00 | 19530.00 | 3369.00 | 30321.00 | 9000.00 | S K SINGHAL
137.00 | Supply,fixing of Modular type, 2-Pole encapsulated Surge Protection Device(SPD) Class-C operating on nominal voltage of 230V, 50 Hz with 40KA @ nominal dischage current(8/20µs impulse) with less than 5 ns response time conforming to IEC 61643-1/62305/UL-1449-3 with visual indicator flag & backup fuse protection wiring etc installed as per direction of Engineer in-charge. | 3.00 | Each | 1.00 | 2200.00 | 6600.00 | 4000.00 | 12000.00 | 2478.00 | 7434.00 | 3000.00 | 9000.00 | 4795.00 | 14385.00 | 2816.00 | 8448.00 | 6600.00 | RECHI CONSTRUCTION PVT LTD
138.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/recess, complete with testing and commissioning etc, as required.
138.10 | For 12 way, Double door | 3.00 | Each | 0.00 | 2200.00 | 6600.00 | 1500.00 | 4500.00 | 1590.00 | 4770.00 | 1500.00 | 4500.00 | 631.40 | 1894.20 | 1804.00 | 5412.00 | 1894.20 | FTTC PROJECTS PRIVATE LIMITED
139.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, PPI type MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required.
139.10 | For 6 way, Double door | 2.00 | Each | 0.00 | 1750.00 | 3500.00 | 4500.00 | 9000.00 | 1860.00 | 3720.00 | 3000.00 | 6000.00 | 786.80 | 1573.60 | 2115.00 | 4230.00 | 1573.60 | FTTC PROJECTS PRIVATE LIMITED
140.00 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | 5.00 | Each | 0.00 | 290.00 | 1450.00 | 2000.00 | 10000.00 | 225.00 | 1125.00 | 400.00 | 2000.00 | 188.30 | 941.50 | 255.00 | 1275.00 | 941.50 | FTTC PROJECTS PRIVATE LIMITED
141.00 | Supplying and fixing 20 A, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 8.00 | Each | 1.00 | 4500.00 | 36000.00 | 3000.00 | 24000.00 | 1730.00 | 13840.00 | 2000.00 | 16000.00 | 1134.70 | 9077.60 | 1966.00 | 15728.00 | 9077.60 | FTTC PROJECTS PRIVATE LIMITED
142.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 0.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 3905.00 | 7810.00 | 3500.00 | 7000.00 | 2874.90 | 5749.80 | 4436.00 | 8872.00 | 5749.80 | FTTC PROJECTS PRIVATE LIMITED
143.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Set | 1.00 | 11000.00 | 66000.00 | 8000.00 | 48000.00 | 13980.00 | 83880.00 | 25000.00 | 150000.00 | 8835.40 | 53012.40 | 15887.00 | 95322.00 | 48000.00 | S K SINGHAL
144.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Meter | 0.00 | 1450.00 | 72500.00 | 500.00 | 25000.00 | 1525.00 | 76250.00 | 1200.00 | 60000.00 | 1085.70 | 54285.00 | 1734.00 | 86700.00 | 25000.00 | S K SINGHAL
145.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 20.00 | Meter | 1.00 | 850.00 | 17000.00 | 400.00 | 8000.00 | 1237.00 | 24740.00 | 1000.00 | 20000.00 | 680.40 | 13608.00 | 1406.00 | 28120.00 | 8000.00 | S K SINGHAL
146.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of 01 loop with minimum 80 character graphics / LCD display with touch screen or other keypad and minimum 1000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 300 intellegent addressable detectors/ devices (In any combination ) in one loop. Four access levels sufficient numbers of programmable relay controls for controlling external devices operable on 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as per specification, complete as required. | 1.00 | Each | 0.00 | 235000.00 | 235000.00 | 125000.00 | 125000.00 | 275000.00 | 275000.00 | 220000.00 | 220000.00 | 236600.00 | 236600.00 | 311701.00 | 311701.00 | 125000.00 | S K SINGHAL
147.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) analouge intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. | 15.00 | Each | 1.00 | 2900.00 | 43500.00 | 3000.00 | 45000.00 | 3041.00 | 45615.00 | 4500.00 | 67500.00 | 525.00 | 7875.00 | 51840.00 | 777600.00 | 7875.00 | FTTC PROJECTS PRIVATE LIMITED
148.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable smoke detector with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. | 5.00 | Each | 0.00 | 2675.00 | 13375.00 | 2500.00 | 12500.00 | 3300.00 | 16500.00 | 4200.00 | 21000.00 | 4005.30 | 20026.50 | 18755.00 | 93775.00 | 12500.00 | S K SINGHAL
149.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 5.00 | Each | 1.00 | 160.00 | 800.00 | 3000.00 | 15000.00 | 175.00 | 875.00 | 300.00 | 1500.00 | 105.00 | 525.00 | 980.00 | 4900.00 | 525.00 | FTTC PROJECTS PRIVATE LIMITED
150.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (break glass type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with key operated test-reset lock or electronic or rotary switches for address setting. Manual call station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or poly carbonate equivalent) with clear operating instruction and the word FIRE appearing on the front complete with connections etc. as required and as per enclosed specifications. | 3.00 | Each | 0.00 | 2800.00 | 8400.00 | 7000.00 | 21000.00 | 3475.00 | 10425.00 | 5000.00 | 15000.00 | 1921.50 | 5764.50 | 11844.00 | 35532.00 | 5764.50 | FTTC PROJECTS PRIVATE LIMITED
151.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) addressable Hooter-cum- strobe including control module with adjustable sound level in the range of min. 80 db to Max. 120 db at 1M distance complete with termination etc. as required. | 3.00 | Each | 1.00 | 4200.00 | 12600.00 | 7500.00 | 22500.00 | 6515.00 | 19545.00 | 6000.00 | 18000.00 | 1729.00 | 5187.00 | 22212.00 | 66636.00 | 5187.00 | FTTC PROJECTS PRIVATE LIMITED
152.00 | Supply, Installation, Testing & Commissioning of 240V AC / 24V DC 6 Amp Supply SMPS for Hooter and Control Relay Module complete with all accessories as required. | 1.00 | Each | 0.00 | 6800.00 | 6800.00 | 10000.00 | 10000.00 | 2610.00 | 2610.00 | 3500.00 | 3500.00 | 1295.00 | 1295.00 | 2963.00 | 2963.00 | 1295.00 | FTTC PROJECTS PRIVATE LIMITED
153.00 | Supply, Installation, Testing & Commissioning of UL Listed & FM Approved Isolator Module for Isolating short / dewired / loose circuits with automatic resetting arrangement. The device shall have an LED which shall blink in normal state & get steady on activation to monitor the heath status of the device. Module shall be supplied with mounting plate from OEM for ease of installation & maintenance. Note: Isolator Base can also be proposed, however in that case needs to be considered with each detector & module & considered included with the detector. | 2.00 | Each | 1.00 | 2900.00 | 5800.00 | 9000.00 | 18000.00 | 3390.00 | 6780.00 | 35000.00 | 70000.00 | 2729.30 | 5458.60 | 3850.00 | 7700.00 | 5458.60 | FTTC PROJECTS PRIVATE LIMITED
154.00 | Supply, Installation, Testing & Commissioning of GSM dialer - SIM card will be in client scope, however, First year cost (one year tariff charging) shall be included. | 1.00 | Each | 0.00 | 8500.00 | 8500.00 | 5000.00 | 5000.00 | 12035.00 | 12035.00 | 20000.00 | 20000.00 | 7350.00 | 7350.00 | 13676.00 | 13676.00 | 5000.00 | S K SINGHAL
155.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of size not exceeding 35 sqmm on wall surface as required. | 100.00 | Meter | 1.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 45.00 | 4500.00 | 100.00 | 10000.00 | 88.20 | 8820.00 | 50.00 | 5000.00 | 4500.00 | M/s MB Enterprises
| Total in Figures |  |  |  |  | 27550080.00 |  | 23797620.00 |  | 22723980.88 |  | 28675200.00 |  | 26885280.00 |  | 29534651.00
Lowest Amount Quoted BY: M/s MB Enterprises(22723980.88)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR building and other associated work at Dehradun Airport Tender ID: 2025_AAI_232446_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s MB Enterprises (BID ID -861575) | 22723980.88 | L1
| 2 | S K SINGHAL (BID ID -858426) | 23797620.00 | L2
| 3 | FTTC PROJECTS PRIVATE LIMITED (BID ID -861300) | 26885280.00 | L3
| 4 | RECHI CONSTRUCTION PVT LTD (BID ID -856910) | 27550080.00 | L4
| 5 | Fermium Constructions LLP (BID ID -861993) | 28675200.00 | L5
| 6 | R K AND CO (BID ID -853437) | 29534651.00 | L6