## BoQ1
Government eProcurement System Created By: A NARASIMHA PRASAD Created Date/Time: 30-May-2025 01:23 PM Tender Title: Construction of Sub Station and Ancillary Works for New ASR Collocated MSSR at RHQ SR Chennai Airport SH SITC of 8 Passenger Lift including AICMC for 05 Years after 02 Years DLP Tender ID: 2025_AAI_232695_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI - 600016
Name of Work: Construction of Sub-Station and Ancillary Works for New ASR Collocated MSSR at RHQ-SR, Chennai Airport. SH: SITC of 8 Passenger Lift including AICMC for 05 Years after 02 Years DLP.
Contract No: 2025_AAI_232695_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -852924 |  | Johnson Lifts Pvt Ltd (GSTN-33AAACJ0838Q1ZD) BID ID -852971
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SITC of 8 Passenger Lift
1.01 | Supply, Installation, Testing & Commissioning of Electric Traction type fully automatic Machine Room Less Passenger Lift of 08 passengers, 544 KG Capacity, G+06 Stops, 07 openings and entrance at front side on all the 07 serving floors, automatic centre opening Stainless Steel Hairline finish door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 23 mtrs. (Approx.) suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having microprocessor based AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1.50 Mtr/Sec, electromagnetic brake system, simplex mode operations, operating panel with luminous buttons having braily code, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all floors with UP / DOWN direction, light fixtures, ventilation fan, landing sill, main beam in shaft for machine, pit ladder etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Device (MRD) in the event of power failure etc., as required. The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way. Elevators shall be BMS compatible and cost should includes for obtainig necessary Lift Licence from Regulatory Authority and Lift Insurance etc. complete as required. | 1.00 | Each |  | 1605000.00 | 1605000.00 | 1703000.00 | 1703000.00 | 1605000.00 | OMEGA ELEVATORS
2.00 | SH: II -All Inclusive Comprehensive Maintenance Contract (AICMC) of 8 Passenger Lift
2.01 | All Inclusive Comprehensive Maintenance (AICMC) of 01 No. 8 Passenger Lift as mentioned at Item No. 1 of SH:I installed in alternate MSSR Building including replacement of all Mechanical, Electrical spares and consumables as and when required to keep the system 100% service condition, providing full support during breakdown & trouble shooting, programming, carrying out MONTHLY routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and as per the instructions of Engineer-In-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts and submission of monthly maintenance service records and Reporting etc., as required.
2.02 | First Year after Completion of 02 (Two) year DLP (Considered 5% of SITC Cost of item No. 01) | 1.00 | Annum |  | 80250.00 | 80250.00 | 85150.00 | 85150.00 | 80250.00 | OMEGA ELEVATORS
2.03 | Second Year after Completion of 02 (Two) year DLP (Considered Yearly 5% cumulative enhancement on 1st year AICMC Rate) | 1.00 | Annum |  | 84263.00 | 84263.00 | 89408.00 | 89408.00 | 84263.00 | OMEGA ELEVATORS
2.04 | Third Year after Completion of 02 (Two) year DLP (Considered Yearly 5% cumulative enhancement on 2nd year AICMC Rate) | 1.00 | Annum |  | 88476.00 | 88476.00 | 93878.00 | 93878.00 | 88476.00 | OMEGA ELEVATORS
2.05 | Fourth Year after Completion of 02 (Two) year DLP (Considered Yearly 5% cumulative enhancement on 3rd year AICMC Rate) | 1.00 | Annum |  | 92900.00 | 92900.00 | 98572.00 | 98572.00 | 92900.00 | OMEGA ELEVATORS
2.06 | Fifth Year after Completion of 02 (Two) year DLP (Considered Yearly 5% cumulative enhancement on 4th year AICMC Rate) | 1.00 | Annum |  | 97545.00 | 97545.00 | 103501.00 | 103501.00 | 97545.00 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 2048434.00 |  | 2173509.00
Lowest Amount Quoted BY: OMEGA ELEVATORS(2048434.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Sub Station and Ancillary Works for New ASR Collocated MSSR at RHQ SR Chennai Airport SH SITC of 8 Passenger Lift including AICMC for 05 Years after 02 Years DLP Tender ID: 2025_AAI_232695_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS (BID ID -852924) | 2048434.00 | L1
| 2 | Johnson Lifts Pvt Ltd (BID ID -852971) | 2173509.00 | L2