## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 26-Jun-2025 12:33 PM Tender Title: Replacement of various cables in operational area at Vijayawada Airport Tender ID: 2025_AAI_232731_1
Tender Inviting Authority: Asst. General Manager (Engg-E), Airports Authority of India, Vijayawada International Airport.
Name of Work: Replacement of Various Cables in Operational Area at Vijayawada Airport.
Contract No: 2025_AAI_232731_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -860599 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -861102 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -861365 |  | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -861511 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -861529 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -861591 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -861604 |  | Ascent Electrification Engineers (GSTN-24AAOFA2574R1ZU) BID ID -861607 |  | Shiva Enterprises (GSTN-NA) BID ID -861613 |  | SYNERGY LIGHTING SOLUTIONS (GSTN-NA) BID ID -861176 |  | SRINIVASA ENGINEERING WORKS (GSTN-NA) BID ID -861406
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5C x 300 Sq.mm, XLPE insulated and PVC sheathed armoured aluminium conductor power cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date ammendments etc., complete as required. (Note: If the manufacturer does not have NABL accredited Laboratory samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt Laboratories / IIT / IISc / IISER / College /University for acceptance Testing as per IS. The contractor will do all Liasoning, Transportation etc. and pay the testing charges. Nothing extra will be paid by AAI. if it is found that the cable supplied is not as per the requirement of IS, The supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports) | 4000.00 | Mtr | 100.00 | 1545.00 | 6180000.00 | 1590.00 | 6360000.00 | 1530.00 | 6120000.00 | 1278.00 | 5112000.00 | 1690.00 | 6760000.00 | 1265.00 | 5060000.00 | 1230.00 | 4920000.00 | 1720.00 | 6880000.00 | 1305.00 | 5220000.00 | 1530.00 | 6120000.00 | 2300.00 | 9200000.00 | 4920000.00 | Awasthi Electric Works
2.00 | Supply of 3.5C x 185 Sq.mm, XLPE insulated and PVC sheathed armoured aluminium conductor power cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date ammendments etc., complete as required. (Note: If the manufacturer does not have NABL accredited Laboratory samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt Laboratories / IIT / IISc / IISER / College /University for acceptance Testing as per IS. The contractor will do all Liasoning, Transportation etc. and pay the testing charges. Nothing extra will be paid by AAI. if it is found that the cable supplied is not as per the requirement of IS, The supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports) | 2500.00 | Mtr | 100.00 | 1050.00 | 2625000.00 | 990.00 | 2475000.00 | 1106.00 | 2765000.00 | 889.00 | 2222500.00 | 1340.00 | 3350000.00 | 805.00 | 2012500.00 | 810.00 | 2025000.00 | 1050.00 | 2625000.00 | 845.00 | 2112500.00 | 1100.00 | 2750000.00 | 1700.00 | 4250000.00 | 2012500.00 | Yash Energy Pvt. Ltd
3.00 | Supplying and making end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
3.10 | 3½ X 240 Sq. mm | 8.00 | Set | 100.00 | 1500.00 | 12000.00 | 600.00 | 4800.00 | 1520.00 | 12160.00 | 3275.00 | 26200.00 | 1200.00 | 9600.00 | 3125.00 | 25000.00 | 1150.00 | 9200.00 | 1000.00 | 8000.00 | 1850.00 | 14800.00 | 1000.00 | 8000.00 | 8000.00 | 64000.00 | 4800.00 | Techno Electricals
3.20 | 3½ X 185 Sq. mm | 6.00 | Set | 100.00 | 1200.00 | 7200.00 | 600.00 | 3600.00 | 1340.00 | 8040.00 | 2500.00 | 15000.00 | 1000.00 | 6000.00 | 2188.00 | 13128.00 | 950.00 | 5700.00 | 700.00 | 4200.00 | 1320.00 | 7920.00 | 500.00 | 3000.00 | 5500.00 | 33000.00 | 3000.00 | SYNERGY LIGHTING SOLUTIONS
3.30 | 4 X 16 Sq. mm | 2.00 | Set | 100.00 | 400.00 | 800.00 | 450.00 | 900.00 | 350.00 | 700.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 638.00 | 1276.00 | 350.00 | 700.00 | 500.00 | 1000.00 | 400.00 | 800.00 | 100.00 | 200.00 | 1500.00 | 3000.00 | 200.00 | SYNERGY LIGHTING SOLUTIONS
4.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
4.10 | 3½ X 240 sq. mm | 4.00 | Each | 100.00 | 4000.00 | 16000.00 | 7000.00 | 28000.00 | 5300.00 | 21200.00 | 5000.00 | 20000.00 | 500.00 | 2000.00 | 5313.00 | 21252.00 | 4950.00 | 19800.00 | 3500.00 | 14000.00 | 3120.00 | 12480.00 | 7500.00 | 30000.00 | 9000.00 | 36000.00 | 2000.00 | Manish Electricals
4.20 | 3½ X 185 sq. mm | 4.00 | Each | 100.00 | 3500.00 | 14000.00 | 6000.00 | 24000.00 | 4400.00 | 17600.00 | 3960.00 | 15840.00 | 500.00 | 2000.00 | 4063.00 | 16252.00 | 4550.00 | 18200.00 | 2500.00 | 10000.00 | 2540.00 | 10160.00 | 6300.00 | 25200.00 | 6000.00 | 24000.00 | 2000.00 | Manish Electricals
5.00 | Fabrication SITC of outdoor type cable junction box, single door with locking arrangement made out of 3mm thick outer sheet and 2mm thick inner sheet steel, dust tight, vermin proof, totally enclosed, cubicle type WITH TOP CANOPY FOR RAIN PROTECTION, floor mounting, free standing with MS Stand panel box suitable for three phase and neutral colored coded alminium busbars with currennt carring capacity of 400A, 40 x 12mm size aluminium busbar, suitable for connection of 3.5 core x 240 Sq.mm LT Power cable with all accessories for fixing of cable interconnection, earthing terminals, painting, grouting, providing pedastal upto the 600MM, cable entry provision etc. complete with all respects. | 2.00 | Job | 100.00 | 40000.00 | 80000.00 | 15000.00 | 30000.00 | 26000.00 | 52000.00 | 23000.00 | 46000.00 | 25000.00 | 50000.00 | 32500.00 | 65000.00 | 85000.00 | 170000.00 | 21769.00 | 43538.00 | 17500.00 | 35000.00 | 5000.00 | 10000.00 | 300000.00 | 600000.00 | 10000.00 | SYNERGY LIGHTING SOLUTIONS
6.00 | Fabrication and S.I.T.C of 250A Rating, 4 Pole on load Changeover swith in Sheet Steel Enclosure complete with Phase barrier, Handle Assembly having Door Interlock and Padlocking arrangement, Indoor MV Feeder Pillar Panel with door arrangement made out of 3mm thick outer, CRCA sheet steel, dust tight, vermin proof, totally enclosed, cubicle type with top canopy for safety protection Confirming to IP54 floor mounting, free standing, suitable for operation at 433 V, 3 phase, 4 wire, 50 Hz, A.C. Power supply system complete with all accessories, interconnection, connection, earthing, painting, grouting, providing pedastal upto the height of 300MM, Cable Entry provision etc. as required. | 2.00 | Job | 100.00 | 100000.00 | 200000.00 | 87000.00 | 174000.00 | 53000.00 | 106000.00 | 36135.00 | 72270.00 | 38000.00 | 76000.00 | 19375.00 | 38750.00 | 56000.00 | 112000.00 | 64027.00 | 128054.00 | 25500.00 | 51000.00 | 10000.00 | 20000.00 | 50000.00 | 100000.00 | 20000.00 | SYNERGY LIGHTING SOLUTIONS
7.00 | Supplying and laying of 2X300 mm dia., non-pressure NP3 class (Medium duty) RCC pipe with collars jointed with stiff cement mortar i/c excavation of trench (i.e. soft soil, hard rocks, CC Road / Bituminous road etc.) as per site as required (800 mm) width for pipe, depth up to 1100 mm, providing and laying cement concrete of 1:4:8 ratio at bottom (100 mm) of pipe, laying of pipe, refilling with cement concrete 1:4:8 ratio up to top surface of pipes and refilling the trench with soil, ramming, watering, making the surface to original finish etc. as required. | 850.00 | Mtr | 100.00 | 3500.00 | 2975000.00 | 2455.00 | 2086750.00 | 800.00 | 680000.00 | 2817.00 | 2394450.00 | 3400.00 | 2890000.00 | 1875.00 | 1593750.00 | 2900.00 | 2465000.00 | 750.00 | 637500.00 | 3000.00 | 2550000.00 | 700.00 | 595000.00 | 2000.00 | 1700000.00 | 595000.00 | SYNERGY LIGHTING SOLUTIONS
8.00 | Supplying and laying of OD 50 mm dia., HDPE, PE100, PN-8 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 150.00 | Mtr | 100.00 | 200.00 | 30000.00 | 192.00 | 28800.00 | 170.00 | 25500.00 | 327.00 | 49050.00 | 300.00 | 45000.00 | 232.00 | 34800.00 | 225.00 | 33750.00 | 100.00 | 15000.00 | 180.00 | 27000.00 | 90.00 | 13500.00 | 320.00 | 48000.00 | 13500.00 | SYNERGY LIGHTING SOLUTIONS
9.00 | Supplying and laying of OD 90 mm dia., HDPE, PE100, PN-8 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 1000.00 | Mtr | 100.00 | 250.00 | 250000.00 | 312.00 | 312000.00 | 530.00 | 530000.00 | 425.00 | 425000.00 | 480.00 | 480000.00 | 438.00 | 438000.00 | 350.00 | 350000.00 | 150.00 | 150000.00 | 350.00 | 350000.00 | 175.00 | 175000.00 | 450.00 | 450000.00 | 150000.00 | Ascent Electrification Engineers
10.00 | Supplying and laying of OD 110 mm dia., HDPE, PE100, PN-8 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 1350.00 | Mtr | 100.00 | 350.00 | 472500.00 | 410.00 | 553500.00 | 620.00 | 837000.00 | 530.00 | 715500.00 | 750.00 | 1012500.00 | 569.00 | 768150.00 | 460.00 | 621000.00 | 200.00 | 270000.00 | 490.00 | 661500.00 | 250.00 | 337500.00 | 500.00 | 675000.00 | 270000.00 | Ascent Electrification Engineers
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. (Cable provided by AAI) Upto 35 sq. mm | 150.00 | Mtr | 100.00 | 40.00 | 6000.00 | 40.00 | 6000.00 | 27.00 | 4050.00 | 55.00 | 8250.00 | 50.00 | 7500.00 | 50.00 | 7500.00 | 40.00 | 6000.00 | 10.00 | 1500.00 | 35.00 | 5250.00 | 20.00 | 3000.00 | 52.00 | 7800.00 | 1500.00 | Ascent Electrification Engineers
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. Above 95 sq. mm and upto 185 sq. mm | 2000.00 | Mtr | 100.00 | 50.00 | 100000.00 | 40.00 | 80000.00 | 53.00 | 106000.00 | 75.00 | 150000.00 | 80.00 | 160000.00 | 157.00 | 314000.00 | 80.00 | 160000.00 | 10.00 | 20000.00 | 90.00 | 180000.00 | 50.00 | 100000.00 | 150.00 | 300000.00 | 20000.00 | Ascent Electrification Engineers
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | 3150.00 | Mtr | 100.00 | 80.00 | 252000.00 | 40.00 | 126000.00 | 53.00 | 166950.00 | 105.00 | 330750.00 | 60.00 | 189000.00 | 188.00 | 592200.00 | 100.00 | 315000.00 | 10.00 | 31500.00 | 130.00 | 409500.00 | 80.00 | 252000.00 | 250.00 | 787500.00 | 31500.00 | Ascent Electrification Engineers
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 sq. mm and upto 185 sq. mm | 350.00 | Mtr | 100.00 | 90.00 | 31500.00 | 40.00 | 14000.00 | 35.00 | 12250.00 | 70.00 | 24500.00 | 50.00 | 17500.00 | 125.00 | 43750.00 | 60.00 | 21000.00 | 10.00 | 3500.00 | 80.00 | 28000.00 | 50.00 | 17500.00 | 150.00 | 52500.00 | 3500.00 | Ascent Electrification Engineers
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 185 sq. mm and upto 400 sq. mm | 300.00 | Mtr | 100.00 | 100.00 | 30000.00 | 40.00 | 12000.00 | 35.00 | 10500.00 | 85.00 | 25500.00 | 70.00 | 21000.00 | 157.00 | 47100.00 | 80.00 | 24000.00 | 10.00 | 3000.00 | 110.00 | 33000.00 | 80.00 | 24000.00 | 200.00 | 60000.00 | 3000.00 | Ascent Electrification Engineers
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 120 sq. mm and upto 240 sq. mm (Clamped with 40 x 3 GI Flat clamp) | 250.00 | Mtr | 10.00 | 150.00 | 37500.00 | 40.00 | 10000.00 | 71.00 | 17750.00 | 97.00 | 24250.00 | 250.00 | 62500.00 | 157.00 | 39250.00 | 210.00 | 52500.00 | 10.00 | 2500.00 | 140.00 | 35000.00 | 150.00 | 37500.00 | 150.00 | 37500.00 | 2500.00 | Ascent Electrification Engineers
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on tray as required. Above 120 sq. mm and upto 240 sq. mm (Clamped with 40 x 3 GI Flat clamp) | 200.00 | Mtr | 10.00 | 150.00 | 30000.00 | 40.00 | 8000.00 | 80.00 | 16000.00 | 85.00 | 17000.00 | 180.00 | 36000.00 | 188.00 | 37600.00 | 210.00 | 42000.00 | 10.00 | 2000.00 | 140.00 | 28000.00 | 50.00 | 10000.00 | 250.00 | 50000.00 | 2000.00 | Ascent Electrification Engineers
18.00 | Excavation for cable trenches in soft soil, depth up to 1.2 m and (Size 1.5m x 1.5m) including dressing of sides getting out the excavated soil, refilling with sand and or good soil after laying of cable / pipe etc., in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as per direction of E-I-C as required. | 108.00 | Cum | 10.00 | 500.00 | 54000.00 | 300.00 | 32400.00 | 800.00 | 86400.00 | 600.00 | 64800.00 | 350.00 | 37800.00 | 250.00 | 27000.00 | 850.00 | 91800.00 | 250.00 | 27000.00 | 2400.00 | 259200.00 | 300.00 | 32400.00 | 600.00 | 64800.00 | 27000.00 | Yash Energy Pvt. Ltd, Ascent Electrification Engineers
19.00 | Constructing brick masonary manhole in cement mortar 1:4 (1 cement: 4 coarse sand) RCC topslab with 1:1.5:3 mix (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size) foundation concrete 1:4:8 mix (1cement:4 coarse sand:8 graded stone aggregate 40mm nominal size) inside plastering 12mm thick with cement mortar 1:3 (1 cement:3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement:4 coarse sand:4 graded stone aggregate 20mm nominal size) finsihed with a floating coat of neat cement, provision of MS C chanel (125 x 65 x 5.3mm) at middele of chamber for extra suport complete etc. as required. (as per standard design) Inside size 200x200 cm and 150 cm deep including RCC cover plate with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 21.00 | Job | 10.00 | 35000.00 | 735000.00 | 18000.00 | 378000.00 | 21500.00 | 451500.00 | 77500.00 | 1627500.00 | 16000.00 | 336000.00 | 25000.00 | 525000.00 | 19000.00 | 399000.00 | 10000.00 | 210000.00 | 16000.00 | 336000.00 | 10000.00 | 210000.00 | 55000.00 | 1155000.00 | 210000.00 | SYNERGY LIGHTING SOLUTIONS, Ascent Electrification Engineers
20.00 | Making horizontal boring of dia. not less than 200mm by using suitable mechanical arrangement, Sensor operated, Not lessthan 2.5Mtr Depth, horizontal bore well suitable for inserting of 200mm dia., HDPE Pipes. Job including supplying and laying of 250mm dia. PE-100 Grade, PN-8, HDPE Pipe in borewell hole including jointing, molding cutting, bending, etc. of pipes in boring hole as per site condition complete is required. | 220.00 | Mtr | 10.00 | 1800.00 | 396000.00 | 2700.00 | 594000.00 | 4400.00 | 968000.00 | 3180.00 | 699600.00 | 3600.00 | 792000.00 | 2100.00 | 462000.00 | 2190.00 | 481800.00 | 1000.00 | 220000.00 | 1650.00 | 363000.00 | 1000.00 | 220000.00 | 5500.00 | 1210000.00 | 220000.00 | SYNERGY LIGHTING SOLUTIONS, Ascent Electrification Engineers
21.00 | Making horizontal boring of dia. not less than 110mm by using suitable mechanical arrangement, Sensor operated, Not lessthan 2.5Mtr Depth, horizontal bore well suitable for inserting of 110mm dia., HDPE Pipes. Job including supplying and laying of 110mm dia. PE-100 Grade, PN-8, HDPE Pipe in borewell hole including jointing, molding cutting, bending, etc. of pipes in boring hole as per site condition complete is required. | 100.00 | Mtr | 10.00 | 1000.00 | 100000.00 | 1700.00 | 170000.00 | 3500.00 | 350000.00 | 1070.00 | 107000.00 | 900.00 | 90000.00 | 1525.00 | 152500.00 | 1190.00 | 119000.00 | 1000.00 | 100000.00 | 1000.00 | 100000.00 | 800.00 | 80000.00 | 3000.00 | 300000.00 | 80000.00 | SYNERGY LIGHTING SOLUTIONS
22.00 | Design, Supply, Installation, Testing and Commissioning of frangible & illuminated wind direction indicator confirming to ICAO Annex 14, Volume-I and suitable for operation on 230 V, 50 Hz, Single phase AC Supply and consist of following completion as required. (A) Height not lessthan 6.76 Mtr., Frangible mast. The frangibility shall confirm to ICAO Annex 14 & Aeodrome design manual part-6/FAA. The color of pole/mast shall be preferably aviation red/white. (B) Wind sock assembly complete with slip rings, drum, bracket for drum, bearing, carbon brush with holder etc. (C) Four Nos. 30W nominal capacity LED Fittings alongwith fitting mounting arrangement suitable for outdoor conditions. (D) One No. LED Aviation obstruction light having aluminium cast body and red polycarbonate dome. (E) Internal wiring, provision for remote / manual control operation. (F) The Wind Direction Indicator should be in the form of a truncated cone made of fabric , as per technical specifications. (G) Providing and laying suitable RCC foundation for installation of WDI as per OEM recommendations. All Above 22 (A) to 22 (G) | 1.00 | Job | 100.00 | 413000.00 | 413000.00 | 285500.00 | 285500.00 | 380000.00 | 380000.00 | 235000.00 | 235000.00 | 390000.00 | 390000.00 | 156250.00 | 156250.00 | 350000.00 | 350000.00 | 262510.00 | 262510.00 | 215000.00 | 215000.00 | 200000.00 | 200000.00 | 100000.00 | 100000.00 | 100000.00 | SRINIVASA ENGINEERING WORKS
23.00 | Supply of fabric windsock of 900mm dia. at neck and 3600mm long made of special natural colour, fungus proof fabric with alternate black and white strip etc. complete as per the specifications. | 6.00 | Each | 100.00 | 9200.00 | 55200.00 | 12500.00 | 75000.00 | 4400.00 | 26400.00 | 9900.00 | 59400.00 | 7500.00 | 45000.00 | 2000.00 | 12000.00 | 7700.00 | 46200.00 | 1921.00 | 11526.00 | 5500.00 | 33000.00 | 4000.00 | 24000.00 | 18000.00 | 108000.00 | 11526.00 | Ascent Electrification Engineers
24.00 | Supply and fixing of Hensel make PVC out door type cable termination box of size (205X255X112) mm with IP66 protection along with 20A, FP MCB, din rail for MCB Installation, two numbers of 2mm GI U clamp suitable to fix the box etc., complete as required. | 1.00 | Each | 100.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 1250.00 | 1250.00 | 3265.00 | 3265.00 | 2400.00 | 2400.00 | 5000.00 | 5000.00 | 4100.00 | 4100.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 25000.00 | 25000.00 | 1250.00 | MPC ELECTRICALS AND ENGINEERS
25.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 1.00 | Each | 10.00 | 6000.00 | 6000.00 | 8000.00 | 8000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 5625.00 | 5625.00 | 10000.00 | 10000.00 | 7683.00 | 7683.00 | 7000.00 | 7000.00 | 4850.00 | 4850.00 | 15000.00 | 15000.00 | 4850.00 | SYNERGY LIGHTING SOLUTIONS
26.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 30.00 | Mtr | 10.00 | 30.00 | 900.00 | 75.00 | 2250.00 | 26.00 | 780.00 | 95.00 | 2850.00 | 50.00 | 1500.00 | 38.00 | 1140.00 | 30.00 | 900.00 | 10.00 | 300.00 | 20.00 | 600.00 | 20.00 | 600.00 | 52.00 | 1560.00 | 300.00 | Ascent Electrification Engineers
27.00 | Providing, laying and fixing of 65mm dia. G.I. pipe (medium class) in PCC Road complete with G.I. fittings including trenching (75 cm deep) and re-positioning same with PCC etc., as required (Note: Excavation of PCC / Bitumin Road cutting and laying of pipe in trench and re-positioning with PCC) | 12.00 | Mtr | 10.00 | 1600.00 | 19200.00 | 1500.00 | 18000.00 | 800.00 | 9600.00 | 1118.00 | 13416.00 | 1200.00 | 14400.00 | 1188.00 | 14256.00 | 790.00 | 9480.00 | 100.00 | 1200.00 | 1200.00 | 14400.00 | 500.00 | 6000.00 | 1200.00 | 14400.00 | 1200.00 | Ascent Electrification Engineers
28.00 | Providing brick work (in width 225 mm or more) 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | 19.00 | Sqm | 10.00 | 7000.00 | 133000.00 | 2000.00 | 38000.00 | 7100.00 | 134900.00 | 10000.00 | 190000.00 | 2000.00 | 38000.00 | 1875.00 | 35625.00 | 7000.00 | 133000.00 | 1000.00 | 19000.00 | 1300.00 | 24700.00 | 2000.00 | 38000.00 | 3500.00 | 66500.00 | 19000.00 | Ascent Electrification Engineers
29.00 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | 27.00 | Sqm | 10.00 | 500.00 | 13500.00 | 1500.00 | 40500.00 | 2600.00 | 70200.00 | 650.00 | 17550.00 | 250.00 | 6750.00 | 438.00 | 11826.00 | 370.00 | 9990.00 | 250.00 | 6750.00 | 550.00 | 14850.00 | 450.00 | 12150.00 | 2500.00 | 67500.00 | 6750.00 | Manish Electricals, Ascent Electrification Engineers
30.00 | Providing and laying in position cement concrete 1:2:4 (1cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation / road crossing etc., including fram work etc as required. | 11.00 | Cum | 10.00 | 7000.00 | 77000.00 | 7000.00 | 77000.00 | 7100.00 | 78100.00 | 8500.00 | 93500.00 | 9000.00 | 99000.00 | 5625.00 | 61875.00 | 7000.00 | 77000.00 | 3500.00 | 38500.00 | 3200.00 | 35200.00 | 4000.00 | 44000.00 | 6000.00 | 66000.00 | 35200.00 | Shiva Enterprises
31.00 | Supply, installation, testing and commissioning of 600mm Sweep, High speed, 300CFM Air delivery, 1400 RPM, Heavy duty, metal body Air Circulator with wide oscillating aerodynamic metal blades, 100% copper motor for longer performance, regulator based speed control for easy operations, easy tilting with unique pivot arrangement with all accessories suitable for operation on 230V AC supply etc., as required. | 6.00 | Each | 10.00 | 15000.00 | 90000.00 | 14500.00 | 87000.00 | 23300.00 | 139800.00 | 9000.00 | 54000.00 | 16000.00 | 96000.00 | 8500.00 | 51000.00 | 5700.00 | 34200.00 | 1700.00 | 10200.00 | 8500.00 | 51000.00 | 6000.00 | 36000.00 | 12500.00 | 75000.00 | 10200.00 | Ascent Electrification Engineers
32.00 | Supply of 450mm Sweep, High speed and Air delivery, 1400 RPM, Heavy duty, metal body pedustal fan with wide oscillating aerodynamic metal blades, 100% copper motor for longer performance, regulator based speed control for easy operations, easy tilting with unique pivot arrangement with all accessories suitable for operation on 230V AC supply etc., as required. | 1.00 | Each | 10.00 | 8000.00 | 8000.00 | 6500.00 | 6500.00 | 21000.00 | 21000.00 | 7900.00 | 7900.00 | 12000.00 | 12000.00 | 6875.00 | 6875.00 | 3850.00 | 3850.00 | 7363.00 | 7363.00 | 9640.00 | 9640.00 | 5500.00 | 5500.00 | 13000.00 | 13000.00 | 3850.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 15460300.00 |  | 14157500.00 |  | 14234630.00 |  | 14876041.00 |  | 17145950.00 |  | 12697230.00 |  | 13141170.00 |  | 11774824.00 |  | 13240000.00 |  | 11447900.00 |  | 21760060.00
Lowest Amount Quoted BY: SYNERGY LIGHTING SOLUTIONS(11447900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of various cables in operational area at Vijayawada Airport Tender ID: 2025_AAI_232731_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SYNERGY LIGHTING SOLUTIONS (BID ID -861176) | 11447900.00 | L1
| 2 | Ascent Electrification Engineers (BID ID -861607) | 11774824.00 | L2
| 3 | Yash Energy Pvt. Ltd (BID ID -861591) | 12697230.00 | L3
| 4 | Awasthi Electric Works (BID ID -861604) | 13141170.00 | L4
| 5 | Shiva Enterprises (BID ID -861613) | 13240000.00 | L5
| 6 | Techno Electricals (BID ID -861102) | 14157500.00 | L6
| 7 | MPC ELECTRICALS AND ENGINEERS (BID ID -861365) | 14234630.00 | L7
| 8 | vk sam engineering (BID ID -861511) | 14876041.00 | L8
| 9 | DOSHI ELECTRIC ENGG. CO. (BID ID -860599) | 15460300.00 | L9
| 10 | Manish Electricals (BID ID -861529) | 17145950.00 | L10
| 11 | SRINIVASA ENGINEERING WORKS (BID ID -861406) | 21760060.00 | L11