## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 04-Jul-2025 06:38 PM Tender Title: Upgradation of ILS at Vijayawada Airport. SH Electrical Works Tender ID: 2025_AAI_232771_1
Tender Inviting Authority: Asst. General Manager (Engg-E), Airports Authority of India, Vijayawada International Airport.
Name of Work: Upgradation of ILS at Vijayawada Airport. SH: Electrical Work
Contract No: 2025_AAI_232771_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GK ELECTRICALS AND ENGINEERS (GSTN-27CEZPK9541R1Z3) BID ID -866042 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -866392 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -866629 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -866719 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -866729
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 4C x 16 Sq.mm, XLPE insulated, cores laid up and Thermoplastic tape inner sheathed armoured, PVC TS2 outer sheathed, Copper conductor power cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date ammendments etc., complete as required. | 500.00 | Mtr | 100.00 | 88.00 | 44000.00 | 350.00 | 175000.00 | 1400.00 | 700000.00 | 850.00 | 425000.00 | 671.00 | 335500.00 | 44000.00 | GK ELECTRICALS AND ENGINEERS
2.00 | Supplying and making end termination with brass double compression gland and copper lugs for 4 X 16 Sq. mm of PVC insulated and thermoplastic tape inner sheathed / XLPEcopper conductor cable of 1.1 KV grade as required. | 6.00 | Set | 100.00 | 500.00 | 3000.00 | 500.00 | 3000.00 | 900.00 | 5400.00 | 400.00 | 2400.00 | 575.00 | 3450.00 | 2400.00 | Awasthi Electric Works
3.00 | Supplying and laying of OD 63 mm dia., HDPE, PE 80, PN-8 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 390.00 | Mtr | 100.00 | 180.00 | 70200.00 | 170.00 | 66300.00 | 260.00 | 101400.00 | 550.00 | 214500.00 | 299.00 | 116610.00 | 66300.00 | MPC ELECTRICALS AND ENGINEERS
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. Upto 35 sq. mm | 390.00 | Mtr | 100.00 | 8.00 | 3120.00 | 35.00 | 13650.00 | 10.00 | 3900.00 | 50.00 | 19500.00 | 69.00 | 26910.00 | 3120.00 | GK ELECTRICALS AND ENGINEERS
5.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 60.00 | Mtr | 100.00 | 8.00 | 480.00 | 62.00 | 3720.00 | 20.00 | 1200.00 | 80.00 | 4800.00 | 58.00 | 3480.00 | 480.00 | GK ELECTRICALS AND ENGINEERS
6.00 | Supply, Installation, testing, and commissioning of 100A, Four Pole, 50 Hz, 415 V, Automatic / Manual Range, Automatic transfer switch with metal enclosure connections, testing and commissioning etc. as required. | 1.00 | Each | 100.00 | 14000.00 | 14000.00 | 53000.00 | 53000.00 | 65000.00 | 65000.00 | 29000.00 | 29000.00 | 43700.00 | 43700.00 | 14000.00 | GK ELECTRICALS AND ENGINEERS
7.00 | Supplying and fixing of 6 way (6 + 18), Double door surface / recess mounting, horizontal type, three pole and neutral, sheet steel, MCB distribution board with IP43, IK09 Protection, 415 V, on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 2.00 | Each | 100.00 | 1000.00 | 2000.00 | 5300.00 | 10600.00 | 6000.00 | 12000.00 | 4500.00 | 9000.00 | 9200.00 | 18400.00 | 2000.00 | GK ELECTRICALS AND ENGINEERS
8.00 | Supplying and fixing of 12 way, Double dooor, single pole and neutral, sheet steel, MCB distribution board with IP43, IK09 Protection, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each | 100.00 | 1000.00 | 1000.00 | 2600.00 | 2600.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 3450.00 | 3450.00 | 1000.00 | GK ELECTRICALS AND ENGINEERS
9.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 40A, 240V, DP Changeover Switch (MCB Type) complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 100.00 | 1000.00 | 1000.00 | 5300.00 | 5300.00 | 1500.00 | 1500.00 | 2500.00 | 2500.00 | 3450.00 | 3450.00 | 1000.00 | GK ELECTRICALS AND ENGINEERS
10.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 40 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 3.00 | Each | 100.00 | 1200.00 | 3600.00 | 2060.00 | 6180.00 | 1600.00 | 4800.00 | 1700.00 | 5100.00 | 1725.00 | 5175.00 | 3600.00 | GK ELECTRICALS AND ENGINEERS
11.00 | Supplying and fixing of 63A, 10kA, Four pole, C-Curve, 415 V, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 100.00 | 800.00 | 1600.00 | 1900.00 | 3800.00 | 1000.00 | 2000.00 | 1600.00 | 3200.00 | 2070.00 | 4140.00 | 1600.00 | GK ELECTRICALS AND ENGINEERS
12.00 | Supplying and fixing of 50A, 10kA, Double pole, C-Curve, 415 V, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 100.00 | 350.00 | 2100.00 | 1600.00 | 9600.00 | 900.00 | 5400.00 | 850.00 | 5100.00 | 1150.00 | 6900.00 | 2100.00 | GK ELECTRICALS AND ENGINEERS
13.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of single poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 24.00 | Each | 100.00 | 100.00 | 2400.00 | 205.00 | 4920.00 | 250.00 | 6000.00 | 210.00 | 5040.00 | 265.00 | 6360.00 | 2400.00 | GK ELECTRICALS AND ENGINEERS
14.00 | Supplying and fixing 25A rating, 240/415 V, Socket Residual Current Device (SRCD DBOXx) with 10 kA, "C" curve, miniature circuit breaker and sheet enclosure suitable for inductive load complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 100.00 | 400.00 | 2400.00 | 3500.00 | 21000.00 | 3500.00 | 21000.00 | 2850.00 | 17100.00 | 5175.00 | 31050.00 | 2400.00 | GK ELECTRICALS AND ENGINEERS
15.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed medium class, FRLSH, PVC conduit, with modular switch, modular plate, suitable PVC box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 18.00 | Points | 100.00 | 800.00 | 14400.00 | 2200.00 | 39600.00 | 1200.00 | 21600.00 | 1300.00 | 23400.00 | 1840.00 | 33120.00 | 14400.00 | GK ELECTRICALS AND ENGINEERS
16.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLSH PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 40.00 | Mtr | 100.00 | 80.00 | 3200.00 | 320.00 | 12800.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 173.00 | 6920.00 | 3200.00 | GK ELECTRICALS AND ENGINEERS
17.00 | Wiring for light/ power plug with 2X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed medium class FRLSH PVC conduit alongwith 1 No. 4 sq. mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Mtr | 100.00 | 100.00 | 10000.00 | 410.00 | 41000.00 | 250.00 | 25000.00 | 250.00 | 25000.00 | 276.00 | 27600.00 | 10000.00 | GK ELECTRICALS AND ENGINEERS
18.00 | Wiring for circuit/ submain wiring alongwith earth wire with the 3 Core x 10 Sq. mm of PVC insulated and PVC Round sheathed, multicore, copper conductor (flexible) Industrial cable for voltage grade of 1100V conforming to IS 694 : 2010 in surface / recessed medium class FRLSH PVC conduit as required. | 60.00 | Mtr | 100.00 | 100.00 | 6000.00 | 440.00 | 26400.00 | 500.00 | 30000.00 | 550.00 | 33000.00 | 713.00 | 42780.00 | 6000.00 | GK ELECTRICALS AND ENGINEERS
19.00 | Supplying and fixing of 8 / 9 Module GI box alongwith modular base & cover plate for modular switches in recess etc. as required | 10.00 | Each | 100.00 | 100.00 | 1000.00 | 1250.00 | 12500.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 317.00 | 3170.00 | 1000.00 | GK ELECTRICALS AND ENGINEERS
20.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
20.10 | 5/6 A Switch | 2.00 | Each | 100.00 | 100.00 | 200.00 | 80.00 | 160.00 | 70.00 | 140.00 | 95.00 | 190.00 | 75.00 | 150.00 | 140.00 | Manish Electricals
20.20 | 15/16 A Switch | 30.00 | Each | 100.00 | 200.00 | 6000.00 | 170.00 | 5100.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 173.00 | 5190.00 | 4500.00 | Manish Electricals, Awasthi Electric Works
20.30 | 3 Pin 5/6 A Socket outlet | 2.00 | Each | 100.00 | 100.00 | 200.00 | 105.00 | 210.00 | 100.00 | 200.00 | 125.00 | 250.00 | 173.00 | 346.00 | 200.00 | GK ELECTRICALS AND ENGINEERS, Manish Electricals
20.40 | 6 Pin 15/16 A Socket outlet | 30.00 | Each | 100.00 | 200.00 | 6000.00 | 205.00 | 6150.00 | 150.00 | 4500.00 | 235.00 | 7050.00 | 190.00 | 5700.00 | 4500.00 | Manish Electricals
21.00 | Supply and fixing of 20W, 4 feet, Energy efficient, surface mounting, batten type LED luminaries with aluminium housing and integrated electronic driver with operating voltage range (120 - 270V AC) with colour temperature 5700K range. LED having minimum 20,000 burning hours with minimum 70% lumen maintained, system consumption should be less than 20W and especially designed for commercial use etc., complete as required. Make: Philips, Model: Smart Bright Extra S4 / Havells, Lumiline Smart) | 5.00 | Each | 100.00 | 300.00 | 1500.00 | 225.00 | 1125.00 | 1200.00 | 6000.00 | 320.00 | 1600.00 | 345.00 | 1725.00 | 1125.00 | MPC ELECTRICALS AND ENGINEERS
22.00 | Supply and fixing of LED Street light fitting with wattage of 35W with high power LEDs, system efficay not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 3kV surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 4.00 | Each | 100.00 | 2200.00 | 8800.00 | 2900.00 | 11600.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 1438.00 | 5752.00 | 5752.00 | Yash Energy Pvt. Ltd
23.00 | Supply and fixing of LED Bulkhead fitting with wattage of 10W with high power LEDs, system efficay not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 2kV surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 1.00 | Each | 100.00 | 1000.00 | 1000.00 | 1700.00 | 1700.00 | 1000.00 | 1000.00 | 1050.00 | 1050.00 | 920.00 | 920.00 | 920.00 | Yash Energy Pvt. Ltd
24.00 | Supply and fixing of wrinkle free bend, 40mm dia., 1.2 Meter length, Medium class GI Pipe with all arrangement for fixing of pipe on wall surface / GI Pole suitable for installation of LED Street light fitting. Job include fabrication, pipe cutting, bending, welding etc. complete as per site requirement. | 4.00 | Job | 100.00 | 800.00 | 3200.00 | 530.00 | 2120.00 | 600.00 | 2400.00 | 1100.00 | 4400.00 | 805.00 | 3220.00 | 2120.00 | MPC ELECTRICALS AND ENGINEERS
25.00 | Earthing with G.I. earth pipe 4.5 Meter long, 40 mm dia., including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with char coal / coke and salt as required. | 2.00 | Each | 100.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 7500.00 | 15000.00 | 8000.00 | 16000.00 | 5175.00 | 10350.00 | 10350.00 | Yash Energy Pvt. Ltd
26.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 60.00 | Mtr | 100.00 | 30.00 | 1800.00 | 260.00 | 15600.00 | 30.00 | 1800.00 | 40.00 | 2400.00 | 64.00 | 3840.00 | 1800.00 | GK ELECTRICALS AND ENGINEERS, Manish Electricals
27.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 15.00 | Mtr | 100.00 | 20.00 | 300.00 | 35.00 | 525.00 | 40.00 | 600.00 | 30.00 | 450.00 | 35.00 | 525.00 | 300.00 | GK ELECTRICALS AND ENGINEERS
28.00 | Providing and fixing of advanced conventional type lighting protection system with copper lightning conductor finial, made of 25 mm dia. 300 mm long, copper rod, having multi prong at top, with 85 mm dia 6 mm thick copper base plate and bimetallic plate including holes etc., including providing and installation of frangible pole mast up to 4Mtr height, GI pole with breakable coupling, fabrication suitable for installation of lightning arrester and pole foundation etc., complete as required. | 1.00 | Job | 100.00 | 8000.00 | 8000.00 | 225000.00 | 225000.00 | 9000.00 | 9000.00 | 119000.00 | 119000.00 | 10925.00 | 10925.00 | 8000.00 | GK ELECTRICALS AND ENGINEERS
29.00 | SITC of maintenance free earthing system set consisting of one copper pipe in pipe earthing electrode of outer dia 48-50mm and inner dia. 25mm, 3Mtr. In Length along with two bags(25kg) of ground enhancement material (GEM) with one set of clamp and Earth pit chamber. | 2.00 | Job | 100.00 | 8000.00 | 16000.00 | 35000.00 | 70000.00 | 12000.00 | 24000.00 | 21500.00 | 43000.00 | 8625.00 | 17250.00 | 16000.00 | GK ELECTRICALS AND ENGINEERS
30.00 | Supply and laying of 70 sq mm multi stranded copper green colour cable lay through suitable size HDPE pipe for bonding of earthings at ground. Terminations with ss nuts, bolts with washers etc. complete with all accesosaries as required | 60.00 | Mtr | 100.00 | 700.00 | 42000.00 | 450.00 | 27000.00 | 1400.00 | 84000.00 | 950.00 | 57000.00 | 943.00 | 56580.00 | 27000.00 | MPC ELECTRICALS AND ENGINEERS
31.00 | Primary Surge Protection Supply, Installation, testing and commissioning of 3Phase+Neutral suitable to operate in nominal voltage of 230-275V, 50Hz AC, Series connection type, AC Surge Protection Device (SPD) (MOV, plug in type) capable of carrying nominal discharge of 50KA - 120KA Cat-B (BMOVSD), 8/20 micro second surge, voltage protection level of <1.5KV, Let through voltage <380V for 3kA cat-B and necessary visual indications,with compliance of all current international standards (IEC 61643-11 / IEEE C62.41 / BS6651-1999 / BS EN 60950 : 1992; BS EN 61000 : 1999/) in IP55 or above grade steel enclosure and to be provided at power entry point as first stage protection complete with suitable safety circuit breaker, wiring with copper single core 16sqmm cable in PVC conduit, all accessories,connections, interconnections, etc., as required for installing on wall / puf panel/ pre fab steel hut. as per technical specifications contract. | 1.00 | Each | 100.00 | 8000.00 | 8000.00 | 245874.00 | 245874.00 | 25000.00 | 25000.00 | 105000.00 | 105000.00 | 34500.00 | 34500.00 | 8000.00 | GK ELECTRICALS AND ENGINEERS
32.00 | Secondary Protection Supply and installation of multi stage series power filter (MSSPF), 40amps, 1phase, 2wire with neutral protection and built in MOV based surge diverter of 40A at input and 25kA rating at load side with LC low pass filter for single phase, Inductor (L) Wounded in cylindrical Ferrite core, Self healing polypropylene Capacitor (C) in prewired, powder coated metal enclosure of IP42 or higher grade with 40amps MCB, service change over switch, complete with sensing circuit, potential free contacts and necessary indicators and alarms connected in series with UPS input complete as required. | 1.00 | Each | 100.00 | 7800.00 | 7800.00 | 153000.00 | 153000.00 | 25000.00 | 25000.00 | 124500.00 | 124500.00 | 51750.00 | 51750.00 | 7800.00 | GK ELECTRICALS AND ENGINEERS
33.00 | Supply, installation, testing and commissioning of wall-mounted 120kA, single-phase Digital Grounding Device suitable for outdoor application having protection against lightning surge, static charge and other abnormal electrical disturbance, etc and ensuring earth to a neutral voltage less than 01 V, inbuilt digital lightening surge counter, self-health visual system indication with the facility to monitor online in a pre-wired pulverulent body painting including accessories like isolation MCB, cover, wiring clamping, etc complete in all respect as required. (Make: eca3g, model: LP-13-20 or equivalent) | 1.00 | Job | 100.00 | 10000.00 | 10000.00 | 125000.00 | 125000.00 | 12000.00 | 12000.00 | 126000.00 | 126000.00 | 143750.00 | 143750.00 | 10000.00 | GK ELECTRICALS AND ENGINEERS
34.00 | Supply, Installation, Testing & Commissioning of Two Loop Panel UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of following loops, with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. The panel shall have facility for seamless integration. The panel shall be compatible for Building Management System with open protocol BACNET / MODBUS / Auto Dialler etc. as per specification, complete as required. | 1.00 | Each | 10.00 | 500000.00 | 500000.00 | 170000.00 | 170000.00 | 125000.00 | 125000.00 | 85000.00 | 85000.00 | 86250.00 | 86250.00 | 85000.00 | Awasthi Electric Works
35.00 | Supplying, installation, testing & commissioning of intelligent analogue addressable Multi criteria detector complete with mounting base complete as required. | 6.00 | Each | 10.00 | 3000.00 | 18000.00 | 17000.00 | 102000.00 | 2500.00 | 15000.00 | 2600.00 | 15600.00 | 2300.00 | 13800.00 | 13800.00 | Yash Energy Pvt. Ltd
36.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 3250.00 | 6500.00 | 3105.00 | 6210.00 | 6000.00 | GK ELECTRICALS AND ENGINEERS, Manish Electricals
37.00 | Supplying, installation, testing & commissioning of addressable horn cum strobe complete as required. | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 6150.00 | 12300.00 | 4485.00 | 8970.00 | 6000.00 | GK ELECTRICALS AND ENGINEERS
38.00 | Supplying & laying of 2Cx1.5 Sq.mm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLSH outer sheath on existing wall / in pipe / surface etc., complete as required. | 100.00 | Mtr | 10.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 175.00 | 17500.00 | 150.00 | 15000.00 | 12000.00 | Manish Electricals
39.00 | Supply, installation, testing and commissioning of SIM card and land line based auto dialler system to alert massage to land lines / mobile phones various lacations from the fire alarm control system of Nav-Aids installations as required. | 4.00 | Each | 10.00 | 8000.00 | 32000.00 | 15000.00 | 60000.00 | 6500.00 | 26000.00 | 21000.00 | 84000.00 | 13800.00 | 55200.00 | 26000.00 | Manish Electricals
40.00 | SITC of 5 Star rating, fully inverter type, single phase split type Air conditioner of 1.5 TR capacity fitted with rotary/scroll compressor suitable for wall mounting operation with cordless LCD/LED Remote, Auto restart operation, connecting copper refrigerant pipes (with suitable nitrile insulation including charging of suitable refrigerant gas, 3C x 2.5 Sq.mm copper pvc cable, drain pipe) up to 3Mtr. and suitable for operating on 230V ±10%, 50Hz, Single phase, AC supply including mounting stand, control wiring, thermostat, washable synthetic air filter etc. complete as per site requirement and capable of performing Cooling, Dehumidifying, Air Circulating, Filtering functions etc. as required. | 6.00 | Each | 100.00 | 210000.00 | 1260000.00 | 45000.00 | 270000.00 | 40000.00 | 240000.00 | 37500.00 | 225000.00 | 42560.00 | 255360.00 | 225000.00 | Awasthi Electric Works
41.00 | Supply and fixing of 4KVA, 12Amp / 150V-290V Digital electronics voltage stabilizer of wall mounting type with Instant Start and Intelligent time delay provisions suitable for 1.5TR Inverter split AC units. | 6.00 | Each | 100.00 | 38000.00 | 228000.00 | 5300.00 | 31800.00 | 3000.00 | 18000.00 | 5500.00 | 33000.00 | 8250.00 | 49500.00 | 18000.00 | Manish Electricals
42.00 | Supply and fixing of additional hard drain piping (uPVC) of 25mm dia. for 1.5TR split type AC Units for connection from indoor to room out / connect any existing drain and suitable necessary accessories for connection complete as required. | 36.00 | Mtr | 100.00 | 100.00 | 3600.00 | 230.00 | 8280.00 | 150.00 | 5400.00 | 100.00 | 3600.00 | 259.00 | 9324.00 | 3600.00 | GK ELECTRICALS AND ENGINEERS, Awasthi Electric Works
43.00 | Supply, installation, testing and commissioning of 1-Phase Auto time changeover switch for operation of 2AC Time Sequentialy for 1.5TR Inverter Split type AC Units with all accessories complete as required. | 3.00 | Each | 10.00 | 31800.00 | 95400.00 | 8000.00 | 24000.00 | 6000.00 | 18000.00 | 8400.00 | 25200.00 | 6325.00 | 18975.00 | 18000.00 | Manish Electricals
44.00 | Supply, installation, testing and commissioning of 1200mm Sweep, High speed, 230 m3/min air delivery, BLDC ceiling fan complete with fan blades, top and bottom canopy with all accessories suitable for operation on 230V AC supply etc., as required. (Make: USHA, Striker Millennium 1200mm) | 1.00 | Each | 10.00 | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 2500.00 | 2500.00 | 24.00 | 24.00 | 2760.00 | 2760.00 | 24.00 | Awasthi Electric Works
45.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 1.00 | Each | 10.00 | 280.00 | 280.00 | 700.00 | 700.00 | 350.00 | 350.00 | 500.00 | 500.00 | 460.00 | 460.00 | 280.00 | GK ELECTRICALS AND ENGINEERS
46.00 | Supply and fixing of Slim Ray Rechargeable Emergency Light (Philips) suitable for fix in wall surface and suitable for recharge on 230V, AC Supply including fixing arrangement etc. as required | 1.00 | Each | 10.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2200.00 | 2200.00 | 1700.00 | 1700.00 | 6325.00 | 6325.00 | 1700.00 | Awasthi Electric Works
47.00 | Supply of Ioniq Rechargeable Emergency Light (Philips) suitable for recharge on 230V, AC Supply including fhanging arrangement etc. as required | 1.00 | Each | 10.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 6325.00 | 6325.00 | 1500.00 | Manish Electricals
48.00 | Supply of 2nd Generation Nitrocellulose & Chlorine Free, Non Pyrotechnic Aerosol "G" Compound for Fire Suppression, Non Pressurised, 15 Yrs Shelf Life, each canister discharge efficiency above 95% having Activation Type Electrical with Notification to evacuate the room prior to Aerosol G discharge.Confriming to Kiwa / ISO15779/ EN 15276-2/ BRL K23001/04/ NFPA2010/ UL2127/ 2775 standards certified by notified body. Active Extinguishing Agent required not less than 14.30Kg considering all class of Fire A,B,C & E as some of the electrical components & cable sheath falls under Fire Class A.Canister to be lighter in weight, Active compound Wt. to Gross Wt. Ratio not to exceed 1:4 | 3.00 | Sets | 10.00 | 318000.00 | 954000.00 | 350620.00 | 1051860.00 | 550000.00 | 1650000.00 | 222000.00 | 666000.00 | 661500.00 | 1984500.00 | 666000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 3453080.00 |  | 3180774.00 |  | 3371790.00 |  | 2634954.00 |  | 3593597.00
Lowest Amount Quoted BY: Awasthi Electric Works(2634954.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of ILS at Vijayawada Airport. SH Electrical Works Tender ID: 2025_AAI_232771_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -866719) | 2634954.00 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS (BID ID -866392) | 3180774.00 | L2
| 3 | Manish Electricals (BID ID -866629) | 3371790.00 | L3
| 4 | GK ELECTRICALS AND ENGINEERS (BID ID -866042) | 3453080.00 | L4
| 5 | Yash Energy Pvt. Ltd (BID ID -866729) | 3593597.00 | L5