## BoQ1
Government eProcurement System Created By: Rudra Prasad Acharya Created Date/Time: 28-May-2025 05:31 PM Tender Title: Special repair to residential quarters and IMD evicted quarters at BPI Airport, Bhubaneswar. (SH- Electrical Work.) Tender ID: 2025_AAI_232803_1
Tender Inviting Authority: - Asst. General Manager (Engg.-Elect.), BPI Airport, Bhubaneswar.
Name of Work: - Special repair to residential quarters and IMD evicted quarters at BPI Airport, Bhubaneswar. (SH: Electrical Work.)
Contract No: - 2025_AAI_232803_1.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -850256 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -850287 |  | M/S DURGA SUPPLY AGENCIES (GSTN-21ADAPP6465D1ZV) BID ID -850658 |  | hind electricals (GSTN-NA) BID ID -850357
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : - Electrical Work
1.10 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc. as per tender condition, as per site requirement and as per direction EIC. i)Group A | 301.00 | Point | 0.00 | 1150.00 | 346150.00 | 1611.00 | 484911.00 | 1130.00 | 340130.00 | 950.00 | 285950.00 | 285950.00 | hind electricals
2.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as per tender condition, as per site requirement and as per direction EIC.
2.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 480.00 | Meter | 0.00 | 300.00 | 144000.00 | 130.00 | 62400.00 | 350.00 | 168000.00 | 270.00 | 129600.00 | 62400.00 | Yash Energy Pvt. Ltd
2.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 750.00 | Meter | 0.00 | 390.00 | 292500.00 | 188.00 | 141000.00 | 420.00 | 315000.00 | 370.00 | 277500.00 | 141000.00 | Yash Energy Pvt. Ltd
3.00 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as per tender condition, as per site requirement and as per direction EIC.
3.10 | 180 mm X 100 mm X 60 mm deep | 178.00 | Each | 0.00 | 250.00 | 44500.00 | 465.00 | 82770.00 | 227.00 | 40406.00 | 350.00 | 62300.00 | 40406.00 | M/S DURGA SUPPLY AGENCIES
4.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as per tender condition, as per site requirement and as per direction EIC.
4.10 | 10 amps switch | 81.00 | Each | 0.00 | 60.00 | 4860.00 | 50.00 | 4050.00 | 18.00 | 1458.00 | 200.00 | 16200.00 | 1458.00 | M/S DURGA SUPPLY AGENCIES
4.20 | 15/16 amp switch | 97.00 | Each | 0.00 | 120.00 | 11640.00 | 110.00 | 10670.00 | 65.00 | 6305.00 | 375.00 | 36375.00 | 6305.00 | M/S DURGA SUPPLY AGENCIES
4.30 | 3 pin 5/6 amp socket outlet | 81.00 | Each | 0.00 | 120.00 | 9720.00 | 110.00 | 8910.00 | 40.00 | 3240.00 | 250.00 | 20250.00 | 3240.00 | M/S DURGA SUPPLY AGENCIES
4.40 | 6 pin 15/16 amp socket outlet | 97.00 | Each | 0.00 | 135.00 | 13095.00 | 135.00 | 13095.00 | 75.00 | 7275.00 | 200.00 | 19400.00 | 7275.00 | M/S DURGA SUPPLY AGENCIES
4.50 | Bell push | 27.00 | Each | 0.00 | 80.00 | 2160.00 | 75.00 | 2025.00 | 25.00 | 675.00 | 300.00 | 8100.00 | 675.00 | M/S DURGA SUPPLY AGENCIES
5.00 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 volts, complete as required, as per tender condition, as per site requirement and as per direction EIC. | 27.00 | Each | 0.00 | 300.00 | 8100.00 | 656.00 | 17712.00 | 60.00 | 1620.00 | 250.00 | 6750.00 | 1620.00 | M/S DURGA SUPPLY AGENCIES
6.00 | Supply of Minimum 20W LED tube light including driver Surface /Pendent Mounting suitable for 230 V, single phase AC supply as per tender condition, as per site requirement and as per direction EIC. | 72.00 | Each | 0.00 | 300.00 | 21600.00 | 243.00 | 17496.00 | 170.00 | 12240.00 | 250.00 | 18000.00 | 12240.00 | M/S DURGA SUPPLY AGENCIES
7.00 | SITC of minimum 30 W LED street light symmetrical Luminaire powder coated MS/aluminium housing with die-cast aluminium frame fixed to the housing and heat resistant toughened clear glass cover & accessories , complete with driver and other standard accessories, all prewired upto terminal block suitable for 230 V, single phase AC supply I/C sutable size GI bracket and clam for wall mounting as per tender condition, as per site requirement and as per direction EIC. | 10.00 | Each | 0.00 | 1300.00 | 13000.00 | 1120.00 | 11200.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 11200.00 | Yash Energy Pvt. Ltd
8.00 | SITC of 1200 mm sweep 3 blade ceiling fan five star rating I/C multispeed step electronic fan regulator suitable for operation on 230 V 50 Hz A/C supply complete with continuous duty motor, as per tender condition, as per site requirement and as per direction EIC. | 81.00 | Each | 0.00 | 2400.00 | 194400.00 | 3302.00 | 267462.00 | 2500.00 | 202500.00 | 2500.00 | 202500.00 | 194400.00 | Awasthi Electric Works
9.00 | SITC of 300mm dia, 900 RPM heavy duty exhaust fan suitable for single phase 230v.50Hz A/C supply complete with motor, capacitor I/C louvers/ shutters complete with frame etc as per tender condition, as per site requirement and as per direction EIC. | 27.00 | Each | 0.00 | 2800.00 | 75600.00 | 5776.00 | 155952.00 | 2000.00 | 54000.00 | 2800.00 | 75600.00 | 54000.00 | M/S DURGA SUPPLY AGENCIES
10.00 | Supplying and fixing following way, Single pole and neutral, sheet steel, MCB distribution board, 230 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as per tender condition, as per site requirement and as per direction EIC. (But without MCB/RCCB/Isolator). i)8 way ,Single door | 27.00 | Each | 0.00 | 1500.00 | 40500.00 | 1712.00 | 46224.00 | 2100.00 | 56700.00 | 1500.00 | 40500.00 | 40500.00 | Awasthi Electric Works, hind electricals
11.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as per tender condition, as per site requirement and as per direction EIC. i)Single pole(10ka) | 108.00 | Each | 0.00 | 200.00 | 21600.00 | 207.00 | 22356.00 | 160.00 | 17280.00 | 200.00 | 21600.00 | 17280.00 | M/S DURGA SUPPLY AGENCIES
12.00 | Supplying and fixing following rating, four pole,230 volts, DP MCB in the existing MCB DB complete with connections, testing and commissioning etc. as per tender condition, as per site requirement and as per direction EIC. i)63 amps | 27.00 | Each | 0.00 | 1000.00 | 27000.00 | 995.00 | 26865.00 | 1700.00 | 45900.00 | 1200.00 | 32400.00 | 26865.00 | Yash Energy Pvt. Ltd
13.00 | Supplying and fixing following rating, DP pole, 230 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as per tender condition, as per site requirement and as per direction EIC. i)63 amps | 27.00 | Each | 0.00 | 2800.00 | 75600.00 | 3252.00 | 87804.00 | 7000.00 | 189000.00 | 4500.00 | 121500.00 | 75600.00 | Awasthi Electric Works
14.00 | Supply and Fixing of Bulkget Head Fittings of minimum 10W suiable for 230V 50Hz AC power supply, as per tender condition, as per site requirement and as per direction EIC. | 32.00 | Each | 0.00 | 750.00 | 24000.00 | 514.00 | 16448.00 | 185.00 | 5920.00 | 700.00 | 22400.00 | 5920.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 1370025.00 |  | 1479350.00 |  | 1482649.00 |  | 1414925.00
Lowest Amount Quoted BY: Awasthi Electric Works(1370025.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repair to residential quarters and IMD evicted quarters at BPI Airport, Bhubaneswar. (SH- Electrical Work.) Tender ID: 2025_AAI_232803_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -850256) | 1370025.00 | L1
| 2 | hind electricals (BID ID -850357) | 1414925.00 | L2
| 3 | Yash Energy Pvt. Ltd (BID ID -850287) | 1479350.00 | L3
| 4 | M/S DURGA SUPPLY AGENCIES (BID ID -850658) | 1482649.00 | L4