## BoQ1
Government eProcurement System Created By: Ravi Singh Created Date/Time: 21-May-2025 12:12 PM Tender Title: Construction of New DVOR Building at Khajuraho Airport. SH Electrical Works. Tender ID: 2025_AAI_233005_1
Tender Inviting Authority: Airports Authority of India, Khajuraho Airport
Name of Work: Construction of New DVOR Building at Khajuraho Airport. SH : Electrical Works.
Contract No: 2025_AAI_233005_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -848134 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -848525 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -848793 |  | M/S SANDEEP KUMAR TIWARI (GSTN-NA) BID ID -848562
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
1.01 | 3 x 1.5 sq. mm | 45.00 | Mtrs. | 100.00 | 90.00 | 4050.00 | 120.00 | 5400.00 | 99.00 | 4455.00 | 60.00 | 2700.00 | 2700.00 | M/S SANDEEP KUMAR TIWARI
1.02 | 6 x 1.5 sq. mm | 20.00 | Mtrs. | 100.00 | 180.00 | 3600.00 | 225.00 | 4500.00 | 166.00 | 3320.00 | 120.00 | 2400.00 | 2400.00 | M/S SANDEEP KUMAR TIWARI
1.03 | 3 x 2.5 sq. mm | 20.00 | Mtrs. | 10.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 148.00 | 2960.00 | 100.00 | 2000.00 | 2000.00 | M/S SANDEEP KUMAR TIWARI
1.04 | 6 x 2.5 sq. mm | 90.00 | Mtrs. | 10.00 | 300.00 | 27000.00 | 330.00 | 29700.00 | 252.00 | 22680.00 | 200.00 | 18000.00 | 18000.00 | M/S SANDEEP KUMAR TIWARI
1.05 | 3 x 4 sq. mm | 30.00 | Mtrs. | 10.00 | 220.00 | 6600.00 | 252.00 | 7560.00 | 209.00 | 6270.00 | 140.00 | 4200.00 | 4200.00 | M/S SANDEEP KUMAR TIWARI
1.06 | 6 x 4 sq. mm | 325.00 | Mtrs. | 10.00 | 440.00 | 143000.00 | 450.00 | 146250.00 | 368.00 | 119600.00 | 350.00 | 113750.00 | 113750.00 | M/S SANDEEP KUMAR TIWARI
1.07 | 1 x 6 sq. mm | 25.00 | Mtrs. | 10.00 | 125.00 | 3125.00 | 155.00 | 3875.00 | 130.00 | 3250.00 | 90.00 | 2250.00 | 2250.00 | M/S SANDEEP KUMAR TIWARI
1.08 | 2 x 10 sq. mm | 10.00 | Mtrs. | 10.00 | 500.00 | 5000.00 | 455.00 | 4550.00 | 338.00 | 3380.00 | 300.00 | 3000.00 | 3000.00 | M/S SANDEEP KUMAR TIWARI
2.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
2.01 | 5/6 amps switch | 23.00 | Each | 100.00 | 100.00 | 2300.00 | 125.00 | 2875.00 | 81.00 | 1863.00 | 60.00 | 1380.00 | 1380.00 | M/S SANDEEP KUMAR TIWARI
2.02 | 15/16 amp switch | 49.00 | Each | 100.00 | 200.00 | 9800.00 | 225.00 | 11025.00 | 130.00 | 6370.00 | 100.00 | 4900.00 | 4900.00 | M/S SANDEEP KUMAR TIWARI
2.03 | 3 pin 5/6 amp socket outlet | 7.00 | Each | 10.00 | 150.00 | 1050.00 | 140.00 | 980.00 | 136.00 | 952.00 | 100.00 | 700.00 | 700.00 | M/S SANDEEP KUMAR TIWARI
2.04 | 6 pin 15/16 amp socket outlet | 49.00 | Each | 10.00 | 200.00 | 9800.00 | 210.00 | 10290.00 | 191.00 | 9359.00 | 150.00 | 7350.00 | 7350.00 | M/S SANDEEP KUMAR TIWARI
3.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 7.00 | Point | 10.00 | 2000.00 | 14000.00 | 2250.00 | 15750.00 | 1775.00 | 12425.00 | 1500.00 | 10500.00 | 10500.00 | M/S SANDEEP KUMAR TIWARI
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 x 2.5 Sq.mm + 1 x 2.5 Sq.mm Earth Wire | 20.00 | Mtrs. | 10.00 | 400.00 | 8000.00 | 650.00 | 13000.00 | 136.00 | 2720.00 | 320.00 | 6400.00 | 2720.00 | Yash Energy Pvt. Ltd
5.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as rquired. | 20.00 | Mtrs. | 10.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 204.00 | 4080.00 | 300.00 | 6000.00 | 4080.00 | Yash Energy Pvt. Ltd
6.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | 3.00 | Each | 10.00 | 600.00 | 1800.00 | 450.00 | 1350.00 | 375.00 | 1125.00 | 210.00 | 630.00 | 630.00 | M/S SANDEEP KUMAR TIWARI
7.00 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC supply, earthing etc. complete as required. | 3.00 | Each | 10.00 | 5000.00 | 15000.00 | 2250.00 | 6750.00 | 3183.00 | 9549.00 | 2000.00 | 6000.00 | 6000.00 | M/S SANDEEP KUMAR TIWARI
8.00 | Supply of single phase, 300mm dia. 900 RPM sweep Heavy Exhaust fan having thermal overload protection, with Louver and shutter/safety Guard from foreign objects, etc. complete as required suitable for use on 230 volts, 50 Hz, single phase, A.C. supply. | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 2250.00 | 4500.00 | 5631.00 | 11262.00 | 1800.00 | 3600.00 | 3600.00 | M/S SANDEEP KUMAR TIWARI
9.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. (i) Upto 450mm | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 210.00 | 420.00 | 368.00 | 736.00 | 120.00 | 240.00 | 240.00 | M/S SANDEEP KUMAR TIWARI
10.00 | Supply of 36W 2X2 LED indoor Light Luminaire with control gear/driver, made of CRCA steel sheet housing, suitable for operation in 140-270 V, 50 HZ AC etc. for installation in false ceiling including all accessories complete as required as per technical specification. | 19.00 | Each | 10.00 | 4000.00 | 76000.00 | 5500.00 | 104500.00 | 1224.00 | 23256.00 | 3800.00 | 72200.00 | 23256.00 | Yash Energy Pvt. Ltd
11.00 | Supply of minimum 45W LED type Street Light Luminaire with control gear, made of pressure die cast aluminium housing with heat resistant toughened flat glass/polycarbonate cover and minimum IP 65 protection, suitable for operation in 140-270 V, 50 HZ AC etc. complete as required. | 6.00 | Each | 10.00 | 3500.00 | 21000.00 | 4500.00 | 27000.00 | 1715.00 | 10290.00 | 2500.00 | 15000.00 | 10290.00 | Yash Energy Pvt. Ltd
12.00 | Installation, testing and commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting complete with all accessories including connections etc. as required. | 19.00 | Each | 10.00 | 300.00 | 5700.00 | 80.00 | 1520.00 | 368.00 | 6992.00 | 70.00 | 1330.00 | 1330.00 | M/S SANDEEP KUMAR TIWARI
13.00 | Supply, Installation, Testing & commissioning of LED street light fitting on pole / wall including supply and bending of the suitable size GI pipe to the required shape, iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint including connection with 1.5 Sq.mm PVC insulated copper conductor single core cable etc. complete as required. | 6.00 | Each | 10.00 | 500.00 | 3000.00 | 650.00 | 3900.00 | 2387.00 | 14322.00 | 450.00 | 2700.00 | 2700.00 | M/S SANDEEP KUMAR TIWARI
14.00 | Supply and fixing of LED type Aviation obstruction light fixture using suitable size Gl pipe, clamps etc. for 230 Volt, 50 Hz AC supply complete as required. Make: Bajaj (BGAV 302 LED) or equivalent. | 2.00 | Each | 10.00 | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 3060.00 | 6120.00 | 4000.00 | 8000.00 | 6120.00 | Yash Energy Pvt. Ltd
15.00 | Supply and installation of portable emergency Twin beam LED light With Auto-Charge Technology having Emergency time backup of not less than 3 Hours suitable for 230 V, 50 Hz Single phase supply complete as required make from preferred make list. | 3.00 | Each | 10.00 | 5000.00 | 15000.00 | 5200.00 | 15600.00 | 6732.00 | 20196.00 | 4000.00 | 12000.00 | 12000.00 | M/S SANDEEP KUMAR TIWARI
16.00 | Supplying and fixing of nominal 2.00mm +/- 10% thick, 1000mm wide anti-skid Antistatic Electric Insulation mats confirming to IS 15652:2006 with up to date amendments and CPRI/ERDA tested suitable for 3.3 kV installation along with adhesive sealing material and similar type of taping on sealing at joints and corners as per recommendations etc. as required. | 50.00 | Sqm | 10.00 | 800.00 | 40000.00 | 450.00 | 22500.00 | 1102.00 | 55100.00 | 400.00 | 20000.00 | 20000.00 | M/S SANDEEP KUMAR TIWARI
17.00 | Supply, Installation, Testing & commissioning of 2 nos. of 5KVA capacity modular N+1 type (1:1 i.e. 02 units of 5kVA UPS operating parallel) online UPS (microprocessor based) having single phase AC input of voltage range 160 volt to 260 volt at 50Hz+/- 3Hz and single phase AC output of voltage range 230 +/- 1% at 50Hz,power efficiency more than 90% having input output bypass static switch including battery bank composed of advance glass mat valve regulated sealed lead acid battery construction in ABC flame retardant grade spill containment casing with battery backup (separate battery bank for each UPS i.e. double battery bank) of 30 minutes complete as required as per technical specification. | 1.00 | Job | 10.00 | 450000.00 | 450000.00 | 225000.00 | 225000.00 | 294740.00 | 294740.00 | 215000.00 | 215000.00 | 215000.00 | M/S SANDEEP KUMAR TIWARI
18.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 5.00 | Each | 10.00 | 8000.00 | 40000.00 | 9500.00 | 47500.00 | 8568.00 | 42840.00 | 4000.00 | 20000.00 | 20000.00 | M/S SANDEEP KUMAR TIWARI
19.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Mtrs. | 10.00 | 1200.00 | 60000.00 | 1050.00 | 52500.00 | 612.00 | 30600.00 | 500.00 | 25000.00 | 25000.00 | M/S SANDEEP KUMAR TIWARI
20.00 | Providing and fixing of copper lightning conductor finial made of 25 mm dia 1500 mm. Long and G.I. tube/pipe of size 50 mm dia, 30 ft long, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. for connecting GI/Copper strip etc. with necessary civil work for foundation including excavation and refilling of soil etc. complete as required. | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 22000.00 | 88000.00 | 24480.00 | 97920.00 | 4000.00 | 16000.00 | 16000.00 | M/S SANDEEP KUMAR TIWARI
21.00 | Jointing copper / G.I. tape (with another copper/ GI tape, base of the finial or any other metallic object) by riveting / nut bolting/ sweating and soldering etc. as required. | 12.00 | Each | 10.00 | 300.00 | 3600.00 | 165.00 | 1980.00 | 796.00 | 9552.00 | 60.00 | 720.00 | 720.00 | M/S SANDEEP KUMAR TIWARI
22.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 40.00 | Mtrs. | 10.00 | 1200.00 | 48000.00 | 1250.00 | 50000.00 | 1482.00 | 59280.00 | 900.00 | 36000.00 | 36000.00 | M/S SANDEEP KUMAR TIWARI
23.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 15.00 | Mtrs. | 10.00 | 350.00 | 5250.00 | 210.00 | 3150.00 | 172.00 | 2580.00 | 150.00 | 2250.00 | 2250.00 | M/S SANDEEP KUMAR TIWARI
24.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc.as required | 40.00 | Mtrs. | 10.00 | 1100.00 | 44000.00 | 1550.00 | 62000.00 | 1360.00 | 54400.00 | 700.00 | 28000.00 | 28000.00 | M/S SANDEEP KUMAR TIWARI
25.00 | Supply, installation, testing and commissioning of three phase modular type Surge Protection Device (Type-2) having 100KA, 10/350 micro seconds neutral to earth, 50 KA 10/350 micro second line to neutral with protection voltage less than 1.5 KV, wall mounting enclosure IP 42 or higher confirming to IS:61643/62305/UL 1449-3 up to latest amendments, 4 modes of protection, suitable for the mains power entry point at the incomers before UPS etc. complete as required as per technical specification. | 2.00 | Job | 10.00 | 100000.00 | 200000.00 | 75000.00 | 150000.00 | 75322.00 | 150644.00 | 65000.00 | 130000.00 | 130000.00 | M/S SANDEEP KUMAR TIWARI
26.00 | Supply, installation, testing and commissioning of single phase modular type multi stage surge protection device (Type-3) MOV having 40KA, 8/20 micro seconds with wall mounting enclosure IP 42 or higher confirming to IS:61643/62305/1449-3 up to latest amendments, 3 modes of protection, suitable for suitable for output side of single phase UPS etc. complete as required as per technical specification. | 1.00 | Job | 10.00 | 125000.00 | 125000.00 | 120000.00 | 120000.00 | 112455.00 | 112455.00 | 74000.00 | 74000.00 | 74000.00 | M/S SANDEEP KUMAR TIWARI
27.00 | Supplying, installation, testing and commissioning of micro processor based intelligent addressable main fire alarm panel, central processing unit with the following loop modules and capable of supporting not less than 240 devices (including detectors) and minimum 120 detectors per loop and loop length up to 2 km, network communication card, minimum 320 character graphics/ LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM), power supply unit (230 ± 5 % V, 50 hz), 48 hrs back-up with 24 volt sealed maintenance free batteries with automatic charger including web server PCB/CPU for IP connectivity and SITC of graphical Building Management System/fire alarm management system i/c software and License fee of software for remote monitoring of fire alarm system through existing monitor/desktop PC from equipment room shall be complete with all accessories . The panel shall be compatible for IBMS system with open protocol Bacnet/ Modbus over IP complete as per specifications. (i) Two Loop Panel | 1.00 | Job | 10.00 | 300000.00 | 300000.00 | 325000.00 | 325000.00 | 190965.00 | 190965.00 | 300000.00 | 300000.00 | 190965.00 | Yash Energy Pvt. Ltd
28.00 | Supply, installation, testing & commissioning of addressable multi criteria detector having built in mounting base and other accessories complete with all connections etc. as required. | 16.00 | Each | 10.00 | 3000.00 | 48000.00 | 2800.00 | 44800.00 | 4825.00 | 77200.00 | 1600.00 | 25600.00 | 25600.00 | M/S SANDEEP KUMAR TIWARI
29.00 | Supply, installation, testing & commissioning of addressable hooter cum strobe unit complete with all connections and accessories as required. | 2.00 | Each | 10.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 10435.00 | 20870.00 | 2500.00 | 5000.00 | 5000.00 | M/S SANDEEP KUMAR TIWARI
30.00 | Supply, installation, testing & commissioning of addressable manual call point complete with all connections and accessories as required. | 1.00 | Each | 10.00 | 6000.00 | 6000.00 | 4000.00 | 4000.00 | 6508.00 | 6508.00 | 3800.00 | 3800.00 | 3800.00 | M/S SANDEEP KUMAR TIWARI
31.00 | Supply & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required. | 70.00 | Mtrs. | 10.00 | 200.00 | 14000.00 | 220.00 | 15400.00 | 225.00 | 15750.00 | 200.00 | 14000.00 | 14000.00 | DOSHI ELECTRIC ENGG. CO., M/S SANDEEP KUMAR TIWARI
32.00 | Supply, installation, testing & commissioning of GSM Based Auto dialer system in existing Fire Alarm Panel comprising of LCD display, able to store minimum 10 phone numbers for each voice and SMS, 20 second recording time for each recorded message, Alarm SMS with alarm type, time and date information, equipped with Nonvolatile memory, input voltage 12V to 24V DC, Operating Temperature 0 deg. to 45 deg. including all accessories complete as required. | 1.00 | Each | 10.00 | 15000.00 | 15000.00 | 22000.00 | 22000.00 | 26928.00 | 26928.00 | 9000.00 | 9000.00 | 9000.00 | M/S SANDEEP KUMAR TIWARI
33.00 | Supply, installation, testing and commissioning of 4.5 kg carbon dioxide (CO2) type fire extinguishers confirming to IS 2878 : 1976 and cylinders fully charged of following capacity including providing suitable M.S. Stand complete as required. | 6.00 | Each | 10.00 | 9000.00 | 54000.00 | 9500.00 | 57000.00 | 4284.00 | 25704.00 | 6800.00 | 40800.00 | 25704.00 | Yash Energy Pvt. Ltd
34.00 | Design, manufacturing, supply, installation, testing and commissioning of Environmental friendly aerosol based fire suppression system comprising an electrically operated aerosol generator and actuator/signal generator with shelf life of 10 to 15 years having aerosol mass / concentration based on UL / EN / NFPA/ ISO (latest) approved / Certified design concentration applicable for Class A, B & C of Fire with Volumetric Design Consideration. The generator shall be electrically actuated by the actuator/signal generator and it shall be connected/integrated with the existing addressable Fire Alarm Panel. The quantity of Aerosol generators shall be decided according to volume / dimension of existing room above flooring having following room Volume. The system shall be supplied with necessary accessories complete as required.
34.01 | Equipment Room Volume : 80 Cubic Mtrs. Approx. | 1.00 | Job | 100.00 | 250000.00 | 250000.00 | 210000.00 | 210000.00 | 1167957.00 | 1167957.00 | 210000.00 | 210000.00 | 210000.00 | Manish Electricals, M/S SANDEEP KUMAR TIWARI
34.02 | UPS Room Volume : 20 Cubic Mtrs. Approx. | 1.00 | Job | 100.00 | 175000.00 | 175000.00 | 175000.00 | 175000.00 | 373220.00 | 373220.00 | 124000.00 | 124000.00 | 124000.00 | M/S SANDEEP KUMAR TIWARI
34.03 | Electrical Main Panel Room Volume : 20 Cubic Mtrs. Approx. | 1.00 | Job | 100.00 | 175000.00 | 175000.00 | 135000.00 | 135000.00 | 372220.00 | 372220.00 | 124000.00 | 124000.00 | 124000.00 | M/S SANDEEP KUMAR TIWARI
35.00 | Supply, Installation, Testing & commissioning of indoor and outdoor Highwall 1.5 TR spilt Inverter Air conditioner units (BEE 5 star rating) having Eco friendly refrigerant evaporator and condensing unit made of copper tubes, Aluminium fins which includes mounting of indoor & outdoor unit including providing suitable size of MS angle type stand at their respective location along with laying of suitable size of refrigerant, UPVC drain pipeline with insulation & flexible PVC covering pipe up to 4 mtr. connecting both the units, leak testing of entire system, connecting both indoor and outdoor units with 4 core 2.5 sqmm PVC insulated flexible copper cable supplied with the unit , top up of refrigerant (if required), minor civil repairing work as per site requirement complete as required. | 7.00 | Job | 10.00 | 50000.00 | 350000.00 | 55000.00 | 385000.00 | 39831.00 | 278817.00 | 42000.00 | 294000.00 | 278817.00 | Yash Energy Pvt. Ltd
36.00 | Supply, Installation, Testing & commissioning of voltage stabilizers suitable for 1.5 ton Inverter AC with copper wound coil having input voltage range of 170 to 270 V AC voltage single phase, 50 Hz AC supply and output voltage 220 V to 240 V i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of standard length, complete etc. as required. | 7.00 | Each | 10.00 | 5000.00 | 35000.00 | 4200.00 | 29400.00 | 7344.00 | 51408.00 | 2800.00 | 19600.00 | 19600.00 | M/S SANDEEP KUMAR TIWARI
37.00 | Supply, Installation, Testing & commissioning of Electronic digital smart controller with Timer with 4 hr / 8 hr duration Changeover and timer Switch with current limiter suitable for 1.5 ton Inverter Air conditioner units for suitable for single phase AC power supply 240 V, 50 Hz. etc. complete as required. | 2.00 | Each | 10.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 4284.00 | 8568.00 | 3500.00 | 7000.00 | 7000.00 | M/S SANDEEP KUMAR TIWARI
38.00 | Supply and Installation of required size copper pipe for suction and delivery line and Power and control cabling with all accessories (beyond the standard length provided by OEM) suitable for Highwall 1.5 TR spilt Inverter Air conditioner ACs i/c Insulation, gas refilling etc. including minor civil works completed as required. | 12.00 | Mtrs. | 10.00 | 1500.00 | 18000.00 | 320.00 | 3840.00 | 1224.00 | 14688.00 | 200.00 | 2400.00 | 2400.00 | M/S SANDEEP KUMAR TIWARI
39.00 | Supplying & laying of condensate water drain pipe made of PVC having size of 20 mm dia, for additional requirement for AC units i/c necessary clamps, screws, supports, etc .completed as required. | 12.00 | Mtrs. | 10.00 | 150.00 | 1800.00 | 210.00 | 2520.00 | 276.00 | 3312.00 | 150.00 | 1800.00 | 1800.00 | DOSHI ELECTRIC ENGG. CO., M/S SANDEEP KUMAR TIWARI
40.00 | Supply of 4 x 16 sq. mm size of XLPE insulated and PVC sheathed XLPE Copper conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. | 25.00 | Mtrs. | 10.00 | 2000.00 | 50000.00 | 2100.00 | 52500.00 | 1286.00 | 32150.00 | 1500.00 | 37500.00 | 32150.00 | Yash Energy Pvt. Ltd
41.00 | Supply of 3.5 x185 Sq.mm size of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. | 2520.00 | Mtrs. | 10.00 | 1100.00 | 2772000.00 | 1330.00 | 3351600.00 | 956.00 | 2409120.00 | 1000.00 | 2520000.00 | 2409120.00 | Yash Energy Pvt. Ltd
42.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 X 185 sq. mm size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Each | 10.00 | 2000.00 | 8000.00 | 2200.00 | 8800.00 | 2693.00 | 10772.00 | 2500.00 | 10000.00 | 8000.00 | DOSHI ELECTRIC ENGG. CO.
43.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3.5 X 185 sq. mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 5.00 | Each | 10.00 | 5000.00 | 25000.00 | 3200.00 | 16000.00 | 4652.00 | 23260.00 | 2500.00 | 12500.00 | 12500.00 | M/S SANDEEP KUMAR TIWARI
44.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 2300.00 | Mtrs. | 10.00 | 250.00 | 575000.00 | 280.00 | 644000.00 | 332.00 | 763600.00 | 250.00 | 575000.00 | 575000.00 | DOSHI ELECTRIC ENGG. CO., M/S SANDEEP KUMAR TIWARI
45.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
45.01 | upto 35 sq. mm | 25.00 | Mtrs. | 100.00 | 40.00 | 1000.00 | 25.00 | 625.00 | 50.00 | 1250.00 | 30.00 | 750.00 | 625.00 | Manish Electricals
45.02 | Above 95 sq. mm and upto 185 sq. mm | 2400.00 | Mtrs. | 100.00 | 60.00 | 144000.00 | 30.00 | 72000.00 | 148.00 | 355200.00 | 60.00 | 144000.00 | 72000.00 | Manish Electricals
46.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 2520.00 | Mtrs. | 10.00 | 30.00 | 75600.00 | 30.00 | 75600.00 | 44.00 | 110880.00 | 35.00 | 88200.00 | 75600.00 | DOSHI ELECTRIC ENGG. CO., Manish Electricals
47.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10 cm including inscription duly engraved as required | 101.00 | Nos. | 10.00 | 300.00 | 30300.00 | 550.00 | 55550.00 | 2693.00 | 271993.00 | 300.00 | 30300.00 | 30300.00 | DOSHI ELECTRIC ENGG. CO., M/S SANDEEP KUMAR TIWARI
48.00 | Supplying and fixing of 16 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Job | 10.00 | 5000.00 | 5000.00 | 5200.00 | 5200.00 | 5508.00 | 5508.00 | 4000.00 | 4000.00 | 4000.00 | M/S SANDEEP KUMAR TIWARI
49.00 | Supplying and fixing following rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
49.01 | Single Pole (5 amps to 32 amps) | 16.00 | Each | 100.00 | 200.00 | 3200.00 | 275.00 | 4400.00 | 245.00 | 3920.00 | 200.00 | 3200.00 | 3200.00 | DOSHI ELECTRIC ENGG. CO., M/S SANDEEP KUMAR TIWARI
49.02 | Double Pole (63 amps) | 1.00 | Each | 100.00 | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 687.00 | 687.00 | 1200.00 | 1200.00 | 687.00 | Yash Energy Pvt. Ltd
50.00 | Supply, Installation, Testing & commissioning of LT Distribution Panel suitable for single phase, 220 Volt, 50Hz, AC supply made out of 14 SWG CRCA sheet, totally enclosed, dust & vermin proof, IP 42 protection, Indoor type Single door Floor/Wall Mounted panel suitable for installation on angel iron frame/ flat iron frame work, fabricated from 2 mm thick CRCA sheet steel for load bearing and 1.6 mm thick CRCA sheet steel for non-load bearing duly Epoxy powder coated (by minimum seven tank process) in approved color, with aluminium bus bars, interconnections with FRLSH copper conductor wires, Terminals for incoming & outgoing cable connections, earth bus, locking arrangement, cable alley, hardware, danger notice board suitable for indoor applications etc. complete as per site requirement. INCOMER (i) 64A DP 10kA MCB C-Curve-01 No. (ii) Red LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 1 No. (iii) 32A 10kA TPN-01 No. OUTGOING (i) 20A DP MCB C-Curve-09 Nos. (ii) 10A DP MCB C-Curve-07 Nos. | 1.00 | Job | 10.00 | 50000.00 | 50000.00 | 105000.00 | 105000.00 | 50490.00 | 50490.00 | 46000.00 | 46000.00 | 46000.00 | M/S SANDEEP KUMAR TIWARI
51.00 | Supply, Installation, Testing & commissioning of LT Panel suitable for 3 phase, 4 wire, 415 Volt, 50Hz, AC supply, made out of 14 SWG CRCA sheet, totally enclosed, dust & vermin proof, IP 42 protection, Indoor type Single door Floor Mounted panel suitable for installation on angel iron frame/ flat iron frame work, fabricated from 2 mm thick CRCA sheet steel for load bearing and 1.6 mm thick CRCA sheet steel for non-load bearing duly Epoxy powder coated (by minimum seven tank process) in approved color, with aluminium bus bars & Bus bar chamber, interconnections/ control wiring with FRLSH copper conductor wires, Terminals for incoming & outgoing cable connections, earth bus, locking arrangement, cable alley removable 3mm gland plate, hardware, danger notice board suitable for indoor applications etc. complete as per site requirement. INCOMER-1 & INCOMER-2 : (i) 2 Nos. of 150 Amps, 415V, 25kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F with spreader links and extended Rotary Handle suitable termination of 3.5Cx185 sqmm aluminium armoured cable (ii) LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 2 Set (each set comprise of Red, yellow and Green) Auto Transfer Switch (i) 415 V, 100 Amps, 4 pole Automatic transfer switch- 01 No. (ii) HRC Fuse 160A 80kA with base (iii) LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 1 Set (each set comprise of Red, yellow and Green) Main Incomer i)1 No of 100Amps, 415V, 18kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F with spreader links and extended Rotary Handle (ii)LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 1Set (each set comprise of Red, yellow and Green) (iii) 32A 10kA TPN-01 No. "(iv) Digital type 3 phase Multi-function Meter with suitable rating of MCB & 3 Nos. of single core epoxy resin cast type CTs of 100/5 Amps, 10 VA, CL 1.0 ratings -1 Set." Busbar (i)150 Amps, 415V, TPN, 16kA for 1 sec. Aluminium Bus bars with Heat shrinkable colour coded insulation sleeves. Outgoing/Sub incomer (i) 32A DP RCBO 100mA-03 Nos. Outgoing (i) 20A DP MCB C-Curve-17 Nos. (ii) 10A DP MCB C-Curve-2 No. Outgoing (i) 64A, 4 pole, 18kA, MCCB with extended Rotary Handle and Thermal magnetic Based releases -02 Nos. (ii) 32A DP RCBO 100mA-01 Nos. (iii) 40A TPN MCB C-Curve-01 No. (iv) 20A DP MCB C-Curve-01 No. (v) 32A 10kA TPN-01 No. (iv) 20A DP MCB C-Curve-01 No. | 1.00 | Job | 10.00 | 250000.00 | 250000.00 | 310000.00 | 310000.00 | 162690.00 | 162690.00 | 250000.00 | 250000.00 | 162690.00 | Yash Energy Pvt. Ltd
| Total in Figures |  |  |  |  | 6892775.00 |  | 7398660.00 |  | 8053278.00 |  | 5777850.00
Lowest Amount Quoted BY: M/S SANDEEP KUMAR TIWARI(5777850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New DVOR Building at Khajuraho Airport. SH Electrical Works. Tender ID: 2025_AAI_233005_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SANDEEP KUMAR TIWARI (BID ID -848562) | 5777850.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. (BID ID -848134) | 6892775.00 | L2
| 3 | Manish Electricals (BID ID -848525) | 7398660.00 | L3
| 4 | Yash Energy Pvt. Ltd (BID ID -848793) | 8053278.00 | L4