## BoQ1
Government eProcurement System Created By: NELLORE BALACHANDRA Created Date/Time: 30-May-2025 05:24 PM Tender Title: INSTALLATION OF DCWIS AT RUNWAY 08 SIDE, TIRUPATI AIRPORT. SH-ELECTRICAL WORKS Tender ID: 2025_AAI_233818_1
Tender Inviting Authority: Senior Manager(Engg-E)-II, AAI, Tirupati Airport.
Name of Work: Installation of DCWIS at RWY-08 Side, Tirupati Airport. SH: Electrical Works
Contract No: AAI/TPT/ENGG (E)/DCWIS-08/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -851251 |  | KALKI ELECTRICALS (GSTN-29AGGPD2370J1ZE) BID ID -852420 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -852727 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -853015 |  | C R ELECTRICALS (GSTN-NA) BID ID -853129 |  | Shiva Enterprises (GSTN-NA) BID ID -853181
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade confirming to relevant IS 7098 (Part-1) with upto date amendments. 3.5C x 50 Sq.mm | 3074.00 | Meter |  | 550.00 | 1690700.00 | 608.00 | 1868992.00 | 330.00 | 1014420.00 | 278.00 | 854572.00 | 246.00 | 756204.00 | 293.00 | 900682.00 | 756204.00 | C R ELECTRICALS
2.00 | Supply of following size XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade confirming to relevant IS 7098 (Part-1) with upto date amendments. 3C x 10 Sq.mm | 45.00 | Meter |  | 200.00 | 9000.00 | 210.00 | 9450.00 | 170.00 | 7650.00 | 130.00 | 5850.00 | 123.00 | 5535.00 | 130.00 | 5850.00 | 5535.00 | C R ELECTRICALS
3.00 | Fabrication, S.I.T.C of Outdoor MV Feeder Pillar Panel with double door arrangement made out of 2mm CRCA sheet steel for outer sheet covering and 1.6mm CRCA sheet steel for inner sheet door and partition, dust tight, vermin proof, totally enclosed, cubicle type with top canopy for rain protection, floor mounting, free standing, suitable for operation at 433 V, 3 phase, 4 wire, 50 Hz, AC Power Supply System complete with all accessories, interconnection, earthing, painting, grouting, providing pedastal upto the height of 500mm above the ground level, Cable Entry provision etc. as required and comprising of following: (a)One no.4P, 6Module, 63Amps Change Over Switch (b) One No. 63 A, 16 KA, 4P MCCB (D Sine Series of L&T/Equivalent) as Incomer with inbuilt O/C and S/C Protection with Thermal Magnetic Releases and provided with Resin Cast CTs with Digital Multifunction Meter (EM 6400 of Schneider or Make with features of EM 6400 as per Approved make list), ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required. (c) Three Nos. 20A, SP MCB. (d) One No. 10A, SP MCB. (e) Three Nos 6A SP MCB. (f) Five Nos 5A 3pin Socket. (g) One Set of Aluminium Busbars of 100 A Capacity including Neutral and with adequate size GI Earth Busbar as required. (h) One No. of 2KVA Online Double conversion UPS with Single Phase I/P and Single Phase Output, IGBT Technology & Built in Isolation Transformer with 96V DC. (UPS alongwith Battery shall be accomodated in the feeder pillar) (i) Eight Nos. of 12V, 26AH SMF Battery i/c interlink cables and MS Rack inside the feeder pillar to accommodate UPS and Battery. Battery shall be designed for 20 minutes Backup. | 1.00 | Job |  | 150000.00 | 150000.00 | 200000.00 | 200000.00 | 210000.00 | 210000.00 | 391373.00 | 391373.00 | 220000.00 | 220000.00 | 350000.00 | 350000.00 | 150000.00 | Balaji Engineering
4.00 | Providing, laying and fixing following dia HDPE pipe, in ground complete with necessary pipe couplings including trenching (75 cm deep) and re-filling etc. as required. 40 mm dia , PE 63, 4Kgf | 2654.00 | Meter |  | 125.00 | 331750.00 | 298.00 | 790892.00 | 265.00 | 703310.00 | 209.00 | 554686.00 | 298.00 | 790892.00 | 235.00 | 623690.00 | 331750.00 | Balaji Engineering
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. Above 35 mm2 and upto 95 mm2 | 30.00 | Meter |  | 20.00 | 600.00 | 410.00 | 12300.00 | 400.00 | 12000.00 | 577.00 | 17310.00 | 50.00 | 1500.00 | 180.00 | 5400.00 | 600.00 | Balaji Engineering
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the HDPE / GI / HUME Pipes as required. Upto 35 Sq.mm | 2654.00 | Meter |  | 20.00 | 53080.00 | 40.00 | 106160.00 | 30.00 | 79620.00 | 47.00 | 124738.00 | 50.00 | 132700.00 | 60.00 | 159240.00 | 53080.00 | Balaji Engineering
7.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C x 50 Sq.mm (35mm) | 5.00 | Each |  | 4500.00 | 22500.00 | 4960.00 | 24800.00 | 4500.00 | 22500.00 | 4053.00 | 20265.00 | 3000.00 | 15000.00 | 2700.00 | 13500.00 | 13500.00 | Shiva Enterprises
8.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C x 50 Sq.mm (35mm) | 4.00 | Set |  | 700.00 | 2800.00 | 500.00 | 2000.00 | 450.00 | 1800.00 | 737.00 | 2948.00 | 1000.00 | 4000.00 | 330.00 | 1320.00 | 1320.00 | Shiva Enterprises
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3C x 10 Sq.mm (22mm)) | 2.00 | Set |  | 700.00 | 1400.00 | 250.00 | 500.00 | 250.00 | 500.00 | 264.00 | 528.00 | 400.00 | 800.00 | 290.00 | 580.00 | 500.00 | KALKI ELECTRICALS, Awasthi Electric Works
10.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 2.00 | Job |  | 7500.00 | 15000.00 | 10600.00 | 21200.00 | 11000.00 | 22000.00 | 11583.00 | 23166.00 | 6000.00 | 12000.00 | 7500.00 | 15000.00 | 12000.00 | C R ELECTRICALS
11.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 20.00 | Meter |  | 150.00 | 3000.00 | 260.00 | 5200.00 | 250.00 | 5000.00 | 235.00 | 4700.00 | 35.00 | 700.00 | 500.00 | 10000.00 | 700.00 | C R ELECTRICALS
12.00 | Supplying and fixing suitable size G.I box with modular plate and cover in front on surface or in recess, including providing and fixing of 3-pin 5/6A modular socket outlet and 5/6A modular switch. connections etc. as required. | 10.00 | Each |  | 550.00 | 5500.00 | 345.00 | 3450.00 | 500.00 | 5000.00 | 541.00 | 5410.00 | 600.00 | 6000.00 | 400.00 | 4000.00 | 3450.00 | KALKI ELECTRICALS
13.00 | Providing, laying and fixing following dia G.I. pipe (medium class) Road / Nallah crossing complete with G.I. fittings etc. as required. 40 mm dia | 22.00 | Each |  | 450.00 | 9900.00 | 610.00 | 13420.00 | 450.00 | 9900.00 | 5349.00 | 117678.00 | 600.00 | 13200.00 | 2100.00 | 46200.00 | 9900.00 | Balaji Engineering, Awasthi Electric Works
14.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 3.00 | Cub.Mtr |  | 500.00 | 1500.00 | 1350.00 | 4050.00 | 1000.00 | 3000.00 | 5824.00 | 17472.00 | 750.00 | 2250.00 | 5500.00 | 16500.00 | 1500.00 | Balaji Engineering
15.00 | Supply of 12 Core armored single mode OFC | 3300.00 | Meter |  | 150.00 | 495000.00 | 60.00 | 198000.00 | 90.00 | 297000.00 | 87.00 | 287100.00 | 122.00 | 402600.00 | 38.00 | 125400.00 | 125400.00 | Shiva Enterprises
16.00 | Supply of 6U networking rack with power supply extension board | 1.00 | Each |  | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 7338.00 | 7338.00 | 5980.00 | 5980.00 | 7500.00 | 7500.00 | 5000.00 | KALKI ELECTRICALS
17.00 | Supply of 12 port fully loaded LIU | 2.00 | Each |  | 20000.00 | 40000.00 | 3800.00 | 7600.00 | 10000.00 | 20000.00 | 8503.00 | 17006.00 | 6325.00 | 12650.00 | 4200.00 | 8400.00 | 7600.00 | KALKI ELECTRICALS
18.00 | Supply of Media Converters | 3.00 | Each |  | 15000.00 | 45000.00 | 4350.00 | 13050.00 | 7500.00 | 22500.00 | 6173.00 | 18519.00 | 4025.00 | 12075.00 | 4200.00 | 12600.00 | 12075.00 | C R ELECTRICALS
19.00 | Supply of 8 port non PoE switch | 3.00 | Each |  | 10000.00 | 30000.00 | 960.00 | 2880.00 | 3500.00 | 10500.00 | 3669.00 | 11007.00 | 9660.00 | 28980.00 | 3500.00 | 10500.00 | 2880.00 | KALKI ELECTRICALS
20.00 | Supply of Rain canopy (Metal encosure) | 1.00 | Each |  | 10000.00 | 10000.00 | 16500.00 | 16500.00 | 1500.00 | 1500.00 | 4660.00 | 4660.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 1500.00 | Awasthi Electric Works
21.00 | Supply of OFC patch cables | 4.00 | Each |  | 1500.00 | 6000.00 | 92.00 | 368.00 | 1000.00 | 4000.00 | 1688.00 | 6752.00 | 518.00 | 2072.00 | 1000.00 | 4000.00 | 368.00 | KALKI ELECTRICALS
22.00 | Splicing charges for four joints of 12 core OFC including cable joining kits | 4.00 | Job |  | 7500.00 | 30000.00 | 2150.00 | 8600.00 | 3500.00 | 14000.00 | 8387.00 | 33548.00 | 2530.00 | 10120.00 | 12000.00 | 48000.00 | 8600.00 | KALKI ELECTRICALS
23.00 | Providing, laying and fixing following dia HDPE pipe, in ground complete with necessary pipe couplings including trenching (75 cm deep) and re-filling etc. as required. 40 mm dia , PE 63, 4Kgf | 3300.00 | Meter |  | 125.00 | 412500.00 | 298.00 | 983400.00 | 265.00 | 874500.00 | 209.00 | 689700.00 | 298.00 | 983400.00 | 235.00 | 775500.00 | 412500.00 | Balaji Engineering
24.00 | Laying of OFC/12 Pair RC Cable in the existing RCC/ HUME/ METAL/HDPE pipe as required. | 3300.00 | Meter |  | 30.00 | 99000.00 | 30.00 | 99000.00 | 30.00 | 99000.00 | 35.00 | 115500.00 | 40.00 | 132000.00 | 20.00 | 66000.00 | 66000.00 | Shiva Enterprises
25.00 | Construction of Brick Masonary Manhole chamber of inside dimentions of 600mm x 600mm x 750mm (D) including excavation of earth (all kind of soil), PCC 1:5:10 for 100mm thick for base, inside plastering, providing CI cover of thickness 5mm on top of openable type etc., complete as required. | 4.00 | Job |  | 15000.00 | 60000.00 | 8100.00 | 32400.00 | 5500.00 | 22000.00 | 15189.00 | 60756.00 | 9200.00 | 36800.00 | 14000.00 | 56000.00 | 22000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 3534230.00 |  | 4429212.00 |  | 3467700.00 |  | 3392582.00 |  | 3592458.00 |  | 3269862.00
Lowest Amount Quoted BY: Shiva Enterprises(3269862.00)

## BOQ Summary
BOQ Summary Details Tender Title: INSTALLATION OF DCWIS AT RUNWAY 08 SIDE, TIRUPATI AIRPORT. SH-ELECTRICAL WORKS Tender ID: 2025_AAI_233818_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shiva Enterprises (BID ID -853181) | 3269862.00 | L1
| 2 | SARASWAT ENGINEERING SERVICES (BID ID -853015) | 3392582.00 | L2
| 3 | Awasthi Electric Works (BID ID -852727) | 3467700.00 | L3
| 4 | Balaji Engineering (BID ID -851251) | 3534230.00 | L4
| 5 | C R ELECTRICALS (BID ID -853129) | 3592458.00 | L5
| 6 | KALKI ELECTRICALS (BID ID -852420) | 4429212.00 | L6