## BoQ1
Government eProcurement System Created By: Suman Biswas Created Date/Time: 10-Jul-2025 03:26 PM Tender Title: Misc. Minor Capital works. SH- Provision of Automatic Sliding Gate Tender ID: 2025_AAI_234643_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Miscellenaeous Minor Capital Works SH:- Provision of Automatic Sliding Gate, Electro Hydraulic Tyre Killers and Boom Barrier for New ATS Complex, NSCBI Airport, Kolkata.
Contract No: <2025_AAI_234643_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Swaraj Secutech Pvt Ltd (GSTN-NA) BID ID -856743 |  | FORTUNA CONTROL AND AUTOMATIONS PVT LTD (GSTN-NA) BID ID -850764
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation , Testing and Commissioning (DSITC) of Crash Rated(K4) single leaf side opening MS/High Grade Carbon Steel Electrically Operated Remote Controlled Automatic Sliding Gate of 06 mtr. clear opening and 2.5 Mtr. of rated height , suitable for 230v/415v, 50Hz AC supply , complete with control panel(IP 65), safety sensors and flash light, associated cables of suitable size according to load identified from nearest DB to control panel within GI pipes (approx. 30 mtr) and with all accessories including laying of cables, interconnections, civil foundation work, cutting the roads fixing the channel, concrete work etc. complete as per site requirementetc and as per enclosed special conditiuons & perticular / technical and satisfaction of E.I.C. (Make:- Neptune / S.Aditya/Dormakaba/Technocrats/ Autoingres/Godrej) | 2.00 | Job |  | 2270000.00 | 4540000.00 | 2000000.00 | 4000000.00 | 4000000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
2.00 | Design, Supply, Installation , Testing and commissioning(DSITC) of Crash Rated (K-4) , Electrically Operated Remote Controlled electro-hydraulic Boom Barrier System of 6 Mtr length ( effective vehicle Blocking Width) to work on 230 V/ 415 V , 50 Hz AC supply ,PLC/Microcontroller based, control panel & logic circuits, operating push button including required foundation, wiring between control panel and remote operating panel with GI pipes (approx 30 mtr) etc. complete as required and as per enclosed special conditiuons & perticular / technical and satisfaction of E.I.C (Make:- AVIANS/SWARAJ/S.ADITYA/DORMAKABA/TECHNOCRATS/BROSIS/NEPTUNE/AUTOINGRESS) | 1.00 | Job |  | 876000.00 | 876000.00 | 1500000.00 | 1500000.00 | 876000.00 | Swaraj Secutech Pvt Ltd
3.00 | Design, Supply, Installation , Testing and Commissioning (DSITC) of Electro-Hydraulic Tyre Killers for clear vehicle blocking width of 6 Mtr. suitable to work on Single/Three phase, 230/415 Volts, 50 Hz AC Supply consisting of Electrically Operated Remote Controlled Tyre Killer operating on Hydraulic power system, drainage pump, PLC/Microprossor based control panel (suitable for outdoor application), Accumulator system for hydraulic operation in case of power failure, Logic circuit, civil foundation as per approved drawing and duly vetted by IITs/ State Engineering College or AAI empaneled authorized consultant i/c excavation of existing road and making good the same after installation of Tyre killers complete as required and laying of GI pipes for incoming & outgoing power & control cables( approx. 40 Mtr), Hydraulic system etc. as required for complete functioning of Tyre killers i/c crossing the RCC drain (if applicable) by making suitable openings and sealing the gaps thereafter comprising of items and features as per enclosed special conditiuons & perticular / technical specifications and satisfaction of E.I.C. (Make:- SWARAJ/S. ADITYA/TECHNOCRATS/NEPTUNE/BROSIS) | 1.00 | Job |  | 651000.00 | 651000.00 | 1500000.00 | 1500000.00 | 651000.00 | Swaraj Secutech Pvt Ltd
4.00 | All Inclusive Comprehensive Maintenance Contract(AICMC) after completion of Two years Defect Liability Period for the above Automatic Sliding Gate (As per Item No-1 for 02 nos. of qty.) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. (Quoting field is locked and shall autometically filled @ 9% of total quoted value against Item No. 1 for 1st year and successive years with 5% excalation of previous year)
4.10 | For 1st Year (after Two years DLP) | 1.00 | Job |  | 408600.00 | 408600.00 | 360000.00 | 360000.00 | 360000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
4.20 | For 2nd Year (after Two years DLP) | 1.00 | Job |  | 429030.00 | 429030.00 | 378000.00 | 378000.00 | 378000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
4.30 | For 3rd Year (after Two years DLP) | 1.00 | Job |  | 450481.50 | 450481.50 | 396900.00 | 396900.00 | 396900.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
4.40 | For 4th Year (after Two years DLP) | 1.00 | Job |  | 473005.58 | 473005.58 | 416745.00 | 416745.00 | 416745.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
4.50 | For 5th Year (after Two years DLP) | 1.00 | Job |  | 496655.85 | 496655.85 | 437582.25 | 437582.25 | 437582.25 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
5.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Automatic BooM Barrier (As per Item No-02) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the whole system in perfect working condition etc. complete as required and as per the particular specifications specified. (Quoting field is locked and shall autometically filled @ 8% of total quoted value against Item No. 2 for 1st year and successive years with 5% excalation of previous year)
5.10 | For 1st Year (after Two years DLP) | 1.00 | Job |  | 70080.00 | 70080.00 | 120000.00 | 120000.00 | 70080.00 | Swaraj Secutech Pvt Ltd
5.20 | For 2nd Year (after Two years DLP) | 1.00 | Job |  | 73584.00 | 73584.00 | 126000.00 | 126000.00 | 73584.00 | Swaraj Secutech Pvt Ltd
5.30 | For 3rd Year (after Two years DLP) | 1.00 | Job |  | 77263.20 | 77263.20 | 132300.00 | 132300.00 | 77263.20 | Swaraj Secutech Pvt Ltd
5.40 | For 4th Year (after Two years DLP) | 1.00 | Job |  | 81126.36 | 81126.36 | 138915.00 | 138915.00 | 81126.36 | Swaraj Secutech Pvt Ltd
5.50 | For 5th Year (after Two years DLP) | 1.00 | Job |  | 85182.68 | 85182.68 | 145860.75 | 145860.75 | 85182.68 | Swaraj Secutech Pvt Ltd
6.00 | All Inclusive Comprehensive Maintenance Contract (AICMC) after completion of Two years Defect Liability Period for the above Tyre Killers (As per Item No-3) i/c periodical, preventive, break down maintenance as per the OEM recommendations & AAI requirements and attending emergency breakdowns as and when required on 24 hrs. basis (on all days including holidays) and including all necessary spares and consumables to keep the wholer system in perfect working condition etc. complete as required and as per the particular specifications specified.(Quoting field is locked and shall autometically filled @ 7% of total quoted value against Item No. 3 for 1st year and successive years with 5% excalation of previous year)
6.10 | For 1st Year (after Two years DLP) | 1.00 | Job |  | 45570.00 | 45570.00 | 105000.00 | 105000.00 | 45570.00 | Swaraj Secutech Pvt Ltd
6.20 | For 2nd Year (after Two years DLP) | 1.00 | Job |  | 47848.50 | 47848.50 | 110250.00 | 110250.00 | 47848.50 | Swaraj Secutech Pvt Ltd
6.30 | For 3rd Year (after Two years DLP) | 1.00 | Job |  | 50240.93 | 50240.93 | 115762.50 | 115762.50 | 50240.93 | Swaraj Secutech Pvt Ltd
6.40 | For 4th Year (after Two years DLP) | 1.00 | Job |  | 52752.97 | 52752.97 | 121550.63 | 121550.63 | 52752.97 | Swaraj Secutech Pvt Ltd
6.50 | For 5th Year (after Two years DLP) | 1.00 | Job |  | 55390.62 | 55390.62 | 127628.16 | 127628.16 | 55390.62 | Swaraj Secutech Pvt Ltd
| Total in Figures |  |  |  |  | 8963812.18 |  | 10232494.28
Lowest Amount Quoted BY: Swaraj Secutech Pvt Ltd(8963812.18)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Minor Capital works. SH- Provision of Automatic Sliding Gate Tender ID: 2025_AAI_234643_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Swaraj Secutech Pvt Ltd (BID ID -856743) | 8963812.18 | L1
| 2 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD (BID ID -850764) | 10232494.28 | L2