## BoQ1
Government eProcurement System Created By: Mukesh Meena Created Date/Time: 09-Jul-2025 03:25 PM Tender Title: Provision of 02 Nos. Elevators (10 Pax Capacity Each) including AICMC for 5 Years at IOOB, RHQ-WR, Mumbai. Tender ID: 2025_AAI_234656_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.), RHQ-WR, Mumbai.
Name of Work: "Provision of 02 Nos. Elevators (10 Pax Capacity Each) including AICMC for 5 Years at IOOB, RHQ-WR, Mumbai.”
Contract No: AAI/IOOB/NIT/LIFT/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -861542 |  | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED (GSTN-NA) BID ID -857956
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : S.I.T.C. of Machine Room Less (MRL) Electric Traction Type Passenger Elevators
2.00 | Supply, installation, testing & comissioning of following capacity Machine Room Less (MRL) Electric Traction Type Passenger Elevators suitable for following travel height, stops & openings and entrance on all the serving floors, automatic central opening door, suitable for operation on 415 V , three phase, 50 HZ AC supply, having AC variable voltage and variable frequency type, traction control, speed of 1.00 m/s, electromagnetic braking system, duplex collection selective operation, with suitable panel, overload warning indicator, battery operated emergency alarm bell, LED type emergency light, intercom suitable for interconnection with AAI's EPABX system , infrared ray sensing door protection for full height ,reverse phase relay, fireman's switch at ground floor, digital car position indicator in car and landing at all floors with pre-announcing indicator UP/DOWN direction, LED type light luminaries , ventilation fan complete with all accessories including automatic rescue device etc. The traction motor of Machine room less (MRL) shall be gearless type and complete as per technical specifications . The elevator shall confirm to the detailed specifications. (a) 10 Passengers (Minimum) capacity , 680 kgs. (approx.) having automatic centre opening with glass door (car & landing doors), 30 Mtrs. Travel Heights (Approx.), 8 Stops & 8 Openings (Ground+ Seven Floors) on same side suitable for shaft size of 5700 mm X 3000 mm (For both the Elevators) | 2.00 | Job |  | 4051000.00 | 8102000.00 | 2250000.00 | 4500000.00 | 4500000.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
3.00 | SH-II : A.I.C.M.C.-(All Inclusive Comprehensive Maintenance Contract)
4.00 | All inclusive comprehensive maintenance contract of above Elevators 02 Nos. (Two Nos.) of 10 Pax Capacity each, after completion of Defects Liability Period of 1 Year. The scope of work during CMC Period shall be as per Technical Specifications etc. complete as required.
5.00 | 1st Year post DLP | 12.00 | Month |  | 33758.00 | 405096.00 | 18750.00 | 225000.00 | 225000.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
6.00 | 2nd Year post DLP | 12.00 | Month |  | 35446.00 | 425352.00 | 19688.00 | 236256.00 | 236256.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
7.00 | 3rd Year post DLP | 12.00 | Month |  | 37218.00 | 446616.00 | 20672.00 | 248064.00 | 248064.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
8.00 | 4th Year post DLP | 12.00 | Month |  | 39079.00 | 468948.00 | 21706.00 | 260472.00 | 260472.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
9.00 | 5th Year post DLP | 12.00 | Month |  | 41033.00 | 492396.00 | 22791.00 | 273492.00 | 273492.00 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED
| Total in Figures |  |  |  |  | 10340408.00 |  | 5743284.00
Lowest Amount Quoted BY: TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED(5743284.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 02 Nos. Elevators (10 Pax Capacity Each) including AICMC for 5 Years at IOOB, RHQ-WR, Mumbai. Tender ID: 2025_AAI_234656_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TRIO ELEVATORS CO (INDIA) PRIVATE LIMITED (BID ID -857956) | 5743284.00 | L1
| 2 | OMEGA ELEVATORS (BID ID -861542) | 10340408.00 | L2