## BoQ1
Government eProcurement System Created By: ANANTHASUBRAMANIAN P R Created Date/Time: 17-Jul-2025 05:32 PM Tender Title: Replacement of Lighted WDI for Rwy 11, 29 and associated works at Kadapa Airport Tender ID: 2025_AAI_235183_1
Tender Inviting Authority: The Senior Manager (E-E), AAI, Kadapa Airport.
Name of Work: Replacement of Lighted Wind Direction Indicator for Runway 11 & 29 and associated works at Kadapa Airport
Contract No: 2025_AAI_23518_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -857208 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -857243
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of Frangible Wind Direction Indicator for aviation with external lighting arrangement, obstruction light (LED), wind cone as per ICAO requirement and suitable RCC foundation including base plate, template, J-bolts, pipe for cable entry as recommended by the OEM of the Frangible mast complete as required. (The lighting arrangement shall be suitable for working at 230V , 50 Hz AC supply.) | 2.00 | Each |  | 270000.00 | 540000.00 | 227500.00 | 455000.00 | 455000.00 | Yash Energy Pvt. Ltd
2.00 | Dismantling of existing Wind Direction Indicator from site and shifting the wind direction indicator to store/dismantle area as required by EIC. | 2.00 | Job |  | 5000.00 | 10000.00 | 26000.00 | 52000.00 | 10000.00 | surbhi association
3.00 | Retrieving existing underground cable not exceeding 35sq.mm and DWC pipe not exceeding OD 63 mm by excavation in any kind of soil with depth upto 1.2 m including getting out the excavated soil, refilling with good soil after retrieval of cable/pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 meters.Excavation shall be carried out by manual means whereever directed by AAI. | 150.00 | Mtrs |  | 100.00 | 15000.00 | 260.00 | 39000.00 | 15000.00 | surbhi association
4.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc.. complete as required. (DWC pipe will be provided by AAI).Excavation shall be carried out by manual means whereever directed by AAI. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 150.00 | Mtrs |  | 100.00 | 15000.00 | 234.00 | 35100.00 | 15000.00 | surbhi association
5.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “B” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB / SMC box etc., complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 2.00 | Nos |  | 2000.00 | 4000.00 | 1495.00 | 2990.00 | 2990.00 | Yash Energy Pvt. Ltd
6.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 4C X 10 sq. mm (25mm) | 4.00 | Each |  | 250.00 | 1000.00 | 585.00 | 2340.00 | 1000.00 | surbhi association
7.00 | Supply of 4C X 10 sq.mm XLPE insulated PVC sheathed, armoured aluminium conductor power cable of 1.1 KV grade as per IS 7098 part-1 1988 upto date amendments etc.. complete as required | 30.00 | Mtrs |  | 150.00 | 4500.00 | 202.00 | 6060.00 | 4500.00 | surbhi association
8.00 | Supply of 3.5C X 35 sq.mm XLPE insulated PVC sheathed, armoured aluminium conductor power cable of 1.1 KV grade as per IS 7098 part-1 1988 upto date amendments etc.. complete as required | 100.00 | Mtrs |  | 290.00 | 29000.00 | 320.00 | 32000.00 | 29000.00 | surbhi association
9.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL/DWC pipe as required. Above 35 sq. mm and upto 95 sq. mm | 100.00 | Mtrs |  | 20.00 | 2000.00 | 72.00 | 7200.00 | 2000.00 | surbhi association
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 35 sq. mm (32mm) | 2.00 | Each |  | 400.00 | 800.00 | 715.00 | 1430.00 | 800.00 | surbhi association
11.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required.Excavation shall be carried out by manual means whereever directed by AAI. | 240.00 | Mtrs |  | 300.00 | 72000.00 | 195.00 | 46800.00 | 46800.00 | Yash Energy Pvt. Ltd
12.00 | Supply and laying of 50mm GI pipe (medium class) in ground etc.. complete as required. | 18.00 | Mtrs |  | 750.00 | 13500.00 | 780.00 | 14040.00 | 13500.00 | surbhi association
13.00 | Demolishing cement concrete manually/by mechanical means including disposal of material within 50 meters lead as per direction of Enginnering-in-charge nominal concrete 1:2:4 or richer mix. | 1.50 | Cum |  | 1200.00 | 1800.00 | 5200.00 | 7800.00 | 1800.00 | surbhi association
14.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 35 Sq.mm | 3.00 | Each |  | 2500.00 | 7500.00 | 2600.00 | 7800.00 | 7500.00 | surbhi association
15.00 | Embedding 63mm dia (OD 63mm & ID 51mm nominal) DWC HDPE pipe ISI marked conforming to IS 14930, Part-II complete in foundation(during casting) to cable entry inculding bending the pipe to the required shape complete as required. | 2.00 | Job |  | 200.00 | 400.00 | 2600.00 | 5200.00 | 400.00 | surbhi association
16.00 | Providing and laying in position cement concrete 1:2:4 (1 cement: 2 cum coarse sand : 4 graded stone aggregate 20 mm nominal size) for foundation etc including form work etc as required | 1.50 | Cum |  | 6500.00 | 9750.00 | 11700.00 | 17550.00 | 9750.00 | surbhi association
17.00 | SITC of SMC Junction box of size 300 x 200 x 125 mm having following (i) 4-pole 40A heavy duty connector - 1No (ii) DIN rail for the mounting one TPN MCB - 1 No, (iii) (5-32A) B- Curve TPN MCB - 1No, Suitable for accommodating 2 runs of 3.5C x 35sq.mm cable and quoted cost shall include cost of required foundation and installation on ground with suitable supports as approved by the EIC complete as required. | 2.00 | Each |  | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 4000.00 | surbhi association
18.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 2.00 | Each |  | 9000.00 | 18000.00 | 7150.00 | 14300.00 | 14300.00 | Yash Energy Pvt. Ltd
19.00 | Repairing the existing earth pits by demolishing existing masonry enclosure and providing RCC enclosure of 1:2:4 grade (1 cement : 2 coarse sand : 4 graded stone) reinforced with steel rods 8mm dia in a pattern approved by AAI, providing hinged MS cover of minimum 8 mm thickness good engineering practice including, painting the earth pit portion above ground and cover plate, numbering the same, providing and fixing suitable funnel, removing of debris etc. complete as per the direction of EIC. | 2.00 | Each |  | 1000.00 | 2000.00 | 5850.00 | 11700.00 | 2000.00 | surbhi association
| Total in Figures |  |  |  |  | 750250.00 |  | 771310.00
Lowest Amount Quoted BY: surbhi association(750250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Lighted WDI for Rwy 11, 29 and associated works at Kadapa Airport Tender ID: 2025_AAI_235183_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association (BID ID -857208) | 750250.00 | L1
| 2 | Yash Energy Pvt. Ltd (BID ID -857243) | 771310.00 | L2