## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 23-Jun-2025 01:15 PM Tender Title: Miscellaneous Civil works at Kullu Manali Airport Tender ID: 2025_AAI_235422_1
Tender Inviting Authority: Asstt. General Manager (Engg-C), Airports Authority of India, Kullu Manali Airport, Bhuntar, Distt. Kullu, Himachal Pradesh-175125
Name of work : - Miscellaneous Civil works at Kullu Manali Airport.
Contract No Tender ID : 2025_AAI_235422 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s MB Enterprises (GSTN-07ABAFM8147M1ZV) BID ID -858185 |  | M/S M L BROTHER (GSTN-02ABWPM6184GIZA) BID ID -858896 |  | SUNIL SOOD (GSTN-NA) BID ID -852164 |  | M/S MEHRAJ UD DIN RATHER (GSTN-NA) BID ID -857591
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. All kinds of soil. | 222.00 | Cum |  | 120.00 | 26640.00 | 110.00 | 24420.00 | 174.00 | 38628.00 | 100.00 | 22200.00 | 22200.00 | M/S MEHRAJ UD DIN RATHER
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. Ordinary rock. | 95.00 | Cum |  | 90.00 | 8550.00 | 110.00 | 10450.00 | 465.00 | 44175.00 | 250.00 | 23750.00 | 8550.00 | M/s MB Enterprises
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 96.00 | Cum |  | 100.00 | 9600.00 | 100.00 | 9600.00 | 125.00 | 12000.00 | 50.00 | 4800.00 | 4800.00 | M/S MEHRAJ UD DIN RATHER
4.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 3.00 | Cum |  | 1300.00 | 3900.00 | 1300.00 | 3900.00 | 1200.00 | 3600.00 | 800.00 | 2400.00 | 2400.00 | M/S MEHRAJ UD DIN RATHER
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 114.00 | Cum |  | 5700.00 | 649800.00 | 5600.00 | 638400.00 | 7800.00 | 889200.00 | 6500.00 | 741000.00 | 638400.00 | M/S M L BROTHER
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | Cum |  | 5400.00 | 81000.00 | 4800.00 | 72000.00 | 7400.00 | 111000.00 | 5500.00 | 82500.00 | 72000.00 | M/S M L BROTHER
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 76.00 | Cum |  | 3900.00 | 296400.00 | 3800.00 | 288800.00 | 6300.00 | 478800.00 | 4000.00 | 304000.00 | 288800.00 | M/S M L BROTHER
8.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 145.00 | Cum |  | 5700.00 | 826500.00 | 5600.00 | 812000.00 | 8650.00 | 1254250.00 | 6500.00 | 942500.00 | 812000.00 | M/S M L BROTHER
9.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 168.00 | Cum |  | 5700.00 | 957600.00 | 5600.00 | 940800.00 | 10000.00 | 1680000.00 | 6500.00 | 1092000.00 | 940800.00 | M/S M L BROTHER
10.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.00 | Cum |  | 5800.00 | 17400.00 | 5800.00 | 17400.00 | 10000.00 | 30000.00 | 8000.00 | 24000.00 | 17400.00 | M/s MB Enterprises, M/S M L BROTHER
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | 388.00 | Sqm |  | 180.00 | 69840.00 | 250.00 | 97000.00 | 325.00 | 126100.00 | 200.00 | 77600.00 | 69840.00 | M/s MB Enterprises
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc | 317.00 | Sqm |  | 180.00 | 57060.00 | 250.00 | 79250.00 | 650.00 | 206050.00 | 300.00 | 95100.00 | 57060.00 | M/s MB Enterprises
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 15.00 | Sqm |  | 180.00 | 2700.00 | 250.00 | 3750.00 | 650.00 | 9750.00 | 300.00 | 4500.00 | 2700.00 | M/s MB Enterprises
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 29.00 | Sqm |  | 180.00 | 5220.00 | 250.00 | 7250.00 | 550.00 | 15950.00 | 300.00 | 8700.00 | 5220.00 | M/s MB Enterprises
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts. | 97.00 | Sqm |  | 180.00 | 17460.00 | 250.00 | 24250.00 | 650.00 | 63050.00 | 300.00 | 29100.00 | 17460.00 | M/s MB Enterprises
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo Mechanically Treated bars of grade Fe-500D or more. | 16000.00 | Kg |  | 72.00 | 1152000.00 | 70.00 | 1120000.00 | 89.00 | 1424000.00 | 68.00 | 1088000.00 | 1088000.00 | M/S MEHRAJ UD DIN RATHER
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.: Thermo Mechanically Treated bars of grade Fe-500D or more. | 18850.00 | Kg |  | 72.30 | 1362855.00 | 70.00 | 1319500.00 | 90.00 | 1696500.00 | 68.00 | 1281800.00 | 1281800.00 | M/S MEHRAJ UD DIN RATHER
18.00 | Extra for laying reinforced cement concrete in or under water and/ or liquid mud, including cost of pumping or bailing out water and removing slush etc., complete. Note For Item No. 5.31:- The quantity will be calculated by multiplying the depth measured from the subsoil water level up to the centre of gravity of the R.C.C. under subsoil water with the quantity of R.C.C. in cubic metre executed under subsoil water. The depth of centre of gravity shall be reckoned correct to 0.1 m. 0.05 m or more shall be taken as Note For Item No. 5.31:- The quantity will be calculated by multiplying the depth measured from the subsoil water level up to the centre of gravity of the R.C.C. under subsoil water with the quantity of R.C.C. in cubic metre executed under subsoil water. The depth of centre of gravity shall be reckoned correct to 0.1 m. 0.05 m or more shall be taken as 0.1 m and less than 0.05 m ignored. No extra payment shall be made for placing reinforcement or centering & shuttering under sub - soil water conditions. | 103.00 | cum |  | 500.00 | 51500.00 | 1350.00 | 139050.00 | 850.00 | 87550.00 | 500.00 | 51500.00 | 51500.00 | M/S MEHRAJ UD DIN RATHER, M/s MB Enterprises
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand). | 15.00 | Cum |  | 6600.00 | 99000.00 | 7500.00 | 112500.00 | 9500.00 | 142500.00 | 6500.00 | 97500.00 | 97500.00 | M/S MEHRAJ UD DIN RATHER
20.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 21.00 | sqm |  | 1150.00 | 24150.00 | 800.00 | 16800.00 | 1050.00 | 22050.00 | 1200.00 | 25200.00 | 16800.00 | M/S M L BROTHER
21.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement: 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement: 6 coarse sand) | 30.00 | Cum |  | 2600.00 | 78000.00 | 4200.00 | 126000.00 | 6650.00 | 199500.00 | 4000.00 | 120000.00 | 78000.00 | M/s MB Enterprises
22.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red : Area of slab over 0.50 sqm | 3.00 | Sqm |  | 4500.00 | 13500.00 | 3000.00 | 9000.00 | 4800.00 | 14400.00 | 4500.00 | 13500.00 | 9000.00 | M/S M L BROTHER
23.00 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in al colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 12.00 | Sqm |  | 950.00 | 11400.00 | 1000.00 | 12000.00 | 1400.00 | 16800.00 | 1800.00 | 21600.00 | 11400.00 | M/s MB Enterprises
24.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 25.00 | Sqm |  | 2600.00 | 65000.00 | 3500.00 | 87500.00 | 3600.00 | 90000.00 | 3000.00 | 75000.00 | 65000.00 | M/s MB Enterprises
25.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 7.00 | Sqm |  | 2400.00 | 16800.00 | 2500.00 | 17500.00 | 2600.00 | 18200.00 | 3000.00 | 21000.00 | 16800.00 | M/s MB Enterprises
26.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete :125x64x2.50 mm | 9.00 | Each |  | 120.00 | 1080.00 | 125.00 | 1125.00 | 120.00 | 1080.00 | 100.00 | 900.00 | 900.00 | M/S MEHRAJ UD DIN RATHER
27.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete : 75x50x2.50 mm | 18.00 | Each |  | 100.00 | 1800.00 | 100.00 | 1800.00 | 95.00 | 1710.00 | 100.00 | 1800.00 | 1710.00 | SUNIL SOOD
28.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 8.00 | each |  | 250.00 | 2000.00 | 200.00 | 1600.00 | 275.00 | 2200.00 | 200.00 | 1600.00 | 1600.00 | M/S MEHRAJ UD DIN RATHER, M/S M L BROTHER
29.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 28.00 | each |  | 100.00 | 2800.00 | 100.00 | 2800.00 | 105.00 | 2940.00 | 50.00 | 1400.00 | 1400.00 | M/S MEHRAJ UD DIN RATHER
30.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 36.00 | each |  | 80.00 | 2880.00 | 100.00 | 3600.00 | 70.00 | 2520.00 | 50.00 | 1800.00 | 1800.00 | M/S MEHRAJ UD DIN RATHER
31.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 8.00 | each |  | 80.00 | 640.00 | 100.00 | 800.00 | 75.00 | 600.00 | 50.00 | 400.00 | 400.00 | M/S MEHRAJ UD DIN RATHER
32.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished welded type tubes | 1650.00 | kg |  | 88.00 | 145200.00 | 100.00 | 165000.00 | 150.00 | 247500.00 | 130.00 | 214500.00 | 145200.00 | M/s MB Enterprises
33.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 2000.00 | kg |  | 88.00 | 176000.00 | 100.00 | 200000.00 | 115.00 | 230000.00 | 130.00 | 260000.00 | 176000.00 | M/s MB Enterprises
34.00 | Providing and fixing stainless steel ( Grade 304) railing, partition at any height made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 330.00 | kg |  | 490.00 | 161700.00 | 450.00 | 148500.00 | 650.00 | 214500.00 | 500.00 | 165000.00 | 148500.00 | M/S M L BROTHER
35.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 10.00 | sqm |  | 400.00 | 4000.00 | 600.00 | 6000.00 | 1050.00 | 10500.00 | 800.00 | 8000.00 | 4000.00 | M/s MB Enterprises
36.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 56.00 | Sqm |  | 1250.00 | 70000.00 | 1000.00 | 56000.00 | 1490.00 | 83440.00 | 1500.00 | 84000.00 | 56000.00 | M/S M L BROTHER
37.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 60.00 | Sqm |  | 700.00 | 42000.00 | 600.00 | 36000.00 | 1050.00 | 63000.00 | 900.00 | 54000.00 | 36000.00 | M/S M L BROTHER
38.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 17.00 | meter |  | 800.00 | 13600.00 | 500.00 | 8500.00 | 650.00 | 11050.00 | 350.00 | 5950.00 | 5950.00 | M/S MEHRAJ UD DIN RATHER
39.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05 mm) with Zinc coating 120 gram per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete :Barge Board (upto 300 mm) | 33.00 | meter |  | 650.00 | 21450.00 | 500.00 | 16500.00 | 480.00 | 15840.00 | 400.00 | 13200.00 | 13200.00 | M/S MEHRAJ UD DIN RATHER
40.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand). | 110.00 | Sqm |  | 180.00 | 19800.00 | 250.00 | 27500.00 | 325.00 | 35750.00 | 300.00 | 33000.00 | 19800.00 | M/s MB Enterprises
41.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand). | 70.00 | Sqm |  | 225.00 | 15750.00 | 280.00 | 19600.00 | 375.00 | 26250.00 | 300.00 | 21000.00 | 15750.00 | M/s MB Enterprises
42.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand). | 350.00 | Sqm |  | 140.00 | 49000.00 | 200.00 | 70000.00 | 350.00 | 122500.00 | 250.00 | 87500.00 | 49000.00 | M/s MB Enterprises
43.00 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : Raised and cut pointing | 80.00 | Sqm |  | 280.00 | 22400.00 | 300.00 | 24000.00 | 550.00 | 44000.00 | 350.00 | 28000.00 | 22400.00 | M/s MB Enterprises
44.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 387.00 | Sqm |  | 90.00 | 34830.00 | 80.00 | 30960.00 | 145.00 | 56115.00 | 150.00 | 58050.00 | 30960.00 | M/S M L BROTHER
45.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 83.00 | Sqm |  | 90.00 | 7470.00 | 100.00 | 8300.00 | 125.00 | 10375.00 | 100.00 | 8300.00 | 7470.00 | M/s MB Enterprises
46.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 484.00 | Sqm |  | 60.00 | 29040.00 | 80.00 | 38720.00 | 150.00 | 72600.00 | 130.00 | 62920.00 | 29040.00 | M/s MB Enterprises
47.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coat | 97.00 | Sqm |  | 100.00 | 9700.00 | 100.00 | 9700.00 | 140.00 | 13580.00 | 100.00 | 9700.00 | 9700.00 | M/S MEHRAJ UD DIN RATHER, M/s MB Enterprises, M/S M L BROTHER
48.00 | Providing and fixing brass curtain rods of wall thickness 1.25 mm with two brass brackets fixed with brass screws and wooden plugs etc. wherever necessary complete. : 20 mm diameter. | 8.00 | Metre |  | 360.00 | 2880.00 | 150.00 | 1200.00 | 350.00 | 2800.00 | 200.00 | 1600.00 | 1200.00 | M/S M L BROTHER
49.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 120.00 | cum |  | 400.00 | 48000.00 | 500.00 | 60000.00 | 1750.00 | 210000.00 | 100.00 | 12000.00 | 12000.00 | M/S MEHRAJ UD DIN RATHER
50.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 4.00 | Cum |  | 350.00 | 1400.00 | 500.00 | 2000.00 | 1650.00 | 6600.00 | 10.00 | 40.00 | 40.00 | M/S MEHRAJ UD DIN RATHER
51.00 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : in cement mortar | 186.00 | Cum |  | 200.00 | 37200.00 | 300.00 | 55800.00 | 825.00 | 153450.00 | 10.00 | 1860.00 | 1860.00 | M/S MEHRAJ UD DIN RATHER
52.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 25.00 | Each |  | 150.00 | 3750.00 | 100.00 | 2500.00 | 150.00 | 3750.00 | 10.00 | 250.00 | 250.00 | M/S MEHRAJ UD DIN RATHER
53.00 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 2 mm thick aluminium sheet, face to be fully covered with high intensity and encapsulated lens type heat activated retro reflective sheeting conforming to type - III of ASTM-D-4956-01 as approved by Engineer-in-charge, letters, borders etc. as per IRC : 67-2001 in silver white with blue colour back ground and with high intensity grade, pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure conforming to class I of ASTM-D-4956-01 and fixing the same to the plate of structural frame work by means of suitable sized aluminium alloys, rivets or bolts & nuts @ 300 mm centre to centre al along the periphery as well as in two vertical rows along with theft resistant measures, including the cost of painting with two or more coats of epoxy paint in grey colour on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, lowering down the structural frame work from the gantry, fixing and erecting the same in position al complete as per drawings, specification and direction of the engineer-in-charge.(Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment).Overhead informatory road signage | 8.00 | sqm |  | 2900.00 | 23200.00 | 1000.00 | 8000.00 | 5500.00 | 44000.00 | 3500.00 | 28000.00 | 8000.00 | M/S M L BROTHER
54.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5 mm), including making drainage opening wherever required complete etc. as per direction of Engineer- in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 6.00 | cum |  | 6000.00 | 36000.00 | 700.00 | 4200.00 | 11500.00 | 69000.00 | 4000.00 | 24000.00 | 4200.00 | M/S M L BROTHER
55.00 | Taking out existing kerb stones of al types from footpath/ central verge,including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 77.00 | Meter |  | 50.00 | 3850.00 | 60.00 | 4620.00 | 35.00 | 2695.00 | 10.00 | 770.00 | 770.00 | M/S MEHRAJ UD DIN RATHER
56.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 93.00 | Sqm |  | 70.00 | 6510.00 | 50.00 | 4650.00 | 135.00 | 12555.00 | 10.00 | 930.00 | 930.00 | M/S MEHRAJ UD DIN RATHER
57.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 93.00 | Sqm |  | 140.00 | 13020.00 | 100.00 | 9300.00 | 380.00 | 35340.00 | 10.00 | 930.00 | 930.00 | M/S MEHRAJ UD DIN RATHER
58.00 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement : 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer-in-charge. (Length of finished kerb edging shall be measured for payment). (Old kerb stones shall be supplied by the department free of cost) | 77.00 | Metre |  | 200.00 | 15400.00 | 100.00 | 7700.00 | 120.00 | 9240.00 | 100.00 | 7700.00 | 7700.00 | M/S MEHRAJ UD DIN RATHER, M/S M L BROTHER
59.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, complete al as per direction of Engineer-in-Charge.60 mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 82.00 | Sqm |  | 700.00 | 57400.00 | 800.00 | 65600.00 | 1200.00 | 98400.00 | 560.00 | 45920.00 | 45920.00 | M/S MEHRAJ UD DIN RATHER
60.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 1.00 | Each |  | 6500.00 | 6500.00 | 500.00 | 500.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 500.00 | M/S M L BROTHER
61.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2500.00 | M/s MB Enterprises
62.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board : 610x460 mm bowl depth 200 mm | 2.00 | Each |  | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 6000.00 | M/S MEHRAJ UD DIN RATHER, M/S M L BROTHER
63.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 1.00 | Each |  | 500.00 | 500.00 | 1000.00 | 1000.00 | 450.00 | 450.00 | 1000.00 | 1000.00 | 450.00 | SUNIL SOOD
64.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 1.00 | Each |  | 600.00 | 600.00 | 1000.00 | 1000.00 | 950.00 | 950.00 | 1200.00 | 1200.00 | 600.00 | M/s MB Enterprises
65.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 1.00 | Each |  | 3400.00 | 3400.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 5000.00 | 5000.00 | 1500.00 | SUNIL SOOD
66.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.: Semi rigid pipe : 32 mm dia. | 2.00 | Each |  | 100.00 | 200.00 | 100.00 | 200.00 | 85.00 | 170.00 | 50.00 | 100.00 | 100.00 | M/S MEHRAJ UD DIN RATHER
67.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 1.00 | Each |  | 100.00 | 100.00 | 100.00 | 100.00 | 85.00 | 85.00 | 500.00 | 500.00 | 85.00 | SUNIL SOOD
68.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453 x 357 mm | 1.00 | Each |  | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 1000.00 | M/S M L BROTHER
69.00 | Providing and fixing soil, waste and vent pipes :100mm dia : Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905. | 10.00 | Metre |  | 1700.00 | 17000.00 | 1000.00 | 10000.00 | 1300.00 | 13000.00 | 200.00 | 2000.00 | 2000.00 | M/S MEHRAJ UD DIN RATHER
70.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100 mm dia : Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905. | 2.00 | Each |  | 9500.00 | 19000.00 | 500.00 | 1000.00 | 650.00 | 1300.00 | 100.00 | 200.00 | 200.00 | M/S MEHRAJ UD DIN RATHER
71.00 | Providing and fixing collar : 100 mm : Sand cast iron S&S as per IS - 3989. | 1.00 | Each |  | 6500.00 | 6500.00 | 300.00 | 300.00 | 300.00 | 300.00 | 100.00 | 100.00 | 100.00 | M/S MEHRAJ UD DIN RATHER
72.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm. | 4.00 | Each |  | 150.00 | 600.00 | 500.00 | 2000.00 | 300.00 | 1200.00 | 100.00 | 400.00 | 400.00 | M/S MEHRAJ UD DIN RATHER
73.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet : Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905. | 3.00 | Each |  | 600.00 | 1800.00 | 1500.00 | 4500.00 | 650.00 | 1950.00 | 100.00 | 300.00 | 300.00 | M/S MEHRAJ UD DIN RATHER
74.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 1.00 | Each |  | 300.00 | 300.00 | 1000.00 | 1000.00 | 300.00 | 300.00 | 150.00 | 150.00 | 150.00 | M/S MEHRAJ UD DIN RATHER
75.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 25.00 | Metre |  | 300.00 | 7500.00 | 200.00 | 5000.00 | 270.00 | 6750.00 | 250.00 | 6250.00 | 5000.00 | M/S M L BROTHER
76.00 | Providing and fixing G.l. pipes complete with G.l. fittings including trenching and refilling etc.External work 20 mm dia nominal bor | 51.00 | Metre |  | 350.00 | 17850.00 | 300.00 | 15300.00 | 410.00 | 20910.00 | 350.00 | 17850.00 | 15300.00 | M/S M L BROTHER
77.00 | Providing and fixing G.l. pipes complete with G.l. fittings including trenching and refilling etc. External work 80 mm dia nominal bore | 270.00 | Metre |  | 900.00 | 243000.00 | 800.00 | 216000.00 | 1150.00 | 310500.00 | 1200.00 | 324000.00 | 216000.00 | M/S M L BROTHER
78.00 | Making connection of G.l. distribution branch with G.l. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 50 to 80 mm nominal bore | 3.00 | each |  | 500.00 | 1500.00 | 500.00 | 1500.00 | 250.00 | 750.00 | 200.00 | 600.00 | 600.00 | M/S MEHRAJ UD DIN RATHER
79.00 | Providing and fixing brass stop cock of approved quality : 20 mm nominal bore | 17.00 | each |  | 650.00 | 11050.00 | 800.00 | 13600.00 | 850.00 | 14450.00 | 800.00 | 13600.00 | 11050.00 | M/s MB Enterprises
80.00 | Providing and fixing gun metal gate valve with C.l. wheel of approved quality (screwed end): 80 mm nominal bore | 4.00 | each |  | 2200.00 | 8800.00 | 2500.00 | 10000.00 | 9000.00 | 36000.00 | 6000.00 | 24000.00 | 8800.00 | M/s MB Enterprises
81.00 | Providing and fixing G.l. Union in G.l. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :80 mm nominal bore | 8.00 | each |  | 800.00 | 6400.00 | 500.00 | 4000.00 | 2000.00 | 16000.00 | 2000.00 | 16000.00 | 4000.00 | M/S M L BROTHER
82.00 | Providing and fixing G.l. Union in G.l. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 20 mm nominal bore | 2.00 | Each |  | 300.00 | 600.00 | 200.00 | 400.00 | 175.00 | 350.00 | 100.00 | 200.00 | 200.00 | M/S MEHRAJ UD DIN RATHER
83.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. : 15 mm nominal bore. | 6.00 | Each |  | 350.00 | 2100.00 | 600.00 | 3600.00 | 900.00 | 5400.00 | 500.00 | 3000.00 | 2100.00 | M/s MB Enterprises
84.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore. | 6.00 | Each |  | 400.00 | 2400.00 | 500.00 | 3000.00 | 900.00 | 5400.00 | 800.00 | 4800.00 | 2400.00 | M/s MB Enterprises
85.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron) | 370.00 | Kg |  | 410.00 | 151700.00 | 470.00 | 173900.00 | 500.00 | 185000.00 | 450.00 | 166500.00 | 151700.00 | M/s MB Enterprises
86.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)Powder coated aluminium (minimum thickness of powder coating 50 micron) | 237.00 | Kg |  | 410.00 | 97170.00 | 470.00 | 111390.00 | 600.00 | 142200.00 | 450.00 | 106650.00 | 97170.00 | M/s MB Enterprises
87.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer in-charge. Pre-laminated particle board with decorative lamination on both sides | 13.00 | Sqm |  | 350.00 | 4550.00 | 1000.00 | 13000.00 | 1350.00 | 17550.00 | 1400.00 | 18200.00 | 4550.00 | M/s MB Enterprises
88.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer -in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 20.00 | Sqm |  | 750.00 | 15000.00 | 800.00 | 16000.00 | 1350.00 | 27000.00 | 1000.00 | 20000.00 | 15000.00 | M/s MB Enterprises
89.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 20.00 | Kg |  | 500.00 | 10000.00 | 250.00 | 5000.00 | 550.00 | 11000.00 | 550.00 | 11000.00 | 5000.00 | M/S M L BROTHER
90.00 | Providing and fixing 12mm thick frameless toughened glass double door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 5.00 | Sqm |  | 3500.00 | 17500.00 | 2500.00 | 12500.00 | 5000.00 | 25000.00 | 1000.00 | 5000.00 | 5000.00 | M/S MEHRAJ UD DIN RATHER
91.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in?Charge.With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 25.00 | Sqm |  | 1300.00 | 32500.00 | 1200.00 | 30000.00 | 2050.00 | 51250.00 | 1500.00 | 37500.00 | 30000.00 | M/S M L BROTHER
92.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/ support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required : 150 mm | 30.00 | mtr |  | 2200.00 | 66000.00 | 1800.00 | 54000.00 | 2200.00 | 66000.00 | 1000.00 | 30000.00 | 30000.00 | M/S MEHRAJ UD DIN RATHER
93.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required : 150 mm | 1.00 | Each |  | 7500.00 | 7500.00 | 1000.00 | 1000.00 | 8000.00 | 8000.00 | 500.00 | 500.00 | 500.00 | M/S MEHRAJ UD DIN RATHER
94.00 | Designing of RCC Retaining wall/protection wall at entry gate and RCC Footings, pedestals, columns, truss for CSO office etc. as per the enclosed plan or as directed by Engineer-in-charge. The item includes preparation of preliminary sketches, detailed working drawings, preparation of structural designs and providing at least three sets of structural drawing for the same. Note :- (i) All structural design and drawings must be vetted from NIT/ State Govt. Engg. College before actual execution. | 1.00 | Job |  | 85000.00 | 85000.00 | 50000.00 | 50000.00 | 130000.00 | 130000.00 | 50000.00 | 50000.00 | 50000.00 | M/S MEHRAJ UD DIN RATHER, M/S M L BROTHER
95.00 | Providing and fixing FRAMELESS GLASS INTERNAL PARTITIONS upto all heights at all floors with 12 mm thick clear toughened glass of saint gobain/asahi/modiguard as per elevation drawings. The glass panel assembly shall be connected to beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured. | 22.00 | Sqm |  | 2300.00 | 50600.00 | 250.00 | 5500.00 | 3690.00 | 81180.00 | 3000.00 | 66000.00 | 5500.00 | M/S M L BROTHER
96.00 | Providing and fixing stainless steel glass door handle of approved make fixed with SS screws etc. complete as per direction of Engineer-in-charge. 600 mm | 2.00 | Pair |  | 2400.00 | 4800.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 1000.00 | M/S MEHRAJ UD DIN RATHER
97.00 | Providing and fixing of SS glass door patch lock for bottom corner of approved make as per satisfaction and direction of EIC. | 2.00 | each |  | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 500.00 | 1000.00 | 1000.00 | M/S MEHRAJ UD DIN RATHER
98.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses, staircase, railing etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete . Note :- steel sections shall be supplied by the department free of cost | 1500.00 | Kg |  | 25.00 | 37500.00 | 40.00 | 60000.00 | 45.00 | 67500.00 | 15.00 | 22500.00 | 22500.00 | M/S MEHRAJ UD DIN RATHER
| Total in Figures |  |  |  |  | 7938845.00 |  | 7933985.00 |  | 11866328.00 |  | 8470870.00
Lowest Amount Quoted BY: M/S M L BROTHER(7933985.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works at Kullu Manali Airport Tender ID: 2025_AAI_235422_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S M L BROTHER (BID ID -858896) | 7933985.00 | L1
| 2 | M/s MB Enterprises (BID ID -858185) | 7938845.00 | L2
| 3 | M/S MEHRAJ UD DIN RATHER (BID ID -857591) | 8470870.00 | L3
| 4 | SUNIL SOOD (BID ID -852164) | 11866328.00 | L4