## BoQ1
Government eProcurement System Created By: Jagir Singh Created Date/Time: 25-Aug-2025 02:32 PM Tender Title: Construction of new DVOR building inside Operational area at SGRDJI Airport Amritsar. Tender ID: 2025_AAI_235452_2
Tender Inviting Authority: AGM (E-C)
Name of Work: Construction of New DVOR Building inside Operational Area at SGRDJI Airport Amritsar.
Contract No: 2025_AAI_235452_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Khairati Lal (GSTN-07ABBPL9082B1ZT) BID ID -870578 |  | JCC ENGINEERS PRIVATE LIMITED (GSTN-NA) BID ID -878914
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing, spreading & compacting good earth, in layers not exceeding 20cm (loose) in depth including breaking clods, watering, rolling each layer with power road roller 8-10 tonnes weight and dressing up side strips of runway/taxiway complete as per direction and satisfaction of Engineer-in- charge with all leads and lifts. (The item includes cost of earth work, payment of necessary royalty, carriage of suitable earth upto work site for all leads and lifts involved from all sources acquired or arranged by the Contractor. Payment to be made for compacted quantity only as per clause no. 1.27.1.3;CPWD specification). | 803.00 | Cum | 178.61 | 520.00 | 417560.00 | 1500.00 | 1204500.00 | 417560.00 | Khairati Lal
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 320.00 | Cum | 178.61 | 250.00 | 80000.00 | 261.00 | 83520.00 | 80000.00 | Khairati Lal
3.00 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil a) Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 500.00 | Mtr | 178.61 | 350.00 | 175000.00 | 353.00 | 176500.00 | 175000.00 | Khairati Lal
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 100.00 | Cum | 178.61 | 200.00 | 20000.00 | 196.00 | 19600.00 | 19600.00 | JCC ENGINEERS PRIVATE LIMITED
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 140.00 | Cum | 178.61 | 2250.00 | 315000.00 | 2124.00 | 297360.00 | 297360.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | 1395.00 | Sqm | 178.61 | 30.00 | 41850.00 | 35.00 | 48825.00 | 41850.00 | Khairati Lal
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 135.00 | Cum | 178.61 | 7800.00 | 1053000.00 | 6812.00 | 919620.00 | 919620.00 | JCC ENGINEERS PRIVATE LIMITED
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 415.00 | Cum | 178.61 | 10050.00 | 4170750.00 | 8341.00 | 3461515.00 | 3461515.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 65.00 | Cum | 178.61 | 9100.00 | 591500.00 | 7879.00 | 512135.00 | 512135.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and einforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate. 20 mm nominal size derived from natural sources) | 105.00 | Cum | 178.61 | 9750.00 | 1023750.00 | 9046.00 | 949830.00 | 949830.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 14.00 | Cum | 178.61 | 11500.00 | 161000.00 | 11506.00 | 161084.00 | 161000.00 | Khairati Lal
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (Thermo-Mechanically Treated bars of grade Fe-500D or more.) | 10500.00 | Kg | 178.61 | 110.00 | 1155000.00 | 108.00 | 1134000.00 | 1134000.00 | JCC ENGINEERS PRIVATE LIMITED
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (Thermo-Mechanically Treated bars of grade Fe-500D or more.) | 1680.00 | Kg | 178.61 | 110.00 | 184800.00 | 108.00 | 181440.00 | 181440.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Providing and fixing mild steel round holding down bolts with nuts , washer & plates complete. | 600.00 | Kg | 178.61 | 150.00 | 90000.00 | 98.00 | 58800.00 | 58800.00 | JCC ENGINEERS PRIVATE LIMITED
15.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 300.00 | Kg | 178.61 | 120.00 | 36000.00 | 124.00 | 37200.00 | 36000.00 | Khairati Lal
16.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 500.00 | Kg | 178.61 | 180.00 | 90000.00 | 173.00 | 86500.00 | 86500.00 | JCC ENGINEERS PRIVATE LIMITED
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for : (a) Foundations, footings, bases for columns etc. for mass concrete. | 360.00 | Sqm | 178.61 | 400.00 | 144000.00 | 393.00 | 141480.00 | 141480.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (Lintels, beams, plinth beams, girders, bressumers and Cantilevers.) | 5.00 | Sqm | 178.61 | 775.00 | 3875.00 | 737.00 | 3685.00 | 3685.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : ( Suspended floors, roofs, landings, balconies and access platform ) | 75.00 | Sqm | 178.61 | 850.00 | 63750.00 | 928.00 | 69600.00 | 63750.00 | Khairati Lal
20.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : a) cement mortar 1:4 (1 cement : 4 coarse sand) | 55.00 | Sqm | 178.61 | 850.00 | 46750.00 | 906.00 | 49830.00 | 46750.00 | Khairati Lal
21.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. : a) cement mortar 1:4 (1 cement : 4 coarse sand) | 3.00 | Sqm | 178.61 | 1150.00 | 3450.00 | 1124.00 | 3372.00 | 3372.00 | JCC ENGINEERS PRIVATE LIMITED
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 7.00 | Cum | 178.61 | 7500.00 | 52500.00 | 7133.00 | 49931.00 | 49931.00 | JCC ENGINEERS PRIVATE LIMITED
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 37.00 | Cum | 178.61 | 8700.00 | 321900.00 | 9106.00 | 336922.00 | 321900.00 | Khairati Lal
24.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 220.00 | Sqm | 178.61 | 350.00 | 77000.00 | 348.00 | 76560.00 | 76560.00 | JCC ENGINEERS PRIVATE LIMITED
25.00 | 12 mm cement plaster finished with a floating coat of neat cement : a) 1:4 (1 cement: 4 fine sand) | 35.00 | Sqm | 178.61 | 410.00 | 14350.00 | 426.00 | 14910.00 | 14350.00 | Khairati Lal
26.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 161.00 | Sqm | 178.61 | 430.00 | 69230.00 | 383.00 | 61663.00 | 61663.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 400.00 | Sqm | 178.61 | 260.00 | 104000.00 | 301.00 | 120400.00 | 104000.00 | Khairati Lal
28.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 402.00 | Sqm | 178.61 | 145.00 | 58290.00 | 263.00 | 105726.00 | 58290.00 | Khairati Lal
29.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 200.00 | Sqm | 178.61 | 200.00 | 40000.00 | 227.00 | 45400.00 | 40000.00 | Khairati Lal
30.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 120.00 | Sqm | 178.61 | 160.00 | 19200.00 | 172.00 | 20640.00 | 19200.00 | Khairati Lal
31.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 285.00 | Sqm | 178.61 | 175.00 | 49875.00 | 186.00 | 53010.00 | 49875.00 | Khairati Lal
32.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red or approved by EIC. a) Area of slab over 0.50 sqm | 2.00 | Sqm | 178.61 | 4800.00 | 9600.00 | 5137.00 | 10274.00 | 9600.00 | Khairati Lal
33.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1.00 | Each | 178.61 | 1000.00 | 1000.00 | 979.00 | 979.00 | 979.00 | JCC ENGINEERS PRIVATE LIMITED
34.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. a) 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 90.00 | Sqm | 178.61 | 1000.00 | 90000.00 | 1046.00 | 94140.00 | 90000.00 | Khairati Lal
35.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. a) Glazed Vitrified tiles Matt/Antiskid finish of size i) Size of Tile 600 x 600 mm | 65.00 | Sqm | 178.61 | 1800.00 | 117000.00 | 1465.00 | 95225.00 | 95225.00 | JCC ENGINEERS PRIVATE LIMITED
36.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 20.00 | Sqm | 178.61 | 1950.00 | 39000.00 | 1624.00 | 32480.00 | 32480.00 | JCC ENGINEERS PRIVATE LIMITED
37.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) a) For fixed portion 1) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 140.00 | Kg | 178.61 | 500.00 | 70000.00 | 496.00 | 69440.00 | 69440.00 | JCC ENGINEERS PRIVATE LIMITED
38.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) i) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 250.00 | Kg | 178.61 | 600.00 | 150000.00 | 599.00 | 149750.00 | 149750.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. a) Prelaminated particle board with decorative lamination on one side and balancing lamination on other side. | 16.00 | Sqm | 178.61 | 1600.00 | 25600.00 | 1140.00 | 18240.00 | 18240.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on inter-locking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6 mm reveal profile (white/ black),comprising of main-T runners of size 15x42 mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate cross-T of size 15x42 mm of length 600 mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. a) With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles | 48.00 | Sqm | 178.61 | 2400.00 | 115200.00 | 2207.00 | 105936.00 | 105936.00 | JCC ENGINEERS PRIVATE LIMITED
41.00 | Providing and fixing in position wall panelling at all heights with integral densified calcium silicate panels/tiles of size 595 x 595 mm, having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity <0.043 W/m K as per ASTM 518:1991, comprising of a frame made from especially fabricated galvanised mild steel sheet 0.50 mm thick pressed section (galvanizing @120 grams per sqm including both sides) i.e.vertical studs of size 48 x 34 x 36 mm are placed at 600 mm centre to centre in a floor and ceiling channel section of size 50 x 32 mm fixed to the floor and soffit at 600 mm centre using 12 mm dia,50 mm long wedge type expanded zinc alloy dash fastner with 10 mm bolt. This same channel is then to be fixed in horiziontal direction at 600 mm centre to centre so as to form a grid of 600 mm x 600 mm. Glasswool of 50 mm thickness is then to be inserted in the slots and finally calcium silicate non combustible panels/tiles are to be screw fixed with self tapping pan head nickel coated mild steel screws of size 13 x 3.2 mm on to this grid leaving an even groove of 1 mm between the panels. The joints between the panels are to be duly jointed and finished using recommended jointing calcium silicate based compound and fiber joint tape roll 50 mm wide (90 metre )roll and two coats of primer suitable for panelling as per manufacturer’s specification as per direction of Engineerin- Charge all complete. a) With 15 mm thick fully perforated square/butt edge light weight calcium silicate panels/ tiles | 38.00 | Sqm. | 178.61 | 3100.00 | 117800.00 | 3118.00 | 118484.00 | 117800.00 | Khairati Lal
42.00 | Providing and fixing aluminium window stay hook with necessary screws etc. complete as per direction of Engineering In-charge. | 6.00 | Each | 178.61 | 55.00 | 330.00 | 500.00 | 3000.00 | 330.00 | Khairati Lal
43.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 18.00 | Sqm | 178.61 | 1050.00 | 18900.00 | 1177.00 | 21186.00 | 18900.00 | Khairati Lal
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) Internal work-Exposed on wall -25 mm nominal dia Pipes | 10.00 | Mtr. | 178.61 | 435.00 | 4350.00 | 402.00 | 4020.00 | 4020.00 | JCC ENGINEERS PRIVATE LIMITED
45.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) Internal work-Exposed on wall - 50 mm nominal dia Pipes | 25.00 | Mtr. | 178.61 | 950.00 | 23750.00 | 935.00 | 23375.00 | 23375.00 | JCC ENGINEERS PRIVATE LIMITED
46.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 20 mm nominal dia Pipes | 25.00 | Mtr. | 178.61 | 550.00 | 13750.00 | 538.00 | 13450.00 | 13450.00 | JCC ENGINEERS PRIVATE LIMITED
47.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. a) External work - 25 mm nominal dia Pipes | 256.00 | Mtr. | 178.61 | 350.00 | 89600.00 | 356.00 | 91136.00 | 89600.00 | Khairati Lal
48.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Ltr. | 178.61 | 12.00 | 12000.00 | 11.00 | 11000.00 | 11000.00 | JCC ENGINEERS PRIVATE LIMITED
49.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each | 178.61 | 35000.00 | 35000.00 | 26862.00 | 26862.00 | 26862.00 | JCC ENGINEERS PRIVATE LIMITED
50.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each | 178.61 | 3000.00 | 6000.00 | 2708.00 | 5416.00 | 5416.00 | JCC ENGINEERS PRIVATE LIMITED
51.00 | Providing & Fixing of CP brass towel rail complete with brackets fixed to wooden cleats & screws with concealed fitting arrangement of approved quality as per direction and satisfaction of Engineer-in-charge. 600mm x 20mm size. | 1.00 | Each | 178.61 | 950.00 | 950.00 | 1000.00 | 1000.00 | 950.00 | Khairati Lal
52.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | 1.00 | Each | 178.61 | 1750.00 | 1750.00 | 1608.00 | 1608.00 | 1608.00 | JCC ENGINEERS PRIVATE LIMITED
53.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: a) White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each | 178.61 | 2000.00 | 2000.00 | 1879.00 | 1879.00 | 1879.00 | JCC ENGINEERS PRIVATE LIMITED
54.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 2.00 | Each | 178.61 | 700.00 | 1400.00 | 623.00 | 1246.00 | 1246.00 | JCC ENGINEERS PRIVATE LIMITED
55.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : a) 25 mm nominal bore | 2.00 | Each | 178.61 | 500.00 | 1000.00 | 465.00 | 930.00 | 930.00 | JCC ENGINEERS PRIVATE LIMITED
56.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : a) 45 cm length - 15 mm nominal bore | 3.00 | Each | 178.61 | 100.00 | 300.00 | 98.00 | 294.00 | 294.00 | JCC ENGINEERS PRIVATE LIMITED
57.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 178.61 | 12500.00 | 12500.00 | 6566.00 | 6566.00 | 6566.00 | JCC ENGINEERS PRIVATE LIMITED
58.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : a) 15 mm nominal bore | 3.00 | Each | 178.61 | 700.00 | 2100.00 | 507.00 | 1521.00 | 1521.00 | JCC ENGINEERS PRIVATE LIMITED
59.00 | Providing and fixing toilet paper holder : C.P. brass | 1.00 | Each | 178.61 | 900.00 | 900.00 | 802.00 | 802.00 | 802.00 | JCC ENGINEERS PRIVATE LIMITED
60.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 1.00 | Each | 178.61 | 1200.00 | 1200.00 | 798.00 | 798.00 | 798.00 | JCC ENGINEERS PRIVATE LIMITED
61.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 5.00 | Each | 178.61 | 700.00 | 3500.00 | 574.00 | 2870.00 | 2870.00 | JCC ENGINEERS PRIVATE LIMITED
62.00 | P/F Stainless Steel anti cocokroach floor Jali of approved make of 100 mm dia fixing over water outlet complete as per direction and satisfaction of Engineer-in-charge | 3.00 | Each | 178.61 | 725.00 | 2175.00 | 556.00 | 1668.00 | 1668.00 | JCC ENGINEERS PRIVATE LIMITED
63.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto1 metre long with S.S. triangular plate to Eureopean type W.C. ofquality and make as approved by Engineer - in - charge. | 1.00 | Each | 178.61 | 350.00 | 350.00 | 340.00 | 340.00 | 340.00 | JCC ENGINEERS PRIVATE LIMITED
64.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 610x510 mm bowl depth 200 mm | 1.00 | Each | 178.61 | 5700.00 | 5700.00 | 49050.00 | 49050.00 | 5700.00 | Khairati Lal
65.00 | Providing and laying six courses water proofing treatment withbitumen felt over roofs consisting of first, third and fifth courses ofblown or / and residual bitumen applied hot at 1.45, 1.20 and 1.70 kgper square metre of area respectively, second and fourth courses ofroofing felt type 2 grade II (glass fibre base self finished bitumen felt)and sixth and final course of stone grit 6 mm and down size or pea sized gravel spread at 6 cubic decimeter per sqm including preparationof surface but excluding grading, complete. | 88.00 | Sqm. | 178.61 | 1000.00 | 88000.00 | 4095.00 | 360360.00 | 88000.00 | Khairati Lal
66.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 10.00 | Each | 178.61 | 1800.00 | 18000.00 | 920.00 | 9200.00 | 9200.00 | JCC ENGINEERS PRIVATE LIMITED
67.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : a) 250x16 mm | 12.00 | Each | 178.61 | 350.00 | 4200.00 | 989.00 | 11868.00 | 4200.00 | Khairati Lal
68.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 150x10 mm | 6.00 | Each | 178.61 | 75.00 | 450.00 | 261.00 | 1566.00 | 450.00 | Khairati Lal
69.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 125 mm | 20.00 | Each | 178.61 | 60.00 | 1200.00 | 83.00 | 1660.00 | 1200.00 | Khairati Lal
70.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. a) Single rubber stopper | 10.00 | Each | 178.61 | 40.00 | 400.00 | 66.00 | 660.00 | 400.00 | Khairati Lal
71.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a) 100 mm dia. R.C.C. Pipe | 274.00 | Mtr. | 178.61 | 760.00 | 208240.00 | 40.00 | 10960.00 | 10960.00 | JCC ENGINEERS PRIVATE LIMITED
72.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a)150 mm dia. R.C.C. Pipe | 225.00 | Mtr. | 178.61 | 870.00 | 195750.00 | 508.00 | 114300.00 | 114300.00 | JCC ENGINEERS PRIVATE LIMITED
73.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : a) 250 mm dia. R.C.C. Pipe | 50.00 | Mtr. | 178.61 | 1310.00 | 65500.00 | 1125.00 | 56250.00 | 56250.00 | JCC ENGINEERS PRIVATE LIMITED
74.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality 1) M D - 10 a) Circular shape 500 mm internal diameter | 2.00 | each | 178.61 | 1800.00 | 3600.00 | 866.00 | 1732.00 | 1732.00 | JCC ENGINEERS PRIVATE LIMITED
75.00 | Providing & fixing roller blinds of Mac, blackout or equivalent of required size (as per site) all complete as per direction of Engineer-in-charge. | 6.25 | sqm | 178.61 | 3000.00 | 18750.00 | 8699.00 | 54368.75 | 18750.00 | Khairati Lal
76.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominalsize), inside plastering 12 mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with floating coat of neat cement andmaking channels in cement concrete 1:2:4 (1 cement : 2 coarsesand : 4 graded stone aggregate 20 mm nominal size) finished witha floating coat of neat cement complete as per standard design : a) Inside size 90x80 cm and 45 cm deep including C.I. coverwith frame (light duty) 455x610 mm internal dimensions,total weight of cover and frame to be not less than 38 kg(weight of cover 23 kg and weight of frame 15 kg) - With common burnt clay F.P.S. (non modular)bricks of class designation 7.5 | 2.00 | Each | 178.61 | 17500.00 | 35000.00 | 12770.00 | 25540.00 | 25540.00 | JCC ENGINEERS PRIVATE LIMITED
77.00 | Providing and fixing bright finished brass 100 mm mortice latch and lockwith 6 levers and a pair of lever handles of approved quality with necessaryscrews etc. complete. | 6.00 | Each | 178.61 | 950.00 | 5700.00 | 858.00 | 5148.00 | 5148.00 | JCC ENGINEERS PRIVATE LIMITED
78.00 | Providing and filling in position, blown bitumen (VG-10) in joints including cutting the joints in concrete surface with joint cutting machine, cleaning the joints, applying masking tape along the edge of joint to prevent accidental spillage of bitumen on top surface and to give neat finish to the bitumen and removing the masking tape after application of sealant etc. complete as per direction of Engineer in-Charge. a) Construction joint of size 10 mm wide and 50 mm depth. | 1.00 | cum | 178.61 | 155650.00 | 155650.00 | 222.00 | 222.00 | 222.00 | JCC ENGINEERS PRIVATE LIMITED
79.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. A) 110 mm diameter | 14.00 | Mtr. | 178.61 | 400.00 | 5600.00 | 1156.00 | 16184.00 | 5600.00 | Khairati Lal
80.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) 110 mm bend | 4.00 | Each | 178.61 | 155.00 | 620.00 | 665.00 | 2660.00 | 620.00 | Khairati Lal
81.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 4.00 | Each | 178.61 | 55.00 | 220.00 | 1155.00 | 4620.00 | 220.00 | Khairati Lal
82.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain) i) 110 mm Shoe | 4.00 | Each | 178.61 | 145.00 | 580.00 | 445.00 | 1780.00 | 580.00 | Khairati Lal
83.00 | Providing and laying uPVC pipes for drainage (soil, waste and vent), including jointing, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes all includes as per direction and satisfaction of Engineer In Charge. | 55.00 | Mtr. | 178.61 | 260.00 | 14300.00 | 888.00 | 48840.00 | 14300.00 | Khairati Lal
84.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, All types of soil 300 mm dia upto 90 metre depth below ground level. | 90.00 | m | 178.61 | 1200.00 | 108000.00 | 999.00 | 89910.00 | 89910.00 | JCC ENGINEERS PRIVATE LIMITED
85.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, All types of soil 300 mm dia beyond 90 metre & upto 150 metre depth below ground level. | 60.00 | m | 178.61 | 1300.00 | 78000.00 | 555.00 | 33300.00 | 33300.00 | JCC ENGINEERS PRIVATE LIMITED
86.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, ERW (Electric Resistance Welded) FE 410 mild steel screwed and socketed/plain ended casing pipes of required dia, conforming to IS: 4270, of reputed & approved make, including painted with outside surface with two coats of anticorrosive paint of approved brand and manufacture, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer-in-charge. 150 mm nominal size dia having minimum wall thickness 5.00 mm | 130.00 | m | 178.61 | 2050.00 | 266500.00 | 666.00 | 86580.00 | 86580.00 | JCC ENGINEERS PRIVATE LIMITED
87.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of useable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by “V” notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, including disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 20.00 | Hours | 178.61 | 1130.00 | 22600.00 | 485.00 | 9700.00 | 9700.00 | JCC ENGINEERS PRIVATE LIMITED
88.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 150 mm dia | 1.00 | each | 178.61 | 240.00 | 240.00 | 2255.00 | 2255.00 | 240.00 | Khairati Lal
89.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. 150 mm clamp | 1.00 | each | 178.61 | 2150.00 | 2150.00 | 1455.00 | 1455.00 | 1455.00 | JCC ENGINEERS PRIVATE LIMITED
90.00 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). 150 mm dia | 1.00 | each | 178.61 | 325.00 | 325.00 | 2566.00 | 2566.00 | 325.00 | Khairati Lal
91.00 | Gravel packing in tubewell construction in accordance with IS: 4097, including providing gravel fine/ medium/ coarse, in required grading & sizes as per actual requirement, all complete as per direction of Engineerin- charge. | 8.00 | cum | 178.61 | 3500.00 | 28000.00 | 988.00 | 7904.00 | 7904.00 | JCC ENGINEERS PRIVATE LIMITED
92.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit/PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 37.00 | POINT | 178.61 | 1800.00 | 66600.00 | 700.00 | 25900.00 | 25900.00 | JCC ENGINEERS PRIVATE LIMITED
93.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit /PVC conduitas required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Mtrs | 178.61 | 1000.00 | 100000.00 | 15.00 | 1500.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
94.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit /PVC conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | 150.00 | Mtrs | 178.61 | 500.00 | 75000.00 | 300.00 | 45000.00 | 45000.00 | JCC ENGINEERS PRIVATE LIMITED
95.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit/PVC conduit alongwith 2 Nos 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Mtrs | 178.61 | 725.00 | 72500.00 | 500.00 | 50000.00 | 50000.00 | JCC ENGINEERS PRIVATE LIMITED
96.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit /PVC conduitas required. 4X16 Sqmm +2X6Sqmm | 25.00 | Mtrs | 178.61 | 2425.00 | 60625.00 | 1000.00 | 25000.00 | 25000.00 | JCC ENGINEERS PRIVATE LIMITED
97.00 | Supplying and drawing 4 pair 0.4 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | 20.00 | Mtrs | 178.61 | 100.00 | 2000.00 | 100.00 | 2000.00 | 2000.00 | Khairati Lal, JCC ENGINEERS PRIVATE LIMITED
98.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25 mm dia | 650.00 | Mtrs | 178.61 | 175.00 | 113750.00 | 200.00 | 130000.00 | 113750.00 | Khairati Lal
99.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connections etc. as required. | 30.00 | Each | 178.61 | 750.00 | 22500.00 | 200.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED
100.00 | Supply and fixing of following moduler switch/socket/accessories on the existing moduler plate and switch box i/c connection but excluding moduler plate etc. as required. a) Telephone socket outlet | 2.00 | Each | 178.61 | 180.00 | 360.00 | 100.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
101.00 | Supply and fixing of following moduler switch/socket/accessories on the existing moduler plate and switch box i/c connection but excluding moduler plate etc. as required. b) 01 module blanking plate | 10.00 | Each | 178.61 | 200.00 | 2000.00 | 100.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
102.00 | Supply and fixing of following moduler switch/socket/accessories on the existing moduler plate and switch box i/c connection but excluding moduler plate etc. as required. c) Two module fan regulator | 6.00 | Each | 178.61 | 450.00 | 2700.00 | 100.00 | 600.00 | 600.00 | JCC ENGINEERS PRIVATE LIMITED
103.00 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 7.00 | Each | 178.61 | 850.00 | 5950.00 | 100.00 | 700.00 | 700.00 | JCC ENGINEERS PRIVATE LIMITED
104.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75 mmX75 mm) | 5.00 | Each | 178.61 | 400.00 | 2000.00 | 100.00 | 500.00 | 500.00 | JCC ENGINEERS PRIVATE LIMITED
105.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 3 Module (100 mmX75 mm) | 5.00 | Each | 178.61 | 425.00 | 2125.00 | 200.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
106.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 4 Module (125 mmX75 mm) | 5.00 | Each | 178.61 | 435.00 | 2175.00 | 200.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
107.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 8 Module (125 mmX125 mm) | 5.00 | Each | 178.61 | 550.00 | 2750.00 | 200.00 | 1000.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
108.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4+12), Double door | 2.00 | Each | 178.61 | 9500.00 | 19000.00 | 5000.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
109.00 | Supplying and fixing following rating, four poles, (three phase and neutral) 415 Volts, 10kA MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63A | 2.00 | Each | 178.61 | 2450.00 | 4900.00 | 4000.00 | 8000.00 | 4900.00 | Khairati Lal
110.00 | Supplying and fixing following rating, Four pole, (Three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 2.00 | Each | 178.61 | 3850.00 | 7700.00 | 4000.00 | 8000.00 | 7700.00 | Khairati Lal
111.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 24.00 | Each | 178.61 | 350.00 | 8400.00 | 300.00 | 7200.00 | 7200.00 | JCC ENGINEERS PRIVATE LIMITED
112.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 24.00 | Each | 178.61 | 30.00 | 720.00 | 100.00 | 2400.00 | 720.00 | Khairati Lal
113.00 | Supplying and fixing telephone junction box with 10 pair termination socket in wall / ground with suitable arrangement. | 2.00 | Each | 178.61 | 2700.00 | 5400.00 | 100.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
114.00 | Supply of recessed mounted LED light fixture having luminous efficacy not less than 100 Lumens/watt, lumen output not less than 2400 Lumen, life >= 50000 burning hours, with extruded aluminium/CRCA/Standard alloy housing, CRI>=80, THD<10%, IP Category>=20,integrated driver,IK rating >=04, surge protection conforming to relevant IS standard/IEC for LED driver (inbuilt): EN61000-4-5, suitable for operation on 140V-270V, 50 Hz supply with all accessories etc. complete as required. | 19.00 | Each | 178.61 | 3510.00 | 66690.00 | 1000.00 | 19000.00 | 19000.00 | JCC ENGINEERS PRIVATE LIMITED
115.00 | Supply of LED round panel downlight having luminous efficacy not less than 100 Lumens/watt, lumen output not less than 1200 Lumen, life >= 50000 burning hours, with extruded aluminium/CRCA/Standard alloy housing, CRI>=80, THD=20,integrated driver,IK rating >=04, surge protection conforming to relevant IS standard/IEC for LED driver (inbuilt): EN61000-4-5, suitable for operation on 140V-270V, 50 Hz supply with all accessories etc. complete as required. | 2.00 | Each | 178.61 | 830.00 | 1660.00 | 8000.00 | 16000.00 | 1660.00 | Khairati Lal
116.00 | Supply of LED street light luminaire having efficiency of LED light fitting (Efficacy) not less than 110 lumens/watt,lumen output not less then 4950 lumens with lenses consisting of high pressure die cast/extruded aluminum housing,heat resistant toughened glass/ polycarbonate cover, CRI>=80, THD<10%, life >= 50000 burning hours, integrated driver, IP category >=65, IK rating >=07 with surge protection greater then 4KV suitable for operation on 140V-270V, 50 Hz AC supply with all accessories complete as required & as specified. | 7.00 | Each | 178.61 | 4800.00 | 33600.00 | 5000.00 | 35000.00 | 33600.00 | Khairati Lal
117.00 | Supply, Installation, Testing and Commissioning of 9 Watt Emergency Rechargeable wall mounted LED Light with Auto ON feature during power failure suitable to operate on 230V, 50 Hz single phase AC supply, complete as required. | 3.00 | Each | 178.61 | 5400.00 | 16200.00 | 1000.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
118.00 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374 2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 6.00 | Each | 178.61 | 3500.00 | 21000.00 | 3000.00 | 18000.00 | 18000.00 | JCC ENGINEERS PRIVATE LIMITED
119.00 | Supply, Installation, Testing and Commissioning of exhaust fan up to 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required | 3.00 | Each | 178.61 | 5950.00 | 17850.00 | 4000.00 | 12000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
120.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 21.00 | Each | 178.61 | 200.00 | 4200.00 | 5000.00 | 105000.00 | 4200.00 | Khairati Lal
121.00 | Supply of 2 TR Inverter type Split Air-Conditioner of BEE 5 Star rating Hi-wall split 2 Ton non ductible fan coil unit (Indoor Unit), Copper Condensing unit (Outdoor Unit) with fan and High Energy Efficiency compressor, with remote controller and works with R410A/R407C/R 134A gas, suitable for operation on 1 Phase, 230 +/- 10%V, 50Hz AC supply etc. complete as required. The supply of unit shall include the copper pipings, Interconnecting Power cables between the Indoor and Outdoor Unit as per the standard manufacturer design (i.e. Copper pipings of not less than 3 Mtrs) and initial charge of gas etc. complete as required. | 7.00 | SET | 178.61 | 97500.00 | 682500.00 | 55000.00 | 385000.00 | 385000.00 | JCC ENGINEERS PRIVATE LIMITED
122.00 | Providing of extra refrigerant piping, cabling (More than standard length) , insulating with foam between indoor and outdoor units etc. as required. | 35.00 | Mtrs | 178.61 | 1800.00 | 63000.00 | 1500.00 | 52500.00 | 52500.00 | JCC ENGINEERS PRIVATE LIMITED
123.00 | Providing and fixing of extra drain CPVC / UPVC pipe for condensate water from indoor unit to nearest drain point including coupling , elbow etc. as required. | 35.00 | Mtrs | 178.61 | 250.00 | 8750.00 | 100.00 | 3500.00 | 3500.00 | JCC ENGINEERS PRIVATE LIMITED
124.00 | Supply, installation, testing and commissioning of wall mounting type, single phase, automatic line voltage stabilzer, suitable operation on 170 volts to 270 volts AC input, 200 volts to 240 volts AC output, single phase, 50Hz AC power supply with built in time delay, high voltage cut off, and low voltage cut off at 145 volts and input/output/trip indications and suitable for application of 2 TR Air conditioning unit etc. as required. | 7.00 | Each | 178.61 | 9400.00 | 65800.00 | 6500.00 | 45500.00 | 45500.00 | JCC ENGINEERS PRIVATE LIMITED
125.00 | Supply of PVC insulated and PVC sheathed aluminium conductor armoured cable of 1 KV grade conforming to IS : 1554 (Par : -I)/1988 with upto date amendments etc.,as required.of following sizes : a) 3.5 X 120 Sq.mm | 500.00 | Mtrs | 178.61 | 1600.00 | 800000.00 | 800.00 | 400000.00 | 400000.00 | JCC ENGINEERS PRIVATE LIMITED
126.00 | Supply of PVC insulated and PVC sheathed Copper conductor armoured cable of 1 KV grade conforming to IS : 1554 (Par : -I)/1988 with upto date amendments etc.,as required.of following sizes : 2 x 1.5 sqmm | 200.00 | Mtrs | 178.61 | 220.00 | 44000.00 | 200.00 | 40000.00 | 40000.00 | JCC ENGINEERS PRIVATE LIMITED
127.00 | Supplying and fixing of 32mm dia G.I. pipe (medium class) for installation of street light fiting including bending the pipe to the required shape and clamp arrangement complete as required.(length of 1 mtr) | 7.00 | Each | 178.61 | 1700.00 | 11900.00 | 2000.00 | 14000.00 | 11900.00 | Khairati Lal
128.00 | Supplying and Laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, PE 80, PN 6 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required (a) 90 mm dia | 300.00 | Mtrs | 178.61 | 450.00 | 135000.00 | 700.00 | 210000.00 | 135000.00 | Khairati Lal
129.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. (a) Above 95 sq. mm and upto 185 sq. mm | 300.00 | Mtrs | 178.61 | 100.00 | 30000.00 | 50.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
130.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in masonnary open duct etc as required. (a) Above 95 sq. mm and upto 185 sq. mm | 15.00 | Mtrs | 178.61 | 85.00 | 1275.00 | 50.00 | 750.00 | 750.00 | JCC ENGINEERS PRIVATE LIMITED
131.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (a) 3.5 x 120 sqmm | 6.00 | SET | 178.61 | 950.00 | 5700.00 | 1000.00 | 6000.00 | 5700.00 | Khairati Lal
132.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (a) 4X16 Sqmm (28mm) + 2X6Sqmm(19mm) | 4.00 | SET | 178.61 | 830.00 | 3320.00 | 500.00 | 2000.00 | 2000.00 | JCC ENGINEERS PRIVATE LIMITED
133.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 180.00 | SET | 178.61 | 60.00 | 10800.00 | 100.00 | 18000.00 | 10800.00 | Khairati Lal
134.00 | Providing, laying and fixing following dia HDPE pipe ISI marked . in ground/ road/ hard soil along with all accessories like socket, bend, couplers etc. conforming to IS 4984, PE 80, PN 6 complete with fitting and cutting, jointing etc including trenching (75 cm deep) and re-filling and making the same surface etc as required 90mm dia | 60.00 | Mtrs | 178.61 | 1000.00 | 60000.00 | 700.00 | 42000.00 | 42000.00 | JCC ENGINEERS PRIVATE LIMITED
135.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | SET | 178.61 | 11500.00 | 23000.00 | 10000.00 | 20000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
136.00 | Supplying and laying 25 mm X 5 mm GI strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50 mm) | 20.00 | Mtrs | 178.61 | 1250.00 | 25000.00 | 200.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
137.00 | Providing and fixing 25 mm X 5 mm GI strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 20.00 | Mtrs | 178.61 | 930.00 | 18600.00 | 600.00 | 12000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
138.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 20.00 | Mtrs | 178.61 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
139.00 | Supply and Installation of MOV based 40KA Surge Protection module for output(Two Phase, Incoming & Outgoing) with Rated voltage MCOV 5000V in the fire proof metal enclosure. | 1.00 | Each | 178.61 | 23500.00 | 23500.00 | 75000.00 | 75000.00 | 23500.00 | Khairati Lal
140.00 | SITC of out door feeder pillar made out of 14 SWG MS sheet,of size 600mm x450mm x300mm, having four frangible legs of suitable length each of angle iron 35mm X 35mm x 5 mm size ( leg shound be 300 mm above from floor level) , TPN aluminum busbars of rating 200A, painting and writing i/c danger plate, fixing with cement concrete (1:2:4) and also making the cement concrete bed (1:4:8) of radius one meter around the feeder pillar etc. as per site requirement. | 3.00 | SET | 178.61 | 16500.00 | 49500.00 | 15000.00 | 45000.00 | 45000.00 | JCC ENGINEERS PRIVATE LIMITED
141.00 | SITC of Dust & vermin proof Outdoor type double door Floor Mounted panel Ingress protection of IP54 of suitable size on angel iron frame/ flate iron frame work and to withstand rough usage. The panel shall be fabricated with 14 SWG MS sheet complete with all accessories suitable angle/ channels frame, gland plates, painting etc. including supplying and fixing of following accessories and making inter connection, earth connection, neutral link, etc.as per the drawing and site requirement. Incomer 250A, MCCB, 4P, 35-37 KA (Icu= 100% Ics) with extended rotary handle and spreaders - 02 Nos. Multi function meter (Shows Voltage, Current & Frequency) with 3 line LCD Display of size 96 x 96 mm. - 02 Nos. Indication Lamp R, Y & B (LED Type) -02 set Buscoupler 250A, MCCB, 4P, 35-37 KA (Icu= 100% Ics) with extended rotary handle and spreaders - 01 No. Outgoing 63A, MCCB, 4P, 25 KA (Icu= 100% Ics) with extended rotary handle - 06 Nos. Indication Lamp R & G (LED type) - 06 Set Other 300A Copper busbar, 3 Phase & Neutral Mechanical key lock (3 Lock +2 Key) Necessary CT & Control wiring arrangement Power terminal and other accessories TPN automatic change over switch with controller, 200A , 415V,50Hz, 4 Pole etc as per site requirement- 01 Nos Three Phase Surge Protection Device (SPD) having nominal dischage 100kA (8/20 us) Maximum discharge current 15kA (10/350 us),Peak 150kA (8/20 us) Lightning impulse value current 40kA (10/350 us) with protection level of 1.9kV including all accessories for installing on the mains power entry point at the busbar shall be of modular type. -02 Nos. | 1.00 | Each | 178.61 | 505000.00 | 505000.00 | 300000.00 | 300000.00 | 300000.00 | JCC ENGINEERS PRIVATE LIMITED
142.00 | SITC of TPN automatic change over switch with current limiter , 80A /63A , 415V,50Hz, etc as per site requirement. | 1.00 | Each | 178.61 | 38500.00 | 38500.00 | 100000.00 | 100000.00 | 38500.00 | Khairati Lal
143.00 | SITC of conventional photo electric smoke detector complete with base. | 13.00 | Each | 178.61 | 4000.00 | 52000.00 | 5000.00 | 65000.00 | 52000.00 | Khairati Lal
144.00 | SITC of conventional Rate of rise cum fixed temperature heat detector complete with base. | 2.00 | NO | 178.61 | 5150.00 | 10300.00 | 2000.00 | 4000.00 | 4000.00 | JCC ENGINEERS PRIVATE LIMITED
145.00 | SITC of 4 cross zone fire alarm control panel with batteries, auto dialer and all other accessories | 1.00 | NO | 178.61 | 54500.00 | 54500.00 | 750000.00 | 750000.00 | 54500.00 | Khairati Lal
146.00 | SITC of conventional flasher sounder unit | 1.00 | NO | 178.61 | 5400.00 | 5400.00 | 20000.00 | 20000.00 | 5400.00 | Khairati Lal
147.00 | SITC of NOVAC 1230 clean agent gas | 56.00 | NO | 178.61 | 2100.00 | 117600.00 | 3000.00 | 168000.00 | 117600.00 | Khairati Lal
148.00 | SITC of 80 litre cylinder complete with valve, pipe , mounting accessories, control valve with manual and electrical operated level and solenoid. | 1.00 | KG | 178.61 | 80520.00 | 80520.00 | 1450.00 | 1450.00 | 1450.00 | JCC ENGINEERS PRIVATE LIMITED
149.00 | SITC of seamless pipe ASTM A-106(Sch 40) complete with all fittings painting with one coat of red oxide and 2 coats of enamel paint; piping to be fixed on ceiling with MS suspended supports, clamps anchor fastners, cutting chases / holes in valve ceiling and making good the same as required for the following sizes | 1.00 | NO | 178.61 | 6000.00 | 6000.00 | 155.00 | 155.00 | 155.00 | JCC ENGINEERS PRIVATE LIMITED
150.00 | SITC of manual abort / release station | 1.00 | JOB | 178.61 | 7150.00 | 7150.00 | 484.00 | 484.00 | 484.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 16660630.00 |  | 15750650.75
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(15750650.75)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of new DVOR building inside Operational area at SGRDJI Airport Amritsar. Tender ID: 2025_AAI_235452_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED (BID ID -878914) | 15750650.75 | L1
| 2 | Khairati Lal (BID ID -870578) | 16660630.00 | L2