## BoQ1
Government eProcurement System Created By: Giduthuri Ch.Jagadish Created Date/Time: 07-Jul-2025 07:09 PM Tender Title: Replacement of 4X40 KVA online UPS along with battery bank including Annual Comprehensive Maintenance of UPS for 5 years after DLP at Tirupati Airport Tender ID: 2025_AAI_236054_1
Tender Inviting Authority: Senior Manager(Engg-E)-I, AAI, Tirupati Airport.
Name of Work : Replacement of 4X40 KVA online UPS along with battery bank including Annual Comprehensive maintenance of UPS for 5 years after DLP at Tirupati Airport
Contract No: AAI/TPT/ENGG (E)/4x40KVA ONLINE UPS/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Prostarm Info Systems Limited (GSTN-27AAECP6991N1ZK) BID ID -858660 |  | SUN POWER CONVERSION PVT LTD (GSTN-09AAICS9074K1ZL) BID ID -861269 |  | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -861491 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -861679 |  | C R ELECTRICALS (GSTN-NA) BID ID -861433 |  | Virtus Techno (GSTN-NA) BID ID -861546
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installations, Testing & Commissioning of 40KVA UPS of online double conversion PWM IGBT based technology having parallel redundant type suitable to operate on 3 Phase input of 433V ± 10%, 50 Hz AC supply and provide 3 phase output of 415V±1% meeting the technical specifications of tender document. The work includes interconnection between UPS and battery bank, with in the UPS units for parallel operation with suitable size copper cable/wires of length as per site requirement by laying it in existing cable tray with saddles etc.The UPS should be capable of parallel operation with synchronization card,battery isolation breaker for each unit etc complete as required. (Note: Battery bank to be placed in the adjacent room) | 4.00 | Job |  | 400000.00 | 1600000.00 | 340000.00 | 1360000.00 | 396492.00 | 1585968.00 | 545000.00 | 2180000.00 | 395600.00 | 1582400.00 | 403000.00 | 1612000.00 | 1360000.00 | SUN POWER CONVERSION PVT LTD
2.00 | Supply, installation, testing and commissioning of the Battery Bank to provide uninterrupted power back up of atleast 30mins on full load (for each UPS mentioned in Item No.1) consisting of sufficient number of VRLA SMF batteried of suitable AH capacity (calculate as per OEM recommendations) along with all connections, interconnection as required as per the site requirement. The Battery bank is to be installed in the painted MS battery rack/stand of suitable stength for multiple layer storage of the battery bank as per available room size. (approx. 8 mtr X 4 mtr). | 4.00 | Job |  | 208000.00 | 832000.00 | 260000.00 | 1040000.00 | 314450.00 | 1257800.00 | 290000.00 | 1160000.00 | 313945.00 | 1255780.00 | 295800.00 | 1183200.00 | 832000.00 | Prostarm Info Systems Limited
3.00 | Dismantling and transportation of the existing 4 x 40 KVA UPS system along with Battery bank and its accessories from the site, by carefully removing all interconnections without disturbing operations at Tirupati Airport. The dismantling of the UPS has to be carried out in close coordination with AAI so that existing operations are not disturbed.Transportation of the dismantled UPS to AAI store approximately 1 Km. Including Properly Loading and Unloading of the 4 x 40 KVA UPS sysytem along with bank and its accessories. | 1.00 | Job |  | 100000.00 | 100000.00 | 20526.00 | 20526.00 | 23750.00 | 23750.00 | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 42000.00 | 42000.00 | 20526.00 | SUN POWER CONVERSION PVT LTD
4.00 | Supplying and installing of following size of perforated Hot Dipped Galvansied iron cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 600mm width X 50mm depth X 2mm thickness | 50.00 | Meter |  | 1500.00 | 75000.00 | 1050.00 | 52500.00 | 1995.00 | 99750.00 | 1700.00 | 85000.00 | 1500.00 | 75000.00 | 1872.00 | 93600.00 | 52500.00 | SUN POWER CONVERSION PVT LTD
5.00 | Supply and fixing of class A electrical insulation mats confirming to IS 15652 of thickness minimum 2.0mm with shock proof under leakage current 10 mA of size 1mtr X 2mtrs (or as per site requirement) complete as required. | 50.00 | Sq.Mtr |  | 500.00 | 25000.00 | 600.00 | 30000.00 | 1140.00 | 57000.00 | 1100.00 | 55000.00 | 1093.00 | 54650.00 | 720.00 | 36000.00 | 25000.00 | Prostarm Info Systems Limited
6.00 | SITC of 2.0 TR BEE-5 star rated Hi Wall Split inverter AC, complete with inverter compressor suitable for operation at 230V +/- 10% AC power supply, including requiste size suction and discharge Copper pipe and copper pipe insulation, PVC inuslated PVC sheathed multicore copper conductor power cable between from indoor to outdoor unit, drain pipe of length atleast 5 mtrs, installation of outdoor on suitable size MS stand as per site requirement etc., complete as required. Job also includes any minor civil works involved as a part of installation. | 2.00 | Jobs |  | 100000.00 | 200000.00 | 55000.00 | 110000.00 | 63365.00 | 126730.00 | 46500.00 | 93000.00 | 65000.00 | 130000.00 | 56850.00 | 113700.00 | 93000.00 | Awasthi Electric Works
7.00 | All inclusive comprehensive maintenance contract-replacement of all spares excluidng batteries for 4 x40 KVA UPS system as per OEM recommendations, including carrying out mandatory quarterly servicing and attending the breakdown calls within 24hrs as and when required (1job = 1 quarterly visit for 4 nos of 40KVA UPS ). (a) 1st Year after DLP- (Prefixed percentage of 5% on item 1) | 4.00 | Job |  | 20000.00 | 80000.00 | 17000.00 | 68000.00 | 19824.60 | 79298.40 | 27250.00 | 109000.00 | 19780.00 | 79120.00 | 20150.00 | 80600.00 | 68000.00 | SUN POWER CONVERSION PVT LTD
8.00 | All inclusive comprehensive maintenance contract-replacement of all spares excluidng batteries for 4 x40 KVA UPS system as per OEM recommendations, including carrying out mandatory quarterly servicing and attending the breakdown calls within 24hrs as and when required (1job = 1 quarterly visit for 4 nos of 40KVA UPS ). (b) 2nd Year after DLP-(Prefixed percentage,5% escalation on item 7) | 4.00 | Job |  | 21000.00 | 84000.00 | 17850.00 | 71400.00 | 20816.00 | 83264.00 | 28613.00 | 114452.00 | 20769.00 | 83076.00 | 21158.00 | 84632.00 | 71400.00 | SUN POWER CONVERSION PVT LTD
9.00 | All inclusive comprehensive maintenance contract-replacement of all spares excluidng batteries for 4 x40 KVA UPS system as per OEM recommendations, including carrying out mandatory quarterly servicing and attending the breakdown calls within 24hrs as and when required (1job = 1 quarterly visit for 4 nos of 40KVA UPS ). (c) 3rd Year after DLP-(Prefixed percentage,5% escalation on item 8) | 4.00 | Job |  | 22050.00 | 88200.00 | 18743.00 | 74972.00 | 21857.00 | 87428.00 | 30044.00 | 120176.00 | 21808.00 | 87232.00 | 22216.00 | 88864.00 | 74972.00 | SUN POWER CONVERSION PVT LTD
10.00 | All inclusive comprehensive maintenance contract-replacement of all spares excluidng batteries for 4 x40 KVA UPS system as per OEM recommendations, including carrying out mandatory quarterly servicing and attending the breakdown calls within 24hrs as and when required (1job = 1 quarterly visit for 4 nos of 40KVA UPS ). (d) 4th Year after DLP-(Prefixed percentage,5% escalation on item 9) | 4.00 | Job |  | 23153.00 | 92612.00 | 19681.00 | 78724.00 | 22950.00 | 91800.00 | 31547.00 | 126188.00 | 22899.00 | 91596.00 | 23327.00 | 93308.00 | 78724.00 | SUN POWER CONVERSION PVT LTD
11.00 | All inclusive comprehensive maintenance contract-replacement of all spares excluidng batteries for 4 x40 KVA UPS system as per OEM recommendations, inclduing carrying out mandatory quarterly servicing and attending the breakdown calls within 24hrs as and when required (1job = 1 quarterly visit for 4 nos of 40KVA UPS ). (e) 5th Year after DLP-(Prefixed percentage,5% escalation on item 10) | 4.00 | Job |  | 24311.00 | 97244.00 | 20666.00 | 82664.00 | 24098.00 | 96392.00 | 33125.00 | 132500.00 | 24044.00 | 96176.00 | 24494.00 | 97976.00 | 82664.00 | SUN POWER CONVERSION PVT LTD
| Total in Figures |  |  |  |  | 3274056.00 |  | 2988786.00 |  | 3589180.40 |  | 4225316.00 |  | 3560030.00 |  | 3525880.00
Lowest Amount Quoted BY: SUN POWER CONVERSION PVT LTD(2988786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of 4X40 KVA online UPS along with battery bank including Annual Comprehensive Maintenance of UPS for 5 years after DLP at Tirupati Airport Tender ID: 2025_AAI_236054_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUN POWER CONVERSION PVT LTD (BID ID -861269) | 2988786.00 | L1
| 2 | Prostarm Info Systems Limited (BID ID -858660) | 3274056.00 | L2
| 3 | Virtus Techno (BID ID -861546) | 3525880.00 | L3
| 4 | C R ELECTRICALS (BID ID -861433) | 3560030.00 | L4
| 5 | vk sam engineering (BID ID -861491) | 3589180.40 | L5
| 6 | Awasthi Electric Works (BID ID -861679) | 4225316.00 | L6