## BoQ1
Government eProcurement System Created By: Amit Kumar Layek Created Date/Time: 21-Jul-2025 04:27 PM Tender Title: SITC of Air conditioners and miscellaneous items in various locations at M.B.B. Airport, Agartala Tender ID: 2025_AAI_236781_1
Tender Inviting Authority: A.G.M (E-E)
Name of Work:SITC of Air conditioners and miscellaneous items in various locations at M.B.B. Airport, Agartala.
Contract No: 2025_AAI_236781_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RS COOLING APPLIANCES (GSTN-18AALFR2502H3Z8) BID ID -865974 |  | LIFE STYLE INTERIORS (GSTN-08AEWPT8384E1ZJ) BID ID -866300
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5 TR capacity, Hi-wall mount, Cold type, BEE rated 5 STAR Split type Air conditioner, Indoor unit, outdoor unit with sealed rotary/twin rotary/BLDC type compressor with invertor technilogy filled with Non CFC refrigerant like R410a/ R32 gas, evaporator, copper condensor tube/coil, cordless remote control with display for temperature and other standard features, suitable for operation at 220 V± 10%, 50 Hz, AC supply. Supply also includes all the standard accessorieies provided by OEM with Air conditioner unit,copper pipe upto 3 meter and drain pipe upto 3 metre (both copper pipe and drain pipe separately enclosed in with nitrile ruber insulation including wrapping in white vinyl tape), suitable size of FR, PVC, multi core flexible power cable/ control cable for wiring between indoor and outdoor upto 3 metre as per OEM design recommendations etc complete in all respect. (Product Manufacture date should not be more than 1 year) | 19.00 | Nos. |  | 36000.00 | 684000.00 | 34141.00 | 648679.00 | 648679.00 | LIFE STYLE INTERIORS
2.00 | Installation, testing and commissioning of Item No. 1 (1.5 TR capacity, Hi-wall mount, Cold type Air conditioner) complete in all respect as per direction of EIC. Item also includes Loading, unloading, shifting of indoor and out door units up to the installation location, or any other arrangements required for ITC, Intial gas charging of the system with required quantity etc. | 19.00 | Nos. |  | 1790.00 | 34010.00 | 1695.00 | 32205.00 | 32205.00 | LIFE STYLE INTERIORS
3.00 | SITC of extra copper refrigerant piping beyond 3 mtr complete in all respect for 1.5 TR capacity of Hi-wall mount Split Air-conditioner between outdoor and indoor unit complete with suction/discharge line as per design of OEM, with nitrile rubber pipe insulation including wrapping in white vinyl tape, suitable size as per OEM design of FR, PVC, multi core flexible power cabling between indoor and outdoor beyond 3 mtr lenth etc as per site requirement along with all accessories etc. | 43.00 | Mtr. |  | 1090.00 | 46870.00 | 1186.00 | 50998.00 | 46870.00 | RS COOLING APPLIANCES
4.00 | Supply of 2.0 TR capacity, Hi-wall mount, Cold type, BEE rated 5 STAR Split type Air conditioner, Indoor unit , out door unit with sealed rotary/twin rotary/BLDC type compressor with invertor technilogy filled with Non CFC refrigerant like R410a/ R32 gas, evaporator, copper condensor tube/coil, cordless remote control with display for temperature and other standard features, suitable for operation at 220 V± 10%, 50 Hz, AC supply. Supply also includes all the standard accessorieies provided by OEM with Air conditioner unit, copper piping upto 3 meter and drain pipe upto 3 metre (both copper pipe and drain pipe separately enclosed in with nitrile ruber insulation including wrapping in white vinyl tape), suitable size of FR, PVC, multi core, flexible power/control cable between indoor and outdoor upto 3 metre as per OEM design recommendations etc complete in all respect. (Product Manufacture date should not be more than 1 year ) | 37.00 | Nos. |  | 44500.00 | 1646500.00 | 44297.00 | 1638989.00 | 1638989.00 | LIFE STYLE INTERIORS
5.00 | Installation, testing and commissioning of Item No.4 (2.0 TR capacity, Hi-wall mount, Cold type Air conditioners) complete in all respect as per direction of EIC. Item also includes Loading, unloading, shifting of indoor and out door units up to the installation location, or any other arrangements required for ITC, Intial gas charging of system with required quantity etc. | 37.00 | Nos. |  | 2590.00 | 95830.00 | 1949.00 | 72113.00 | 72113.00 | LIFE STYLE INTERIORS
6.00 | SITC of extra copper refrigerant piping beyond 3 mtr complete in all respect for 2.0 TR capacity of Hi-wall mount type Air-conditioner between outdoor and indoor unit complete with suction/discharge line as per design of OEM, with nitrile rubber pipe insulation including wrapping in white vinyl tape, suitable size as per OEM design of FR, PVC, multicore power cabling between indoor and outdoor beyond 3 mtr lenth etc as per site requirement along with all accessories etc. | 103.00 | Mtr. |  | 1190.00 | 122570.00 | 1356.00 | 139668.00 | 122570.00 | RS COOLING APPLIANCES
7.00 | Supply of 4.0 TR, Cold type Ceiling suspended BEE rated Minimum 4 Star Cassette type (three phase) Air conditioner, 4 way airflow/ Round air flow including indoor unit, out door unit with all necessary fittings and mountings/ supports as specified or provided by the manufacturer required for installations, with sealed rotary/twin rotary/BLDC type compressor with inverter technology filled with Non CFC refrigerant like R410A/ R32 gas, fitted with copper condensor tube/coil, cordless remote control with LCD display for temperature and other standard features and OEM provided accessories suitable for operation on 415 V± 10%, 50 Hz, 3 phase AC supply. Supply also includes all the standard accessorieies provided by OEM with Air conditioner unit,copper piping upto 3 meter and drain pipe upto 3 metre (both copper pipe and drain pipe separately enclosed in with nitrile ruber insulation including wrapping in white vinyl tape), suitable size of FR, PVC, multi core, flexible power cable and control cable for wiring between indoor and outdoor upto 3 metre as per OEM design recommendations etc complete in all respect. (Product Manufacture date should not be more than 1 year ). | 10.00 | Nos. |  | 119300.00 | 1193000.00 | 118691.00 | 1186910.00 | 1186910.00 | LIFE STYLE INTERIORS
8.00 | Installation, testing and commissioning of Item No. 7 (4.0 TR, Cold type Ceiling suspended Cassette type, three phase Air conditioner,) complete in all respect as per direction of EIC. Item also includes Loading, unloading, shifting of indoor and out door units up to the installation location, or any other arrangements required for ITC, Intial gas charging of the system with required quantity etc. | 10.00 | Nos. |  | 2990.00 | 29900.00 | 4237.00 | 42370.00 | 29900.00 | RS COOLING APPLIANCES
9.00 | SITC of extra copper refrigerant piping beyond the 3 metres lentgh complete in all respect for 4.0 TR capacity of Cassette type Air-conditioner between outdoor and indoor unit complete with suction/discharge line as per design of OEM, with nitrile rubber pipe insulation including wrapping in white vinyl tape, power cabling between indoor and outdoor beyond 3 mtr lenth etc as per site requirement along with all accessories etc. | 230.00 | Mtr. |  | 1190.00 | 273700.00 | 1441.00 | 331430.00 | 273700.00 | RS COOLING APPLIANCES
10.00 | Supply of 3.0 TR, Cold type Ceiling suspended BEE rated Minimum 4 Star Cassette type Cassette type (three phase) Air conditioner, 4 way airflow/ Round air flow including indoor unit, out door unit with all necessary fittings and mountings/ supports as specified or provided by the manufacturer required for installations, sealed rotary/twin rotary/BLDC type compressor with inverter type technology, filled with Non CFC refrigerant like R410A/ R32 gas, fitted with copper condensor tube/coil, cordless remote control with LCD display for temperature and other standard features and OEM provided accessories suitable for operation on 415 V± 10%, 50 Hz, 3 phase AC supply. Supply also includes all the standard accessorieies provided by OEM with Air conditioner unit,copper piping upto 3 meter and drain pipe upto 3 metre (both copper pipe and drain pipe separately enclosed in with nitrile ruber insulation including wrapping in white vinyl tape), suitable size of FR, PVC, multi core, flexible power cable and control cable for wiring between indoor and outdoor upto 3 metre as per OEM design recommendations etc complete.(Product Manufacture date should not be more than 1 year ) | 5.00 | Nos. |  | 104297.00 | 521485.00 | 96723.00 | 483615.00 | 483615.00 | LIFE STYLE INTERIORS
11.00 | Installation, testing and commissioning of Item No. 10 ( 3.0 TR, Cold type Ceiling suspended Cassette type,three phase Air conditioner) complete in all respect as per direction of EIC. Item also includes Loading, unloading, shifting of indoor and out door units up to the installation location, or any other arrangements required for ITC , Intial gas charging of the system with required quantity etc. | 5.00 | Nos. |  | 2790.00 | 13950.00 | 3390.00 | 16950.00 | 13950.00 | RS COOLING APPLIANCES
12.00 | SITC of extra copper refrigerant piping beyond 3 mtr lenth complete in all respect for 3.0 TR capacity of Cassette type Air-conditioner between outdoor and indoor unit complete with suction/discharge line as per design of OEM, with nitrile rubber pipe insulation including wrapping in white vinyl tape, suitable size as per OEM design of FR, PVC, multi corepower cabling between indoor and outdoor beyond 3 mtr lenth etc as per site requirement along with all accessories etc. | 125.00 | Mtr. |  | 1190.00 | 148750.00 | 1356.00 | 169500.00 | 148750.00 | RS COOLING APPLIANCES
13.00 | Supply of minimum 3.0 TR capacity, BEE rated minimum 1 star, floor mounted tower type Air-Conditioner fitted with rotary / scroll compressor, copper condensor coil, eco friendly, Non CFC refrigerant like R410A/ R32 gas including Remote Controle and all other accessories, with suitable size of ms stand for indoor unit etc. conforming to relevant IS, capable of performing cooling, dehumidifying, air circulating and filtering suitable for operation on 415 Volt, 50Hz, Three Phase AC supply etc. complete as required. Supply also includes all the standard accessorieies provided by OEM with Air conditioner unit,copper piping upto 3 meter and drain pipe upto 3 metre (both copper pipe and drain pipe separately enclosed in with nitrile ruber insulation including wrapping in white vinyl tape), suitable size of FR, multi core, PVC flexible power cable and control cable between indoor and outdoor upto 3 metre as per OEM design recommendations etc complete in all respect. (Product Manufacture date should not be more than 1 year) | 8.00 | Nos. |  | 89000.00 | 712000.00 | 89320.00 | 714560.00 | 712000.00 | RS COOLING APPLIANCES
14.00 | Installation, testing and commissioning of Item No. 13 ( 3.0 TR, Cold type, floor mounted tower ,three phase Air conditioner) complete in all respect as per direction of EIC. Item also includes Loading, unloading, shifting of indoor and out door units up to the installation location, or any other arrangements required for ITC, Intial gas charging with required quantity etc. | 8.00 | Nos. |  | 2790.00 | 22320.00 | 2966.00 | 23728.00 | 22320.00 | RS COOLING APPLIANCES
15.00 | SITC of extra copper refrigerant piping beyond 3 mtr lenth complete in all respect for 3.0 TR capacity of Tower type Air-conditioner between outdoor and indoor unit complete with suction/discharge line as per design of OEM, with nitrile rubber pipe insulation including wrapping in white vinyl tape, suitable size as per OEM design of FR, PVC, multi core, power cabling between indoor and outdoor beyond 3 metres mtr lenth etc as per site requirement along with all accessories etc. | 75.00 | Mtr. |  | 1190.00 | 89250.00 | 1356.00 | 101700.00 | 89250.00 | RS COOLING APPLIANCES
16.00 | Providing and fixing PVC drain piping to the nearest drain 32/40mm dia as directed by the engineer incharge with all accessories e.g. elbows, unions, sockets, reducers, reducingtees, nipples etc. Complete job including cutting chiseling in walls, floor and making good of all chases/ cuts etc. and discharging the drain into a floor trap/ gully as per site conditions with insulation beyond the company provided standard length. | 50.00 | Mtr. |  | 220.00 | 11000.00 | 297.00 | 14850.00 | 11000.00 | RS COOLING APPLIANCES
17.00 | Providing and fixing PVC drain piping to the nearest drain up to 25 mm dia as directed by the engineer incharge with all accessories e.g. elbows, unions, sockets, reducers, reducingtees, nipples etc. Complete job including cutting chiseling in walls, floor and making good of all chases/ cuts etc. and discharging the drain into a floor trap/ gully as per site conditions with insulation beyond the company provided standard length. | 85.00 | Mtr. |  | 200.00 | 17000.00 | 254.00 | 21590.00 | 17000.00 | RS COOLING APPLIANCES
18.00 | Supply and fitting of appropriate size and thickness of Painted/ Powder coated MS Stand / L-Chair for fixing outdoor unit of Hi wall split AC as per requirnment in the direction of EIC complete in all respect along with necessary vibration pads, anchor fastner/bolt & nuts etc on concrete/ brick wall or floor etc. including minor civil work etc as required. | 22.00 | Nos. |  | 2490.00 | 54780.00 | 847.00 | 18634.00 | 18634.00 | LIFE STYLE INTERIORS
19.00 | Supply and fitting of appropriate size and thickness of Painted / Powder coated MS Stand / L-Chair for fixing outdoor unit of casset/tower AC as per requirnment in the direction of EICcompletein all respect along with necessary vibration pads, anchor fastner/bolt & nuts etc on concrete/ brick wall or floor etc. including minor civil work etc as required. | 16.00 | Nos. |  | 2490.00 | 39840.00 | 2966.00 | 47456.00 | 39840.00 | RS COOLING APPLIANCES
20.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 15.00 | Nos. |  | 3250.00 | 48750.00 | 1271.00 | 19065.00 | 19065.00 | LIFE STYLE INTERIORS
21.00 | Supply and fixing FP sheet steel evclosure on surface/ recess along with 16/25/32A, 415 volts "C" curve FP MCB complete with connections, testing and commissioning etc. as required. | 8.00 | Nos. |  | 5625.00 | 45000.00 | 1271.00 | 10168.00 | 10168.00 | LIFE STYLE INTERIORS
22.00 | Wiring for light/ power plug with 2x4 sq. mm FRLS insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 no. 4 sq. mm FRLS insulated copper conductor single core cable for loop earthing as required. | 130.00 | Mtr. |  | 750.00 | 97500.00 | 297.00 | 38610.00 | 38610.00 | LIFE STYLE INTERIORS
23.00 | Supply and fixing of following flexible cable for control wiring beyond 3 mtr between indoor and outdoor unit
23.01 | 3C X 1.5 sqmm | 115.00 | Mtr. |  | 112.00 | 12880.00 | 153.00 | 17595.00 | 12880.00 | RS COOLING APPLIANCES
23.02 | 4C X 2.5 sqmm | 295.00 | Mtr. |  | 212.00 | 62540.00 | 212.00 | 62540.00 | 62540.00 | RS COOLING APPLIANCES, LIFE STYLE INTERIORS
24.00 | Dismantling of existing 4.0/3.0TR Nominal capacity, Ceiling suspended Cassette type (three phase) split unit/ Floor Mounting tower AC including indoor unit, outdoor unit & connection pipes from installed location and shifting it to another location within the Airport Premises of AAI as per direction of E.I.C. | 16.00 | Nos. |  | 900.00 | 14400.00 | 2542.00 | 40672.00 | 14400.00 | RS COOLING APPLIANCES
25.00 | Dismantling of existing 1.0/1.5/2.0/3.0 TR Nominal capacity, single/3 phase Hi wall split unit, including indoor unit, outdoor unit & connection pipes from installed location and shifting (including loading, transportation etc as required) it to another location within the Airport Premises of AAI as per direction of E.I.C. | 43.00 | Nos. |  | 900.00 | 38700.00 | 1271.00 | 54653.00 | 38700.00 | RS COOLING APPLIANCES
26.00 | Dismantling of existing Window AC (up to 2.0TR Nominal capacity) including indoor unit, outdoor unit & connection pipes from installed location and shifting (Including loading, transportation etc as required) it to another location within the Airport Premises of AAI as per direction of E.I.C. | 12.00 | Nos. |  | 200.00 | 2400.00 | 847.00 | 10164.00 | 2400.00 | RS COOLING APPLIANCES
27.00 | Supply and installation of following size of perforated hot dipped galvanised Iron Cable tray (Galvanisation thickness not less than 50 micron) with perforation not more than 17.5 %, in convenient sections, joined with connectors, suspended from the ceilling with G.I. Suspenders including necessary Bends, Tee, GI Bolts and nuts etc as per site requirnments required. a)100 mm width x 50 mm depth x 1.6 mm thickness. | 120.00 | Mtr. |  | 375.00 | 45000.00 | 381.00 | 45720.00 | 45000.00 | RS COOLING APPLIANCES
28.00 | S.I.T.C. of floor mounted self contained drinking water cooler of 80 liters storage and 40 liters cooling capacity per hour, with full stainless steel body made of SS 304 material suitable for operation on 230 volts +/- 10%, 50Hz. Single Phase AC supply, R134A as Refrigerant, reciprocating compressor etc. i/c installation as per site requirment and making connections from existing water line to water cooler etc. as required as per EIC. (Product Manufacture date should not be more than 1 year) | 4.00 | Nos. |  | 38000.00 | 152000.00 | 38983.00 | 155932.00 | 152000.00 | RS COOLING APPLIANCES
29.00 | Supply and installation of double door Refrigerator of Minimum capacity 500 Litre, minimum 1 star rating, Inverter type, Frost free with Door Alarm, Temperature control, suitable for Stabilizer free operation (100 ~ 300 V), Single Phase AC supply (Make: Voltas, Samsung, Bosch, Siemens, LG and Whirlpool). (Product Manufacture date should not be more than 1 year) | 1.00 | Nos. |  | 69000.00 | 69000.00 | 59322.00 | 59322.00 | 59322.00 | LIFE STYLE INTERIORS
30.00 | Supply and installation of table top water dispensor designed with CFC free ecofriendly refrigerent, minimum Cooling capacity 2.5 liter per hour and minimum storage capacity of 3 ltre with stainless steel tank suitable for operation on 230V± 10% AC, 50Hz, single phase supply. (Product Manufacture date should not be more than 1 year) | 1.00 | Nos. |  | 8000.00 | 8000.00 | 10169.00 | 10169.00 | 8000.00 | RS COOLING APPLIANCES
31.00 | Supply and installation of wall mounted water filter cum purifier minimum 200 lph capacity, suitable for operation on 230V± 10% AC, 50Hz, single phase supply, equivalent to Aquaguard AG 200 Water Purifier along with a suitable pre filter housing with pipe & nozel and 2 micron candel (Iron remover). | 5.00 | Nos. |  | 11000.00 | 55000.00 | 15254.00 | 76270.00 | 55000.00 | RS COOLING APPLIANCES
32.00 | Supply of Wall Bracket fan of min 400 MM sweep, minimum rpm 1280 or more suitable for operation on 230 V, 50 Hz, single phase supply including all accessiories etc as required. | 10.00 | Nos. |  | 5000.00 | 50000.00 | 2542.00 | 25420.00 | 25420.00 | LIFE STYLE INTERIORS
33.00 | Supply of Pedestal Fan (Farrata) min 500mm sweep, min 90 cm, 1330 rpm, suitable for operation on 230 V, 50 Hz, single phase supply including all accessiories etc as required (Conforming relevant IS standrards ammended up to date). | 10.00 | Nos. |  | 5625.00 | 56250.00 | 3390.00 | 33900.00 | 33900.00 | LIFE STYLE INTERIORS
| Total in Figures |  |  |  |  | 6514175.00 |  | 6416145.00
Lowest Amount Quoted BY: LIFE STYLE INTERIORS(6416145.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Air conditioners and miscellaneous items in various locations at M.B.B. Airport, Agartala Tender ID: 2025_AAI_236781_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LIFE STYLE INTERIORS (BID ID -866300) | 6416145.00 | L1
| 2 | RS COOLING APPLIANCES (BID ID -865974) | 6514175.00 | L2