## BoQ1
Government eProcurement System Created By: Pushpendra Singh Created Date/Time: 09-Jun-2025 03:50 PM Tender Title: OtherMisc. Air conditioning works at R G Bhawan. SH Provision of ACs at 22 Akbar Road,New Delhi Tender ID: 2025_AAI_236807_1
Tender Inviting Authority: AGM. (Engg. – Elect)- IMU, AAI, CHQ, R.G. Bhawan, New Delhi-110003
Name of Work: Other Misc. Air-conditioning works at R G Bhawan. SH:Provision of ACs at 22 Akbar Road , New Delhi.
Tender ID:- (2025_AAI_236807)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -857752 |  | ARCHY SERVICES PVT. LTD. (GSTN-07AAACA5204H1Z6) BID ID -858012 |  | SNOWMEX ENGINEERS LIMITED (GSTN-07AAMCS8717P1ZF) BID ID -858075 |  | AIR DESIGN SOLUTIONS (GSTN-NA) BID ID -857586
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of the following Split type Inverter based Hi-wall unit with complete indoor & outdoor unit & cordless remote complete in all respect. (Make: Daikin, Mitsubishi, O-General)
1.01 | Min. 6 KW Rated Cooling Capacity & Min. 6 KW Rated Heating Capacity , Wall Mounted Hiwall Unit Heating & Cooling (Min. 3 Star) | 14.00 | Nos. | 10.00 | 56000.00 | 784000.00 | 44880.00 | 628320.00 | 65000.00 | 910000.00 | 43000.00 | 602000.00 | 602000.00 | AIR DESIGN SOLUTIONS
1.02 | Min. 5 KW Rated Cooling Capacity & Min. 5.28 KW Rated Heating Capacity, Wall Mounted Hiwall Unit Heating & Cooling (Min. 4 Star) | 9.00 | Nos. | 10.00 | 55000.00 | 495000.00 | 41800.00 | 376200.00 | 55000.00 | 495000.00 | 34421.00 | 309789.00 | 309789.00 | AIR DESIGN SOLUTIONS
1.03 | Min. 5.2 KW Rated Cooling Capacity, Wall Mounted Hiwall Unit Heating & Cooling (Min. 5 Star) | 1.00 | Nos. | 10.00 | 50000.00 | 50000.00 | 36750.00 | 36750.00 | 42000.00 | 42000.00 | 28953.00 | 28953.00 | 28953.00 | AIR DESIGN SOLUTIONS
1.04 | Min. 3.15 KW Rated Cooling Capacity & Min. 3.52 KW Rated Heating Capacity, Wall Mounted Hiwall Unit Heating & Cooling (Min. 3 Star) | 4.00 | Nos. | 10.00 | 35000.00 | 140000.00 | 28920.00 | 115680.00 | 50000.00 | 200000.00 | 28953.00 | 115812.00 | 115680.00 | ARCHY SERVICES PVT. LTD.
2.00 | Unloading, Shifting, Installtion, Testing & Commissioning of the following Split type Inverter based Hi-wall unit with complete indoor & outdoor unit & cordless remote complete in all respect.
2.01 | 2.0 TR Wall Mounted Hiwall Unit Heating & Cooling | 14.00 | Nos. | 10.00 | 1200.00 | 16800.00 | 2700.00 | 37800.00 | 3000.00 | 42000.00 | 1600.00 | 22400.00 | 16800.00 | VOLKS ENERGIE PVT LTD
2.02 | 1.5 TR Wall Mounted Hiwall Unit Heating & Cooling | 9.00 | Nos. | 10.00 | 1200.00 | 10800.00 | 2700.00 | 24300.00 | 3000.00 | 27000.00 | 1600.00 | 14400.00 | 10800.00 | VOLKS ENERGIE PVT LTD
2.03 | 1.5 TR Wall Mounted Hiwall Unit Cooling only | 1.00 | Nos. | 10.00 | 1200.00 | 1200.00 | 2600.00 | 2600.00 | 3000.00 | 3000.00 | 1600.00 | 1600.00 | 1200.00 | VOLKS ENERGIE PVT LTD
2.04 | 1.0 TR Wall Mounted Hiwall Unit Heating & Cooling | 4.00 | Nos. | 10.00 | 1200.00 | 4800.00 | 2600.00 | 10400.00 | 3000.00 | 12000.00 | 1600.00 | 6400.00 | 4800.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply, Installtion, Testing & Commissioning of 20 SWG Hard drawn copper (Suction+ Discharge) refrigerant piping with its necessary accessories and close cell nitrile rubber insulation, copper cable, copper pipes Insulation in the exposed area to be covered with Weather Proof Protective Layer mase of Glass Cloth & painted with Star bond chemical complete in all respect.
3.01 | 2.0 TR - 13 mm thick Insulation | 140.00 | Mtr. | 10.00 | 750.00 | 105000.00 | 1140.00 | 159600.00 | 1800.00 | 252000.00 | 1177.00 | 164780.00 | 105000.00 | VOLKS ENERGIE PVT LTD
3.02 | 1.5 TR - 13 mm thick Insulation | 100.00 | Mtr. | 10.00 | 750.00 | 75000.00 | 910.00 | 91000.00 | 1800.00 | 180000.00 | 1123.00 | 112300.00 | 75000.00 | VOLKS ENERGIE PVT LTD
3.03 | 1.0 TR - 13 mm thick Insulation | 60.00 | Mtr. | 10.00 | 700.00 | 42000.00 | 870.00 | 52200.00 | 1800.00 | 108000.00 | 1016.00 | 60960.00 | 42000.00 | VOLKS ENERGIE PVT LTD
4.00 | UPVC Condensate Drain Pipe with Insulation
4.01 | 25 mm | 140.00 | Mtr. | 10.00 | 100.00 | 14000.00 | 270.00 | 37800.00 | 500.00 | 70000.00 | 128.00 | 17920.00 | 14000.00 | VOLKS ENERGIE PVT LTD
4.02 | 32 mm | 20.00 | Mtr. | 10.00 | 130.00 | 2600.00 | 330.00 | 6600.00 | 500.00 | 10000.00 | 203.00 | 4060.00 | 2600.00 | VOLKS ENERGIE PVT LTD
4.03 | 40 mm | 20.00 | Mtr. | 10.00 | 160.00 | 3200.00 | 420.00 | 8400.00 | 500.00 | 10000.00 | 240.00 | 4800.00 | 3200.00 | VOLKS ENERGIE PVT LTD
5.00 | Gas Top-up | 23.00 | Kg. | 10.00 | 680.00 | 15640.00 | 1250.00 | 28750.00 | 2000.00 | 46000.00 | 1070.00 | 24610.00 | 15640.00 | VOLKS ENERGIE PVT LTD
6.00 | Spare PCB of IDU and ODU for 2 TR AC | 2.00 | Set | 10.00 | 12000.00 | 24000.00 | 10500.00 | 21000.00 | 20000.00 | 40000.00 | 8025.00 | 16050.00 | 16050.00 | AIR DESIGN SOLUTIONS
7.00 | Spare PCB of IDU and ODU for 1/1.5 TR AC | 2.00 | Set | 10.00 | 11000.00 | 22000.00 | 9500.00 | 19000.00 | 20000.00 | 40000.00 | 8025.00 | 16050.00 | 16050.00 | AIR DESIGN SOLUTIONS
8.00 | MS ODU Stand | 28.00 | Nos. | 10.00 | 1000.00 | 28000.00 | 850.00 | 23800.00 | 3000.00 | 84000.00 | 750.00 | 21000.00 | 21000.00 | AIR DESIGN SOLUTIONS
9.00 | Supply, Installtion, Testing & Commissioning of copper flixible cable as control cable from indoor to outdoor in PVC conduit complete as required.
9.01 | 6x2.5 sqmm Cu Cable | 200.00 | Mtr. | 10.00 | 160.00 | 32000.00 | 280.00 | 56000.00 | 850.00 | 170000.00 | 422.00 | 84400.00 | 32000.00 | VOLKS ENERGIE PVT LTD
9.02 | 4x2.5 sqmm Cu Cable | 400.00 | Mtr. | 10.00 | 110.00 | 44000.00 | 200.00 | 80000.00 | 450.00 | 180000.00 | 297.00 | 118800.00 | 44000.00 | VOLKS ENERGIE PVT LTD
| Total in Figures |  |  |  |  | 1910040.00 |  | 1816200.00 |  | 2921000.00 |  | 1747084.00
Lowest Amount Quoted BY: AIR DESIGN SOLUTIONS(1747084.00)

## BOQ Summary
BOQ Summary Details Tender Title: OtherMisc. Air conditioning works at R G Bhawan. SH Provision of ACs at 22 Akbar Road,New Delhi Tender ID: 2025_AAI_236807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AIR DESIGN SOLUTIONS (BID ID -857586) | 1747084.00 | L1
| 2 | ARCHY SERVICES PVT. LTD. (BID ID -858012) | 1816200.00 | L2
| 3 | VOLKS ENERGIE PVT LTD (BID ID -857752) | 1910040.00 | L3
| 4 | SNOWMEX ENGINEERS LIMITED (BID ID -858075) | 2921000.00 | L4