## BoQ1
Government eProcurement System Created By: Mukesh Meena Created Date/Time: 13-Aug-2025 11:33 AM Tender Title: Structural Repairs and Rehabilitation works of E 21 Building at New Airport Colony, Mumbai. SH- Electrical Works Tender ID: 2025_AAI_236854_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.),RHQ-WR, Mumbai.
Name of Work: "Structural Repairs and Rehabilitation works of E 21 Building at New Airport Colony, Mumbai. SH: Electrical Works.”
Contract No: MUMBAI/NAC/ENGG-E/eNIT/SRRW/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -863968 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -866439 |  | AQUATICS ENIGINEERS (GSTN-07AEMPM9860Q1ZE) BID ID -866605 |  | DAMANI ENTERPRISES (GSTN-NA) BID ID -864155
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing, etc. as required. (But without MCB/RCCB/Isolator) 12 way, Double door (12 way, Double door MCB distribution board to be provided by AAI) | 12.00 | Each |  | 2679.00 | 32148.00 | 500.00 | 6000.00 | 1200.00 | 14400.00 | 300.00 | 3600.00 | 3600.00 | DAMANI ENTERPRISES
2.00 | Fixing following rating, double pole, 240 volts, MCB in the existing MCB DB complete with connections, testing and commissioning, etc. as required. 40 A Double Pole ( 40 A Double Pole MCB to be provided by AAI) | 12.00 | Each |  | 58.00 | 696.00 | 50.00 | 600.00 | 2000.00 | 24000.00 | 90.00 | 1080.00 | 600.00 | Awasthi Electric Works
3.00 | Fixing 6 amps to 32 amps rating, 240 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning, etc. as required. Single Pole (Single Pole, 6 amps to 32 amps rating MCB to be provided by AAI) | 120.00 | Each |  | 35.00 | 4200.00 | 25.00 | 3000.00 | 500.00 | 60000.00 | 45.00 | 5400.00 | 3000.00 | Awasthi Electric Works
4.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable in surface / recessed pvc conduit, with modular switch, modular plate, suitable PVC box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable, etc. as required. (Group A) | 126.00 | Point |  | 1241.00 | 156366.00 | 950.00 | 119700.00 | 250.00 | 31500.00 | 1200.00 | 151200.00 | 31500.00 | AQUATICS ENIGINEERS
5.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate, etc. as required. 5/6 A switch | 48.00 | Each |  | 94.00 | 4512.00 | 95.00 | 4560.00 | 100.00 | 4800.00 | 24.00 | 1152.00 | 1152.00 | DAMANI ENTERPRISES
6.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate, etc. as required. 3 pin 5/6 A socket outlet | 48.00 | Each |  | 183.00 | 8784.00 | 125.00 | 6000.00 | 200.00 | 9600.00 | 90.00 | 4320.00 | 4320.00 | DAMANI ENTERPRISES
7.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate, etc. as required. 15/16 A switch | 36.00 | Each |  | 164.00 | 5904.00 | 150.00 | 5400.00 | 250.00 | 9000.00 | 54.00 | 1944.00 | 1944.00 | DAMANI ENTERPRISES
8.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate, etc. as required. 6 pin 15/16 A socket outlet | 36.00 | Each |  | 297.00 | 10692.00 | 235.00 | 8460.00 | 300.00 | 10800.00 | 156.00 | 5616.00 | 5616.00 | DAMANI ENTERPRISES
9.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate, etc. as required. TV antenna socket outlet | 12.00 | Each |  | 170.00 | 2040.00 | 130.00 | 1560.00 | 300.00 | 3600.00 | 90.00 | 1080.00 | 1080.00 | DAMANI ENTERPRISES
10.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate, etc. as required. Bell push | 12.00 | Each |  | 320.00 | 3840.00 | 95.00 | 1140.00 | 250.00 | 3000.00 | 30.00 | 360.00 | 360.00 | DAMANI ENTERPRISES
11.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate, etc. as required. | 24.00 | Each |  | 569.00 | 13656.00 | 475.00 | 11400.00 | 750.00 | 18000.00 | 330.00 | 7920.00 | 7920.00 | DAMANI ENTERPRISES
12.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess/surface, etc. as required. 1 or 2 Module | 12.00 | Each |  | 233.00 | 2796.00 | 170.00 | 2040.00 | 800.00 | 9600.00 | 120.00 | 1440.00 | 1440.00 | DAMANI ENTERPRISES
13.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess/surface, etc. as required. 3 Module | 84.00 | Each |  | 276.00 | 23184.00 | 200.00 | 16800.00 | 1200.00 | 100800.00 | 180.00 | 15120.00 | 15120.00 | DAMANI ENTERPRISES
14.00 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ woodenblock including connection, etc. as required. | 30.00 | Each |  | 41.00 | 1230.00 | 90.00 | 2700.00 | 250.00 | 7500.00 | 30.00 | 900.00 | 900.00 | DAMANI ENTERPRISES
15.00 | Supplying and fixing brass ring type batten/ angle holder including connection, etc. as required. | 60.00 | Each |  | 186.00 | 11160.00 | 160.00 | 9600.00 | 250.00 | 15000.00 | 30.00 | 1800.00 | 1800.00 | DAMANI ENTERPRISES
16.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20 mm. | 172.00 | Metre |  | 69.00 | 11868.00 | 115.00 | 19780.00 | 200.00 | 34400.00 | 120.00 | 20640.00 | 11868.00 | SARASWAT ENGINEERING SERVICES
17.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed pvc conduit as required. 2 X 2.5 sq.mm. + 1 X 2.5 sq.mm. earth wire | 360.00 | Metre |  | 123.00 | 44280.00 | 200.00 | 72000.00 | 100.00 | 36000.00 | 120.00 | 43200.00 | 36000.00 | AQUATICS ENIGINEERS
18.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed pvc conduit as required. 2 X 6 sq.mm. + 1 X 6 sq.mm. earth wire | 141.00 | Metre |  | 253.00 | 35673.00 | 375.00 | 52875.00 | 200.00 | 28200.00 | 240.00 | 33840.00 | 28200.00 | AQUATICS ENIGINEERS
19.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed pvc conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. 2 X 4 sq.mm. + 1 X 4 sq.mm. earth wire | 600.00 | Metre |  | 174.00 | 104400.00 | 250.00 | 150000.00 | 180.00 | 108000.00 | 210.00 | 126000.00 | 104400.00 | SARASWAT ENGINEERING SERVICES
20.00 | Supply of 1 X 20W LED tube light fixture with suitable lamp suitable to operate on single phase, 230 V, 50 Hz A.C supply , etc. complete as required. | 30.00 | Each |  | 524.00 | 15720.00 | 320.00 | 9600.00 | 450.00 | 13500.00 | 210.00 | 6300.00 | 6300.00 | DAMANI ENTERPRISES
21.00 | Supply of 1 X 9W LED lamp (Screw type) suitable to operate on single phase, 230 V, 50 Hz A.C supply ,etc. complete as required. | 60.00 | Each |  | 93.00 | 5580.00 | 50.00 | 3000.00 | 200.00 | 12000.00 | 120.00 | 7200.00 | 3000.00 | Awasthi Electric Works
22.00 | Fixing following rating and breaking capacity and pole MCCB with thermomagnetic release including providing terminal spreaders, suitable encloser, making connections, etc. as required. 125 A, 36KA,FP MCCB (125 A, 36KA,FP MCCB to be provided by AAI) | 1.00 | Each |  | 11648.00 | 11648.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 1000.00 | Awasthi Electric Works
23.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED tube light fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq.mm. FRLS PVC insulated, copper conductor, single core cable and earthing, etc. as required. | 30.00 | Each |  | 349.00 | 10470.00 | 100.00 | 3000.00 | 200.00 | 6000.00 | 90.00 | 2700.00 | 2700.00 | DAMANI ENTERPRISES
24.00 | Installation, testing and commissioning of ceiling fan, including providing down rod & wiring the down rods of standard length (upto 30 cm) with 1.5 sq.mm. FRLS PVC insulated, copper conductor, single core cable,etc. as required. | 24.00 | Each |  | 524.00 | 12576.00 | 150.00 | 3600.00 | 400.00 | 9600.00 | 120.00 | 2880.00 | 2880.00 | DAMANI ENTERPRISES
25.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm. dia. including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. as required with charcoal and salt as required. | 5.00 | Each |  | 13629.00 | 68145.00 | 8000.00 | 40000.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 15000.00 | DAMANI ENTERPRISES
26.00 | Supplying and laying 25 mm. X 6 mm. G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer, etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut, bolt & spring washer spaced at 50 mm.) | 80.00 | Metre |  | 336.00 | 26880.00 | 200.00 | 16000.00 | 400.00 | 32000.00 | 180.00 | 14400.00 | 14400.00 | DAMANI ENTERPRISES
27.00 | Supply of 5 star 1.5 TR inverter technology based Split type indoor wall mounted type Airconditioners fitted with rotary compressor, copper tube condenser operating on 230 V, 50Hz power supply, including providing of copper refrigerant piping, interconnecting cable between outdoor and indoor units as per OEM recommendation, complete with Remote control(having features of cool / fan / dry / auto / sleep mode and ON / OFF, temerature setting & display, etc.) capable of performing cooling, dehumidifying, aircirculating and filtering along with MS stand or bracket angle for mounting of Outdoor Units, remote holder, etc. complete as required. | 12.00 | Each |  | 40131.00 | 481572.00 | 39500.00 | 474000.00 | 40000.00 | 480000.00 | 48000.00 | 576000.00 | 474000.00 | Awasthi Electric Works
28.00 | Installation, testing and commissioning of 1.5 TR inverter technology based Split type indoor wall mounted type Airconditioners including fixing of indoor and out door unit with necessary supports/ MS stand/bracket angles, connection of refrigerant copper piping with suitable insulation ( taping the insulation with suitable colour to maintain aesthetics of wall, if required), laying of required copper cable between indoor & outdoor unit, initial gas charging complete as required i/c drilling the hole on the wall, plastering complete, etc. as required. | 12.00 | Job |  | 3494.00 | 41928.00 | 2000.00 | 24000.00 | 2200.00 | 26400.00 | 3000.00 | 36000.00 | 24000.00 | Awasthi Electric Works
29.00 | Supply & laying of refregerent copper piping (beyond standard length from manufacturer) for connection between indoor & outdoor units of 1.5 TR split type ACs including brazing, clamping & insulation complete, etc. as required. | 44.00 | Metre |  | 1730.00 | 76120.00 | 1200.00 | 52800.00 | 850.00 | 37400.00 | 600.00 | 26400.00 | 26400.00 | DAMANI ENTERPRISES
30.00 | Supply & laying of suitable size 3 core/4 core/5 core copper conductor cable (beyond standard length from manufacturer) required for connection between indoor & outdoor units of 1.5 TR split type ACs complete, etc. as required. | 44.00 | Metre |  | 352.00 | 15488.00 | 150.00 | 6600.00 | 250.00 | 11000.00 | 120.00 | 5280.00 | 5280.00 | DAMANI ENTERPRISES
31.00 | Supply & laying of PVC pipe (beyond standard length from manufacturer) for draining out water for 1.5 TR split type ACs with necessary saddles complete, etc.as requried. | 44.00 | Metre |  | 436.00 | 19184.00 | 90.00 | 3960.00 | 150.00 | 6600.00 | 30.00 | 1320.00 | 1320.00 | DAMANI ENTERPRISES
32.00 | Supply Water purifier having features of E-boiling, smart LED display, advanced filteration with dual function filter cartridge & inbuilt tray for hands-free water filling suitable to operate on 240V, 50 Hz, AC supply complete as required. | 13.00 | Each |  | 12230.00 | 158990.00 | 29500.00 | 383500.00 | 22000.00 | 286000.00 | 6600.00 | 85800.00 | 85800.00 | DAMANI ENTERPRISES
33.00 | Installation, testing and commissioning of water purifiers as per site requirement and making connections from existing water line and existing water coolers by providing pipes of suitable size and other accessories, etc. complete as required. | 12.00 | Job |  | 3494.00 | 41928.00 | 2000.00 | 24000.00 | 1200.00 | 14400.00 | 2400.00 | 28800.00 | 14400.00 | AQUATICS ENIGINEERS
34.00 | Installation, testing and commissioning of water coolers of 80 Ltrs capacity alongwith water purifiers as per site requirement and making connections from existing water line by providing float valve, pipes of suitable size and other accessories, including providing pressure reducing valve, etc. complete as required. | 1.00 | Job |  | 5824.00 | 5824.00 | 2500.00 | 2500.00 | 8000.00 | 8000.00 | 66000.00 | 66000.00 | 2500.00 | Awasthi Electric Works
35.00 | Supply and fixing of 3 L instant hot water Geyser with rust and shock proof thermoplastic outer body, fire retardant cable, indicators for "power on" and "heating", etc. complete as required. | 12.00 | Job |  | 3005.00 | 36060.00 | 3500.00 | 42000.00 | 5500.00 | 66000.00 | 3600.00 | 43200.00 | 36060.00 | SARASWAT ENGINEERING SERVICES
36.00 | Supplying and fixing of plastic body exhaust fan (i/c louvers/ shutters) of 150 mm sweep, 1300 rpm, operating on 230 V AC, 50 Hz power supply, in the existing opening using suitable size nut & bolt with spring washer & plain washer, including making good the damage, connection, testing, commissioning, etc. as required. | 12.00 | Job |  | 1617.00 | 19404.00 | 1350.00 | 16200.00 | 1500.00 | 18000.00 | 1200.00 | 14400.00 | 14400.00 | DAMANI ENTERPRISES
37.00 | Cutting of concrete core for laying of conduit pipes for submain wiring, removing debris, repairing damaged parts due to core cutting, etc. complete as required. | 3.00 | Job |  | 6989.00 | 20967.00 | 1000.00 | 3000.00 | 8000.00 | 24000.00 | 6000.00 | 18000.00 | 3000.00 | Awasthi Electric Works
38.00 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1988 with upto date amendments, etc. as required for the following sizes.(Make : As per preferred make list) i) 3.5 C x 50 Sq.mm. | 110.00 | Metre |  | 513.00 | 56430.00 | 250.00 | 27500.00 | 600.00 | 66000.00 | 360.00 | 39600.00 | 27500.00 | Awasthi Electric Works
39.00 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1988 with upto date amendments, etc. as required for the following sizes.(Make : As per preferred make list) ii) 3.5 C x 120 Sq.mm. | 120.00 | Metre |  | 1079.00 | 129480.00 | 600.00 | 72000.00 | 1400.00 | 168000.00 | 540.00 | 64800.00 | 64800.00 | DAMANI ENTERPRISES
40.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE/PVC pipe as required. i) Above 35 sq.mm.and upto 95 sq.mm. | 110.00 | Metre |  | 82.00 | 9020.00 | 30.00 | 3300.00 | 200.00 | 22000.00 | 33.00 | 3630.00 | 3300.00 | Awasthi Electric Works
41.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE/PVC pipe as required. ii) Above 95 sq.mm. and upto 185 sq.mm. | 120.00 | Metre |  | 105.00 | 12600.00 | 60.00 | 7200.00 | 250.00 | 30000.00 | 54.00 | 6480.00 | 6480.00 | DAMANI ENTERPRISES
42.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II, etc complete as required. 63 mm dia (OD-63 mm. & ID-51 mm. nominal) | 230.00 | Metre |  | 142.00 | 32660.00 | 85.00 | 19550.00 | 120.00 | 27600.00 | 90.00 | 20700.00 | 19550.00 | Awasthi Electric Works
43.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm. dia (OD-63 mm. & ID-51 mm. nominal) | 230.00 | Metre |  | 466.00 | 107180.00 | 200.00 | 46000.00 | 100.00 | 23000.00 | 180.00 | 41400.00 | 23000.00 | AQUATICS ENIGINEERS
44.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 50 Sq.mm. (35 mm.) | 2.00 | Set |  | 617.00 | 1234.00 | 450.00 | 900.00 | 2500.00 | 5000.00 | 360.00 | 720.00 | 720.00 | DAMANI ENTERPRISES
45.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 120 sq.mm.(45 mm.) | 2.00 | Set |  | 1039.00 | 2078.00 | 650.00 | 1300.00 | 3150.00 | 6300.00 | 540.00 | 1080.00 | 1080.00 | DAMANI ENTERPRISES
| Total in Figures |  |  |  |  | 1896595.00 |  | 1780125.00 |  | 1956000.00 |  | 1557702.00
Lowest Amount Quoted BY: DAMANI ENTERPRISES(1557702.00)

## BOQ Summary
BOQ Summary Details Tender Title: Structural Repairs and Rehabilitation works of E 21 Building at New Airport Colony, Mumbai. SH- Electrical Works Tender ID: 2025_AAI_236854_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DAMANI ENTERPRISES (BID ID -864155) | 1557702.00 | L1
| 2 | Awasthi Electric Works (BID ID -866439) | 1780125.00 | L2
| 3 | SARASWAT ENGINEERING SERVICES (BID ID -863968) | 1896595.00 | L3
| 4 | AQUATICS ENIGINEERS (BID ID -866605) | 1956000.00 | L4