## BoQ1
Government eProcurement System Created By: UMESH KUMAR SINGH Created Date/Time: 12-Sep-2025 11:48 AM Tender Title: Renovation of toilet blocks in old portion of Terminal Building at Surat International Airport. SH Electrical works Tender ID: 2025_AAI_236870_1
Tender Inviting Authority: AGM (E-E)-I, AAI, Surat Airport, Surat
Name of Work :"Renovation of toilet blocks in old portion of Terminal Building at Surat International Airport. SH:Electrical works."
Contract No: Tender ID 2025_AAI_236870_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OK AGENCIES (GSTN-27ABDPJ0462B1Z9) BID ID -874779 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -875178 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -875306 |  | Ascent Electrification Engineers (GSTN-24AAOFA2574R1ZU) BID ID -875370 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -875419 |  | Jyona Power Limited (GSTN-NA) BID ID -867945 |  | H K Infra Engineering (GSTN-NA) BID ID -874728 |  | Mayur Electric Works (GSTN-NA) BID ID -865493
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 12Watt (not more than 110% of the rated capacity) indoor recess mounted LED fixture (down lighter) with minimum system lumens efficiency > 90 lumens per watt, minimum lifetime of 50000 burning hours, IP-20 protected Aluminium housing with Aluminium heat sink, heat resistant clear toughened glass difuser i/c all accessories like LED electronic driver suitable for operation on single phase, 230 V, 50 Hz, AC supply with 5year warranty for all parts from OEM etc complete as required as per enclosed technical specification. | 230.00 | Each |  | 699.00 | 160770.00 | 769.00 | 176870.00 | 2500.00 | 575000.00 | 809.00 | 186070.00 | 950.00 | 218500.00 | 1000.00 | 230000.00 | 2540.00 | 584200.00 | 605.00 | 139150.00 | 139150.00 | Mayur Electric Works
2.00 | Supply of 14W per mtr LED strip of 5 Mtr with driver with 5year warranty for all parts from OEM etc complete as required | 400.00 | Set |  | 1200.00 | 480000.00 | 1046.00 | 418400.00 | 3000.00 | 1200000.00 | 3630.00 | 1452000.00 | 1200.00 | 480000.00 | 6220.00 | 2488000.00 | 2000.00 | 800000.00 | 5940.00 | 2376000.00 | 418400.00 | Yash Energy Pvt. Ltd
3.00 | SITC of Stainless steel – Brushed (304L) touch free type Hand driers, Suitable for 230 Volt ,drying time less than 10sec, brushless DC motor of maximmum capacity not heigher than 900W, noise level 80 db,operation lock-out period 30 seconds without heater,airspeed at aperture more than 600km/h with HEPA filter (Glass fibre and fleece prelayer) and Touch free time of flight sensor activation feature for the operation with 5year warranty for all parts from OEM etc complete as required | 33.00 | Job |  | 115000.00 | 3795000.00 | 118080.00 | 3896640.00 | 125000.00 | 4125000.00 | 109505.00 | 3613665.00 | 155000.00 | 5115000.00 | 80000.00 | 2640000.00 | 155000.00 | 5115000.00 | 121000.00 | 3993000.00 | 2640000.00 | Jyona Power Limited
4.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required (Group-C). | 230.00 | Point |  | 1500.00 | 345000.00 | 1907.00 | 438610.00 | 2000.00 | 460000.00 | 1455.00 | 334650.00 | 1725.00 | 396750.00 | 1050.00 | 241500.00 | 850.00 | 195500.00 | 1550.00 | 356500.00 | 195500.00 | H K Infra Engineering
5.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required (Group-C). | 400.00 | Point |  | 800.00 | 320000.00 | 1353.00 | 541200.00 | 1700.00 | 680000.00 | 978.00 | 391200.00 | 1025.00 | 410000.00 | 700.00 | 280000.00 | 450.00 | 180000.00 | 1450.00 | 580000.00 | 180000.00 | H K Infra Engineering
6.00 | Wiring for circuit /Submain wiring alongwith earth wire with 2 x 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface/recessed steel conduit with 1No 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 350.00 | Meter |  | 260.00 | 91000.00 | 406.00 | 142100.00 | 300.00 | 105000.00 | 201.00 | 70350.00 | 230.00 | 80500.00 | 180.00 | 63000.00 | 135.00 | 47250.00 | 222.00 | 77700.00 | 47250.00 | H K Infra Engineering
7.00 | Wiring for circuit /Submain wiring alongwith earth wire with 2 x 2.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface/recessed steel conduit with 1No 2.5 sq.mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 650.00 | Meter |  | 245.00 | 159250.00 | 456.00 | 296400.00 | 350.00 | 227500.00 | 236.00 | 153400.00 | 250.00 | 162500.00 | 200.00 | 130000.00 | 160.00 | 104000.00 | 255.00 | 165750.00 | 104000.00 | H K Infra Engineering
8.00 | Wiring for circuit /Submain wiring alongwith earth wire with 4 x 2.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface/recessed steel conduit with 2 No 2.5 sq.mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 800.00 | Meter |  | 350.00 | 280000.00 | 702.00 | 561600.00 | 375.00 | 300000.00 | 322.00 | 257600.00 | 385.00 | 308000.00 | 350.00 | 280000.00 | 125.00 | 100000.00 | 402.00 | 321600.00 | 100000.00 | H K Infra Engineering
9.00 | Wiring with light/power plug with 2 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 600.00 | Meter |  | 260.00 | 156000.00 | 529.00 | 317400.00 | 350.00 | 210000.00 | 311.00 | 186600.00 | 300.00 | 180000.00 | 325.00 | 195000.00 | 145.00 | 87000.00 | 280.00 | 168000.00 | 87000.00 | H K Infra Engineering
10.00 | Wiring with light/power plug with 4 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 2 No 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 300.00 | Meter |  | 400.00 | 120000.00 | 591.00 | 177300.00 | 415.00 | 124500.00 | 449.00 | 134700.00 | 500.00 | 150000.00 | 400.00 | 120000.00 | 175.00 | 52500.00 | 450.00 | 135000.00 | 52500.00 | H K Infra Engineering
11.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 50.00 | Each |  | 375.00 | 18750.00 | 591.00 | 29550.00 | 600.00 | 30000.00 | 529.00 | 26450.00 | 450.00 | 22500.00 | 320.00 | 16000.00 | 200.00 | 10000.00 | 300.00 | 15000.00 | 10000.00 | H K Infra Engineering
12.00 | Supplying and fixing suitable size Gl box with modular plate and cover in Front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connection etc. as required. | 90.00 | Each |  | 475.00 | 42750.00 | 726.00 | 65340.00 | 800.00 | 72000.00 | 673.00 | 60570.00 | 550.00 | 49500.00 | 350.00 | 31500.00 | 340.00 | 30600.00 | 450.00 | 40500.00 | 30600.00 | H K Infra Engineering
13.00 | Installation, testing and commissioning of pre-wired, recess mounted fluorescent fitting / compact fluorescent fitting/LED fitting/MH fitting/post top luminaries/LED strip lights etc of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLSH PVC insulated, stranded, copper conductor, single core cable with flexible conduits and coupler and earthing etc. as required | 630.00 | Set |  | 60.00 | 37800.00 | 277.00 | 174510.00 | 200.00 | 126000.00 | 138.00 | 86940.00 | 250.00 | 157500.00 | 70.00 | 44100.00 | 1500.00 | 945000.00 | 550.00 | 346500.00 | 37800.00 | OK AGENCIES
14.00 | Dismantelling of existing installed LED fittings and taking all dismantaled materials to the AAI electrical stotres within the lead of 300 mtrs ,etc. complete all as requiredcomplete all as required at the site | 210.00 | Job |  | 15.00 | 3150.00 | 185.00 | 38850.00 | 125.00 | 26250.00 | 165.00 | 34650.00 | 100.00 | 21000.00 | 30.00 | 6300.00 | 50.00 | 10500.00 | 150.00 | 31500.00 | 3150.00 | OK AGENCIES
15.00 | Dismantling of existing 3x1.5 sq. mm PVC insulated copper conductor single core cable used for light point/ fan point/ exhaust fan point/ call bell point and taking all dismantaled materials to the AAI electrical stotres within the lead of 300 mtrs ,etc. complete all as requiredcomplete all as required at the site | 210.00 | Meter |  | 15.00 | 3150.00 | 19.00 | 3990.00 | 55.00 | 11550.00 | 28.00 | 5880.00 | 20.00 | 4200.00 | 80.00 | 16800.00 | 12.00 | 2520.00 | 155.00 | 32550.00 | 2520.00 | H K Infra Engineering
16.00 | Dismantling of existing 3x2.5 sq. mm PVC insulated copper conductor single core cable used ckt wiring and taking all dismantaled materials to the AAI electrical stotres within the lead of 300 mtrs ,etc. complete all as requiredcomplete all as required at the site | 105.00 | Meter |  | 15.00 | 1575.00 | 23.00 | 2415.00 | 55.00 | 5775.00 | 28.00 | 2940.00 | 15.00 | 1575.00 | 20.00 | 2100.00 | 15.00 | 1575.00 | 155.00 | 16275.00 | 1575.00 | H K Infra Engineering, OK AGENCIES, Awasthi Electric Works
17.00 | Dismantling of existing 6x2.5 sq. mm PVC insulated copper conductor single core cable used ckt wiring and taking all dismantaled materials to the AAI electrical stotres within the lead of 300 mtrs ,etc. complete all as requiredcomplete all as required at the site | 105.00 | Meter |  | 15.00 | 1575.00 | 28.00 | 2940.00 | 67.00 | 7035.00 | 44.00 | 4620.00 | 15.00 | 1575.00 | 20.00 | 2100.00 | 18.00 | 1890.00 | 155.00 | 16275.00 | 1575.00 | OK AGENCIES, Awasthi Electric Works
18.00 | Dismantling of existing 3x4 sq. mm PVC insulated copper conductor single core cable used power ckt wiring and taking all dismantaled materials to the AAI electrical stotres within the lead of 300 mtrs ,etc. complete all as requiredcomplete all as required at the site | 420.00 | Meter |  | 15.00 | 6300.00 | 25.00 | 10500.00 | 55.00 | 23100.00 | 44.00 | 18480.00 | 15.00 | 6300.00 | 20.00 | 8400.00 | 22.00 | 9240.00 | 155.00 | 65100.00 | 6300.00 | OK AGENCIES, Awasthi Electric Works
19.00 | Dismantling of existing 6x4 sq. mm PVC insulated copper conductor single core cable used Power ckt wiring and taking all dismantaled materials to the AAI electrical stotres within the lead of 300 mtrs ,etc. complete all as requiredcomplete all as required at the site | 210.00 | Meter |  | 15.00 | 3150.00 | 31.00 | 6510.00 | 65.00 | 13650.00 | 55.00 | 11550.00 | 15.00 | 3150.00 | 20.00 | 4200.00 | 60.00 | 12600.00 | 155.00 | 32550.00 | 3150.00 | OK AGENCIES, Awasthi Electric Works
| Total in Figures |  |  |  |  | 6025220.00 |  | 7301125.00 |  | 8322360.00 |  | 7032315.00 |  | 7768550.00 |  | 6799000.00 |  | 8289375.00 |  | 8908950.00
Lowest Amount Quoted BY: OK AGENCIES(6025220.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of toilet blocks in old portion of Terminal Building at Surat International Airport. SH Electrical works Tender ID: 2025_AAI_236870_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OK AGENCIES (BID ID -874779) | 6025220.00 | L1
| 2 | Jyona Power Limited (BID ID -867945) | 6799000.00 | L2
| 3 | Ascent Electrification Engineers (BID ID -875370) | 7032315.00 | L3
| 4 | Yash Energy Pvt. Ltd (BID ID -875178) | 7301125.00 | L4
| 5 | Awasthi Electric Works (BID ID -875419) | 7768550.00 | L5
| 6 | H K Infra Engineering (BID ID -874728) | 8289375.00 | L6
| 7 | Techno Electricals (BID ID -875306) | 8322360.00 | L7
| 8 | Mayur Electric Works (BID ID -865493) | 8908950.00 | L8