## BoQ1
Government eProcurement System Created By: Partha Saha Created Date/Time: 07-Jul-2025 12:13 PM Tender Title: Misc E and M installation Work at Darbhanga Tender ID: 2025_AAI_237296_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Miscellaneous E and M installation work at Darbhanga Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -866015 |  | ruhienterprises (GSTN-NA) BID ID -865800 |  | CHOUDHRY ELECTRIC (GSTN-NA) BID ID -866287
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of fully stainless steel body water cooler with inbuilt water purifier of Reverse Osmosis(RO)+UV/ESS, 02 Nos. tap for water dispensing, having storage capacity of 80 Liters, minimum cooling capacity of 60 liters per hour, fitted with suitable compressor, operating on HFC R 134-a/ Non CFC refrigerant, fully automatic, minimum 50 liters per hour purification capacity of RO with auto flushing system, TDS controller, 7 stages of filtration along with Pre-filter assembly 20'' and suitable for opeartion on 230V, 50Hz AC supply etc. complete as required. | 2.00 | Each | 65000.00 | 114000.00 | 228000.00 | 105000.00 | 210000.00 | 120000.00 | 240000.00 | 210000.00 | ruhienterprises
2.00 | Supply of wall mounted Air Circulator fan of size 450mm Sweep,Minimum Air delivery 6000CMH,1440 RPM,Body & Blade made of metallic,three speed control,aerodynamically designed three blade system,Sturdy brazed wire guards,minimum noise level and suitable to works on 230 V, 50Hz, AC supply with complete assembly etc. complete as required.Model:Turbo Force Wall fan,Make:Havells or equivalent. | 15.00 | Each | 10000.00 | 6800.00 | 102000.00 | 12500.00 | 187500.00 | 6000.00 | 90000.00 | 90000.00 | CHOUDHRY ELECTRIC
3.00 | Supply of 450mm Sweep Pedestal fan,minimum Air Delivery 6000CMH,1440 RPM,Body & Blade made of metallic,three speed control,aerodynamically designed three blade system,Sturdy brazed wire guards,minimum noise level and suitable to works on 230 V, 50Hz, ACC supply with complete assembly including testing etc. complete as required.Model:Turbo Force Pedestal fan,Make:Havells or equivalent. | 5.00 | Each | 9800.00 | 7500.00 | 37500.00 | 9500.00 | 47500.00 | 5000.00 | 25000.00 | 25000.00 | CHOUDHRY ELECTRIC
4.00 | Installation,Testing and Commissioning of Water cooler i/c suitable provision of structure base farme, connection to nearest water tap with all accessories,electrical connection etc complete as required. | 2.00 | Each | 6000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 6000.00 | ruhienterprises
5.00 | Installation, testing and commissioning of Air Circulator fan on wall surface upto 450mm Sweep including make the suitable provision to install the fan on cladding wall surface, electrical connection etc. complete as required. | 15.00 | Each | 1900.00 | 1000.00 | 15000.00 | 300.00 | 4500.00 | 300.00 | 4500.00 | 4500.00 | ruhienterprises, CHOUDHRY ELECTRIC
6.00 | Supplying and fixing of 25 mm sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 150.00 | Mtr | 200.00 | 100.00 | 15000.00 | 40.00 | 6000.00 | 100.00 | 15000.00 | 6000.00 | ruhienterprises
7.00 | Supply of power cable of 1.1KV grade of 3C x 2.5 sqmm sizes copper conductor PVC insulated PVC sheathed un-armoured power cable confirming to IS:694 with upto date ammendments etc complete as required. | 200.00 | Mtr | 200.00 | 90.00 | 18000.00 | 120.00 | 24000.00 | 200.00 | 40000.00 | 18000.00 | M/S AMAR ENTERPRISES
8.00 | Laying of one number flexible PVC insulated and PVC sheathed cable of 1.1 kV grade upto size 4 Sqmm in the existing RCC/GI/HUME/METAL/HDPE/Conduit pipe/open trench/tay etc. complete as required. | 200.00 | Mtr | 80.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 6000.00 | ruhienterprises
9.00 | Supply and fixing of 25 mm dia hard UPVC drain pipe with all accessories i.e tee,coupler,bending etc i/c chiselling,tiles cutting and making good of wall/tiles or laying on surface with suitable metal clamping etc complete as per requirement of site as directed by EIC. | 50.00 | Mtr | 300.00 | 90.00 | 4500.00 | 50.00 | 2500.00 | 200.00 | 10000.00 | 2500.00 | ruhienterprises
10.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 6/10 amps modular socket outlet and 6/10 amps modular switch, connection etc. as required. | 17.00 | Each | 800.00 | 300.00 | 5100.00 | 900.00 | 15300.00 | 300.00 | 5100.00 | 5100.00 | M/S AMAR ENTERPRISES, CHOUDHRY ELECTRIC
11.00 | Supply fitting , fixing of portable ABC POWDER TYPE FIRE EXTINGUISHER (STORED PRESSURE ) stored pressure fire extinguisher ISI marked powder Type suitable for class 'A' 'B' & 'C' fire 9 kg. capacity consisting of welded cylinder squeeze lever discharge valve fitted with pressure indicating gauge internal discharge tube, discharged nozzle and hose , suspension bracket conforming IS code 15683: 2006 duly charged with ISI marked monoamonium phosphate base ABC powder conforming to IS: 14609 & pressurized with nitrogen Gas, suitable for operating between -30degree centigrade to + 55 degree centigrade fire rating class- 2A & 21 B complete in all respect including all taxes and in all floors. A label should be pasted on the body of the extinguisher showing 1. Date of manufacture, 2. Date of Expiry/ date of next re-filling. Item also include supply of suitable floor mounted stand. | 10.00 | Nos | 10000.00 | 6000.00 | 60000.00 | 8500.00 | 85000.00 | 2000.00 | 20000.00 | 20000.00 | CHOUDHRY ELECTRIC
12.00 | Supply fitting fixing of Co2 type fire extinguisher ISI mark Co2 type fire extinguisher 4.5 Kg capacity conforming to IS 15683. 2006 made form seamless Cylinder conforming to IS 72 85 duly approved by Chief Controller of explosive, Nagpur, fitted with ISI mark, Control valve conforming to IS 3224, high pressure one meter long discharge hose and horn complete with initial gas charge with carrying carrying handle and wall mounted bracket suitable for operating between -30degree centigrade to + 55 degree centigrade fire rating plus 13 b complete in all respect including all taxes and in all floors. A label should be pasted on the body of the extinguisher showing. 1. Date of manufacture 2. Date of Expiry/ date of next re-filling. Item also include supply of suitable floor mounted stand. | 10.00 | Nos | 9000.00 | 6600.00 | 66000.00 | 9500.00 | 95000.00 | 6000.00 | 60000.00 | 60000.00 | CHOUDHRY ELECTRIC
| Total in Figures |  |  |  |  | 569100.00 |  | 689300.00 |  | 539600.00
Lowest Amount Quoted BY: CHOUDHRY ELECTRIC(539600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc E and M installation Work at Darbhanga Tender ID: 2025_AAI_237296_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHOUDHRY ELECTRIC (BID ID -866287) | 539600.00 | L1
| 2 | M/S AMAR ENTERPRISES (BID ID -866015) | 569100.00 | L2
| 3 | ruhienterprises (BID ID -865800) | 689300.00 | L3