## BoQ1
Government eProcurement System Created By: SURESH KUMAR K K Created Date/Time: 09-Jul-2025 12:11 PM Tender Title: Reconfiguration of existing Terminal building - Ph II. SH- Modification of Existing fire alarm and Fire hydrant system at Dibrugarh Airport Tender ID: 2025_AAI_237302_1
Tender Inviting Authority:
Name of Work: Reconfiguration of existing Terminal building - Ph II. SH: Modification of Existing fire alarm and Fire hydrant system at Dibrugarh Airport
Contract No: 2025_AAI_237302_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Globe Detective Agency Pvt. Ltd. (GSTN-19AAACG1108N1ZN) BID ID -864530 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -865110 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -865469 |  | VOID FIRE CONSULTANTS (GSTN-NA) BID ID -865394 |  | Fire Equipments Supply Agency (GSTN-NA) BID ID -865276
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Designing of Fire detection and alarm system, wet riser and sprinkler System for the reconfiguration of Terminal building including preparation and submission of shop drawings, as-built drawings submission of NOC from state fire deptartment / regulatory authority etc. as per latest IS and NBC standards. | 1.00 | job |  | 334750.00 | 334750.00 | 300000.00 | 300000.00 | 500000.00 | 500000.00 | 50000.00 | 50000.00 | 95644.00 | 95644.00 | 50000.00 | VOID FIRE CONSULTANTS
2.00 | Supply, Installation, Testing & commissioning of UL / EN listed intelligent addressable multi criteria detector with inbuilt fault isolator / isolator base with visible LED suitable for 2 wires loop connection, complete with plug into common separate base & housing complete with connections etc. and shall be compatible with existing Siemens make fire alarm control panel etc. and to be fixed below / above false ceiling roof and concealed space with necessary support complete as required and as per direction of Engineer in charge. | 110.00 | nos |  | 3014.00 | 331540.00 | 5000.00 | 550000.00 | 2750.00 | 302500.00 | 5350.00 | 588500.00 | 4400.00 | 484000.00 | 302500.00 | Awasthi Electric Works
3.00 | Supply, Installation, Testing & commissioning of UL / EN listed intelligent addressable Manual call station suitable for semi flush mounting, IP 54, with inbuilt fault isolator / isolator module compatible with existing Siemens make fire alarm control panel including the word Fire appearing on the front with connections etc. complete as required and as per direction of Engineer in charge. | 15.00 | nos |  | 6124.00 | 91860.00 | 5500.00 | 82500.00 | 6000.00 | 90000.00 | 10500.00 | 157500.00 | 8200.00 | 123000.00 | 82500.00 | CENTRE TAP ENGINEERING
4.00 | Supply, installation, testing and commissioning of UL / EN listed addressable Hooter-cum-strobe with inbuilt fault isolator / isolator module with adjustable sound level compatible with existing Siemens make fire alarm control panel complete with termination etc.and to be fixed at wall/ surface etc. complete as required and as per direction of Engineer in charge. | 15.00 | nos |  | 3665.00 | 54975.00 | 3000.00 | 45000.00 | 7000.00 | 105000.00 | 17500.00 | 262500.00 | 9790.00 | 146850.00 | 45000.00 | CENTRE TAP ENGINEERING
5.00 | Supplying, installation, testing & commissioning of UL / EN listed Response Indicator i/c Mounting Boxes installed on surface/ recessed having two LED complete with all connections and compatible with existing Siemens make fire alarm control panel with termination/ connection etc.and to be fixed at wall/ surface etc. complete as required and as per direction of Engineer in charge. | 30.00 | nos |  | 289.00 | 8670.00 | 450.00 | 13500.00 | 1150.00 | 34500.00 | 1350.00 | 40500.00 | 150.00 | 4500.00 | 4500.00 | Fire Equipments Supply Agency
6.00 | Providing, installation, testing & commissioning of UL / EN listed addressable Monitor Module (input module) compatible with existing Siemens make fire alarm control panel complete with connection/ interconnection etc complete as required and as per direction of Engineer in charge. | 5.00 | nos |  | 4088.00 | 20440.00 | 4000.00 | 20000.00 | 5400.00 | 27000.00 | 7025.00 | 35125.00 | 7560.00 | 37800.00 | 20000.00 | CENTRE TAP ENGINEERING
7.00 | Providing, installation, testing & commissioning of UL / EN listed addressable Control Module / Relay Module (output module) compatible with existing Siemens make fire alarm control panel complete with connection/ interconnection etc complete as required and as per direction of Engineer in charge. | 20.00 | nos |  | 5111.00 | 102220.00 | 4000.00 | 80000.00 | 5500.00 | 110000.00 | 8750.00 | 175000.00 | 7990.00 | 159800.00 | 80000.00 | CENTRE TAP ENGINEERING
8.00 | Supplying of 2Cx1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by XLPE Insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath etc complete as required and as per direction of Engineer in charge. | 4400.00 | mtr |  | 154.00 | 677600.00 | 200.00 | 880000.00 | 160.00 | 704000.00 | 250.00 | 1100000.00 | 222.00 | 976800.00 | 677600.00 | Globe Detective Agency Pvt. Ltd.
9.00 | Laying of 2Cx1.5 sqmm fire survival armoured cable, 600/1000V rated in the existing surface / wall with suitable GI saddle complete as required and as per direction of Engineer in charge. | 4400.00 | mtr |  | 55.00 | 242000.00 | 50.00 | 220000.00 | 100.00 | 440000.00 | 46.00 | 202400.00 | 92.00 | 404800.00 | 202400.00 | VOID FIRE CONSULTANTS
10.00 | Supplying, Installing, Testing and Commissioning of UL / EN listed XDL-C LOOP CARD compatible with existing existing Siemens make fire alarm control panel with connection/ interconnection etc complete as required and as per direction of Engineer in charge. | 1.00 | job |  | 31233.00 | 31233.00 | 135000.00 | 135000.00 | 35000.00 | 35000.00 | 45800.00 | 45800.00 | 95600.00 | 95600.00 | 31233.00 | Globe Detective Agency Pvt. Ltd.
11.00 | Supplying, Installing, Testing and Commissioning of UL / EN listed Addressable motorised auto align Beam Detector with transmitter, receiver, etc. including providing suitable monitor module for integrating with existing Siemens make fire alarm control panel etc complete as required and as per direction of Engineer in charge. | 6.00 | Nos |  | 58188.00 | 349128.00 | 63000.00 | 378000.00 | 47500.00 | 285000.00 | 75000.00 | 450000.00 | 76900.00 | 461400.00 | 285000.00 | Awasthi Electric Works
12.00 | Supply and fixing of metal junction box for mounting of detectors / devices complete with connections etc. as required and as per direction of Engineer in charge. | 60.00 | nos |  | 336.00 | 20160.00 | 630.00 | 37800.00 | 250.00 | 15000.00 | 180.00 | 10800.00 | 450.00 | 27000.00 | 10800.00 | VOID FIRE CONSULTANTS
13.00 | Programming and operationlize of the newly installed addressable type multifunctional detectors, Hooter, MCP, response indicator, beam detectors etc in the existing Siemens make fire alarm control panel complete as required and as per direction of Engineer in charge. | 1.00 | Job |  | 200850.00 | 200850.00 | 135000.00 | 135000.00 | 65000.00 | 65000.00 | 50000.00 | 50000.00 | 96000.00 | 96000.00 | 50000.00 | VOID FIRE CONSULTANTS
14.00 | Providing, fixing, testing & commissioning of 15mm dia size suitable for sustaining the seat & water hammer effect, quartzoid bulb type sprinklers (UL, FM approved) of rating 68 degree centigrade with required accessories :
14.10 | a) Pendent Sprinkler | 60.00 | Each |  | 411.00 | 24660.00 | 450.00 | 27000.00 | 1000.00 | 60000.00 | 550.00 | 33000.00 | 420.00 | 25200.00 | 24660.00 | Globe Detective Agency Pvt. Ltd.
14.20 | b) Horizontal side wall sprinkler | 25.00 | Each |  | 625.00 | 15625.00 | 450.00 | 11250.00 | 1300.00 | 32500.00 | 550.00 | 13750.00 | 420.00 | 10500.00 | 10500.00 | Fire Equipments Supply Agency
14.30 | c) Concealed sprinkler | 25.00 | Each |  | 4323.00 | 108075.00 | 450.00 | 11250.00 | 2900.00 | 72500.00 | 1150.00 | 28750.00 | 420.00 | 10500.00 | 10500.00 | Fire Equipments Supply Agency
14.40 | d) Upright Sprinkler | 25.00 | Each |  | 411.00 | 10275.00 | 450.00 | 11250.00 | 1250.00 | 31250.00 | 540.00 | 13500.00 | 420.00 | 10500.00 | 10275.00 | Globe Detective Agency Pvt. Ltd.
15.00 | Supplying, installation, testing & commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes complete as required. a)1200 mm | 110.00 | set |  | 1984.00 | 218240.00 | 2700.00 | 297000.00 | 2200.00 | 242000.00 | 1050.00 | 115500.00 | 890.00 | 97900.00 | 97900.00 | Fire Equipments Supply Agency
16.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required :
16.10 | 25 mm dia | 200.00 | mtrs |  | 506.00 | 101200.00 | 700.00 | 140000.00 | 425.00 | 85000.00 | 350.00 | 70000.00 | 720.00 | 144000.00 | 70000.00 | VOID FIRE CONSULTANTS
16.20 | 32 mm dia | 70.00 | mtrs |  | 645.00 | 45150.00 | 1000.00 | 70000.00 | 600.00 | 42000.00 | 450.00 | 31500.00 | 890.00 | 62300.00 | 31500.00 | VOID FIRE CONSULTANTS
16.30 | 40 mm dia | 30.00 | mtrs |  | 762.00 | 22860.00 | 1100.00 | 33000.00 | 650.00 | 19500.00 | 520.00 | 15600.00 | 995.00 | 29850.00 | 15600.00 | VOID FIRE CONSULTANTS
16.40 | 50 mm dia | 30.00 | mtrs |  | 1020.00 | 30600.00 | 1250.00 | 37500.00 | 925.00 | 27750.00 | 740.00 | 22200.00 | 1199.00 | 35970.00 | 22200.00 | VOID FIRE CONSULTANTS
16.50 | 65 mm dia | 30.00 | mtrs |  | 1344.00 | 40320.00 | 1350.00 | 40500.00 | 1150.00 | 34500.00 | 910.00 | 27300.00 | 1304.00 | 39120.00 | 27300.00 | VOID FIRE CONSULTANTS
16.60 | 80 mm dia | 80.00 | mtrs |  | 1658.00 | 132640.00 | 1600.00 | 128000.00 | 1250.00 | 100000.00 | 1130.00 | 90400.00 | 1999.00 | 159920.00 | 90400.00 | VOID FIRE CONSULTANTS
16.70 | 100 mm dia | 100.00 | mtrs |  | 2427.00 | 242700.00 | 2250.00 | 225000.00 | 2000.00 | 200000.00 | 1600.00 | 160000.00 | 2346.00 | 234600.00 | 160000.00 | VOID FIRE CONSULTANTS
17.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :
17.10 | 80 mm dia | 6.00 | nos |  | 7468.00 | 44808.00 | 7000.00 | 42000.00 | 6000.00 | 36000.00 | 4465.00 | 26790.00 | 4210.00 | 25260.00 | 25260.00 | Fire Equipments Supply Agency
17.20 | 100 mm dia | 6.00 | nos |  | 20391.00 | 122346.00 | 9000.00 | 54000.00 | 7000.00 | 42000.00 | 5590.00 | 33540.00 | 4990.00 | 29940.00 | 29940.00 | Fire Equipments Supply Agency
18.00 | Providing, installation, testing and commissioning of CI dual plate non return valve PN 16 of following sizes confirming to complete with rubber gasket, GI bolt, nuts,washers etc. as required. 100 mm dia | 3.00 | no |  | 25747.00 | 77241.00 | 9000.00 | 27000.00 | 7500.00 | 22500.00 | 6985.00 | 20955.00 | 6990.00 | 20970.00 | 20955.00 | VOID FIRE CONSULTANTS
19.00 | Supplying and fixing single headed internal hydrant valve with instantaneous Gunmetal/Stainless Steel coupling of 63 mm dia with cast iron wheel ISI marked conforming to IS 5290 (Type -A) with blank Gunmetal/Stainless Steel cap and chain as required :Single headed Gunmetal | 10.00 | nos |  | 17043.00 | 170430.00 | 9000.00 | 90000.00 | 7000.00 | 70000.00 | 10380.00 | 103800.00 | 5100.00 | 51000.00 | 51000.00 | Fire Equipments Supply Agency
20.00 | Supplying & fixing 63 mm dia gun metal short branch pipe with 20 mm nominal internal diameter size nozzle conforming to IS 903 suitable for instantaneous connection to interconnect hose pipe coupling as required :Gun metal | 10.00 | nos |  | 3519.00 | 35190.00 | 2700.00 | 27000.00 | 4500.00 | 45000.00 | 3250.00 | 32500.00 | 2000.00 | 20000.00 | 20000.00 | Fire Equipments Supply Agency
21.00 | Supplying and fixing 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female couplings duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required :Gun Metal | 20.00 | nos |  | 6143.00 | 122860.00 | 7200.00 | 144000.00 | 8000.00 | 160000.00 | 5475.00 | 109500.00 | 3799.00 | 75980.00 | 75980.00 | Fire Equipments Supply Agency
22.00 | Supplying and fixing of Double door MS hose cabinet of size not less than 0.9 x 0.6 x 0.5 mtr made out of MS sheet 2mm thick suitable to accommodate hydrant with valve, 2 nos 15mtr. long hose pipe, 1 no. branch pipe, etc having central opening and 6 mm thick glazed glass doors (02 nos) suitably marked on the outside with the letter"FIRE" i/c necessary locking arrangement, mounting legs / concrete pedestal and duly painted with one coat of primer and two coats of synthetic enamel paint of post office red shade complete as required. | 10.00 | nos |  | 7670.00 | 76700.00 | 6000.00 | 60000.00 | 9000.00 | 90000.00 | 10800.00 | 108000.00 | 6590.00 | 65900.00 | 60000.00 | CENTRE TAP ENGINEERING
23.00 | Supply, installation , testing and commissioning of pressure gauge of 150 mm dia with syphon tubing, mounting accessories,0-21 kg/ sq.cm range with 15 mm dia stop cock valve, piping etc as required. | 5.00 | no |  | 3067.00 | 15335.00 | 3600.00 | 18000.00 | 7000.00 | 35000.00 | 2030.00 | 10150.00 | 1760.00 | 8800.00 | 8800.00 | Fire Equipments Supply Agency
24.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | 3.00 | cum |  | 6500.00 | 19500.00 | 2700.00 | 8100.00 | 3000.00 | 9000.00 | 8880.00 | 26640.00 | 990.00 | 2970.00 | 2970.00 | Fire Equipments Supply Agency
25.00 | Cutting of existing MS pipe for testing and connecting temporary dummy joint in the existing fire hydrant line various location at terminal building and rejointing MS pipe with the help of Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. as required and as per direction of Engineer in charge. | 8.00 | Job |  | 39000.00 | 312000.00 | 2700.00 | 21600.00 | 10000.00 | 80000.00 | 24500.00 | 196000.00 | 5600.00 | 44800.00 | 21600.00 | CENTRE TAP ENGINEERING
26.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 3.00 | cum |  | 22568.00 | 67704.00 | 4500.00 | 13500.00 | 8500.00 | 25500.00 | 13450.00 | 40350.00 | 9890.00 | 29670.00 | 13500.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 4521885.00 |  | 4413750.00 |  | 4275000.00 |  | 4497850.00 |  | 4348844.00
Lowest Amount Quoted BY: Awasthi Electric Works(4275000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of existing Terminal building - Ph II. SH- Modification of Existing fire alarm and Fire hydrant system at Dibrugarh Airport Tender ID: 2025_AAI_237302_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -865469) | 4275000.00 | L1
| 2 | Fire Equipments Supply Agency (BID ID -865276) | 4348844.00 | L2
| 3 | CENTRE TAP ENGINEERING (BID ID -865110) | 4413750.00 | L3
| 4 | VOID FIRE CONSULTANTS (BID ID -865394) | 4497850.00 | L4
| 5 | Globe Detective Agency Pvt. Ltd. (BID ID -864530) | 4521885.00 | L5