## BoQ1
Government eProcurement System Created By: Mukesh Meena Created Date/Time: 25-Jul-2025 05:44 PM Tender Title: Provision of Gas suppression system for the CNS installation inside Operational Area, C.S.M.I.Airport, Mumbai. Tender ID: 2025_AAI_237322_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.), ATS Complex, Mumbai.
Name of Work: "Provision of Gas suppression system for the CNS installation inside Operational Area,C.S.M.I.Airport, Mumbai.”
Contract No: MUMBAI/ATS/ENGG-E/eNIT-02/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -859445 |  | SVS Buildwel Pvt Ltd (GSTN-07AALCS7473H1ZU) BID ID -864409 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -864441 |  | Vimal Fire Controls private Limited (GSTN-24AAACV9204C1ZR) BID ID -864483 |  | Vasu Infosec Pvt Ltd (GSTN-27AABCV6080D1ZE) BID ID -864507 |  | Kalpataru Industries (GSTN-NA) BID ID -864512
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | A) Cylinders
2.00 | Supply and installation of 120 L Cylinder Assembly | 5.00 | No |  | 109000.00 | 545000.00 | 179084.00 | 895420.00 | 120000.00 | 600000.00 | 117000.00 | 585000.00 | 88047.42 | 440237.10 | 111483.00 | 557415.00 | 440237.10 | Vasu Infosec Pvt Ltd
3.00 | Supply and installation of 80 L Cylinder Assembly | 4.00 | No |  | 91500.00 | 366000.00 | 161237.00 | 644948.00 | 100000.00 | 400000.00 | 99000.00 | 396000.00 | 82497.42 | 329989.68 | 100500.00 | 402000.00 | 329989.68 | Vasu Infosec Pvt Ltd
4.00 | Supply and Charging of FK-5-1-12 Agent filled in above cylinder (Kgs) | 650.00 | No |  | 1220.00 | 793000.00 | 2072.00 | 1346800.00 | 2500.00 | 1625000.00 | 1530.00 | 994500.00 | 1711.62 | 1112553.00 | 2025.00 | 1316250.00 | 793000.00 | Nexus Fire And Security Systems
5.00 | Supply and installation of FK-5-1-12 Master Accessory Kit_IN | 9.00 | Set |  | 42530.00 | 382770.00 | 46079.00 | 414711.00 | 50000.00 | 450000.00 | 9000.00 | 81000.00 | 57054.00 | 513486.00 | 51400.00 | 462600.00 | 81000.00 | Vimal Fire Controls private Limited
6.00 | Supply and installation of Nozzle. | 18.00 | No |  | 5600.00 | 100800.00 | 3407.00 | 61326.00 | 1500.00 | 27000.00 | 10800.00 | 194400.00 | 2567.43 | 46213.74 | 6250.00 | 112500.00 | 27000.00 | CENTRE TAP ENGINEERING
7.00 | B) Other Accessories
8.00 | Supply and fixing of Cylinder Strap | 18.00 | No |  | 1700.00 | 30600.00 | 3688.00 | 66384.00 | 500.00 | 9000.00 | 900.00 | 16200.00 | 666.00 | 11988.00 | 1550.00 | 27900.00 | 9000.00 | CENTRE TAP ENGINEERING
9.00 | Supply and fixing of Warning Sign Stickers ( Control panel, Abort, Release, Hooter and Room Entrance) | 9.00 | Set |  | 2100.00 | 18900.00 | 2655.00 | 23895.00 | 500.00 | 4500.00 | 900.00 | 8100.00 | 712.62 | 6413.58 | 2850.00 | 25650.00 | 4500.00 | CENTRE TAP ENGINEERING
10.00 | Supply and fixing Signages for 24 VDC operated DO NOT ENTER and EVACUATE IMMEDIATELY. | 9.00 | set |  | 5500.00 | 49500.00 | 2655.00 | 23895.00 | 500.00 | 4500.00 | 2700.00 | 24300.00 | 6771.00 | 60939.00 | 11150.00 | 100350.00 | 4500.00 | CENTRE TAP ENGINEERING
11.00 | Supply and Fixing of Cylinder Stand | 9.00 | No |  | 4000.00 | 36000.00 | 6692.00 | 60228.00 | 2000.00 | 18000.00 | 1800.00 | 16200.00 | 4107.00 | 36963.00 | 9000.00 | 81000.00 | 16200.00 | Vimal Fire Controls private Limited
12.00 | S.I.T.C.of IP -56 rated Cabinet for cylinder | 9.00 | Lot |  | 33850.00 | 304650.00 | 149454.00 | 1345086.00 | 15000.00 | 135000.00 | 63000.00 | 567000.00 | 19425.00 | 174825.00 | 11500.00 | 103500.00 | 103500.00 | Kalpataru Industries
13.00 | Supply and fixing of Piping with fittings for FK-5-1-12-SCH-40 | 9.00 | Lot |  | 42000.00 | 378000.00 | 44250.00 | 398250.00 | 25000.00 | 225000.00 | 36000.00 | 324000.00 | 46620.00 | 419580.00 | 57790.00 | 520110.00 | 225000.00 | CENTRE TAP ENGINEERING
14.00 | C) Gas Release Panel
15.00 | SITC of 2 Zone Gas Release Panel (GRP) | 9.00 | No |  | 12500.00 | 112500.00 | 33261.00 | 299349.00 | 15000.00 | 135000.00 | 22500.00 | 202500.00 | 13875.00 | 124875.00 | 28000.00 | 252000.00 | 112500.00 | Nexus Fire And Security Systems
16.00 | Supply and Fixing of Conventional Mulisensor detector | 36.00 | No |  | 1350.00 | 48600.00 | 2400.00 | 86400.00 | 2000.00 | 72000.00 | 2700.00 | 97200.00 | 1609.50 | 57942.00 | 1800.00 | 64800.00 | 48600.00 | Nexus Fire And Security Systems
17.00 | Supply of Battery 12V, 4AH for Alarm Panel. | 18.00 | No |  | 1000.00 | 18000.00 | 3688.00 | 66384.00 | 1500.00 | 27000.00 | 7200.00 | 129600.00 | 943.50 | 16983.00 | 1850.00 | 33300.00 | 16983.00 | Vasu Infosec Pvt Ltd
18.00 | Supply and Fixing of Manual Abort (with protective cover) | 9.00 | No |  | 1500.00 | 13500.00 | 9897.00 | 89073.00 | 1500.00 | 13500.00 | 1800.00 | 16200.00 | 3718.50 | 33466.50 | 1950.00 | 17550.00 | 13500.00 | Nexus Fire And Security Systems, CENTRE TAP ENGINEERING
19.00 | Supply and Fixing of Manual Release Switch (with protective cover) | 9.00 | No |  | 1500.00 | 13500.00 | 9897.00 | 89073.00 | 1500.00 | 13500.00 | 1800.00 | 16200.00 | 3718.50 | 33466.50 | 1950.00 | 17550.00 | 13500.00 | Nexus Fire And Security Systems, CENTRE TAP ENGINEERING
20.00 | Supply and fixing of Hooter cum Flasher For GRP | 9.00 | No |  | 1700.00 | 15300.00 | 3975.00 | 35775.00 | 3000.00 | 27000.00 | 6300.00 | 56700.00 | 3718.50 | 33466.50 | 2210.00 | 19890.00 | 15300.00 | Nexus Fire And Security Systems
21.00 | Supply and fixing Trip Unit | 9.00 | No |  | 2400.00 | 21600.00 | 6692.00 | 60228.00 | 3000.00 | 27000.00 | 1800.00 | 16200.00 | 3718.50 | 33466.50 | 6050.00 | 54450.00 | 16200.00 | Vimal Fire Controls private Limited
22.00 | Supply and Laying of Fire alarm system Cable- 2 Core x 1.5 Sq.mm. | 700.00 | Mtr |  | 120.00 | 84000.00 | 232.00 | 162400.00 | 150.00 | 105000.00 | 144.00 | 100800.00 | 132.09 | 92463.00 | 195.00 | 136500.00 | 84000.00 | Nexus Fire And Security Systems
23.00 | Supply, installation, Testing & Commissioning of Aerosol based Fire Supression System consisting of Aerosol generator having aerosol mass of 3500 gms. shall be thermally actuated/ Electrically actuated by means of Fire alarm cum release panel. The housing shall be constructed to UL 2775 that can be mounted over the generator itself. The housing shall be constructed of stainless steel shell. Housing shall be sealed with a non-permeable membrane. Units shall have passed salt pray corrosion tesing as per BIS/NABL/EN/UL standard 2127 as part of their listing. Aerosol generated shall be potassium based. Agenct shall be listed by the US EPA under the SNAP program. Fixed condensed Aerosol system as per NFPA 2010. UL approved design density of the aerosol should be less than 100g/cu.mtr for class ABC fires as per NFPA . The Aerosol generator should have self life of 15 years. Aerosol generator shall be supplied in stainless steel bracket. | 3.00 | Job |  | 191500.00 | 574500.00 | 151233.00 | 453699.00 | 80000.00 | 240000.00 | 450000.00 | 1350000.00 | 114330.00 | 342990.00 | 182307.00 | 546921.00 | 240000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 3906720.00 |  | 6623324.00 |  | 4158000.00 |  | 5192100.00 |  | 3922307.10 |  | 4852236.00
Lowest Amount Quoted BY: Nexus Fire And Security Systems(3906720.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Gas suppression system for the CNS installation inside Operational Area, C.S.M.I.Airport, Mumbai. Tender ID: 2025_AAI_237322_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems (BID ID -859445) | 3906720.00 | L1
| 2 | Vasu Infosec Pvt Ltd (BID ID -864507) | 3922307.10 | L2
| 3 | CENTRE TAP ENGINEERING (BID ID -864441) | 4158000.00 | L3
| 4 | Kalpataru Industries (BID ID -864512) | 4852236.00 | L4
| 5 | Vimal Fire Controls private Limited (BID ID -864483) | 5192100.00 | L5
| 6 | SVS Buildwel Pvt Ltd (BID ID -864409) | 6623324.00 | L6