## BoQ1
Government eProcurement System Created By: Anita Meena Created Date/Time: 29-Jul-2025 03:17 PM Tender Title: Provision of Individual Light Control and Monitoring System (ILCMS) at Amritsar Airport Tender ID: 2025_AAI_237626_1
Tender Inviting Authority: Asstt. General Manager(Engg-E),CHQ-NR on behalf of Chairman,AAI.
Name of Work:Provision of Individual Light Control and Monitoring System (ILCMS) at Amritsar Airport.
Contract No: 2025_AAI_237626_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Inxee Systems Private Limited (GSTN-06AADCI4479B1ZQ) BID ID -869319 |  | Vardhman Airport Solutions Limited (GSTN-NA) BID ID -871290
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Provision of Individual lamp control and monitoring system or Up-gradation of existing ALCMS for incorporation of Individual lamp control and monitoring system of complete CAT III AGL system etc. The job includes :- Design, Supply, Installation,Testing & Commissioning of Airfield Lighting Control & Monitoring System (ALCMS) with Individual Lamp Control & Monitoring System, ASMGS ready and other features of requirements of DGCA CAR, ICAO document 9157, Type'D' FAA advisory circular No AC 150/ 5345-56 (current edition) including all hardware and software, licenses & other associated items as required for successful operation of the system in line with the scope of work, equipment specification, details of equipments, performance criteria etc. Complete as required as per technical specifications. The system mainly comprises of - 1) SITC of workstations, Servers and server racks etc.• 06 sets (i/c HMI for remote operation by Military ATC) 2) SITC of PLC/PC based , network. Switches etc (Main and Standby). 3) All softwares as per requirement etc. 4) SITC of additional circuits / mechanisms / interfaces / hardware / system modules required for Integration of within or external installation such as existing & planned CCRs, Utility /Power supply equipment, Standby DG sets, UPS, High masts/Flood light, Wind cone & Landing-H, ASMGCS, MET related equipment (if any), BEACON and any other auxiliary systems required by ATC to ensure seamless operation. 5) Design, software development, hardware, PLCs/PC based connections/Interconnections, networking and all associated works as required complete. The above shall be completed in all respects as per requirement detailed in Technical specification and as per direction & satisfaction of Engineer –in-charge. | 1.00 | Job |  | 28445191.00 | 28445191.00 | 62121989.00 | 62121989.00 | 28445191.00 | Inxee Systems Private Limited
2.00 | Supply, Installation, testing and commissioning of encapsulated microprocessor driven single channel ADDRESSABLE LAMP MONITORING AND SWITCHING DEVICE (as per OEM design) used for individual lamp control and monitoring of one number lamp, with necessary hardware such as connectors, plugs & sockets etc. for successful commissioning of individual lamp monitoring & control through ALCMS. The above shall be completed in all respects as per requirement detailed in Technical specification and as per direction & satisfaction of Engineer –in-charge. | 1680.00 | Each |  | 22112.50 | 37149000.00 | 36792.00 | 61810560.00 | 37149000.00 | Inxee Systems Private Limited
3.00 | Supply, Installation, testing and commissioning of encapsulated microprocessor driven dual channel ADDRESSABLE LAMP MONITORING AND SWITCHING DEVICE (as per OEM design) used for individual lamp control and monitoring of two number lamps, with necessary hardware such as connectors, plugs & sockets etc. for successful commissioning of individual lamp monitoring & control through ALCMS. The above shall be completed in all respects as per requirement detailed in Technical specification and as per direction & satisfaction of Engineer –in-charge. | 270.00 | Each |  | 27300.00 | 7371000.00 | 38009.00 | 10262430.00 | 7371000.00 | Inxee Systems Private Limited
4.00 | Supply and laying of designed size of Airfield Ground Lighting cable/ Hybrid optical fibre cable cum power cable/ control cable (suitable for switching device) as per OEM design criteria and network architecture in existing pipe/ Open/Surface or as per Site requirement. The item Includes cost of Communication signal repeaters/boosters required to ensure seamless integration with existing AGL Infrastructure, boost the Signal strength. Note: The necessary Communication cable required as per site requirement ( CCR Room to ATC Tower, CCR Room to Runway and all circuits for CAT III operation and as per Tech Specs etc.) apart from existing infrastructure shall deemed to be included in this item and nothing shall be paid extra on this account. The item includes cost of cable termination, joints, junction boxes, connector etc to ensure complete work of cable laying and cable connections as per OEM design. The above shall be completed in all respects as per requirement detailed in Technical specification and for CAT III Operation and as per direction & satisfaction of Engineer –in-charge. | 1.00 | Lot |  | 7289750.40 | 7289750.40 | 68711637.00 | 68711637.00 | 7289750.40 | Inxee Systems Private Limited
5.00 | Supply of 40 mm dia , ISI marked , PN6 PE 80 rating HDPE pipe complying to relevant standards. | 42000.00 | Mtr. |  | 68.20 | 2864400.00 | 334.00 | 14028000.00 | 2864400.00 | Inxee Systems Private Limited
6.00 | Laying of 40 mm dia HDPE pipe direct in ground (75 cm below ground level ) including excavation and refilling the trench or on surface or laying in hard surface like runway/taxiway pavement by cutting and repairing the same etc. The above shall be completed in all respects as per requirement detailed in Technical specification and as per direction & satisfaction of Engineer –in-charge. | 40000.00 | Mtr. |  | 275.00 | 11000000.00 | 88.00 | 3520000.00 | 3520000.00 | Vardhman Airport Solutions Limited
7.00 | Laying of 40 mm dia HDPE pipe through trenchless technology upto a depth as directed by Engineer-in-charge. The above shall be completed in all respects as per requirement detailed in Technical specification and as per direction & satisfaction of Engineer –in-charge. | 2000.00 | Mtr. |  | 330.00 | 660000.00 | 275.00 | 550000.00 | 550000.00 | Vardhman Airport Solutions Limited
8.00 | Making holes in existing Housing boxes on site for entry of 40 mm dia HDPE pipe as per direction & satisfaction of Engineer –in-charge. | 500.00 | Each |  | 550.00 | 275000.00 | 440.00 | 220000.00 | 220000.00 | Vardhman Airport Solutions Limited
9.00 | Operation & Monitoring of above complete ILCMS System as specified in Tender document. Minimum manpower:- Sr Sup Highly Skilled in G Shift- 01 Nos. (1 Highly Skilled + 1 skilled+ 1 UnSkilled) in each 3 shift - 09 Nos. + Reliver
9.10 | For 1st year (During DLP) | 12.00 | Month |  | 326537.50 | 3594786.03 | 337376.00 | 3714104.91 | 3594786.03 | Inxee Systems Private Limited
9.20 | For 2nd year (During DLP) | 12.00 | Month |  | 338964.38 | 3423675.82 | 337376.00 | 3407632.55 | 3407632.55 | Vardhman Airport Solutions Limited
9.30 | For 3rd year | 12.00 | Month |  | 351934.59 | 3261166.68 | 337376.00 | 3126260.97 | 3126260.97 | Vardhman Airport Solutions Limited
9.40 | For 4th Year | 12.00 | Month |  | 365466.72 | 3106759.49 | 337376.00 | 2867965.90 | 2867965.90 | Vardhman Airport Solutions Limited
9.50 | For 5th Year | 12.00 | Month |  | 379592.56 | 2960366.46 | 337376.00 | 2631127.95 | 2631127.95 | Vardhman Airport Solutions Limited
9.60 | For 6th Year | 12.00 | Month |  | 394337.19 | 2821719.20 | 337376.00 | 2414127.71 | 2414127.71 | Vardhman Airport Solutions Limited
9.70 | For 7th Year | 12.00 | Month |  | 409779.05 | 2689789.68 | 337376.00 | 2214536.06 | 2214536.06 | Vardhman Airport Solutions Limited
10.00 | All Inculsive Comprehensive Maintenance of above complete ALCMS System as specified in Tender document. (After 02 Years of DLP)
10.10 | For 3rd year | 12.00 | Month |  | 359863.75 | 3334641.45 | 200522.00 | 1858117.06 | 1858117.06 | Vardhman Airport Solutions Limited
10.20 | For 4th Year | 12.00 | Month |  | 380356.94 | 3233338.28 | 210548.00 | 1789826.44 | 1789826.44 | Vardhman Airport Solutions Limited
10.30 | For 5th Year | 12.00 | Month |  | 401624.78 | 3132191.33 | 221075.00 | 1724119.71 | 1724119.71 | Vardhman Airport Solutions Limited
10.40 | For 6th Year | 12.00 | Month |  | 423706.02 | 3031870.80 | 232129.00 | 1661022.27 | 1661022.27 | Vardhman Airport Solutions Limited
10.50 | For 7th Year | 12.00 | Month |  | 446641.32 | 2931753.62 | 243736.00 | 1599883.10 | 1599883.10 | Vardhman Airport Solutions Limited
| Total in Figures |  |  |  |  | 132576400.24 |  | 250233340.63
Lowest Amount Quoted BY: Inxee Systems Private Limited(132576400.24)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Individual Light Control and Monitoring System (ILCMS) at Amritsar Airport Tender ID: 2025_AAI_237626_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Inxee Systems Private Limited (BID ID -869319) | 132576400.24 | L1
| 2 | Vardhman Airport Solutions Limited (BID ID -871290) | 250233340.63 | L2