## BoQ1
Government eProcurement System Created By: Shahabuddin Multani Created Date/Time: 16-Jul-2025 06:03 PM Tender Title: Miscellaneous Civil Work for Welfare of Residents and Upgradation of Quarters in AAI Residential Colony at D.A.B.H. Airport, Indore. Tender ID: 2025_AAI_237847_1
Tender Inviting Authority: AGM (Engg.-Civil), AAI DABH Airport Indore
Name of Work: Miscellaneous Civil Work for Welfare of Residents and Upgradation of Quarters in AAI Residential Colony at D.A.B.H. Airport, Indore.
Contract No: 2025_AAI_237847_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AYODHYA CONSTRUCTION (GSTN-23APUPK7696F1Z8) BID ID -867895 |  | RRCONSTRUCTION (GSTN-NA) BID ID -868339 |  | Excellent Structures Pvt Ltd (GSTN-NA) BID ID -868130
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 770.00 | cum |  | 150.00 | 115500.00 | 95.00 | 73150.00 | 250.00 | 192500.00 | 73150.00 | RRCONSTRUCTION
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | 30.00 | cum |  | 5000.00 | 150000.00 | 4800.00 | 144000.00 | 6500.00 | 195000.00 | 144000.00 | RRCONSTRUCTION
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 165.00 | cum |  | 3500.00 | 577500.00 | 3800.00 | 627000.00 | 6000.00 | 990000.00 | 577500.00 | AYODHYA CONSTRUCTION
4.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels ete. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4 mm thick aluminium composite panel material consisting of 3 mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5 mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF /Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium items. The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 50.00 | sqm |  | 2200.00 | 110000.00 | 5000.00 | 250000.00 | 4000.00 | 200000.00 | 110000.00 | AYODHYA CONSTRUCTION
5.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. Float glass panes 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | 415.00 | sqm |  | 2150.00 | 892250.00 | 1700.00 | 705500.00 | 1800.00 | 747000.00 | 705500.00 | RRCONSTRUCTION
6.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part 1) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 540.00 | sqm |  | 2750.00 | 1485000.00 | 2000.00 | 1080000.00 | 2800.00 | 1512000.00 | 1080000.00 | RRCONSTRUCTION
7.00 | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary Screws With ISI marked stainless steel butt hinges of required size Second class teak wood | 200.00 | sqm |  | 3500.00 | 700000.00 | 3600.00 | 720000.00 | 3200.00 | 640000.00 | 640000.00 | Excellent Structures Pvt Ltd
8.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With second class teak wood beading 62X19 mm | 415.00 | sqm |  | 750.00 | 311250.00 | 1250.00 | 518750.00 | 750.00 | 311250.00 | 311250.00 | AYODHYA CONSTRUCTION, Excellent Structures Pvt Ltd
9.00 | Providing and fixing special quality chromium plated brass cupboard locks with six levers of approved quality including necessary screws etc. complete. Size 40 mm | 35.00 | each |  | 400.00 | 14000.00 | 200.00 | 7000.00 | 250.00 | 8750.00 | 7000.00 | RRCONSTRUCTION
10.00 | Providing and fixing special quality chromium plated brass cupboard locks with six levers of approved quality including necessary screws etc. complete. Size 50 mm | 80.00 | each |  | 500.00 | 40000.00 | 250.00 | 20000.00 | 310.00 | 24800.00 | 20000.00 | RRCONSTRUCTION
11.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete 250x16 mm | 570.00 | each |  | 210.00 | 119700.00 | 225.00 | 128250.00 | 250.00 | 142500.00 | 119700.00 | AYODHYA CONSTRUCTION
12.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete 125 mm | 695.00 | each |  | 60.00 | 41700.00 | 60.00 | 41700.00 | 60.00 | 41700.00 | 41700.00 | AYODHYA CONSTRUCTION, Excellent Structures Pvt Ltd, RRCONSTRUCTION
13.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked,anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 460.00 | each |  | 80.00 | 36800.00 | 50.00 | 23000.00 | 65.00 | 29900.00 | 23000.00 | RRCONSTRUCTION
14.00 | Providing and fixing magnetic catcher of approved quality in cupboard /ward robe shutters, including fixing with necessary screws etc. complete. Triple strip vertical type | 650.00 | each |  | 35.00 | 22750.00 | 400.00 | 260000.00 | 40.00 | 26000.00 | 22750.00 | AYODHYA CONSTRUCTION
15.00 | Providing and fixing powder coated telescopic drawer channels 300 mm long with necessary screws etc. complete as per directions of Engineer-in-charge. | 100.00 | one set |  | 600.00 | 60000.00 | 1200.00 | 120000.00 | 355.00 | 35500.00 | 35500.00 | Excellent Structures Pvt Ltd
16.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5 mm thick | 50.00 | sqm |  | 1200.00 | 60000.00 | 900.00 | 45000.00 | 890.00 | 44500.00 | 44500.00 | Excellent Structures Pvt Ltd
17.00 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately). 12 mm thick commercial ply conforming to IS : 1328 BWR type | 155.00 | sqm |  | 1000.00 | 155000.00 | 2200.00 | 341000.00 | 950.00 | 147250.00 | 147250.00 | Excellent Structures Pvt Ltd
18.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape,colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all comers, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sectionsof uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to 1S: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 — Part 3 (ii) Sites with structure height more than 20m for all wind speeds Two track two panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. Using R3 series with frame (55 mm & above) X (40 mm & above) & sash (30 mm & above) x (65 mm & above) with zinc alloy (zamak) powder coated handle on every panel along with multi-point locking system (Height upto 1.8m). | 415.00 | sqm |  | 7500.00 | 3112500.00 | 140.00 | 58100.00 | 3500.00 | 1452500.00 | 58100.00 | RRCONSTRUCTION
19.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 1250.00 | kg |  | 110.00 | 137500.00 | 90.00 | 112500.00 | 120.00 | 150000.00 | 112500.00 | RRCONSTRUCTION
20.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 100 mm | 650.00 | each |  | 150.00 | 97500.00 | 170.00 | 110500.00 | 230.00 | 149500.00 | 97500.00 | AYODHYA CONSTRUCTION
21.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | 3000.00 | kg |  | 100.00 | 300000.00 | 130.00 | 390000.00 | 120.00 | 360000.00 | 300000.00 | AYODHYA CONSTRUCTION
22.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2}), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 80 mm | 1950.00 | each |  | 40.00 | 78000.00 | 150.00 | 292500.00 | 120.00 | 234000.00 | 78000.00 | AYODHYA CONSTRUCTION
23.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 125.00 | sqm |  | 400.00 | 50000.00 | 900.00 | 112500.00 | 1300.00 | 162500.00 | 50000.00 | AYODHYA CONSTRUCTION
24.00 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. 40 mm wide and 4 mm thick | 265.00 | metre |  | 60.00 | 15900.00 | 90.00 | 23850.00 | 250.00 | 66250.00 | 15900.00 | AYODHYA CONSTRUCTION
25.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 760.00 | sqm |  | 1000.00 | 760000.00 | 1150.00 | 874000.00 | 1150.00 | 874000.00 | 760000.00 | AYODHYA CONSTRUCTION
26.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 760.00 | sqm |  | 50.00 | -38000.00 | 250.00 | -190000.00 | 150.00 | -114000.00 | -190000.00 | RRCONSTRUCTION
27.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to 1S: 15477, in average 3 mm thickness. | 760.00 | sqm |  | 200.00 | 152000.00 | 900.00 | 684000.00 | 610.00 | 463600.00 | 152000.00 | AYODHYA CONSTRUCTION
28.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to 1.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 80.00 | sqm |  | 1100.00 | 88000.00 | 1250.00 | 100000.00 | 1150.00 | 92000.00 | 88000.00 | AYODHYA CONSTRUCTION
29.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sgm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 305.00 | sqm |  | 600.00 | 183000.00 | 600.00 | 183000.00 | 850.00 | 259250.00 | 183000.00 | AYODHYA CONSTRUCTION, RRCONSTRUCTION
30.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm,both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross“T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using Gl slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm Gl adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T,bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of Gl sheet having galvanizing of 100 gms/sgm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation and backed with a black Glass fiber acoustical fleece. | 150.00 | sqm |  | 2200.00 | 330000.00 | 1500.00 | 225000.00 | 2400.00 | 360000.00 | 225000.00 | RRCONSTRUCTION
31.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 500.00 | sqm |  | 180.00 | 90000.00 | 180.00 | 90000.00 | 150.00 | 75000.00 | 75000.00 | Excellent Structures Pvt Ltd
32.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 100.00 | sqm |  | 210.00 | 21000.00 | 220.00 | 22000.00 | 180.00 | 18000.00 | 18000.00 | Excellent Structures Pvt Ltd
33.00 | Finishing walls with Acrylic Smooth exterior paint of required shade New work (Two or more coat applied @ 1.67 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 9800.00 | sqm |  | 90.00 | 882000.00 | 100.00 | 980000.00 | 95.00 | 931000.00 | 882000.00 | AYODHYA CONSTRUCTION
34.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 700.00 | sqm |  | 100.00 | 70000.00 | 80.00 | 56000.00 | 95.00 | 66500.00 | 56000.00 | RRCONSTRUCTION
35.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 10500.00 | sqm |  | 8.00 | 84000.00 | 19.00 | 199500.00 | 5.00 | 52500.00 | 52500.00 | Excellent Structures Pvt Ltd
36.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 250.00 | sqm |  | 240.00 | 60000.00 | 360.00 | 90000.00 | 180.00 | 45000.00 | 45000.00 | Excellent Structures Pvt Ltd
37.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | 5.00 | each |  | 500.00 | 2500.00 | 133.00 | 665.00 | 100.00 | 500.00 | 500.00 | Excellent Structures Pvt Ltd
38.00 | Providing and fixing APP (Atactic Polypropylene Polymer) modified prefabricated five layer 2 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sgm by the same membrance manufacture of density at 25°C, 0.87 - 0.89 kg!/ litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using Butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/ 5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacture of membrane. 2 mm (for corrugated roof sheets) | 265.00 | sqm |  | 400.00 | 106000.00 | 405.00 | 107325.00 | 390.00 | 103350.00 | 103350.00 | Excellent Structures Pvt Ltd
39.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqgm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 510.00 | sqm |  | 450.00 | 229500.00 | 460.00 | 234600.00 | 480.00 | 244800.00 | 229500.00 | AYODHYA CONSTRUCTION
40.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead Of area 3 sq. metres and below | 685.00 | each |  | 50.00 | 34250.00 | 300.00 | 205500.00 | 200.00 | 137000.00 | 34250.00 | AYODHYA CONSTRUCTION
41.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead Of area beyond 3 sq. metres | 2.00 | each |  | 500.00 | 1000.00 | 502.75 | 1005.50 | 350.00 | 700.00 | 700.00 | Excellent Structures Pvt Ltd
42.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 250.00 | sqm |  | 50.00 | 12500.00 | 73.40 | 18350.00 | 50.00 | 12500.00 | 12500.00 | AYODHYA CONSTRUCTION, Excellent Structures Pvt Ltd
43.00 | Dismantling of flushing cistern of all types (C.l./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 5.00 | each |  | 50.00 | 250.00 | 112.05 | 560.25 | 650.00 | 3250.00 | 250.00 | AYODHYA CONSTRUCTION
44.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge. | 155.00 | sqm |  | 50.00 | 7750.00 | 56.35 | 8734.25 | 45.00 | 6975.00 | 6975.00 | Excellent Structures Pvt Ltd
45.00 | Providing and fixing Glow studs of size 100x20 mm made of heavy duty body shall be moulded ASA (Acrylic styrene Acryloretrite ) or HIP (High impact polystyrene) or ABS having electronically welded micro- prismatic lens with abrasion resistant coating as approved by Engineer in charge. The glow stud shall support a load of 13635 kg tested in accordance with ASTM D4280. The slope of retro- reflective surface shall be 35 (+/-5) degress to base .The reflective panels on both sides with at least 12 om of reflective area up each side. The luminance intensity should be as per the specification and shall be tested as described in ASTM I: 809 as recommended in BS: 873 part 4 : 1973. The studs shall be fixed to the Road surface using the adhesive conforming to IS, as per procedure recommended by the manufacturer complete and as per direction of Engineer-in-charge. | 1450.00 | each |  | 150.00 | 217500.00 | 145.00 | 210250.00 | 150.00 | 217500.00 | 210250.00 | RRCONSTRUCTION
46.00 | Providing and applying 2.5 mm thick road marking strips (retro- reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 650.00 | sqm |  | 510.00 | 331500.00 | 500.00 | 325000.00 | 350.00 | 227500.00 | 227500.00 | Excellent Structures Pvt Ltd
47.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 1600.00 | sqm |  | 200.00 | 320000.00 | 180.00 | 288000.00 | 220.00 | 352000.00 | 288000.00 | RRCONSTRUCTION
48.00 | Providing and fixing factory made solid Foam uPVC profile for kitchen cabinet frame (45 x 20 mm) of approved shade, quality and make. The profile shall be laminated on both sides, made from rigid foam sheets (Single extruded) having density 600 Kg/cum and the exposed edges sealed with PVC edge beading of same shade and colour. The frame shall be fire retardent with necessary screw holding capacity. Frame shall be fixed to wall using Expendable Fastner with necesary stainless steel screws, all complete as per direction of Engineer-in-charge. | 740.00 | metre |  | 425.00 | 314500.00 | 405.00 | 299700.00 | 350.00 | 259000.00 | 259000.00 | Excellent Structures Pvt Ltd
49.00 | Providing and fixing factory made Kitchen Cabinet Shutter/Partition 20 mm nominal thickness of approved shade, quality and make, made from rigid foam sheets (Single extruded) having density 600 Kg/cum and laminated on both side by laminate Sheet/PVC foil lamination. The exposed edges shall be sealed with PVC edge beading of same shade and colour. The shutter shall be fire retardent having necessary screw holding capacity. Shutter shall be fixed to frame using approved hinges with necessary stainless steel screws, all complete as per direction of Engineer-in-charge. | 250.00 | sqm |  | 3500.00 | 875000.00 | 3800.00 | 950000.00 | 3500.00 | 875000.00 | 875000.00 | AYODHYA CONSTRUCTION, Excellent Structures Pvt Ltd
50.00 | Providing and fixing concealed hinge of approved quality for 19-20 mm thick door with stainless steel screws complete : | 1300.00 | each |  | 80.00 | 104000.00 | 105.00 | 136500.00 | 100.00 | 130000.00 | 104000.00 | AYODHYA CONSTRUCTION
51.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Clerestory windows & other Frames/ Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/ wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/fwindow frames, minus 5 mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 50 x 100 mm | 630.00 | metre |  | 550.00 | 346500.00 | 600.00 | 378000.00 | 700.00 | 441000.00 | 346500.00 | AYODHYA CONSTRUCTION
52.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 850 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S§.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 220.00 | sqm |  | 3500.00 | 770000.00 | 2000.00 | 440000.00 | 3000.00 | 660000.00 | 440000.00 | RRCONSTRUCTION
53.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain white color board for backing of cup boards and bathroom/kitchen cabinets etc. of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder rice husk/iwheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/ mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel screws etc. all as per direction of Engineer-In- Charge. (Note: stainless steel screws shall be paid separately) 6 mm thick | 220.00 | sqm |  | 800.00 | 176000.00 | 1000.00 | 220000.00 | 800.00 | 176000.00 | 176000.00 | AYODHYA CONSTRUCTION, Excellent Structures Pvt Ltd
54.00 | Deduct for taking away C.P. brass fittings i.e. pillar cocks, angle valves, stop cocks, long body bib cock and other fittings / items as directed by Engineer-In-Charge. | 100.00 | kg |  | 350.00 | -35000.00 | 200.00 | -20000.00 | 130.00 | -13000.00 | -35000.00 | AYODHYA CONSTRUCTION
55.00 | Deduct for taking away PVC fittings i.e. Bib cocks, pillar cocks, stop cocks and other fittings / items as directed by Engineer-In-Charge. | 300.00 | kg |  | 50.00 | -15000.00 | 10.00 | -3000.00 | 5.00 | -1500.00 | -15000.00 | AYODHYA CONSTRUCTION
56.00 | Deduct for taking away S.S. fittings i.e. S. S. Pipe, S.S. Railings and other S.S. fittings / items as directed by Engineer-In-Charge. | 100.00 | kg |  | 100.00 | -10000.00 | 135.00 | -13500.00 | 40.00 | -4000.00 | -13500.00 | RRCONSTRUCTION
57.00 | Deduct for taking away Aluminium fittings i.e. Aluminium Section, Aluminium Door Stopper, Door Closer etc. and other Aluminium fittings / items as directed by Engineer-In-Charge. | 200.00 | kg |  | 110.00 | -22000.00 | 110.00 | -22000.00 | 85.00 | -17000.00 | -22000.00 | AYODHYA CONSTRUCTION, RRCONSTRUCTION
58.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 3000.00 | kg |  | 25.00 | -75000.00 | 28.00 | -84000.00 | 15.00 | -45000.00 | -84000.00 | RRCONSTRUCTION
59.00 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. Upto 2 sqm | 550.00 | each |  | 400.00 | -220000.00 | 200.00 | -110000.00 | 5.00 | -2750.00 | -220000.00 | AYODHYA CONSTRUCTION
60.00 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. Above 2 sqm | 200.00 | each |  | 550.00 | -110000.00 | 400.00 | -80000.00 | 90.00 | -18000.00 | -110000.00 | AYODHYA CONSTRUCTION
61.00 | Brick work with Fly ash size bricks of class designation 35 in foundation and plinth in ; (a) Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 10.00 | cum |  | 5200.00 | 52000.00 | 5500.00 | 55000.00 | 6500.00 | 65000.00 | 52000.00 | AYODHYA CONSTRUCTION
62.00 | Brick work with local available size fly ash bricks of class designation 35 in superstructure above plinth level upto floor V level in all shapes and sizes in ; (a) Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 10.00 | cum |  | 5800.00 | 58000.00 | 6500.00 | 65000.00 | 6500.00 | 65000.00 | 58000.00 | AYODHYA CONSTRUCTION
63.00 | Cleaning Septic Tank of capacity 100-150 KL i/c removal of mulba and Disposal of mulba as per Municipal Guidelines all complete as directed by Engineer-In-Charge. | 5.00 | each |  | 20000.00 | 100000.00 | 14500.00 | 72500.00 | 25000.00 | 125000.00 | 72500.00 | RRCONSTRUCTION
64.00 | Cleaning of Sewage Collection tank by heavy suction machine including removal of malba etc. complete as per direction & satisfaction of Engineer-In-Charge. | 20.00 | Per Trip |  | 2100.00 | 42000.00 | 1200.00 | 24000.00 | 5000.00 | 100000.00 | 24000.00 | RRCONSTRUCTION
65.00 | Servicing of Existing collapsible shutters With Gear Excluding the cost of material, complete as per the direction and satisfaction of E-I-C. | 2.00 | each |  | 4500.00 | 9000.00 | 1600.00 | 3200.00 | 2000.00 | 4000.00 | 3200.00 | RRCONSTRUCTION
66.00 | Servicing of Existing collapsible shutters Without Gear Excluding the cost of material, complete as per the direction and satisfaction of E-I-C. | 5.00 | each |  | 2500.00 | 12500.00 | 900.00 | 4500.00 | 2000.00 | 10000.00 | 4500.00 | RRCONSTRUCTION
67.00 | Repairing of Existing collapsible shutters With Gear Excluding the cost of material, complete as per the direction and satisfaction of E-I-C. | 2.00 | each |  | 5150.00 | 10300.00 | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 3000.00 | Excellent Structures Pvt Ltd
68.00 | Repairing of Existing collapsible shutters Without Gear Excluding the cost of material, complete as per the direction and satisfaction of E-I-C. | 5.00 | each |  | 3500.00 | 17500.00 | 2500.00 | 12500.00 | 1500.00 | 7500.00 | 7500.00 | Excellent Structures Pvt Ltd
69.00 | Lettering with Synthetic Enamel Paint as per the direction and satisfaction of Engineer-in-charge. | 5100.00 | Per letter per cm ht. |  | 4.00 | 20400.00 | 100.00 | 510000.00 | 5.00 | 25500.00 | 20400.00 | AYODHYA CONSTRUCTION
70.00 | Providing & fixing Rimless Wall hung popular color vitreous china European type water closet of JAQUAR make CAT. No. ACS-WHT-87953BIUF/ KOHLER make CAT.No. 26994IN-0 or equivalent make with UF slim soft close seat cover and all fittings, concealed P trap, 32 x40 mm wooden cleats, including cutting and making good the wall and floors wherever required complete including all fixtures and fittings as per direction and satisfaction of E.I.C. | 8.00 | Each |  | 22000.00 | 176000.00 | 16500.00 | 132000.00 | 1100.00 | 8800.00 | 8800.00 | Excellent Structures Pvt Ltd
71.00 | Providing & Fixing first quality Approved C.P brass Waste 32mm size full thread with 80 mm height of JAQUAR make model no. ALD-727/KOHLER make model no. 45432IN-CP or equivalent as per direction & satisfaction of Engineer-in-Charge | 8.00 | Each |  | 900.00 | 7200.00 | 900.00 | 7200.00 | 150.00 | 1200.00 | 1200.00 | Excellent Structures Pvt Ltd
72.00 | Providing & Fixing first quality Apporved colour vitreous china Wall hung basin With Accessories set of JAQUAR make model no. FNS-WHT-40801/KOHLER make 96050IN-0 or equivalent as per direction & satisfaction of Engineer-in-Charge | 8.00 | Each |  | 5500.00 | 44000.00 | 3600.00 | 28800.00 | 1100.00 | 8800.00 | 8800.00 | Excellent Structures Pvt Ltd
73.00 | Providing & Fixing first quality Approved full pedestal for wall hung Basin of JAQUAR make model no.FNS-WHT-40301 or equivalent as per direction & satisfaction of Engineer-in-Charge | 8.00 | Each |  | 3000.00 | 24000.00 | 1900.00 | 15200.00 | 900.00 | 7200.00 | 7200.00 | Excellent Structures Pvt Ltd
74.00 | Providing & Fixing first quality Approved C.P. Bottle trap 32 mm of Jaquar make model no. ALD-769/KOHLER 7314IN-CP or equivalent as per direction & satisfaction of Engineer-in-Charge | 8.00 | Each |  | 2200.00 | 17600.00 | 1600.00 | 12800.00 | 600.00 | 4800.00 | 4800.00 | Excellent Structures Pvt Ltd
75.00 | Providing & Fixing first quality Approved 15 mm C.P. Brass Pressmatic Cock auto closing system with 65 mm extension body of JAQUAR make model no. PRS-031L65/Sensor Faucet (KOHLER 72866IN-ND-CP) or equivalent as per direction & satisfaction of Engineer-in-Charge | 8.00 | Each |  | 3000.00 | 24000.00 | 2000.00 | 16000.00 | 600.00 | 4800.00 | 4800.00 | Excellent Structures Pvt Ltd
76.00 | Providing and fixing concealed body of I Flush valve 32 mm of JAQUAR make model no. I Flush FLV-CHR-1073C/KOHLER make model no. 31538IN-NA or equivalent including all fittings and fixtures etc. complete in all respect as per direction & satisfaction of Engineer-in-Charge. | 8.00 | Each |  | 4200.00 | 33600.00 | 3600.00 | 28800.00 | 1200.00 | 9600.00 | 9600.00 | Excellent Structures Pvt Ltd
77.00 | Providing and fixing Exposed part kit of I flush with Dual push button actuation and control stop cock of Jaquar make FLV-CHR-1075NK/KOHLER make 24555IN-P-CP or equivalent including all fittings and fixtures etc. complete in all respect as per direction & satisfaction of Engineer-in-Charge. | 8.00 | Each |  | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 860.00 | 6880.00 | 6880.00 | Excellent Structures Pvt Ltd
78.00 | Providing and fixing 15mm nominal bore C.P. Brass Long Body Bib Cock of JAQUAR make model no. CON-107KN/KOHLER make model no. 13901IN-4-CP or equivalent make including all fittings and fixtures etc. complete in all respect as per direction & satisfaction of Engineer-in-Charge. | 8.00 | Each |  | 1300.00 | 10400.00 | 1450.00 | 11600.00 | 850.00 | 6800.00 | 6800.00 | Excellent Structures Pvt Ltd
79.00 | Providing and fixing C.P. brass angular stop cock of JAQUAR make model no. CON-059N/KOHLER make model no. 80158IN-9AV-CP or equivalent make including all fittings and fixtures etc. complete in all respect as per direction & satisfaction of Engineer-in-Charge. | 16.00 | Each |  | 950.00 | 15200.00 | 750.00 | 12000.00 | 350.00 | 5600.00 | 5600.00 | Excellent Structures Pvt Ltd
80.00 | Providng & fixing C.P. brass Double Coat hook of Jaquar make model no. AQN-7761/KOHLER make model no. 11585-CP or equivalent make fixed to wall/door with plastic rawl plugs and C.P. brass screws including cutting and making good the walls wherever required. Complete as per direction and satisfaction of Engineer-in-charge. | 8.00 | Each |  | 1250.00 | 10000.00 | 1200.00 | 9600.00 | 450.00 | 3600.00 | 3600.00 | Excellent Structures Pvt Ltd
81.00 | Providing & fixing C.P. brass finish toilet paper roll holder of Jaquar make model no. AKP-35751P/KOHLER make model no.56321IN-CP or equivalent make complete including cutting and making good the walls and floors wherever required including all fittings and fixtures Complete as per direction and satisfaction of Engineer-in-charge. | 8.00 | Each |  | 1800.00 | 14400.00 | 1900.00 | 15200.00 | 600.00 | 4800.00 | 4800.00 | Excellent Structures Pvt Ltd
82.00 | Supply and fixing Wall Mounted PVC soap dispensor - 1000 ML of Euronics model no. ES165ABS or equivalent with push button Facility all complete as directed by Engineer-in-Charge. | 8.00 | Each |  | 1350.00 | 10800.00 | 900.00 | 7200.00 | 800.00 | 6400.00 | 6400.00 | Excellent Structures Pvt Ltd
83.00 | Providing and fixing CP brass health faucet with minimum 1 metre long flexible tube with wall hook and knob with lever of make JAQUAR (Cat.ALD579)/ KOHLER (Cat.12927IN-CP) or equivalent make complete including all fixtures and fittings as per direction and satisfaction of Engineer-in-charge. | 8.00 | Each |  | 1150.00 | 9200.00 | 900.00 | 7200.00 | 600.00 | 4800.00 | 4800.00 | Excellent Structures Pvt Ltd
84.00 | Providing & Fixing SS/CP Towel Rod of 02 feet length as per direction & satisfaction of E.I.C. | 8.00 | Each |  | 1100.00 | 8800.00 | 1000.00 | 8000.00 | 400.00 | 3200.00 | 3200.00 | Excellent Structures Pvt Ltd
85.00 | Design ,Manufacture ,supply and install at site Glass Fiber Reinforced Concrete Elements ,Produced in accordence with PRE CAST INSTITUTE (U.S.A.) Manual 128 EDN 4 , Conforming to Drawings Referred, Product Manufactured using composition of alkali Resistant Glass Fiber , High Silica Sand and White Cement as Raw Materials, Conferming to relevent Indian and ASTM Standerds.GRFC Panel to be of Approved design, Size and Thickness (35mm+5%) with one coat of primer, 2 coat of paint as per Drawing/PDF or given pattern manufactured containing alkali resistant glass fibre of make NES, Japan or CEMFIL,Spains etc. | 25.00 | sqm |  | 7500.00 | 187500.00 | 6000.00 | 150000.00 | 4500.00 | 112500.00 | 112500.00 | Excellent Structures Pvt Ltd
86.00 | Providing and fixing PVC speed breakers having pieces of size 250 mm long x 350 mm wide x 50 mm high with back side hollow section for filling of plain cement concrete (1:2:4) (1 cement : 2 Coarse sand : 4 graded stone aggregate 20 mm normal size). The speed breakers shall be fixed with the help of dash fastner. Size of dash fastner shall be 10 mm dia and 80 mm long and no. of dash fastner in each piece shall be 04. Rate includes all material / labour transport, fixing all taxes etc. complete as per the direction & satisfaction of EIC. | 80.00 | metre |  | 700.00 | 56000.00 | 750.00 | 60000.00 | 2800.00 | 224000.00 | 56000.00 | AYODHYA CONSTRUCTION
87.00 | Providing and Fixing on any wall / column / Panelling / Cladding / Counter etc., High Quality, Light Weight, Superior Seamless finish, 3D, Decorative, Designer Charcopanels (made with mixture of Charcoal and Polystyrene), suitable for application in interior and Exterior both (Exterior Grade), having minimum thickness 5 mm, in various Designs, Patterns, Finishes, Textures and Colours in required sizes alongwith provision of suitable backing and framing, if required, and providing and fixing required numbers of appropriate highliter light fittings and electrical fixtures etc. as required / specified / recommended by manufacturer to highlight these Panels/Sheets in Panelling / Cladding etc. up to the satisfaction of E-I-C/AAI. Cost of backing, framing, lightings and electrical fixtures etc. shall be reimbursed as per respective items and rates quoted by the contractor in the schedule. These Panels/sheets must be maintenance free, Fire-retardent, water proof, Termite Proof, Warping resistant and suitable for fast and easy installation. Different Designs, Patterns, Finishes, Textures and colours shall be used at different locations and final decision in this regard shall be taken as per choice of E-I-C/AAI. These Panels/sheets must be fixed by skilled applicators only as per manufacturer's specifications and with the material and chemicals/adhesives provided/recommended by manufacturer specially for this work. After application these Panels/sheets must be finished neat and clean as specified by manufacturer and as per instructions given time to time at site by representatives of E-I-C/AAI. Any defects observed during installation and before handing over of site must be rectified by contractor at his own cost before handing over of site to AAI. Till complete handing over of site these Panels/sheets must be protected by contractor with the suitable materials/means at his own cost and nothing extra shall be paid by AAI for this. ( For Payment Purpose only Plan area shall be measured after fixing / application in mtrs. up to 2 places of decimal by steel tape ) Any Design chosen by E-I-C/AAI from Latest Catalogue of Charcopanels of minimum thickness 5 mm manufactured by Glo Panels Pvt. Ltd. or Technically and Aesthetically equivalent Designs, Patterns, Finishes, Textures and Colours of panels made with similar materials by an equivalent make approved by E-I-C/AAI. These Panels must be easily paintable in any colour of choice and must be painted in desired colours after fixing with the suitable type of paint as specified/recommended by manufacturer and approved by E-I-C/AAI and must be finished properly. Cost of painting of these Panels shall be reimbursed as per respective items and rates quoted by the contractor in the schedule. | 50.00 | sqm |  | 2500.00 | 125000.00 | 2000.00 | 100000.00 | 3200.00 | 160000.00 | 100000.00 | RRCONSTRUCTION
88.00 | Providing and Fixing on any wall / column / Panelling / Cladding / Counter etc., High Quality, Light Weight, Superior Seamless finish, 3D, Decorative, Designer, Interlocking Panels, made with mixture of Charcoal and Polystyrene, suitable for application in interior, having minimum Length 2400 mm, minimum width 100 mm and minimum thickness 10 mm, in various Designs, Patterns, Finishes, Textures and Colours in required sizes alongwith provision of suitable backing and framing, if required, and providing and fixing required numbers of appropriate highliter light fittings and electrical fixtures etc. as required / specified / recommended by manufacturer to highlight these Panels/Sheets in Panelling / Cladding etc. up to the satisfaction of E-I-C/AAI. Cost of backing, framing, lightings and electrical fixtures etc. shall be reimbursed as per respective items and rates quoted by the contractor in the schedule. These Panels/sheets must be maintenance free, Fire-retardent, water proof, Termite Proof, Warping resistant and suitable for fast and easy installation. Different Designs, Patterns, Finishes, Textures and colours shall be used at different locations and final decision in this regard shall be taken as per choice of E-I-C/AAI. These Panels/sheets must be fixed by skilled applicators only as per manufacturer's specifications and with the material and chemicals/adhesives provided/recommended by manufacturer specially for this work. After application these Panels/sheets must be finished neat and clean as specified by manufacturer and as per instructions given time to time at site by representatives of E-I-C/AAI. Any defects observed during installation and before handing over of site must be rectified by contractor at his own cost before handing over of site to AAI. Till complete handing over of site these Panels/sheets must be protected by contractor with the suitable materials/means at his own cost and nothing extra shall be paid by AAI for this. ( For Payment Purpose only Plan area shall be measured after fixing / application in mtrs. up to 2 places of decimal by steel tape ). Any Design chosen by E-I-C/AAI from Latest Catalogue of Interlocking panels Glovers manufactured by Glo Panels Pvt. Ltd. or Technically and Aesthetically equivalent Designs, Patterns, Finishes, Textures and Colours of panels made with similar materials by an equivalent make approved by E-I-C/AAI. | 65.00 | sqm |  | 5000.00 | 325000.00 | 2500.00 | 162500.00 | 2500.00 | 162500.00 | 162500.00 | Excellent Structures Pvt Ltd, RRCONSTRUCTION
| Total in Figures |  |  |  |  | 16167000.00 |  | 14566290.00 |  | 15883355.00
Lowest Amount Quoted BY: RRCONSTRUCTION(14566290.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Work for Welfare of Residents and Upgradation of Quarters in AAI Residential Colony at D.A.B.H. Airport, Indore. Tender ID: 2025_AAI_237847_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RRCONSTRUCTION (BID ID -868339) | 14566290.00 | L1
| 2 | Excellent Structures Pvt Ltd (BID ID -868130) | 15883355.00 | L2
| 3 | AYODHYA CONSTRUCTION (BID ID -867895) | 16167000.00 | L3