## BoQ1
Government eProcurement System Created By: GOPALA KRISHNA S Created Date/Time: 22-Jul-2025 04:24 PM Tender Title: Miscellaneous works in terminal building for the year 2025-26 SH Modification of AELTO and additional works of HTC at Begumpet Airport, Hyderabad - Civil and Electrical works. Tender ID: 2025_AAI_237970_1
Tender Inviting Authority: SM (Engg-Civil), Airports Authority of India, Begumpet Airport, Hyderabad-500016, Ph: 040-27903054 (333)/+91 9493104653 (Bid Manager)
Name of Work :-Miscellaneous works in terminal building for the year 2025-26 SH: Modification of AELTO and additional works of HTC at Begumpet Airport, Hyderabad - Civil & Electrical works.
Tender Id: 2025_ AAI _237970_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MAHALAKSHMI CONSTRUCTIONS (GSTN-36AAFFM9487L1ZG) BID ID -871875 |  | GAGAN SAIL (GSTN-NA) BID ID -872021
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing 198mm thick Gypsteel ULTRA® stud partition of Saint Gobain Gyproc India or equivalent with frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/ sqm(both side inclusive), including two layer of tapered edge 12.5mm thick Gyproc® Fireline Board (conforming to IS 2095 Part 1 : 2011 ) screw fixed with Gyproc® Drywall Screws of 25mm & 35mm at maximum of 300mm at Centre and 150mm at periphery of wall to either side of 146 mm Gypsteel ULTRA® C-stud (0.5mm thick having one flange of 34mm and another flange of 36mm made of GI Steel ) placed at 610 mm Centre to Centre in 148 mm Gypsteel ULTRA® floor (0.5mm thick have equal flanges of 32mm made of GI steel) & deep ceiling channel (0.5mm thick have equal flanges of 50mm made of GI steel), which are anchored to the floor & true ceiling using HILTI HLC8x40 anchor fasteners at 600mm c/c in zigzag manner. Stud and floor channel are crimped together with crimping tool. 12.5mm thick Gyproc® Fireline board strip of 148mm width is placed between ceiling channel and ceiling slab to improve fire performance of the system. A Gypsteel ULTRA® floor channel of 148mm width (0.5mm thick having two flanges of 50 mm each) has to be provided at the horizontal joints of outer layer boards screw fixed to the studs using Gyproc® metal to metal flat head screws. The boards are to be fixed vertically to the framework with joints staggered to avoid leakage through joints. 25x25x0.5mm Gyproc® angle bead should be used at all L-Junctions of partition. Finally square and tapered edges of the boards are to be jointed and finished so as to have a flush look which includes filling and finishing with Gyproc® Pro-Fill Jointing compound, Gyproc® Joint Paper tapeand two coats of Drywall Top Coat as per recommended practices of (Saint- Gobain Gyproc India.) The junction of the partition with masonry & all penetration through the partition has to be treated with Hilti/Pyroplex fire and acoustic sealant. All other detailing and specifications to be followed as per approved shop drawing .The quoted rate to include the cost of making opening for doors and cut outs for switch boards etc and providing noggin channel as per company specifications. | 100.00 | Sqm | 100.00 | 2950.00 | 295000.00 | 2700.00 | 270000.00 | 270000.00 | GAGAN SAIL
2.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick fully Perforated Gypsum Board tile made from plasterboard having glass fibre conforming to IS: 2095 part I, of size 595x595 mm, having perforation of 9.7x9.7 mm at 19.4 mm c/c with center borders of 48 mm and the side borders of 30 mm, backed with non woven tissue on the back side, having an NRC (Noise Reduction Coefficient) of 0.79, with 50 mm resin bonded glass wool backing. | 60.00 | Sqm | 100.00 | 1845.00 | 110700.00 | 1500.00 | 90000.00 | 90000.00 | GAGAN SAIL
3.00 | Providing and fixing 3.00 m high fixed frameless glass internal partitions to form Cubicles and plain wall at all floors with 12 mm thick clear toughened glass of saint gobain/AIS or approved equivalent as per elevation drawings with aluminium wedge profile with SSS finish/PSS finish OGL-PR-22 of make Ozone or equivalent with EPDM gasket OZ-EPDM-44 and OZ-EPDM-33 of make Ozone or equivalent fixed at floor and false ceiling level profile fixed with SS screws of size 10 x 50 mm at spacing of 300mm including necessary filling up gaps at junction and sides of glass with required weather silicon sealant of approved make edge buffing of the glass providing edge cap wherever required etc. complete .(Necessary supporting MS frame work for fixing of wedge section at false ceiling level will be done separately.Glass partition including wedge profile will be measured for payment. All the handling, transportation and insurance charges for glass if required will be borne by the agency.) | 70.00 | Sqm | 10.00 | 4300.00 | 301000.00 | 4100.00 | 287000.00 | 287000.00 | GAGAN SAIL
4.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 30.00 | Sqm | 10.00 | 5300.00 | 159000.00 | 5000.00 | 150000.00 | 150000.00 | GAGAN SAIL
5.00 | Providing and fixing SS Pull Handle H‐Type(pair) size 250x22 mm in two tone finish of Hardwyn make Model No. HPH‐141 or equivalent with necessary screws etc. complete | 14.00 | Each | 10.00 | 2000.00 | 28000.00 | 1800.00 | 25200.00 | 25200.00 | GAGAN SAIL
6.00 | Providing and fixing Ultra vertibolt-1CK of M/s Godrej (Product Code 5457/ 9839 or equivalent) of size 110mmx73mm with necessary screws etc. complete | 14.00 | Each | 10.00 | 3000.00 | 42000.00 | 2700.00 | 37800.00 | 37800.00 | GAGAN SAIL
7.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). (a) Size of Tile 600x600 mm | 135.00 | Sqm | 10.00 | 1200.00 | 162000.00 | 1170.00 | 157950.00 | 157950.00 | GAGAN SAIL
8.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 100.00 | Sqm | 10.00 | 150.00 | 15000.00 | 90.00 | 9000.00 | 9000.00 | GAGAN SAIL
9.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : (a) New work (two or more coats) over and including water thinnable priming coat with cement primer | 100.00 | Sqm | 10.00 | 160.00 | 16000.00 | 63.00 | 6300.00 | 6300.00 | GAGAN SAIL
10.00 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : (a) Old work (one or more coats) | 100.00 | Sqm | 10.00 | 60.00 | 6000.00 | 45.00 | 4500.00 | 4500.00 | GAGAN SAIL
11.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : (a) Of area 3 sq. metres and below | 3.00 | Each | 10.00 | 600.00 | 1800.00 | 100.00 | 300.00 | 300.00 | GAGAN SAIL
12.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing, glass door and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 20.00 | Sqm | 10.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 2000.00 | MAHALAKSHMI CONSTRUCTIONS
13.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 2.00 | Cum | 100.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 1000.00 | MAHALAKSHMI CONSTRUCTIONS
14.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 500.00 | Kgs | 10.00 | 130.00 | 65000.00 | 120.00 | 60000.00 | 60000.00 | GAGAN SAIL
15.00 | Providing and fixing interior designer film of Garware Frosted glass (Sparkle) or equivalent of thickness 100 micron VLT 65-70% over the designated locations with wet applications at all floors in any design and pattern complete as per the direction and satisfaction of Engineer-in- charge. (Film area without any deductions for blank area and pattern will be measured for payment.) | 150.00 | Sqm | 100.00 | 750.00 | 112500.00 | 900.00 | 135000.00 | 112500.00 | MAHALAKSHMI CONSTRUCTIONS
16.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo mbossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. (a) With stainless steel cover plate minimum 1.25 mm thickness | 14.00 | Each | 10.00 | 2700.00 | 37800.00 | 5000.00 | 70000.00 | 37800.00 | MAHALAKSHMI CONSTRUCTIONS
17.00 | Providing and applying of HILTI Injectable Mortar HIT-RE 500 V3 of 500ml pack in the predrilled hole for anchor fasteners of required quantity as per the technical data of HILTI etc complete as per the directions of the Engineer-in-charge. | 2.00 | Packet | 100.00 | 7500.00 | 15000.00 | 500.00 | 1000.00 | 1000.00 | GAGAN SAIL
18.00 | Providing and fixing of HILTI Anchor Rods HIT-V-5.8 M16/200 including drilling hole of required dia and depth as per the technical data of HILTI etc complete as per the directions of the Engineer-in-charge. | 5.00 | Each | 10.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 2500.00 | GAGAN SAIL
19.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 100.00 | Sqm | 100.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 10000.00 | MAHALAKSHMI CONSTRUCTIONS
20.00 | Providing and fixing SS finished glass door lock with strike box operated with key on one side and other side blind of approved make including fixing as per the direction of the Engineer in Charge. | 7.00 | Each | 100.00 | 2000.00 | 14000.00 | 2000.00 | 14000.00 | 14000.00 | MAHALAKSHMI CONSTRUCTIONS, GAGAN SAIL
21.00 | Filling the gap between glass partition/false flooring etc., of averge width 10 to 15mm with weather proofing silicon sealant including finishing and cleaning the area etc., as per the direction of the Engineer in Charge. | 100.00 | Mts | 100.00 | 1000.00 | 100000.00 | 90.00 | 9000.00 | 9000.00 | GAGAN SAIL
22.00 | Providing and fixing wooden texture finished interlocking floor tiles of 6mm thickness over the existing rigid flooring consists of top wear & décor layer of wooden finish, over rigid stone polymer composite core backed with rubber cushion, installation with locking technology and foam sheet of suitable thickness underneath if required for levelling, including labour tools etc., as per the direction Engineer-in-charge. | 135.00 | Sqm | 100.00 | 1200.00 | 162000.00 | 2200.00 | 297000.00 | 162000.00 | MAHALAKSHMI CONSTRUCTIONS
23.00 | Providing and fixing mineral fibre false ceiling tiles on existing frame work at all heights of size595X595mm of approved texture, design and pattern. The tiles shouldhave Humidity Resistance (RH) of 99%, Light Reflectance ? 85%,Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance asper (BS 476 pt - 6 &7) With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.6) The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. | 20.00 | Sqm | 100.00 | 2300.00 | 46000.00 | 750.00 | 15000.00 | 15000.00 | GAGAN SAIL
24.00 | Supply and fixing of 12.5mm tapered edge gyptone quattro 41 perforated board or equivalent screw fixed with drywall screws of 25mm thick at 300mm centre to one side on existing gypsum board partitions as per the direction Engineer-in-charge. | 665.00 | Sqm | 100.00 | 1500.00 | 997500.00 | 1197.00 | 796005.00 | 796005.00 | GAGAN SAIL
25.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 20.00 | Kgs | 100.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 9000.00 | MAHALAKSHMI CONSTRUCTIONS, GAGAN SAIL
26.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 50.00 | Kgs | 100.00 | 500.00 | 25000.00 | 500.00 | 25000.00 | 25000.00 | MAHALAKSHMI CONSTRUCTIONS, GAGAN SAIL
27.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4 mm thickness (Weight not less than 12.50 kg/sqm) | 10.00 | Sqm | 100.00 | 1500.00 | 15000.00 | 600.00 | 6000.00 | 6000.00 | GAGAN SAIL
28.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 8 mm thickness (Weight not less than 20 kg/sqm) | 8.00 | Sqm | 100.00 | 1500.00 | 12000.00 | 800.00 | 6400.00 | 6400.00 | GAGAN SAIL
29.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 190.00 | Sqm | 100.00 | 1000.00 | 190000.00 | 1200.00 | 228000.00 | 190000.00 | MAHALAKSHMI CONSTRUCTIONS
30.00 | Providing and fixing Cabins with Pre-laminated medium density fibre board exterior grade (Grade-I) conforming to IS: 14587:1998 marked, with (one side decorative and other side balancing lamination and edges to be sealed with PVC edge bending tape 2.00 mm thick of approved brand with necessary fixing arrangements and screws, including drilling necessary holes for rawl plugs etc. all complete. 18 mm thick. | 115.00 | Sqm | 100.00 | 1800.00 | 207000.00 | 1800.00 | 207000.00 | 207000.00 | MAHALAKSHMI CONSTRUCTIONS, GAGAN SAIL
31.00 | Providing and Fixing 1200mm fameless free standing toughened glass (Saint Gobain /AIS or approved equivalent) partition forming cubicles of 1200mm height and of required length with mirror polished exposed edges, fixed as per specified lay out with 150mm high spigot with base SS #)$ of Taiton or equivalent make code no. TBF-SG-B-6 fixed with SS anchor fasteners of Size 8x 100mm as legs glass to glass connectors 90 degree (doe no.OGC-5 of OZone or equivalent) glass to glass connectors 90 degree (code no.OGC-4 of Ozone or equivalent including necessary accessories as required ts with nuts etc used as and where required as per layout plan, glass to be of required length with proper support with all gaps filled with silicon sealant, Glass to have holes/cut outs to accommodate patch fittings, all complete.( Area of Glass to measured for payment propose. All the handling, transportation and insurance charges if required will be borne by the agency).​ | 120.00 | Sqm | 100.00 | 2000.00 | 240000.00 | 4500.00 | 540000.00 | 240000.00 | MAHALAKSHMI CONSTRUCTIONS
32.00 | Supplying and fixing of following sizes of medium class PVC conduit (ISI marked) along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20mm | 150.00 | Mts | 100.00 | 35.00 | 5250.00 | 90.00 | 13500.00 | 5250.00 | MAHALAKSHMI CONSTRUCTIONS
33.00 | Supplying and fixing of following sizes of medium class PVC conduit (ISI marked) along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25mm | 200.00 | Mts | 100.00 | 45.00 | 9000.00 | 140.00 | 28000.00 | 9000.00 | MAHALAKSHMI CONSTRUCTIONS
34.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 96.00 | Each | 100.00 | 45.00 | 4320.00 | 80.00 | 7680.00 | 4320.00 | MAHALAKSHMI CONSTRUCTIONS
35.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 28.00 | Each | 100.00 | 60.00 | 1680.00 | 110.00 | 3080.00 | 1680.00 | MAHALAKSHMI CONSTRUCTIONS
36.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amps socket outlet | 99.00 | Each | 100.00 | 55.00 | 5445.00 | 99.00 | 9801.00 | 5445.00 | MAHALAKSHMI CONSTRUCTIONS
37.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 28.00 | Each | 100.00 | 95.00 | 2660.00 | 150.00 | 4200.00 | 2660.00 | MAHALAKSHMI CONSTRUCTIONS
38.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 6 Module | 59.00 | Each | 100.00 | 140.00 | 8260.00 | 380.00 | 22420.00 | 8260.00 | MAHALAKSHMI CONSTRUCTIONS
39.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 8 Module | 3.00 | Each | 100.00 | 160.00 | 480.00 | 400.00 | 1200.00 | 480.00 | MAHALAKSHMI CONSTRUCTIONS
40.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3 x 1.5 sq. mm | 75.00 | Mts | 100.00 | 28.00 | 2100.00 | 75.00 | 5625.00 | 2100.00 | MAHALAKSHMI CONSTRUCTIONS
41.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3 x 2.5 sq. mm | 325.00 | Mts | 100.00 | 38.00 | 12350.00 | 130.00 | 42250.00 | 12350.00 | MAHALAKSHMI CONSTRUCTIONS
42.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3 x 4 sq. mm | 160.00 | Mts | 100.00 | 50.00 | 8000.00 | 160.00 | 25600.00 | 8000.00 | MAHALAKSHMI CONSTRUCTIONS
43.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | 5.00 | Each | 100.00 | 150.00 | 750.00 | 400.00 | 2000.00 | 750.00 | MAHALAKSHMI CONSTRUCTIONS
44.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required | 5.00 | Each | 100.00 | 200.00 | 1000.00 | 450.00 | 2250.00 | 1000.00 | MAHALAKSHMI CONSTRUCTIONS
45.00 | Cat (B) - Buy Back Items
45.10 | Deduct for not providing 12.5mm thick Fire Rated Gypsum board single layer in Gypwall partition above false ceiling level or other specified places as per agreement item no.1 | 20.00 | Sqm | 0.00 | 500.00 | -10000.00 | 2000.00 | -40000.00 | -40000.00 | GAGAN SAIL
| Total in Figures |  |  |  |  | 3451595.00 |  | 3602161.00
Lowest Amount Quoted BY: MAHALAKSHMI CONSTRUCTIONS(3451595.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous works in terminal building for the year 2025-26 SH Modification of AELTO and additional works of HTC at Begumpet Airport, Hyderabad - Civil and Electrical works. Tender ID: 2025_AAI_237970_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MAHALAKSHMI CONSTRUCTIONS (BID ID -871875) | 3451595.00 | L1
| 2 | GAGAN SAIL (BID ID -872021) | 3602161.00 | L2