## BoQ1
Government eProcurement System Created By: Semreichui Duidang Created Date/Time: 18-Aug-2025 04:45 PM Tender Title: Provision of SCCTV camera system for New Cargo Terminal at Imphal International Airport Tender ID: 2025_AAI_238237_1
Tender Inviting Authority: Sr. Manager (Engg.-Elect.), AAI, Imphal International Airport.
Name of Work:
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Hue Service Pvt Ltd (GSTN-18AACCH6467K1Z4) BID ID -883026 |  | Walsons Services Private Limited (GSTN-NA) BID ID -879531
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of IP Day/ Night colour Mega Pixel outdoor Bullet Camera as per technical specification. No. of pixels: 1920 x 1080 Resolution: 1080p HD or better | 15.00 | Nos | 0.00 | 24490.00 | 367350.00 | 119292.95 | 1789394.25 | 367350.00 | Hue Service Pvt Ltd
2.00 | Supply of IP Day/ Night colour Mega Pixel Indoor Dome Camera as per technical specification. No. of pixels: 1920 x 1080 Resolution: 1080p HD or better | 22.00 | Nos | 0.00 | 24490.00 | 538780.00 | 41400.00 | 910800.00 | 538780.00 | Hue Service Pvt Ltd
3.00 | Supply of IP Day/ Night colour Mega Pixel Outdoor PTZ Camera as per technical specification. No. of pixels: 1920x1080 Resolution: 1080p HD or better | 2.00 | Nos | 0.00 | 195628.00 | 391256.00 | 139611.15 | 279222.30 | 279222.30 | Walsons Services Private Limited
4.00 | Supply of IP Day/ Night colour Mega Pixel Outdoor ANPR Camera as per technical specification. No. of pixels: 1920 x 1080 Resolution: 1080p HD or better | 1.00 | No | 0.00 | 73618.00 | 73618.00 | 186556.80 | 186556.80 | 73618.00 | Hue Service Pvt Ltd
5.00 | Supply of Server Hardware for VMS & ANPR with Driver Image Capture as per technical specification. | 2.00 | Nos | 0.00 | 356192.00 | 712384.00 | 465000.00 | 930000.00 | 712384.00 | Hue Service Pvt Ltd
6.00 | Supply of Video Management Software as Base Software as per technical specification. | 1.00 | No | 0.00 | 314458.00 | 314458.00 | 92400.00 | 92400.00 | 92400.00 | Walsons Services Private Limited
7.00 | Supply of Connecting Camera License for Video Management Software as per technical specification. | 40.00 | Nos | 0.00 | 12464.00 | 498560.00 | 5400.00 | 216000.00 | 216000.00 | Walsons Services Private Limited
8.00 | Supply of Analytic Software as Automatic Number Plate Recognition with Driver Image Capture as per technical specification. | 1.00 | No | 0.00 | 203672.00 | 203672.00 | 42039.60 | 42039.60 | 42039.60 | Walsons Services Private Limited
9.00 | Supply of Camera License for Automatic Number Plate Recognition with Driver Image Capture as per technical specification. | 2.00 | Nos | 0.00 | 204080.00 | 408160.00 | 42039.60 | 84079.20 | 84079.20 | Walsons Services Private Limited
10.00 | Supply of Client Work Station for Control & Live View at Control Room & Remote Site as per technical specification. | 2.00 | Nos | 0.00 | 216471.00 | 432942.00 | 190200.00 | 380400.00 | 380400.00 | Walsons Services Private Limited
11.00 | Supply of Video Recording Storage for min 30 Days Recording of all cameras as per technical specification. | 1.00 | No | 0.00 | 201165.00 | 201165.00 | 1740000.00 | 1740000.00 | 201165.00 | Hue Service Pvt Ltd
12.00 | Supply of Display Unit 46" or higher for Live View as per technical specification. | 2.00 | Nos | 0.00 | 84548.00 | 169096.00 | 66000.00 | 132000.00 | 132000.00 | Walsons Services Private Limited
13.00 | Supply of 24 Port Gigabit PoE Plus with 4X1G SFP Slot as per technical specification. | 3.00 | Nos | 0.00 | 259183.00 | 777549.00 | 174000.00 | 522000.00 | 522000.00 | Walsons Services Private Limited
14.00 | Supply of 8 Port Gigabit PoE with 2X1G SFP Slot Industrial Grade Switch as per technical specification. | 3.00 | Nos | 0.00 | 240876.00 | 722628.00 | 106800.00 | 320400.00 | 320400.00 | Walsons Services Private Limited
15.00 | Supply of 6 Core Single Mode Armoured Optical Fibre Cable as per technical specification. | 1000.00 | Mtr | 0.00 | 56.00 | 56000.00 | 45.60 | 45600.00 | 45600.00 | Walsons Services Private Limited
16.00 | Supply of 24 Port Fiber Patch Panel (LIU) Fully Loaded LC Type as per technical specification. | 1.00 | No | 0.00 | 23032.00 | 23032.00 | 17400.00 | 17400.00 | 17400.00 | Walsons Services Private Limited
17.00 | Supply of 12 Port Fiber Patch Panel (LIU) Fully Loaded LC Type as per technical specification. | 5.00 | Nos | 0.00 | 11516.00 | 57580.00 | 9000.00 | 45000.00 | 45000.00 | Walsons Services Private Limited
18.00 | Supply of Optical Fiber Patch Cord-LC-LC as per technical specification. | 12.00 | Nos | 0.00 | 2114.00 | 25368.00 | 1740.00 | 20880.00 | 20880.00 | Walsons Services Private Limited
19.00 | Supply of Cat6 4 Pair Unshielded Twisted Pair Cable - LSZH (Indoor Purpose) as per technical specification. | 1800.00 | Mtr | 0.00 | 40.00 | 72000.00 | 48.00 | 86400.00 | 72000.00 | Hue Service Pvt Ltd
20.00 | Supply of Cat6 4 Pair Shielded Twisted Pair Cable - LSZH (Outdoor Purpose) as per technical specification. | 300.00 | Mtr | 0.00 | 82.00 | 24600.00 | 84.00 | 25200.00 | 24600.00 | Hue Service Pvt Ltd
21.00 | Supply of Cat6 24 Port UTP Patch Panel as per technical specification. | 6.00 | Nos | 0.00 | 5758.00 | 34548.00 | 4800.00 | 28800.00 | 28800.00 | Walsons Services Private Limited
22.00 | Supply of Cat6 UTP Patch Cord - 1 Mtr as per technical specification. | 47.00 | Nos | 0.00 | 212.00 | 9964.00 | 156.00 | 7332.00 | 7332.00 | Walsons Services Private Limited
23.00 | Supply of 22U Floor Mount Network Rack at Control Room as per Technical Specification. | 1.00 | No | 0.00 | 34840.00 | 34840.00 | 38400.00 | 38400.00 | 34840.00 | Hue Service Pvt Ltd
24.00 | Supply of 9U Wall Mount Network Rack as per Technical Specification. | 3.00 | Nos | 0.00 | 7143.00 | 21429.00 | 10800.00 | 32400.00 | 21429.00 | Hue Service Pvt Ltd
25.00 | Supply of 6U Pole Mount Rack (Outdoor Purpose) as per Technical Specification. | 2.00 | Nos | 0.00 | 21720.00 | 43440.00 | 10800.00 | 21600.00 | 21600.00 | Walsons Services Private Limited
26.00 | Supply of GI Pole 6m, minimum 80 mm dia. medium class with base plate for mounting the camera as per technical specification. | 6.00 | Nos | 0.00 | 7216.00 | 43296.00 | 16800.00 | 100800.00 | 43296.00 | Hue Service Pvt Ltd
27.00 | Supply of 6KVA N+1 Online UPS (3in – 1out) with SMF batteries, 30 Min Backup each as per technical specification. (2 Nos UPS with Batteries = 1 Set which will function as N+1) | 1.00 | Set | 0.00 | 472007.00 | 472007.00 | 444000.00 | 444000.00 | 444000.00 | Walsons Services Private Limited
28.00 | Supply of 1.1 kV, 3 x 2.5 sq.mm FRLS PVC insulated industrial copper conductor cable. | 600.00 | Mtr | 0.00 | 165.00 | 99000.00 | 139.20 | 83520.00 | 83520.00 | Walsons Services Private Limited
29.00 | Supply of 63 Amp MCB with enclosure For UPS End. | 4.00 | Nos | 0.00 | 992.00 | 3968.00 | 2083.20 | 8332.80 | 3968.00 | Hue Service Pvt Ltd
30.00 | Supply of 16 Amp MCB with enclosure For Rack End. | 8.00 | Nos | 0.00 | 656.00 | 5248.00 | 720.00 | 5760.00 | 5248.00 | Hue Service Pvt Ltd
31.00 | Supply of 25 mm dia. GI pipe for Outdoor Laying Purpose as per technical specification. | 60.00 | Mtr | 0.00 | 143.00 | 8580.00 | 360.00 | 21600.00 | 8580.00 | Hue Service Pvt Ltd
32.00 | Supply of 32 mm High Density Polyethylene Pipe - PN6PE63 as per technical specification. | 940.00 | Mtr | 0.00 | 95.00 | 89300.00 | 96.00 | 90240.00 | 89300.00 | Hue Service Pvt Ltd
33.00 | Supply of 25 mm dia. MS Conduit as per technical specification. | 900.00 | Mtr | 0.00 | 95.00 | 85500.00 | 90.00 | 81000.00 | 81000.00 | Walsons Services Private Limited
34.00 | Laying of High-Density Polyethylene Pipe Underground through Horizontal Directional Drilling as per technical specification. | 800.00 | Mtr | 0.00 | 627.00 | 501600.00 | 576.00 | 460800.00 | 460800.00 | Walsons Services Private Limited
35.00 | Laying of GI pipe in ground at 75cm depth i/c cutting concrete/ bitumen, excavation soil and refilling and making good the same to the original finish as per site condition. | 60.00 | Mtr | 0.00 | 554.00 | 33240.00 | 576.00 | 34560.00 | 33240.00 | Hue Service Pvt Ltd
36.00 | Laying /fixing of MS Conduit on/above of false celling or fixing on wall including fixing of suitable saddle /screws etc. | 900.00 | Mtr | 0.00 | 51.00 | 45900.00 | 90.00 | 81000.00 | 45900.00 | Hue Service Pvt Ltd
37.00 | Laying of Optical Fibre Cable Through HDPE/MS Conduit/GI pipe complete as required. | 1000.00 | Mtr | 0.00 | 32.00 | 32000.00 | 42.00 | 42000.00 | 32000.00 | Hue Service Pvt Ltd
38.00 | Laying of Cat6 UTP Through MS Conduit complete as required. | 1800.00 | Mtr | 0.00 | 29.00 | 52200.00 | 42.00 | 75600.00 | 52200.00 | Hue Service Pvt Ltd
39.00 | Laying of Cat6 STP Through MS Conduit complete as required. | 300.00 | Mtr | 0.00 | 26.00 | 7800.00 | 42.00 | 12600.00 | 7800.00 | Hue Service Pvt Ltd
40.00 | Laying of 1.1 KV, 3 x 2.5 sqmm FRLS PVC insulated copper cable through MS conduit complete as required. | 600.00 | Mtr | 0.00 | 29.00 | 17400.00 | 42.00 | 25200.00 | 17400.00 | Hue Service Pvt Ltd
41.00 | Mounting, Fixing & Dressing of All types of LIU complete. | 6.00 | Nos | 0.00 | 948.00 | 5688.00 | 6000.00 | 36000.00 | 5688.00 | Hue Service Pvt Ltd
42.00 | Splicing of Optical Fibre Cable complete as required. | 84.00 | Nos | 0.00 | 365.00 | 30660.00 | 120.00 | 10080.00 | 10080.00 | Walsons Services Private Limited
43.00 | Mounting & Fixing of GI Pole after excavation of soft/hard soil including cutting of bituminous road/pavement up to desired depth and making suitable foundation including grouting the GI pole for erection of the GI pole complete as required. | 6.00 | Nos | 0.00 | 9475.00 | 56850.00 | 6000.00 | 36000.00 | 36000.00 | Walsons Services Private Limited
44.00 | Mounting, Fixing & Dressing of Floor Standing Rack complete as required. | 1.00 | No | 0.00 | 1239.00 | 1239.00 | 3000.00 | 3000.00 | 1239.00 | Hue Service Pvt Ltd
45.00 | Mounting, Fixing & Dressing of Wall Mount Rack complete as required. | 3.00 | Nos | 0.00 | 802.00 | 2406.00 | 1800.00 | 5400.00 | 2406.00 | Hue Service Pvt Ltd
46.00 | Mounting, Fixing & Dressing of Pole Mount Rack complete as required. | 2.00 | Nos | 0.00 | 948.00 | 1896.00 | 1800.00 | 3600.00 | 1896.00 | Hue Service Pvt Ltd
47.00 | Mounting, Fixing of All Types of Cameras complete as required. | 40.00 | Nos | 0.00 | 314.00 | 12560.00 | 1200.00 | 48000.00 | 12560.00 | Hue Service Pvt Ltd
48.00 | Mounting, Fixing, Installation & Configuration of All types of Server & Work station complete as required. | 4.00 | Nos | 0.00 | 6560.00 | 26240.00 | 12000.00 | 48000.00 | 26240.00 | Hue Service Pvt Ltd
49.00 | Mounting, Fixing, Installation & Configuration of All Types of Switches complete as required. | 6.00 | Nos | 0.00 | 10933.00 | 65598.00 | 2400.00 | 14400.00 | 14400.00 | Walsons Services Private Limited
50.00 | Mounting, Fixing, Installation & Configuration of All Types of Standalone Display Unit complete as required | 2.00 | Nos | 0.00 | 2187.00 | 4374.00 | 1800.00 | 3600.00 | 3600.00 | Walsons Services Private Limited
51.00 | Mounting, Fixing, Dressing, Installation & Configuration of UPS System complete as required | 1.00 | Job | 0.00 | 3644.00 | 3644.00 | 12000.00 | 12000.00 | 3644.00 | Hue Service Pvt Ltd
52.00 | Installation & Configuration of VMS & ANPR Software complete as required. | 1.00 | Job | 0.00 | 145771.00 | 145771.00 | 65000.00 | 65000.00 | 65000.00 | Walsons Services Private Limited
53.00 | Testing, Commissioning, Certification, providing 3 sets of completion diagram, Documentation of Entire Project & Training to Users complete as required. | 1.00 | Job | 0.00 | 180028.00 | 180028.00 | 50003.00 | 50003.00 | 50003.00 | Walsons Services Private Limited
| Total in Figures |  |  |  |  | 8248412.00 |  | 9896399.95
Lowest Amount Quoted BY: Hue Service Pvt Ltd(8248412.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of SCCTV camera system for New Cargo Terminal at Imphal International Airport Tender ID: 2025_AAI_238237_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Hue Service Pvt Ltd (BID ID -883026) | 8248412.00 | L1
| 2 | Walsons Services Private Limited (BID ID -879531) | 9896399.95 | L2