## BoQ1
Government eProcurement System Created By: EMANI SHESHA RATNAM Created Date/Time: 17-Jul-2025 05:42 PM Tender Title: Special Repairs including Internal and External Painting of AAI Residential Colony Cambridge Layout Bangalore Tender ID: 2025_AAI_238449_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work:-Special Repairs including Internal and External Painting of AAI Residential Colony, Cambridge Layout, Bangalore”
Contract No: 2025 AAI _ _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Ranganath Civil Contractor Office (GSTN-29ABMPR1533N1Z1) BID ID -869406 |  | BALVIR SINGH AND SONS (GSTN-NA) BID ID -869162
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 10.00 | Cum |  | 400.00 | 4000.00 | 105.00 | 1050.00 | 1050.00 | BALVIR SINGH AND SONS
2.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 24.00 | metres |  | 400.00 | 9600.00 | 277.00 | 6648.00 | 6648.00 | BALVIR SINGH AND SONS
3.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 228.00 | Sqm |  | 50.00 | 11400.00 | 55.00 | 12540.00 | 11400.00 | M/s Ranganath Civil Contractor Office
4.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Light shade pigment using white cement | 228.00 | Sqm |  | 200.00 | 45600.00 | 955.00 | 217740.00 | 45600.00 | M/s Ranganath Civil Contractor Office
5.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 28.00 | Cum |  | 2000.00 | 56000.00 | 1775.00 | 49700.00 | 49700.00 | BALVIR SINGH AND SONS
6.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement Mortar | 5.00 | Cum |  | 2000.00 | 10000.00 | 1155.00 | 5775.00 | 5775.00 | BALVIR SINGH AND SONS
7.00 | Demolishing R.C.C. work manually/ by mechanical means includingstacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | Cum |  | 3000.00 | 15000.00 | 1875.00 | 9375.00 | 9375.00 | BALVIR SINGH AND SONS
8.00 | Scarifying the existing bituminous road surface to a depth of 50 mm and disposal of scarified material within all lifts and lead upto 1km (by mechanical means). | 803.45 | Sqm |  | 50.00 | 40172.70 | 7.00 | 5624.18 | 5624.18 | BALVIR SINGH AND SONS
9.00 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 210.00 | Metres |  | 100.00 | 21000.00 | 35.00 | 7350.00 | 7350.00 | BALVIR SINGH AND SONS
10.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 107.00 | Cum |  | 400.00 | 42800.00 | 397.00 | 42479.00 | 42479.00 | BALVIR SINGH AND SONS
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mmnominal size derived from natural sources) | 10.00 | cum |  | 7000.00 | 70000.00 | 6525.00 | 65250.00 | 65250.00 | BALVIR SINGH AND SONS
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.00 | cum |  | 6500.00 | 65000.00 | 5725.00 | 57250.00 | 57250.00 | BALVIR SINGH AND SONS
13.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded | 4.00 | Cum |  | 8000.00 | 32000.00 | 9085.00 | 36340.00 | 32000.00 | M/s Ranganath Civil Contractor Office
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 10.00 | Sqm |  | 600.00 | 6000.00 | 581.00 | 5810.00 | 5810.00 | BALVIR SINGH AND SONS
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Thermo-Mechanically Treated bars of grade Fe-500D or more | 100.00 | kg |  | 150.00 | 15000.00 | 97.00 | 9700.00 | 9700.00 | BALVIR SINGH AND SONS
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum |  | 9000.00 | 90000.00 | 6575.00 | 65750.00 | 65750.00 | BALVIR SINGH AND SONS
17.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | Cum |  | 8000.00 | 160000.00 | 8105.00 | 162100.00 | 160000.00 | M/s Ranganath Civil Contractor Office
18.00 | Providing and laying flamed finish Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 835.00 | Sqm |  | 3500.00 | 2922500.00 | 3185.00 | 2659475.00 | 2659475.00 | BALVIR SINGH AND SONS
19.00 | Stone tile (polished) work for wall lining over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete. 8mm thick Granite of any colour and shade | 41.00 | Sqm |  | 2500.00 | 102500.00 | 1675.00 | 68675.00 | 68675.00 | BALVIR SINGH AND SONS
20.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 464.00 | Sqm |  | 800.00 | 371200.00 | 777.00 | 360528.00 | 360528.00 | BALVIR SINGH AND SONS
21.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. A) 110 mm diameter | 30.00 | metre |  | 400.00 | 12000.00 | 257.00 | 7710.00 | 7710.00 | BALVIR SINGH AND SONS
22.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° a) 110 mm bend | 10.00 | Each |  | 300.00 | 3000.00 | 117.00 | 1170.00 | 1170.00 | BALVIR SINGH AND SONS
23.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain) i) 110 mm Shoe | 5.00 | Each |  | 250.00 | 1250.00 | 105.00 | 525.00 | 525.00 | BALVIR SINGH AND SONS
24.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. A) 75 mm diameter | 30.00 | metre |  | 250.00 | 7500.00 | 175.00 | 5250.00 | 5250.00 | BALVIR SINGH AND SONS
25.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° a) 75 mm bend | 10.00 | Each |  | 200.00 | 2000.00 | 85.00 | 850.00 | 850.00 | BALVIR SINGH AND SONS
26.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain) i) 75 mm Shoe | 5.00 | Each |  | 200.00 | 1000.00 | 73.00 | 365.00 | 365.00 | BALVIR SINGH AND SONS
27.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 40.00 | sqm |  | 750.00 | 30000.00 | 695.00 | 27800.00 | 27800.00 | BALVIR SINGH AND SONS
28.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 185.00 | Kg |  | 200.00 | 37000.00 | 125.00 | 23125.00 | 23125.00 | BALVIR SINGH AND SONS
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (One or more coat applied @ 0.90 ltr/10 sqm). | 7176.00 | Sqm |  | 70.00 | 502320.00 | 67.00 | 480792.00 | 480792.00 | BALVIR SINGH AND SONS
30.00 | Distempering with 1st quality acrylic distemper, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Old work (one or more coats) | 2260.00 | Sqm |  | 50.00 | 113000.00 | 45.00 | 101700.00 | 101700.00 | BALVIR SINGH AND SONS
31.00 | 12 mm cement plaster of mix a) 1:6 (1 cement: 6 fine sand) | 30.00 | Sqm |  | 300.00 | 9000.00 | 265.00 | 7950.00 | 7950.00 | BALVIR SINGH AND SONS
32.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 30.00 | Sqm |  | 400.00 | 12000.00 | 305.00 | 9150.00 | 9150.00 | BALVIR SINGH AND SONS
33.00 | Lettering with Synthetic Enamel paint of approved brand and manufacture | 1800.00 | per letter per cm height |  | 10.00 | 18000.00 | 5.00 | 9000.00 | 9000.00 | BALVIR SINGH AND SONS
34.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 60.00 | sqm |  | 140.00 | 8400.00 | 95.00 | 5700.00 | 5700.00 | BALVIR SINGH AND SONS
35.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth includingnecessary repairs to scratches etc. complete. | 8848.00 | sqm |  | 20.00 | 176960.00 | 15.00 | 132720.00 | 132720.00 | BALVIR SINGH AND SONS
36.00 | Painting (one or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand and manufacture on old work : 100 mm diameter pipes | 136.00 | metre |  | 150.00 | 20400.00 | 27.00 | 3672.00 | 3672.00 | BALVIR SINGH AND SONS
37.00 | Painting (one or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand and manufacture on old work : 75 mm diameter pipes | 123.00 | metre |  | 50.00 | 6150.00 | 25.00 | 3075.00 | 3075.00 | BALVIR SINGH AND SONS
38.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 306.00 | Sqm |  | 100.00 | 30600.00 | 75.00 | 22950.00 | 22950.00 | BALVIR SINGH AND SONS
39.00 | Finishing walls with water proofing cement paint of required shade :Old work (one or more coats @ 2.20 kg/10 sqm) complete. | 1059.00 | Sqm |  | 70.00 | 74130.00 | 47.00 | 49773.00 | 49773.00 | BALVIR SINGH AND SONS
40.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1cement: 4 coarse sand) | 50.00 | sqm |  | 500.00 | 25000.00 | 375.00 | 18750.00 | 18750.00 | BALVIR SINGH AND SONS
41.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 2420.00 | Sqm |  | 200.00 | 484000.00 | 205.00 | 496100.00 | 484000.00 | M/s Ranganath Civil Contractor Office
42.00 | Providing and fixing Scaffolding net of required width made of high density Polyethylene UV stabilized knitted on warp knitting machines having density 100grams/sqm and shading coefficient minimum 75% around the construction site/ for vertical extension as per requirement including fastening/tying with building/scaffolding pipes or with any other fixtures etc. complete as per direction of Engineer-in-Charge. (One time payment shall be made for providing Scaffolding net from start of work till completion of work including shifting if any. The Scaffolding net shall be the property of the contractor on completion of the work) | 2420.00 | Sqm |  | 40.00 | 96800.00 | 19.00 | 45980.00 | 45980.00 | BALVIR SINGH AND SONS
43.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. New work (Two or more coats) | 20.00 | Sqm |  | 200.00 | 4000.00 | 147.00 | 2940.00 | 2940.00 | BALVIR SINGH AND SONS
44.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 7.00 | cum |  | 7000.00 | 49000.00 | 8975.00 | 62825.00 | 49000.00 | M/s Ranganath Civil Contractor Office
45.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 481.00 | Sqm |  | 50.00 | 24050.00 | 65.00 | 31265.00 | 24050.00 | M/s Ranganath Civil Contractor Office
46.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 481.00 | Sqm |  | 1000.00 | 481000.00 | 805.00 | 387205.00 | 387205.00 | BALVIR SINGH AND SONS
47.00 | Providing and fixing soil, waste and vent pipes :100 mm dia : Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 435.00 | metre |  | 1000.00 | 435000.00 | 1155.00 | 502425.00 | 435000.00 | M/s Ranganath Civil Contractor Office
48.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 16.00 | Each |  | 1000.00 | 16000.00 | 445.00 | 7120.00 | 7120.00 | BALVIR SINGH AND SONS
49.00 | Providing and fixing plain bend of required degree. 100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 24.00 | Each |  | 1000.00 | 24000.00 | 287.00 | 6888.00 | 6888.00 | BALVIR SINGH AND SONS
50.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 24.00 | Each |  | 2000.00 | 48000.00 | 597.00 | 14328.00 | 14328.00 | BALVIR SINGH AND SONS
51.00 | Providing and fixing soil, waste and vent pipes : 75 mm diameter : Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 580.00 | metre |  | 1000.00 | 580000.00 | 815.00 | 472700.00 | 472700.00 | BALVIR SINGH AND SONS
52.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 75 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 16.00 | Each |  | 1000.00 | 16000.00 | 331.00 | 5296.00 | 5296.00 | BALVIR SINGH AND SONS
53.00 | Providing and fixing plain bend of required degree. 75 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 16.00 | Each |  | 1000.00 | 16000.00 | 205.00 | 3280.00 | 3280.00 | BALVIR SINGH AND SONS
54.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 75x75x75x75 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 16.00 | Each |  | 1500.00 | 24000.00 | 331.00 | 5296.00 | 5296.00 | BALVIR SINGH AND SONS
55.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 50.00 | Sqm |  | 600.00 | 30000.00 | 615.00 | 30750.00 | 30000.00 | M/s Ranganath Civil Contractor Office
56.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 20.00 | Cum |  | 1600.00 | 32000.00 | 2505.00 | 50100.00 | 32000.00 | M/s Ranganath Civil Contractor Office
57.00 | Providing and applying tack coat using hot straight run bitumen of grade VG - 10, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing road surface as per specifications : On bituminous surface @ 0.50 Kg / sqm | 1028.00 | Sqm |  | 100.00 | 102800.00 | 37.00 | 38036.00 | 38036.00 | BALVIR SINGH AND SONS
58.00 | Providing and laying bituminous macadam using crushed stone aggregates of specified grading premixed with bituminous binder, transported to site by tippers, laid over a previously prepared surface with paver finisher equiped with electronic sensor to the required grade, level and alignment and rolling with smooth wheeled, vibratory and tandem rollers as per specifications to achieve the desired compaction and density, complete as per specificatons and directions of Engineer-in-Charge. 50 to 100 mm average compacted thickness with bitumen of grade VG-30 @ 3.50% (percentage by weight of total mix) prepared in Batch Type Hot Mix Plant of 100-120 TPH capacity. | 50.00 | Cum |  | 2000.00 | 100000.00 | 8545.00 | 427250.00 | 100000.00 | M/s Ranganath Civil Contractor Office
59.00 | Providing and laying Bituminous concrete using crushed stone aggregates of specified grading, premixed with bituminous binder and filler, transporting the hot mix to work site by tippers, laying with paver finisher equiped with electronic sensor to the required grade, level and alignment and rolling with smooth wheeled, vibratory and tandem rollers to achieve the desired compaction and density as per specification, complete and as per directions of Engineer-in-Charge. 40/50 mm compacted thickness with bitumen of grade VG-30 @ 5.5% (percentage by weight of total mix) and lime filler @ 3% (percentage by weight of Aggregate) prepared in Batch Type Hot Mix Plant of 100-120 TPH capacity. | 52.00 | Cum |  | 5000.00 | 260000.00 | 11445.00 | 595140.00 | 260000.00 | M/s Ranganath Civil Contractor Office
60.00 | Drilling suitable holes in reinforced or plain cement concrete with power driven drill machine to a minimum depth of 100mm upto 200mm in RCC beams, lintels, columns and slabs to introduce steel bars for sunshades/balconies including fixing the steel bars in position using epoxy resin anchor grout of approved make but excluding the cost of reinforcement, all complete as per direction of Engineer-In-Charge. Upto and including 12mm dia. | 320.00 | each |  | 500.00 | 160000.00 | 111.00 | 35520.00 | 35520.00 | BALVIR SINGH AND SONS
61.00 | Supplying and fixing C.I. cover without frame for manholes :455x610 mm rectangular C.I. cover (light duty) the weight of the cover to be not less than 23 kg | 10.00 | each |  | 4000.00 | 40000.00 | 1073.00 | 10730.00 | 10730.00 | BALVIR SINGH AND SONS
62.00 | Supplying and fixing C.I. cover 300x300 mm without frame for gully trap (standard pattern) the weight of cover to be not less than 4.5 kg | 10.00 | each |  | 1000.00 | 10000.00 | 621.00 | 6210.00 | 6210.00 | BALVIR SINGH AND SONS
63.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : 75 to 80 mm dia pipe | 100.00 | metre |  | 100.00 | 10000.00 | 57.00 | 5700.00 | 5700.00 | BALVIR SINGH AND SONS
64.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : 100 mm dia pipe | 100.00 | metre |  | 100.00 | 10000.00 | 61.00 | 6100.00 | 6100.00 | BALVIR SINGH AND SONS
65.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 20 mm nominal dia Pipes | 100.00 | metre |  | 600.00 | 60000.00 | 225.00 | 22500.00 | 22500.00 | BALVIR SINGH AND SONS
| Total in Figures |  |  |  |  | 8292132.70 |  | 8032870.18
Lowest Amount Quoted BY: BALVIR SINGH AND SONS(8032870.18)

## BOQ Summary
BOQ Summary Details Tender Title: Special Repairs including Internal and External Painting of AAI Residential Colony Cambridge Layout Bangalore Tender ID: 2025_AAI_238449_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BALVIR SINGH AND SONS (BID ID -869162) | 8032870.18 | L1
| 2 | M/s Ranganath Civil Contractor Office (BID ID -869406) | 8292132.70 | L2