## BoQ1
Government eProcurement System Created By: Disha Bhatt Created Date/Time: 25-Jul-2025 04:51 PM Tender Title: SITC of Airfield Lighting Control and Monitoring System (ALCMS)and allied works at Hubballi Airport Tender ID: 2025_AAI_238788_1
Tender Inviting Authority: SR. MANAGER (ENGG-ELECTRICAL), AAI, HUBBALLI AIRPORT
Name of Work: SITC of Airfield Lighting Control and Monitoring System (ALCMS)and allied works at Hubballi Airport.
Contract No: Tender ID: 2025_AAI_238788_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NASU SYSTEMS (GSTN-27ABAPS2566G1ZK) BID ID -867579 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -872263 |  | Vardhman Airport Solutions Limited (GSTN-NA) BID ID -872794
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: SITC of ALCMS Design, supply, installation, testing & commissioning of Airfield Lighting Control & Monitoring System (ALCMS), Type 'L 890 BB' as per the requirements of FAA Advisory Circular No. AC 50/5345 - 56B (Current edition) and additional circuits / mechanisms / interfaces for control & monitoring of constant current regulators (CCRs) & fixed circuits such as Landing - H, Wind cones, Apron High Mast flood lights, Beacon lights etc., as mentioned in Annexure-I, to make them compatible with ALCMS, Data & Power Cabling, Earthing etc., including spare PLC and I/O modules, all hardware and software, licenses & other items as required for successful operation of the system in line with the scope of work, details of equipments, equipments specification, performance criteria etc., complete as required. Two vault processor should be provided both running in parallel for redundancy in operation etc complete as per site requirement and as per Technical specifications. (ALCMS Make: ADB Safegate/Eaton Crouse – Hind/Flight Light/Honeywell/ NASU Systems/Electro Systems) | 1.00 | Job |  | 990000.00 | 990000.00 | 1100000.00 | 1100000.00 | 2250000.00 | 2250000.00 | 990000.00 | NASU SYSTEMS
2.00 | SH-II: Supply and Laying of OFC cable and HDPE Pipe Supply of 6 core armoured single mode optical fiber cable confirming to IS standard and as per technical specifications. | 1400.00 | Mtrs |  | 45.00 | 63000.00 | 25.00 | 35000.00 | 30.00 | 42000.00 | 35000.00 | Balaji Engineering
3.00 | Supply of 40mm (OD) size HDPE pipe,PN6 grade, PE 63, ISI marked conforming to IS 4984:1995 complete as required. | 600.00 | Mtrs |  | 81.00 | 48600.00 | 50.00 | 30000.00 | 78.00 | 46800.00 | 30000.00 | Balaji Engineering
4.00 | Laying of 40mm (OD) size HDPE,PN6 grade, PE 63 HDPE pipe along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc. in the existing trench, complete as required. | 600.00 | Mtrs |  | 135.00 | 81000.00 | 100.00 | 60000.00 | 21.00 | 12600.00 | 12600.00 | Vardhman Airport Solutions Limited
5.00 | Laying of one number 6core armoured single mode optical fiber cable/ 10pair armoured Telephone cable in the existing HDPE/RCC/ HUME/ METAL pipe as required | 1300.00 | Mtrs |  | 45.00 | 58500.00 | 20.00 | 26000.00 | 21.00 | 27300.00 | 26000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 1241100.00 |  | 1251000.00 |  | 2378700.00
Lowest Amount Quoted BY: NASU SYSTEMS(1241100.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Airfield Lighting Control and Monitoring System (ALCMS)and allied works at Hubballi Airport Tender ID: 2025_AAI_238788_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NASU SYSTEMS (BID ID -867579) | 1241100.00 | L1
| 2 | Balaji Engineering (BID ID -872263) | 1251000.00 | L2
| 3 | Vardhman Airport Solutions Limited (BID ID -872794) | 2378700.00 | L3