## BoQ1
Government eProcurement System Created By: Giduthuri Ch.Jagadish Created Date/Time: 29-Jul-2025 04:57 PM Tender Title: O and M of E and M installations including illumination and CMC of ACs of NITB and Ancillary Buildings at Tirupati Airport for 2 years Tender ID: 2025_AAI_238998_1
Tender Inviting Authority: Senior Manager(Engg-E)-I, AAI, Tirupati Airport.
Name of Work: ARMO of E&M INSTALLATIONS AT TIRUPATI 2025-2027. SUB HEAD : O & M OF E & M INSTALLATIONS INCLUDING ILLUMINATION & CMC OF AC’s OF NITC AND ANCILIARY BUILDINGS AT TIRUPATI AIRPORT FOR 2 YEARS.
Contract No: AAI/TPT/ENGG(E)/M-06/2025-26
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES (GSTN-33AACFL6352N1Z4) BID ID -866105 |  | Manjunatha Engineers (GSTN-29AMQPG2258Q3Z5) BID ID -871561 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -869781 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -870850
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for Operation and Maintenance of various Electrical & Mechanical installations at NITB,Fire Pump Room,City Side,Car Parking,STP (excl.Operation) by engaging the manpower for carrying out preventive maintenance, attending breakdown maintenance/ complaints, faults, operation & routine checking, including cleaning of Elevators & Escalators with minor adjustments in other E&M installations & taking rectification action to ensure serviceability & satisfactory working condition of all the E&M installations/systems, maintenance of records/ documentation/ store/ dismantle materials etc., at round the clock basis on all working days including Sundays and holidays by engaging minimum number of staff as per the detailed terms of special conditions of contract, complete as required. | 24.00 | Month |  | 672450.00 | 16138800.00 | 842090.00 | 20210160.00 | 750452.00 | 18010848.00 | 743532.00 | 17844768.00 | 16138800.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Comprehensive Maintenance contract for consisting 02 Sets of hydro pneumatic system (Containing 3 Pumps in each Set) with by deputing OEM/Authorized service dealer including Repairs and Maintenance, attending Faults of Systems, Replacement of wornout/defective components, testing,by carrying out quartely visit and attending unlimited breakdown calls and submission of service reports etc. complete as required (Make: KSB, Model: MB VT3/ VCF 15B04 + 4 KW). (Scope is excluding rewinding of electrical motors, but includes dismatling and all other related works.) (1 job refers to 1 quarterly visit) | 8.00 | Job |  | 72000.00 | 576000.00 | 3000.00 | 24000.00 | 82500.00 | 660000.00 | 150000.00 | 1200000.00 | 24000.00 | Manjunatha Engineers
3.00 | Comprehensive Maintenance contract of intelligent Addressable Fire Alarm and detection System by deputing OEM authorized vendor, the system consists 10 loop intelligent addressable Fire panel, repeater panel, detectors, MCP, RI, VESDA panels and all other accessories (details mentioned as per SCC) installed at NITB and its associated areas, including attending all breakdown compalints and quartely prevenetive maintenance and complete as required. Note: The sope of CMC covers FACP with loop cards and desktop system excluding feild devices. (1 job refers to 1 quarterly visit) | 8.00 | Job |  | 225000.00 | 1800000.00 | 8000.00 | 64000.00 | 82500.00 | 660000.00 | 200000.00 | 1600000.00 | 64000.00 | Manjunatha Engineers
4.00 | Supply and fixing of 4P MCCB of 250 A, with breaking capacity of 36kA (Ics = Icu ), with thermal magnetic release of ABB make or its equivalent approved make by EIC in the existing Panel including providing handle, extending the bus bars / cable from the main bus bar if required, with all other accessories, interconnections, earthing, etc. as required and making it operational complete etc., as and when required. | 2.00 | Job |  | 26200.00 | 52400.00 | 13000.00 | 26000.00 | 38429.00 | 76858.00 | 90000.00 | 180000.00 | 26000.00 | Manjunatha Engineers
5.00 | Supply and fixing of 4P MCCB of 63 A, with breaking capacity of 25kA (Ics = Icu ), with thermal magnetic release of ABB make or its equivalent approved make by EIC in the existing Panel including providing handle, extending the bus bars / cable from the main bus bar if required, with all other accessories, interconnections, earthing, etc. as required and making it operational etc., complete as required. | 2.00 | Job |  | 9500.00 | 19000.00 | 11000.00 | 22000.00 | 13745.00 | 27490.00 | 30000.00 | 60000.00 | 19000.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Supply and fixing of digital ammeter having class 1.0 accuracy, input voltage of range 100 to 500V (P-P), CT secondary site selectable of 1/5A, LED display of Rishabh or eqivalent approved make in the existing Panel (mounting size 96mmx96mm) including with all acessories, interconnection, connection, etc. as required. | 3.00 | Job |  | 1100.00 | 3300.00 | 1400.00 | 4200.00 | 1348.00 | 4044.00 | 20000.00 | 60000.00 | 3300.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supplyand fixing of multifunction digital meter having accuracy of class 1.0 accuracy, input voltage 100 to 500V L-L,CT secondary site selectable of 1/5A, 3 line LED display (having measuring parameters V, A, F, PF) Model Rishabh delta VAF or its eqivalent in the existing Panel (mounting size 96mmx96mm) including with all acessories, interconnections, etc., complete as required. | 3.00 | Job |  | 1800.00 | 5400.00 | 1400.00 | 4200.00 | 8250.00 | 24750.00 | 25000.00 | 75000.00 | 4200.00 | Manjunatha Engineers
8.00 | Supply and fixing of direct mount extended rotating handles for the existing MCCB of rating (63 - 250)A, model RHE XT1-XT3 F/P of ABB make in the existing LT Panelboards including connections, and making it operational with handle etc. complete as and when required. | 7.00 | Job |  | 2100.00 | 14700.00 | 1000.00 | 7000.00 | 3850.00 | 26950.00 | 7000.00 | 49000.00 | 7000.00 | Manjunatha Engineers
9.00 | Supply and fixing of direct mount extended rotating handles for the existing MCCB of rating of 400 Amp, model RHE normal T4-T5 F/P of ABB make in the existing LT Panelboards including connections, and making it operational with handle etc. complete as required. | 3.00 | Job |  | 4500.00 | 13500.00 | 1000.00 | 3000.00 | 4950.00 | 14850.00 | 9000.00 | 27000.00 | 3000.00 | Manjunatha Engineers
10.00 | Supply and fixing of direct mount extended rotating handles for the existing MCCB of rating of 630 Amp, model: RHE normal T6 fixed of ABB make in the existing LT Panelboards including connections, and making it operational with handle etc. complete as and when required. | 3.00 | Job |  | 9800.00 | 29400.00 | 1100.00 | 3300.00 | 6050.00 | 18150.00 | 9000.00 | 27000.00 | 3300.00 | Manjunatha Engineers
11.00 | Supply, fabrication and installation of the MS channel/ angle/ flat for cable tray/ support including cutting, welding, drilling, fixing, grinding, painting etc., as required for composite M.S. works as & when required basis. | 300.00 | Kgs |  | 140.00 | 42000.00 | 80.00 | 24000.00 | 165.00 | 49500.00 | 190.00 | 57000.00 | 24000.00 | Manjunatha Engineers
12.00 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, re-assembling, testing of motor, transportation of the submersible pump motor set to the site etc as and on when required.
12.10 | below & upto 3 HP capacity | 6.00 | Job |  | 3500.00 | 21000.00 | 3300.00 | 19800.00 | 3850.00 | 23100.00 | 12000.00 | 72000.00 | 19800.00 | Manjunatha Engineers
12.20 | Above 3HP - upto 5 HP | 3.00 | Job |  | 8900.00 | 26700.00 | 4800.00 | 14400.00 | 4950.00 | 14850.00 | 15000.00 | 45000.00 | 14400.00 | Manjunatha Engineers
12.30 | Above 5 HP - upto 7.5 HP | 4.00 | Job |  | 13000.00 | 52000.00 | 6000.00 | 24000.00 | 7150.00 | 28600.00 | 17000.00 | 68000.00 | 24000.00 | Manjunatha Engineers
12.40 | Above 7.5 upto 12.5 HP | 3.00 | Job |  | 18000.00 | 54000.00 | 9500.00 | 28500.00 | 11550.00 | 34650.00 | 19000.00 | 57000.00 | 28500.00 | Manjunatha Engineers
13.00 | Rewinding of 3phase, 10.0 HP motor of Sewage/ Drainage Submersible Pump set with copper conductor of same size, including dismantling, transportation from site to work shop and back to site, servicing, re-installation, testing and commissioning etc., complete as required. (Dismantled material shall be property of tenderer). | 2.00 | Job |  | 16900.00 | 33800.00 | 19000.00 | 38000.00 | 11550.00 | 23100.00 | 25000.00 | 50000.00 | 23100.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Servicing of following capacity Monoblock/sub-mersible pumps i/c replacement of all worn out gunmetal bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, transportation charges complete in all respect etc., as on when required.
14.10 | below & upto 3 HP capacity | 6.00 | Job |  | 9800.00 | 58800.00 | 2000.00 | 12000.00 | 2200.00 | 13200.00 | 9000.00 | 54000.00 | 12000.00 | Manjunatha Engineers
14.20 | Above 3HP - upto 5 HP | 3.00 | Job |  | 10200.00 | 30600.00 | 2500.00 | 7500.00 | 3300.00 | 9900.00 | 9000.00 | 27000.00 | 7500.00 | Manjunatha Engineers
14.30 | Above 5 HP - upto 7.5 HP | 4.00 | Job |  | 12300.00 | 49200.00 | 3500.00 | 14000.00 | 4950.00 | 19800.00 | 12000.00 | 48000.00 | 14000.00 | Manjunatha Engineers
14.40 | Above 7.5 upto 12.5 HP | 3.00 | Job |  | 17200.00 | 51600.00 | 4000.00 | 12000.00 | 9350.00 | 28050.00 | 15000.00 | 45000.00 | 12000.00 | Manjunatha Engineers
15.00 | Servicing and complete overhauling of 12.5 HP Fire hydrant jockey Pump coupled with Electric Motor including supply & repalcement of damaged parts like Pump shaft, Bearing, Oil seal, Mechanical seal, Screw & Gasket etc. as required, painting with two coats and reinstallation of servicable pump, testing and commissioning complete etc. as required. | 1.00 | Job |  | 34000.00 | 34000.00 | 3000.00 | 3000.00 | 33000.00 | 33000.00 | 30000.00 | 30000.00 | 3000.00 | Manjunatha Engineers
16.00 | Servicing and complete overhauling of 60 HP Fire hydrant main Pump coupled with Electric Motor including supply & repalcement of damaged parts like Pump shaft, Bearing, Oil seal, Mechanical seal, Screw & Gasket etc. as required, painting with two coats and reinstallation of servicable pump, testing and commissioning complete etc. as required. | 1.00 | Job |  | 48000.00 | 48000.00 | 6000.00 | 6000.00 | 77000.00 | 77000.00 | 79000.00 | 79000.00 | 6000.00 | Manjunatha Engineers
17.00 | Painting of two coats on existing street light pole (Approx. 9mtr. Ht.) including base and Single arm / double arm with synthetic enamel paint of approved colour shade, quality and brand i/c scrapping, cleaning, primer coat wherever required and making numbering for each pole etc. complete as required. | 90.00 | Job |  | 1300.00 | 117000.00 | 2500.00 | 225000.00 | 935.00 | 84150.00 | 9000.00 | 810000.00 | 84150.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Painting of existing street light pole (Approx. 6mtr. Ht.) including base and Single arm / double arm with two coats of synthetic enamel paint of approved colour shade, quality and brand i/c scrapping, cleaning, primer coat wherever required and making numbering for each pole etc. complete as required. | 50.00 | Job |  | 950.00 | 47500.00 | 2000.00 | 100000.00 | 605.00 | 30250.00 | 900.00 | 45000.00 | 30250.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Painting of Power Supply Installations and fire hydrant line with two coats of synthetic enamel paint of approved shade, quality and brand i/c scrapping and cleaning, providing putty, wherever primer coat wherever required, providing inscription as directed by Engineer-in-charge etc., as required. | 300.00 | Sq.mtr. |  | 250.00 | 75000.00 | 2000.00 | 600000.00 | 308.00 | 92400.00 | 450.00 | 135000.00 | 75000.00 | LAKSHMI ELECTRICAL ENTERPRISES
20.00 | Providing illuminaton with of standard coloured LED serial set (containing minimum 50 nos. lamps per set) of the New terminal building and other areas as directed by Engineer-in-charge, on hire basis (Rate per day). | 6000.00 | Set |  | 60.00 | 360000.00 | 20.00 | 120000.00 | 165.00 | 990000.00 | 40.00 | 240000.00 | 120000.00 | Manjunatha Engineers
21.00 | Providing illumination with multicoloured LED COLOUR WASH flood lights of the New terminal building and other areas, for bright and colourfull ambience of the terminals as directed by Engineer-in-charge, on hire basis (Rate per day). | 720.00 | Each |  | 410.00 | 295200.00 | 25.00 | 18000.00 | 385.00 | 277200.00 | 500.00 | 360000.00 | 18000.00 | Manjunatha Engineers
22.00 | Providing illumination with RGB pixel LED running chaser (containing minimum 50 nos. lamps per set) with scrolling wishes message as directed by Engineer-in-charge for bright and colour full ambience of the New terminal building and other areas, on hire basis(Rate per day). | 2160.00 | Set |  | 150.00 | 324000.00 | 25.00 | 54000.00 | 165.00 | 356400.00 | 190.00 | 410400.00 | 54000.00 | Manjunatha Engineers
23.00 | Providing illumination with LED Fixtures (range of 150- 200 Watts) for white, Safron & green flood lights to Terrminal building and other areas for bright and colourfull ambience as directed by Engineer-in-charge, on hire basis (Rate per day). | 720.00 | Each |  | 390.00 | 280800.00 | 30.00 | 21600.00 | 385.00 | 277200.00 | 500.00 | 360000.00 | 21600.00 | Manjunatha Engineers
24.00 | Providing of earth excavator-(JCB)/ Hydra Crane on hiring for hourly basis for any urgent /emergency works in the operational/ non operational area including transportation to & fro at the site, fuel, driver beta, and any other mobilization charges etc. complete as required. | 100.00 | Hour |  | 1500.00 | 150000.00 | 1000.00 | 100000.00 | 1100.00 | 110000.00 | 1200.00 | 120000.00 | 100000.00 | Manjunatha Engineers
25.00 | Comprehensive periodical maintenance of R.O purifier cum water cooler units (Including compressor) of up to 60/80 ltr capacity,1Ø, 230 V, 50 Hz, of different makes installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required
25.10 | First Year | 14.00 | Each |  | 3900.00 | 54600.00 | 10000.00 | 140000.00 | 10560.00 | 147840.00 | 9000.00 | 126000.00 | 54600.00 | LAKSHMI ELECTRICAL ENTERPRISES
25.20 | Second Year | 14.00 | Each |  | 5400.00 | 75600.00 | 10000.00 | 140000.00 | 10560.00 | 147840.00 | 9000.00 | 126000.00 | 75600.00 | LAKSHMI ELECTRICAL ENTERPRISES
26.00 | Comprehensive maintenance of split type room Air conditioner Units (including compressor) of following capacity, different makes including stabilizer (If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required as per special conditions of contract. First Year
26.10 | 2.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Inverter) | 19.00 | Each Per Annum |  | 6200.00 | 117800.00 | 4000.00 | 76000.00 | 3300.00 | 62700.00 | 7000.00 | 133000.00 | 62700.00 | ABHISHEK INTEGRATIONS LIMITED
26.20 | 1.5 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners (Inverter) | 34.00 | Each Per Annum |  | 4800.00 | 163200.00 | 4000.00 | 136000.00 | 2860.00 | 97240.00 | 6000.00 | 204000.00 | 97240.00 | ABHISHEK INTEGRATIONS LIMITED
26.30 | 1.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Inverter) | 9.00 | Each Per Annum |  | 3100.00 | 27900.00 | 4000.00 | 36000.00 | 2200.00 | 19800.00 | 5000.00 | 45000.00 | 19800.00 | ABHISHEK INTEGRATIONS LIMITED
26.40 | Second Year 2.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Inverter) | 19.00 | Each Per Annum |  | 6500.00 | 123500.00 | 5000.00 | 95000.00 | 3300.00 | 62700.00 | 7000.00 | 133000.00 | 62700.00 | ABHISHEK INTEGRATIONS LIMITED
26.50 | 1.5 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners (Inverter) | 34.00 | Each Per Annum |  | 4900.00 | 166600.00 | 5000.00 | 170000.00 | 2860.00 | 97240.00 | 6000.00 | 204000.00 | 97240.00 | ABHISHEK INTEGRATIONS LIMITED
26.60 | 1.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Inverter) | 9.00 | Each Per Annum |  | 3200.00 | 28800.00 | 5000.00 | 45000.00 | 2200.00 | 19800.00 | 5000.00 | 45000.00 | 19800.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | Comprehensive maintenance of split type room Air conditioner Units (including compressor) of following capacity, different makes including stabilizer If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required as per special conditions of contract. First Year
27.10 | 2.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Conventional) | 3.00 | Each Per Annum |  | 6200.00 | 18600.00 | 4000.00 | 12000.00 | 3300.00 | 9900.00 | 7000.00 | 21000.00 | 9900.00 | ABHISHEK INTEGRATIONS LIMITED
27.20 | 1.5 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners (Conventional) | 38.00 | Each Per Annum |  | 4800.00 | 182400.00 | 4000.00 | 152000.00 | 2860.00 | 108680.00 | 6000.00 | 228000.00 | 108680.00 | ABHISHEK INTEGRATIONS LIMITED
27.30 | 1.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Conventional) | 4.00 | Each Per Annum |  | 3100.00 | 12400.00 | 4000.00 | 16000.00 | 2200.00 | 8800.00 | 5000.00 | 20000.00 | 8800.00 | ABHISHEK INTEGRATIONS LIMITED
27.40 | Second Year 2.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Conventional) | 3.00 | Each Per Annum |  | 6500.00 | 19500.00 | 5000.00 | 15000.00 | 3300.00 | 9900.00 | 7000.00 | 21000.00 | 9900.00 | ABHISHEK INTEGRATIONS LIMITED
27.50 | 1.5 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners (Conventional) | 38.00 | Each Per Annum |  | 4900.00 | 186200.00 | 5000.00 | 190000.00 | 2860.00 | 108680.00 | 6000.00 | 228000.00 | 108680.00 | ABHISHEK INTEGRATIONS LIMITED
27.60 | 1.0 Ton 1Ø, 230 V, 50 Hz Split Type Airconditioners. (Conventional) | 4.00 | Each Per Annum |  | 3200.00 | 12800.00 | 5000.00 | 20000.00 | 2200.00 | 8800.00 | 5000.00 | 20000.00 | 8800.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Comprehensive maintenance contract of cassette type Air conditioners (including compressor) of following capacity, different makes and capacities including stabilizer (If any) installed at different location including providing all necessary consumables, refrigerant gas and spares etc., complete as required as per special conditions of contract.
28.10 | First Year 4.0 Ton 3Ø, 415 V, 50 Hz Cassette Type Airconditioners. | 11.00 | Each Per Annum |  | 12500.00 | 137500.00 | 20000.00 | 220000.00 | 11000.00 | 121000.00 | 12000.00 | 132000.00 | 121000.00 | ABHISHEK INTEGRATIONS LIMITED
28.20 | Second Year 4.0 Ton 3Ø, 415 V, 50 Hz Cassette Type Airconditioners. | 11.00 | Each Per Annum |  | 12500.00 | 137500.00 | 25000.00 | 275000.00 | 11000.00 | 121000.00 | 12000.00 | 132000.00 | 121000.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Comprehensive maintenance contract of floor mounted type Air conditioner Units (Including compressor) of 3.0 TR capacity ,3Ø, 415 V, 50 Hz, of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required as per special conditions of contract.
29.10 | First Year 3.0 Ton to 4.0 Ton 3Ø, 415 V, 50 Hz Floor Stand Type Airconditioners. | 19.00 | Each Per Annum |  | 9800.00 | 186200.00 | 20000.00 | 380000.00 | 2860.00 | 54340.00 | 15000.00 | 285000.00 | 54340.00 | ABHISHEK INTEGRATIONS LIMITED
29.20 | Second Year 3.0 Ton to 4.0 Ton 3Ø, 415 V, 50 Hz Floor Stand Type Airconditioners. | 19.00 | Each Per Annum |  | 13000.00 | 247000.00 | 25000.00 | 475000.00 | 2860.00 | 54340.00 | 15000.00 | 285000.00 | 54340.00 | ABHISHEK INTEGRATIONS LIMITED
30.00 | Comprehensive maintenance contract of inverter type split air conditioner Units (Excluding compressor) of following capacity of different makes including stabilizer (If any) installed at different locations including providing all necessary consumables, refrigerant gas and spares etc., complete as required as per special conditions of contract. First Year
30.10 | 1.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 1.00 | Each Per Annum |  | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 1980.00 | 1980.00 | 3000.00 | 3000.00 | 1980.00 | ABHISHEK INTEGRATIONS LIMITED
30.20 | 1.5 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 13.00 | Each Per Annum |  | 5100.00 | 66300.00 | 4000.00 | 52000.00 | 2640.00 | 34320.00 | 3000.00 | 39000.00 | 34320.00 | ABHISHEK INTEGRATIONS LIMITED
30.30 | 2.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 2.00 | Each Per Annum |  | 5500.00 | 11000.00 | 4000.00 | 8000.00 | 3300.00 | 6600.00 | 3000.00 | 6000.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
30.40 | Second Year 1.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 1.00 | Each Per Annum |  | 4200.00 | 4200.00 | 5000.00 | 5000.00 | 1980.00 | 1980.00 | 3000.00 | 3000.00 | 1980.00 | ABHISHEK INTEGRATIONS LIMITED
30.50 | 1.5 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 13.00 | Each Per Annum |  | 5900.00 | 76700.00 | 5000.00 | 65000.00 | 2640.00 | 34320.00 | 3000.00 | 39000.00 | 34320.00 | ABHISHEK INTEGRATIONS LIMITED
30.60 | 2.0 TR, 1Ø, 230 V, 50 Hz Split AC Unit | 2.00 | Each Per Annum |  | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 3300.00 | 6600.00 | 3000.00 | 6000.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd.
31.00 | Comprehensive Maintenance contarct of VRF Air-Conditioning System (Including compressor) consisting of 08 HP outdoor unit with top discharge, 06 numbers of 1.0 TR ductable indoor and providing all necessary consumables and spares complete as required as per special conditions of contract. (Location: NITB front side offices.)
31.10 | First Year | 1.00 | Each Per Annum |  | 32500.00 | 32500.00 | 10000.00 | 10000.00 | 66000.00 | 66000.00 | 19000.00 | 19000.00 | 10000.00 | Manjunatha Engineers
31.20 | Second Year | 1.00 | Each Per Annum |  | 31500.00 | 31500.00 | 10000.00 | 10000.00 | 66000.00 | 66000.00 | 19000.00 | 19000.00 | 10000.00 | Manjunatha Engineers
32.00 | Comprehensive Maintenance contract of VRF Air-Conditioning System (Including compressor) Consisting of 10 HP Outdor Unit with top discharge, 09 numbers of 1.0 TR ductable indoor unit (R410A Refrigerant) of BLUESTAR make including and providing all necessary consumables and spares complete as required as per special conditions of contract. (Location: NITB city side ticketing counters.)
32.10 | First Year | 1.00 | Each Per Annum |  | 39000.00 | 39000.00 | 11000.00 | 11000.00 | 66000.00 | 66000.00 | 19000.00 | 19000.00 | 11000.00 | Manjunatha Engineers
32.20 | Second Year | 1.00 | Each Per Annum |  | 41000.00 | 41000.00 | 11000.00 | 11000.00 | 66000.00 | 66000.00 | 19000.00 | 19000.00 | 11000.00 | Manjunatha Engineers
33.00 | Comprehensive Maintenance contract of VRF Air-Conditioning System (Including compressor) Consisting of 10 HP Outdor Unit with top discharge, 05 numbers of 1.5 TR and 01 number of 2.0 TR ductable indoor unit (R410A Refrigerant) of BLUESTAR make including and providing all necessary consumables and spares complete as required as per special conditions of contract. (Location: Backup Offices.)
33.10 | First Year | 1.00 | Each Per Annum |  | 39000.00 | 39000.00 | 12000.00 | 12000.00 | 66000.00 | 66000.00 | 19000.00 | 19000.00 | 12000.00 | Manjunatha Engineers
33.20 | Second Year | 1.00 | Each Per Annum |  | 40500.00 | 40500.00 | 12000.00 | 12000.00 | 66000.00 | 66000.00 | 19000.00 | 19000.00 | 12000.00 | Manjunatha Engineers
34.00 | Dismantling & Reinstallation, Testing and Commissioning of Indoor and Outdoor unit of 1.5TR/2.0TR Air-Conditioner to any location as specified by AAI, including pipe connection complete etc. as required. | 10.00 | Each |  | 2200.00 | 22000.00 | 4000.00 | 40000.00 | 3850.00 | 38500.00 | 5000.00 | 50000.00 | 22000.00 | LAKSHMI ELECTRICAL ENTERPRISES
35.00 | Supply, Laying and connecting of copper refrigerent piping (liquid and gas- both) with Nitrile Rubber insulation of thickness not less than 13mm and with all other accessories suitable for 1 phase, 1.5TR split AC including covering the Copper piping with suitable size casing capping / PVC pipe etc. complete as required (1 meter measured= 1 meter of liquid + 1 meter of gas line). | 100.00 | Meter |  | 1200.00 | 120000.00 | 4000.00 | 400000.00 | 1650.00 | 165000.00 | 3000.00 | 300000.00 | 120000.00 | LAKSHMI ELECTRICAL ENTERPRISES
36.00 | Supply, Laying and connecting of copper refrigerent piping (liquid and gas- both ) with Nitrile Rubber insulation of thickness not less than 13mm and with all other accessories suitable for 1 phase, 2.0TR split AC including covering the copper piping with suitable size casing cappint / PVC pipe etc. complete as required (1 meter measured= 1 meter of liquid + 1 meter of gas line). | 100.00 | Meter |  | 1150.00 | 115000.00 | 4000.00 | 400000.00 | 1650.00 | 165000.00 | 3000.00 | 300000.00 | 115000.00 | LAKSHMI ELECTRICAL ENTERPRISES
37.00 | Comprehensive Maintenance contract of Automatic sliding doors at City side and Airside by deputing OEM/Authorized service dealer including repairs and maintance, attending faults of system, replacement of wornout/defective components, testing, carrying out the preventive maintenance Quarterly service visit and attending unlimited breakdown compalints and submittion of service reports and complete as required. (1 job refers to 1 quarterly visit) Qty: 5 doors
37.10 | First Year | 4.00 | Job |  | 157050.00 | 628200.00 | 5000.00 | 20000.00 | 156750.00 | 627000.00 | 9000.00 | 36000.00 | 20000.00 | Manjunatha Engineers
37.20 | Second Year | 4.00 | Job |  | 172755.00 | 691020.00 | 5000.00 | 20000.00 | 156750.00 | 627000.00 | 9000.00 | 36000.00 | 20000.00 | Manjunatha Engineers
38.00 | Execution of any item of work as per CPWD Delhi Schedule of Rates (E&M)-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installaions as per directions of E-I-C at different locations at Airport as per special conditions of contract as required. | 300000.00 | Percentage |  | 0.80 | 240000.00 | 0.90 | 270000.00 | 1.00 | 300000.00 | 1.00 | 300000.00 | 240000.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 24917720.00 |  | 25762660.00 |  | 25761190.00 |  | 27855168.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(24917720.00)

## BOQ Summary
BOQ Summary Details Tender Title: O and M of E and M installations including illumination and CMC of ACs of NITB and Ancillary Buildings at Tirupati Airport for 2 years Tender ID: 2025_AAI_238998_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES (BID ID -866105) | 24917720.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED (BID ID -869781) | 25761190.00 | L2
| 3 | Manjunatha Engineers (BID ID -871561) | 25762660.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. (BID ID -870850) | 27855168.00 | L4