## BoQ1
Government eProcurement System Created By: SURESH KUMAR K K Created Date/Time: 05-Aug-2025 05:36 PM Tender Title: Replacement of Air Conditioning Units, Water Coolers at Various locations at Dibrugarh Airport Tender ID: 2025_AAI_239329_1
Tender Inviting Authority: Sr. Manager (E-E)
Name of Work: Replacement of Air Conditioning Units, Water Coolers at Various locations at Dibrugarh Airport
Contract No: 2025_AAI_239329_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mercantile Agency (GSTN-19AALFM1805G1ZB) BID ID -869473 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -873896 |  | RS COOLING APPLIANCES (GSTN-18AALFR2502H3Z8) BID ID -873926 |  | Lyric International (GSTN-19AAGFL4997B1Z0) BID ID -873967 |  | Industrial Traders (GSTN-09ACJPC1773F1ZQ) BID ID -874085
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 Star rating fully inverter split type Air conditioner of 1.5 TR capacity fitted with rotary/scroll compressor, having copper condensor coil, indoor unit suitable for wall mounting operation with cordless LCD/LED Remote, Auto restart operation, connecting copper refrigerant pipes (with suitable nitrile insulation including charging of suitable refrigerant gas, 3C x 4 Sq.mm copper pvc cable, drain pipe) up to 3Mtr. and suitable for operating on 230V ±10%, 50Hz, Single Phase, AC supply , control wiring, thermostat, washable synthetic air filter etc. complete as capable of performing Cooling, Dehumidifying, Air Circulating, Filtering functions etc. meeting the technical specifiactions equivalent to voltas 185V venus plus. | 23.00 | Each | 0.00 | 37800.00 | 869400.00 | 39500.00 | 908500.00 | 46000.00 | 1058000.00 | 40550.00 | 932650.00 | 42985.00 | 988655.00 | 869400.00 | Mercantile Agency
2.00 | Supply of 5 Star rating fully inverter split type Air conditioner of 2 TR capacity fitted with rotary/scroll compressor, having copper condensor coil, indoor unit suitable for wall mounting operation with cordless LCD/LED Remote, Auto restart operation, connecting copper refrigerant pipes (with suitable nitrile insulation including charging of suitable refrigerant gas, 3C x 4 Sq.mm copper pvc cable, drain pipe) up to 3Mtr. and suitable for operating on 230V ±10%, 50Hz, Single Phase, AC , control wiring, thermostat, washable synthetic air filter etc. complete as capable of performing Cooling, Dehumidifying, Air Circulating, Filtering functions etc. meeting the technical specifications equivalent to voltas 245V vectra plus. | 10.00 | Each | 0.00 | 45360.00 | 453600.00 | 53500.00 | 535000.00 | 55000.00 | 550000.00 | 48990.00 | 489900.00 | 49909.00 | 499090.00 | 453600.00 | Mercantile Agency
3.00 | Supply of 4 TR Floor mounting type (Tower ) inverter Air conditioner comprised with one number indoor cooling cooling coil unit, one number out door condensing unit filtted with rotary/Scroll compressor, having copper condensor coil, along with cordless LCD Remote, & other accessories working on Three phase, 440V ±10%, 50Hz, AC power supply as complete as required, meeting all the technical specifications and equivalent to Voltas FAC 48 CZMM. | 1.00 | Each | 0.00 | 97564.00 | 97564.00 | 110000.00 | 110000.00 | 110000.00 | 110000.00 | 109990.00 | 109990.00 | 113896.00 | 113896.00 | 97564.00 | Mercantile Agency
4.00 | Installation, Testing and Commissioning of split/Cassette/Floor Mounted type Air conditioner of upto and including 4TR capacity and fixing of refrigerant copper piping (including extra refrigerant pipe also, if any apart from standard length) of suitable size for both suction and discharge along with suitable nitrile / thermal Insulation and Electrical Cable of size having suitable size of copper conductor for connection from indoor to outdoor unit including charging of suitable refrigerant gas, providing mounting stand for out door unit and suitable necessary accessories complete as per site requirement. | 34.00 | Each | 0.00 | 1120.00 | 38080.00 | 2700.00 | 91800.00 | 2500.00 | 85000.00 | 3950.00 | 134300.00 | 1952.00 | 66368.00 | 38080.00 | Mercantile Agency
5.00 | Supply of Extra Refrigerant copper piping for upto 2TR A.C of suitable size for both suction and discharge along with suitable thermal Insulation and Electrical Cable of suitable size copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Two lengths of suction and discharge piping and one length of copper wire shall be measured one meter for this item). | 65.00 | Mtr. | 0.00 | 809.76 | 52634.40 | 1245.00 | 80925.00 | 1250.00 | 81250.00 | 1050.00 | 68250.00 | 903.00 | 58695.00 | 52634.40 | Mercantile Agency
6.00 | Supply of Extra Refrigerant copper piping for above 2TR and upto 4TR, A.C of suitable size for both suction and discharge along with suitable thermal Insulation and Electrical Cable of suitable size copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Two lengths of suction and discharge piping and one length of copper wire shall be measured one meter for this item). | 20.00 | Mtr. | 0.00 | 921.76 | 18435.20 | 1690.00 | 33800.00 | 1250.00 | 25000.00 | 1075.00 | 21500.00 | 1147.00 | 22940.00 | 18435.20 | Mercantile Agency
7.00 | Supply and fixing of 25mm dia. heavy duty, PVC drain pipe connection from indoor to existing drain line of wall including bends, necessary accessories for connection etc. complete as required. | 168.00 | Mtr. | 0.00 | 95.20 | 15993.60 | 168.00 | 28224.00 | 200.00 | 33600.00 | 155.00 | 26040.00 | 86.00 | 14448.00 | 14448.00 | Industrial Traders
8.00 | Dismantling of Existing Split/Cassette/Tower type of Air Conditioning units upto 4TR, including copper pipe line, indoor unit, outdoor unit etc., and shifting to AAI power house, handing over all parts to AAI. | 14.00 | Each | 0.00 | 840.00 | 11760.00 | 1190.00 | 16660.00 | 500.00 | 7000.00 | 1650.00 | 23100.00 | 732.00 | 10248.00 | 7000.00 | RS COOLING APPLIANCES
9.00 | Supply, installation, testing and commissioning of Water Purifier (UV) cum dispenser having stainless Steel body and stainless Steel/Food Grade Steel storage Tank with 03 nos. faucets for hot, cold and normal water having water storage capacity of 30L/40L/5L(minimum) (normal/Cold/Hot) and water cooling capacity of 20 L/hr (minimum) and water heating capacity of 20 L/hr (minimum) of make & model: CONWAY P125 NHC or equivalent model as approved by Engineer-in-charge. | 11.00 | Each | 0.00 | 66080.00 | 726880.00 | 69800.00 | 767800.00 | 85000.00 | 935000.00 | 65590.00 | 721490.00 | 69262.00 | 761882.00 | 721490.00 | Lyric International
| Total in Figures |  |  |  |  | 2284347.20 |  | 2572709.00 |  | 2884850.00 |  | 2527220.00 |  | 2536222.00
Lowest Amount Quoted BY: Mercantile Agency(2284347.20)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Air Conditioning Units, Water Coolers at Various locations at Dibrugarh Airport Tender ID: 2025_AAI_239329_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mercantile Agency (BID ID -869473) | 2284347.20 | L1
| 2 | Lyric International (BID ID -873967) | 2527220.00 | L2
| 3 | Industrial Traders (BID ID -874085) | 2536222.00 | L3
| 4 | Awasthi Electric Works (BID ID -873896) | 2572709.00 | L4
| 5 | RS COOLING APPLIANCES (BID ID -873926) | 2884850.00 | L5