## BoQ1
Government eProcurement System Created By: SURESH KUMAR K K Created Date/Time: 22-Aug-2025 03:03 PM Tender Title: Retrofitting of Air Circuit breakers in the Existing LT panels at Dibrugarh Airport Tender ID: 2025_AAI_239612_1
Tender Inviting Authority:
Name of Work: Retrofitting of Air Circuit breakers in the Existing LT panels at Dibrugarh Airport.
Contract No: 2025_AAI_239612_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | UNIVERSAL ELECTRICAL AND ELECTRONICS (GSTN-18ABWPD1808N1Z6) BID ID -880193 |  | INNOVATIVE ENGINEERNG SOLUTONS (GSTN-NA) BID ID -880189 |  | ELECTRO MECHNICO PROJECTS PVT. LTD. (GSTN-NA) BID ID -879684
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing/retro fitting of 4Pole, 415V, 2000Amps, 50kA breaking capacity ACB having microprocessor based release with EDO type, draw-out version, provision with shunt trip coil of 24V DC, under voltage release of 220V AC, rear terminals, base for draw-out device, Automatic / Manual spring charging system with all accessories with meeting technical specification of ACB(as attached) suitable to fix in the existing compartment of LT panel (Non-Essential) with required modification in panel if any including dismantling of existing ACB, installing new ACB, connection with incoming & outgoing bus bars along with modification, necessary interconnection with other components/relays, contactors by using the same control wirings / replacement of control wires as required, providing mechanical and Electrical interlocking system with other ACB's and bus coupler ACB in the Panel, modifying the door in same finish of existing one etc., as required at site & as per the direction of the Engineer-In-charge. | 6.00 | Each | 0.00 | 305000.00 | 1830000.00 | 339800.00 | 2038800.00 | 220963.00 | 1325778.00 | 1325778.00 | ELECTRO MECHNICO PROJECTS PVT. LTD.
2.00 | Supplying and fixing/retro fitting of 4Pole, 415V, 1600Amps, 50kA breaking capacity ACB having microprocessor based release with EDO type, draw-out version, provision with shunt trip coil of 24V DC, under voltage release of 220V AC, rear terminals, base for draw-out device, Automatic / Manual spring charging system with all accessories with meeting technical specification of ACB(as attached) suitable for AMF operation related to 750 KVA DG(as required) set to fix in the existing compartment of LT panel with required modification in panel if any including dismantling of existing ACB, installing new ACB, connection with incoming & outgoing bus bars along with modification, necessary interconnection with existing AMF relays/other components, contactors by using the same control wirings / replacement of control wires as required, providing mechanical and Electrical interlocking system with other ACB's and bus coupler ACB in the Panel, modifying the door in same finish of existing one etc., as required at site & as per the direction of the Engineer-In-charge. | 9.00 | Each | 0.00 | 270000.00 | 2430000.00 | 313150.00 | 2818350.00 | 216800.00 | 1951200.00 | 1951200.00 | ELECTRO MECHNICO PROJECTS PVT. LTD.
3.00 | Supplying and fixing/retro fitting of 4Pole, 415V, 1250Amps, 50kA breaking capacity ACB having microprocessor based release with EDO type, draw-out version, provision with shunt trip coil of 24V DC, under voltage release of 220V AC, rear terminals, base for draw-out device, Automatic / Manual spring charging system with all accessories with meeting technical specification of ACB(as attached) suitable to fix in the existing compartment of LT panel (Non-Essential) with required modification in panel if any including dismantling of existing ACB, installing new ACB, connection with incoming & outgoing bus bars along with modification, necessary interconnection with other components/relays, contactors by using the same control wirings / replacement of control wires as required, providing mechanical and Electrical interlocking system with other ACB's and bus coupler ACB in the Panel, modifying the door in same finish of existing one etc., as required at site & as per the direction of the Engineer-In-charge. | 2.00 | Each | 0.00 | 259000.00 | 518000.00 | 298800.00 | 597600.00 | 206041.00 | 412082.00 | 412082.00 | ELECTRO MECHNICO PROJECTS PVT. LTD.
4.00 | Supplying and fixing/retro fitting of 4Pole, 415V, 1000Amps, 50kA breaking capacity ACB having microprocessor based release with EDO type, draw-out version, provision with shunt trip coil of 24V DC, under voltage release of 220V AC, rear terminals, base for draw-out device, Automatic / Manual spring charging system with all accessories with meeting technical specification of ACB(as attached) suitable to fix in the existing compartment of LT panel (Non-Essential) with required modification in panel if any including dismantling of existing ACB, installing new ACB, connection with incoming & outgoing bus bars along with modification, necessary interconnection with other components/relays, contactors by using the same control wirings / replacement of control wires as required, providing mechanical and Electrical interlocking system with other ACB's and bus coupler ACB in the Panel, modifying the door in same finish of existing one etc., as required at site & as per the direction of the Engineer-In-charge. | 2.00 | Each | 0.00 | 231000.00 | 462000.00 | 286900.00 | 573800.00 | 206032.00 | 412064.00 | 412064.00 | ELECTRO MECHNICO PROJECTS PVT. LTD.
| Total in Figures |  |  |  |  | 5240000.00 |  | 6028550.00 |  | 4101124.00
Lowest Amount Quoted BY: ELECTRO MECHNICO PROJECTS PVT. LTD.(4101124.00)

## BOQ Summary
BOQ Summary Details Tender Title: Retrofitting of Air Circuit breakers in the Existing LT panels at Dibrugarh Airport Tender ID: 2025_AAI_239612_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ELECTRO MECHNICO PROJECTS PVT. LTD. (BID ID -879684) | 4101124.00 | L1
| 2 | UNIVERSAL ELECTRICAL AND ELECTRONICS (BID ID -880193) | 5240000.00 | L2
| 3 | INNOVATIVE ENGINEERNG SOLUTONS (BID ID -880189) | 6028550.00 | L3