## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 01-Aug-2025 03:07 PM Tender Title: Improvisation of Traffic Lane in front of Terminal Building at S. V. Airport, Raipur. SH Electrical Work. Tender ID: 2025_AAI_239773_1
Tender Inviting Authority: Dy. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Improvisation of Traffic Lane in front of Terminal Building at S. V. Airport, Raipur. SH: Electrical Work.
Contract No : 2025_AAI_239773_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MEPF INFRA (GSTN-37ABHFM5143Q1ZN) BID ID -874039 |  | JAI ENTERPRISES (GSTN-NA) BID ID -875464 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -874904 |  | Roy Enterprises (GSTN-NA) BID ID -871437
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | SH:- I Only Supply Item
2.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required.
3.00 | (a) 3.5C X 300sq. mm | 600.00 | Meter | 2846.00 | 1797.00 | 1078200.00 | 2704.00 | 1622400.00 | 1400.00 | 840000.00 | 1450.00 | 870000.00 | 1622400.00 | JAI ENTERPRISES
4.00 | Supply of 9 mtr high hot dip galvanised octagonal poles with 130 mm bottom (A/F) and 70 mm top (A/F)made of 3mm thick HT sheet along with base plate of size 260mm X 260mm X 16 mm thick welded to bottom of the pole along with 4 Nos. foundation bolts including template,decorative single arm bracket of length approx 1.5 m (One sides) for mounting of fitting etc. as required. | 10.00 | Each | 13198.00 | 19000.00 | 190000.00 | 12538.00 | 125380.00 | 13500.00 | 135000.00 | 30000.00 | 300000.00 | 300000.00 | Roy Enterprises
5.00 | Supply of 70 Watt LED type Road/ Street light as per Tender Technical Specification etc. completed as required. | 10.00 | Each | 5612.00 | 3350.00 | 33500.00 | 5331.00 | 53310.00 | 2200.00 | 22000.00 | 5000.00 | 50000.00 | 53310.00 | JAI ENTERPRISES
6.00 | Supply of 50 Watt LED type Flood light as per Tender Technical Specification etc. completed as required. | 35.00 | Each | 4419.00 | 2600.00 | 91000.00 | 4198.00 | 146930.00 | 1800.00 | 63000.00 | 3740.00 | 130900.00 | 146930.00 | JAI ENTERPRISES
7.00 | SH:-II SITC
8.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required..(Make :-As per AAI preferred make list)
9.00 | (a) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 300.00 | Meter | 196.00 | 242.00 | 72600.00 | 186.00 | 55800.00 | 130.00 | 39000.00 | 220.00 | 66000.00 | 72600.00 | MEPF INFRA
10.00 | (b) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 800.00 | Meter | 292.00 | 355.00 | 284000.00 | 278.00 | 222400.00 | 180.00 | 144000.00 | 280.00 | 224000.00 | 284000.00 | MEPF INFRA
11.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
12.00 | (a) 3.5C X 300sq. mm | 2.00 | Set | 949.00 | 1500.00 | 3000.00 | 902.00 | 1804.00 | 1000.00 | 2000.00 | 800.00 | 1600.00 | 3000.00 | MEPF INFRA
13.00 | (b) 4C X 16 sq. mm | 44.00 | Set | 245.00 | 650.00 | 28600.00 | 233.00 | 10252.00 | 400.00 | 17600.00 | 200.00 | 8800.00 | 28600.00 | MEPF INFRA
14.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. a) Group C | 20.00 | Each | 681.00 | 1400.00 | 28000.00 | 647.00 | 12940.00 | 800.00 | 16000.00 | 1200.00 | 24000.00 | 28000.00 | MEPF INFRA
15.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Set | 5443.00 | 9500.00 | 19000.00 | 5171.00 | 10342.00 | 5000.00 | 10000.00 | 8000.00 | 16000.00 | 19000.00 | MEPF INFRA
16.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. wire in 15mm dia G.I.pipe from electrode including connection with G.I. thimble excavation and re-filling as required. | 12.00 | Meter | 228.00 | 150.00 | 1800.00 | 217.00 | 2604.00 | 150.00 | 1800.00 | 300.00 | 3600.00 | 3600.00 | Roy Enterprises
17.00 | Providing and fixing 6 SWG GI wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required.(CPWD DSR-2022 item 5.7)(Along the cable length) | 300.00 | meter | 40.00 | 35.00 | 10500.00 | 38.00 | 11400.00 | 20.00 | 6000.00 | 130.00 | 39000.00 | 39000.00 | Roy Enterprises
18.00 | SH:-III ITC
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/ DWC HDPE pipe as required.
20.00 | (a) Upto 35 sq. mm | 300.00 | Meter | 29.00 | 70.00 | 21000.00 | 28.00 | 8400.00 | 5.00 | 1500.00 | 60.00 | 18000.00 | 21000.00 | MEPF INFRA
21.00 | (a) Above 185 sq. mm and upto 400 sq. mm | 800.00 | Meter | 106.00 | 120.00 | 96000.00 | 101.00 | 80800.00 | 5.00 | 4000.00 | 120.00 | 96000.00 | 96000.00 | Roy Enterprises, MEPF INFRA
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
23.00 | (a) Upto 35 sq. mm | 100.00 | Meter | 22.00 | 60.00 | 6000.00 | 21.00 | 2100.00 | 5.00 | 500.00 | 60.00 | 6000.00 | 6000.00 | Roy Enterprises, MEPF INFRA
24.00 | (b) Above 185 sq. mm and upto 400 sq. mm | 400.00 | Meter | 91.00 | 100.00 | 40000.00 | 87.00 | 34800.00 | 5.00 | 2000.00 | 120.00 | 48000.00 | 48000.00 | Roy Enterprises
25.00 | Installation, testing and commissioning of pre-wired, LED fitting/compact fluorescent fitting of all types/Wall mounting fan, complete with all accessories and tube etc. directly on ceiling/wall, includin connection with 1.5 Sqmm FRLS PVC insulated, copper conductor, single core cable and earthin etc. as required. | 30.00 | Each | 164.00 | 250.00 | 7500.00 | 156.00 | 4680.00 | 10.00 | 300.00 | 200.00 | 6000.00 | 7500.00 | MEPF INFRA
26.00 | Installation of 70 watt LED street light fitting on pole upto 9 mtr. height including suitable clamping arrangement in existing poles, earthing, i/c connection with 1.5 Sq.mm PVC insulated copper conductor single core cable, testing and commissioning complete as required. | 10.00 | Each | 1965.00 | 1490.00 | 14900.00 | 1867.00 | 18670.00 | 103.30 | 1033.00 | 500.00 | 5000.00 | 18670.00 | JAI ENTERPRISES
27.00 | Erection of decorative Upto 9 mtr. height street light pole of pole including the RCC foundation made from cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone agregate 20mm nominal size) as per OEM design including excavation and refilling etc. as required. | 26.00 | Each | 9385.00 | 12500.00 | 325000.00 | 8916.00 | 231816.00 | 1000.00 | 26000.00 | 4500.00 | 117000.00 | 325000.00 | MEPF INFRA
28.00 | Dismantling of pole/ street light standard/ strut embedded in cement concrete foundation etc. as required. | 16.00 | Each | 2114.00 | 1000.00 | 16000.00 | 201.00 | 3216.00 | 100.00 | 1600.00 | 1000.00 | 16000.00 | 16000.00 | Roy Enterprises, MEPF INFRA
| Total in Figures |  |  |  |  | 2366600.00 |  | 2660044.00 |  | 1333333.00 |  | 2045900.00
Highest Amount Quoted BY: JAI ENTERPRISES(2660044.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvisation of Traffic Lane in front of Terminal Building at S. V. Airport, Raipur. SH Electrical Work. Tender ID: 2025_AAI_239773_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAI ENTERPRISES (BID ID -875464) | 2660044.00 | H1
| 2 | MEPF INFRA (BID ID -874039) | 2366600.00 | H2
| 3 | Roy Enterprises (BID ID -871437) | 2045900.00 | H3
| 4 | SAURABH ENTERPRISES (BID ID -874904) | 1333333.00 | H4