## BoQ1
Government eProcurement System Created By: Pushkar Pagnis Created Date/Time: 30-Jul-2025 05:24 PM Tender Title: Shifting of Perimeter Lighting Pole including Cabling at DABH Airport Indore Tender ID: 2025_AAI_239864_1
Tender Inviting Authority: <AGM(E-E), DABH Airport>
Name of Work: <Shifting of Perimeter Lighting Pole including Cabling at DABH Airport Indore >
Contract No: <2025_AAI_239864>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S S Electricals (GSTN-23ADFFS7417K1ZV) BID ID -869199 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -875302 |  | POOJA BUILDCON CONSTRUCTION (GSTN-06AAWFP9068M1Z4) BID ID -875455 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd (GSTN-NA) BID ID -874077 |  | Eagle Associates (GSTN-NA) BID ID -875401 |  | SYNERGY LIGHTING SOLUTIONS (GSTN-NA) BID ID -874711 |  | SAPPHIRE ENGINEERS (GSTN-NA) BID ID -871882 |  | Shiva Enterprises (GSTN-NA) BID ID -875369 |  | Pareek Electricals (GSTN-NA) BID ID -870845
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 4C x 16 sqmm, XLPE insulated & PVC sheathed armoured aluminium conductor under ground cable of 1.1KV grade conforming to I.S : 7098 (Part-I ) with upto date ammendments as per approved list of AAI. | 5800.00 | Mtr | 100.00 | 140.00 | 812000.00 | 170.00 | 986000.00 | 58.00 | 336400.00 | 200.00 | 1160000.00 | 175.00 | 1015000.00 | 195.00 | 1131000.00 | 115.00 | 667000.00 | 145.00 | 841000.00 | 115.00 | 667000.00 | 336400.00 | POOJA BUILDCON CONSTRUCTION
2.00 | Supplying of 50 mm dia (OD-50 mm & ID-38 mm nominal) DWC HDPE pipe along with all accessories like socket, bend, couplers, seal rings etc. conforming to IS 16205, Part 24 complete etc., complete as required. | 5300.00 | Mtr | 100.00 | 75.00 | 397500.00 | 56.00 | 296800.00 | 60.00 | 318000.00 | 55.00 | 291500.00 | 48.00 | 254400.00 | 77.00 | 408100.00 | 60.00 | 318000.00 | 40.00 | 212000.00 | 42.00 | 222600.00 | 212000.00 | Shiva Enterprises
3.00 | Supply of SMC box of size 225mm x 205 mmx 112 mm including providing and fixing 1 no. 10 amp SP MCB and 4 no., 25 sqmm terminal block connector, 6 sqmm Disconnected terminal block, 4 sqmm earth terminal block, 02 Nos Glands M25 & 01 No Glands M16 along with necessary connections etc as required.(Make hensel ; Cat no.HENKFPJB006) or equivalent preferred make. | 35.00 | No | 100.00 | 5450.00 | 190750.00 | 900.00 | 31500.00 | 1800.00 | 63000.00 | 6100.00 | 213500.00 | 1200.00 | 42000.00 | 2500.00 | 87500.00 | 1800.00 | 63000.00 | 2200.00 | 77000.00 | 1850.00 | 64750.00 | 31500.00 | Manish Electricals
4.00 | Relocation of perimeter pole from existing location to new location (approx 2 mtr back).Job includes excavation of existing pole from ground, relocating and fixing the existing pole to the new location etc as required and making good the same as per site conditions. | 195.00 | Job | 10.00 | 4100.00 | 799500.00 | 2500.00 | 487500.00 | 2000.00 | 390000.00 | 1500.00 | 292500.00 | 1800.00 | 351000.00 | 500.00 | 97500.00 | 1250.00 | 243750.00 | 1850.00 | 360750.00 | 5200.00 | 1014000.00 | 97500.00 | SYNERGY LIGHTING SOLUTIONS
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade cable of up to 35 Sqmm size in the existing RCC/HUME/METAL/DWC HDPE pipe as required. | 5300.00 | Mtr | 10.00 | 40.00 | 212000.00 | 20.00 | 106000.00 | 33.00 | 174900.00 | 15.00 | 79500.00 | 65.00 | 344500.00 | 15.00 | 79500.00 | 25.00 | 132500.00 | 40.00 | 212000.00 | 28.00 | 148400.00 | 79500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, SYNERGY LIGHTING SOLUTIONS
6.00 | Laying of 50 mm dia DWC HDPE pipe with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 5300.00 | Mtr | 10.00 | 40.00 | 212000.00 | 120.00 | 636000.00 | 82.00 | 434600.00 | 90.00 | 477000.00 | 95.00 | 503500.00 | 30.00 | 159000.00 | 60.00 | 318000.00 | 50.00 | 265000.00 | 165.00 | 874500.00 | 159000.00 | SYNERGY LIGHTING SOLUTIONS
7.00 | Fixing of SMC box of sutable size on existing tubular pole with suitable 2nos. clamps of 5mm thickness including nut, bolts, making two nos indoor end termination with gland including providing 08 nos aluminium lugs for 4 x 16sqmm of PVC insulated cable etc complete as required. | 207.00 | No | 100.00 | 50.00 | 10350.00 | 200.00 | 41400.00 | 2800.00 | 579600.00 | 350.00 | 72450.00 | 500.00 | 103500.00 | 100.00 | 20700.00 | 250.00 | 51750.00 | 500.00 | 103500.00 | 150.00 | 31050.00 | 10350.00 | S S Electricals
8.00 | Erection of metallic pole of 8 Mtr length(single arm / double arm) in foundation of M20 gradeRCC and steel rod as per oem designe incuding excavation and refilling, suitable finishing on surface above the ground level, including painting and numberingetc. as required. | 9.00 | Job | 100.00 | 3000.00 | 27000.00 | 3000.00 | 27000.00 | 11500.00 | 103500.00 | 6000.00 | 54000.00 | 7500.00 | 67500.00 | 2000.00 | 18000.00 | 6000.00 | 54000.00 | 4000.00 | 36000.00 | 3500.00 | 31500.00 | 18000.00 | SYNERGY LIGHTING SOLUTIONS
9.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Each | 10.00 | 12000.00 | 120000.00 | 9000.00 | 90000.00 | 2500.00 | 25000.00 | 7859.00 | 78590.00 | 4999.90 | 49999.00 | 7500.00 | 75000.00 | 10000.00 | 100000.00 | 7000.00 | 70000.00 | 6500.00 | 65000.00 | 25000.00 | POOJA BUILDCON CONSTRUCTION
10.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 100.00 | Mtr | 10.00 | 110.00 | 11000.00 | 225.00 | 22500.00 | 240.00 | 24000.00 | 200.00 | 20000.00 | 160.00 | 16000.00 | 100.00 | 10000.00 | 500.00 | 50000.00 | 227.50 | 22750.00 | 70.00 | 7000.00 | 7000.00 | Pareek Electricals
11.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/recessed conduit/ submain wiring/ cable as required. | 5000.00 | Mtr | 10.00 | 40.00 | 200000.00 | 30.00 | 150000.00 | 30.00 | 150000.00 | 20.00 | 100000.00 | 26.90 | 134500.00 | 15.00 | 75000.00 | 24.00 | 120000.00 | 24.00 | 120000.00 | 17.00 | 85000.00 | 75000.00 | SYNERGY LIGHTING SOLUTIONS
| Total in Figures |  |  |  |  | 2992100.00 |  | 2874700.00 |  | 2599000.00 |  | 2839040.00 |  | 2881899.00 |  | 2161300.00 |  | 2118000.00 |  | 2320000.00 |  | 3210800.00
Lowest Amount Quoted BY: SAPPHIRE ENGINEERS(2118000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of Perimeter Lighting Pole including Cabling at DABH Airport Indore Tender ID: 2025_AAI_239864_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAPPHIRE ENGINEERS (BID ID -871882) | 2118000.00 | L1
| 2 | SYNERGY LIGHTING SOLUTIONS (BID ID -874711) | 2161300.00 | L2
| 3 | Shiva Enterprises (BID ID -875369) | 2320000.00 | L3
| 4 | POOJA BUILDCON CONSTRUCTION (BID ID -875455) | 2599000.00 | L4
| 5 | Krishsons International Engineers And Consultants (I) Pvt. Ltd (BID ID -874077) | 2839040.00 | L5
| 6 | Manish Electricals (BID ID -875302) | 2874700.00 | L6
| 7 | Eagle Associates (BID ID -875401) | 2881899.00 | L7
| 8 | S S Electricals (BID ID -869199) | 2992100.00 | L8
| 9 | Pareek Electricals (BID ID -870845) | 3210800.00 | L9