## BoQ1
Government eProcurement System Created By: Rohini Kumari Created Date/Time: 13-Aug-2025 01:01 PM Tender Title: ITC of Fire Fighting Fire Alarm and Detection System and other remaining Misc work for B type residential qtrs at Juhu Airport Mumbai Tender ID: 2025_AAI_239874_1
Tender Inviting Authority: AAI
Name of work: ITC of Fire Fighting, Fire Alarm & Detection System and other remaining Misc work for B type residential qtrs at Juhu Airport, Mumbai.
Tender ID : 2025_AAI_239874
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Universal Fire And Safety Services (GSTN-27AACCU2212P1Z7) BID ID -876796 |  | AAGNI FIRE AGENCIES PRIVATE LIMITED (GSTN-NA) BID ID -872805
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing single headed internal hydrant valve with instantaneous Gun metal couplings of 63 mm dia with cast iron wheel ISI marked conforming to IS 5290 (Type - A) with blank Gun metal cap and chain as required. | 27.00 | Job |  | 11745.00 | 317115.00 | 6000.00 | 162000.00 | 162000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
2.00 | Supplying , Fixing, testing and commissioning of Butterfly Valve PN 10 with CI Body, Epoxy coated Disc duly ISI marked complete with Nuts, Bolts Washers, Gaskets, conforming to IS 13095, of follwing sizes as required. 100 mm dia size | 16.00 | Job |  | 5065.00 | 81040.00 | 3500.00 | 56000.00 | 56000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
3.00 | Providing , installation, testing and commissioning of dual plate Non-Return Valve of CI body of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc. as required. 100 mm dia size | 12.00 | Job |  | 5737.00 | 68844.00 | 3500.00 | 42000.00 | 42000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
4.00 | Supplying and fixing 63 mm dia, 15 mtr. Long RRL hose pipe with 63 mm dia Male and Female Gun metal couplings duly binded with GI wire, rivets etc. conforming to IS 636 (type-A) as required. | 54.00 | Job |  | 4927.00 | 266058.00 | 5000.00 | 270000.00 | 266058.00 | Universal Fire And Safety Services
5.00 | Supplying and fixing First-Aid Hose Reel with MS construction , spary painted in Post Office Red colour, conforming to IS 884 with upto date amendments, complte with the following accessories as required. a) 30 Mtr. Long 20 mm (nominal internal) dia water hose Thermoplastic (textile reinforced) Type - 2 as per IS: 12585. b) 20 mm (nominal internal) dia gun metal globe valve and nozzle. c) Drum and brackets for fixing the equipments on wall. d) connections from riser with 40 mm dia stop valve (gun metal) and M.S. Pipe. | 27.00 | Job |  | 7225.00 | 195075.00 | 5500.00 | 148500.00 | 148500.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
6.00 | Supplying and fixing 63 mm dia Gun metal branch pipe with 20 mm (nominal diameter) size Gun metal nozzles conforming to IS 903, suitable for instantaneous connection to inter connect hose pipe coupling as required. | 27.00 | Job |  | 3035.00 | 81945.00 | 2000.00 | 54000.00 | 54000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
7.00 | Supplying and fixing 2 way fire brigade connection of cast iron body with 2 Nos. Gun Metal male instantneous inlet couplings complete with cap and chain as required for 100 mm dia MS pipe connection, conforming to IS 904 as required. | 4.00 | Job |  | 7085.00 | 28340.00 | 3500.00 | 14000.00 | 14000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
8.00 | SITC of Remote push button station on wall at ground floor level for starting & stopping of Terrace fire pumping Sets duly fitted in sheet steel encloser having locking arrangements of hinged glass door and status indications of fire pumping sets complete with connections as required. | 8.00 | Job |  | 1950.00 | 15600.00 | 750.00 | 6000.00 | 6000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
9.00 | Supply, installation, testing and commissioning of pressure gauge of 0-21 kg/sq.cm range with 15 mm dia stop cock valve, piping etc. as required. | 2.00 | Job |  | 1215.00 | 2430.00 | 1500.00 | 3000.00 | 2430.00 | Universal Fire And Safety Services
10.00 | Fabrication, Supply & Installation of Fire Hose Cabinet Box on wall made out of 2 mm thick MS sheet of size 600 mm X 450 mm X 200 mm deep with hinged doors of 5 mm thick glass and painted in signal red colour complete locking arrangement as per site requirement. | 27.00 | Job |  | 5467.00 | 147609.00 | 2000.00 | 54000.00 | 54000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
11.00 | Providing and fixing Carbon-di-oxide fire extinguishers consisting of welded M.S cylindrical body, squeeze lever discharge valve fitted with internal discharge tube, 30 cms long high pressure discharge hose, discharge nozzle, suspension bracket, finished externally with red enamel paint and fixed to wall with brackets with dash fasteners complete as required. | 1.00 | Job |  | 5150.00 | 5150.00 | 5500.00 | 5500.00 | 5150.00 | Universal Fire And Safety Services
12.00 | Providing and fixing ABC type (stored pressure) fire extinguisher as per IS: 13849 - 1993 consisting of welded MS cylindrical body with discharge hose, discharge valve, suspension bracket, initial filling etc complete as required. | 1.00 | Job |  | 1850.00 | 1850.00 | 2000.00 | 2000.00 | 1850.00 | Universal Fire And Safety Services
13.00 | Supply of 4 core X 6 sq.mm size of FRLS PVC insulated copper conductor armored cable working voltage 1.1 kv grade as per IS : 7098 (Part-I), 1988 with latest amendments. | 300.00 | Mtr |  | 252.00 | 75600.00 | 350.00 | 105000.00 | 75600.00 | Universal Fire And Safety Services
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq.mm (Clamped with 1mm thick saddle) | 250.00 | Mtr |  | 62.00 | 15500.00 | 70.00 | 17500.00 | 15500.00 | Universal Fire And Safety Services
15.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, GI wire strip armouring & FRLS outer sheath complete as required. | 252.00 | Mtr |  | 90.00 | 22680.00 | 140.00 | 35280.00 | 22680.00 | Universal Fire And Safety Services
16.00 | Supply, installation, Testing and commissioning of conventional repeater Fire Alarm control Panel 8 Zone to monitor each building fire panels, battery charger, etc. complete in all respects. Make:- Honeywell System Sensor | 1.00 | Job |  | 20250.00 | 20250.00 | 25000.00 | 25000.00 | 20250.00 | Universal Fire And Safety Services
17.00 | Supply of 12 V, 6 AH Exide battery. | 10.00 | Job |  | 1955.00 | 19550.00 | 1400.00 | 14000.00 | 14000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
18.00 | Supply, Installation, testing & commissioning of addressable Manual Call Point (Break Glass Type) etc complete as required. Make:- Honeywell System Sensor | 52.00 | Job |  | 1175.00 | 61100.00 | 3000.00 | 156000.00 | 61100.00 | Universal Fire And Safety Services
19.00 | Supply, Installation, testing & commissioning of Electronic Hooter with volume control unit giving output of 65 db maximum or 5db above any noise tends to exit. The hooter shall be of wall mounted type. The rate shall include for mounting accessories, etc. complete as required. Make:- Honeywell System Sensor | 52.00 | Job |  | 1235.00 | 64220.00 | 3000.00 | 156000.00 | 64220.00 | Universal Fire And Safety Services
20.00 | Supply, Installation, testing & commissioning of smoke detector with uilding LED and mounting base complete with all connections etc as required. Make:- Honeywell System Sensor | 32.00 | Job |  | 1296.00 | 41472.00 | 3500.00 | 112000.00 | 41472.00 | Universal Fire And Safety Services
21.00 | Supply of 4 core x 16 Sq.mm. sizes of XLPE insulated and PVC sheathed, aluminium conductor armoured, power cable of 1.1 KV grade confirming to IS 7098 (Part - 2) amended upto date. Make: AAI Preferred make | 400.00 | Mtr |  | 355.00 | 142000.00 | 195.00 | 78000.00 | 78000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. 4C x 16 sq mm Cable | 400.00 | Mtr |  | 62.00 | 24800.00 | 100.00 | 40000.00 | 24800.00 | Universal Fire And Safety Services
23.00 | Supply and laying of DWC HDPE pipe of 32 ID (internal diameter) 40 OD(outside Diameter) of PE 100 PN 60 ISI marked along with all accessories like couplers, socket, bend etc. conforming to IS 4984 complete with fitting and cutting, jointing etc. direct in ground at a depth of 0.72m below the ground level i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc. as required. Make: AAI Preferred make | 300.00 | Mtr |  | 265.00 | 79500.00 | 100.00 | 30000.00 | 30000.00 | AAGNI FIRE AGENCIES PRIVATE LIMITED
24.00 | Laying of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE pipe as required. A) upto 35 sq.mm | 360.00 | Mtr |  | 62.00 | 22320.00 | 120.00 | 43200.00 | 22320.00 | Universal Fire And Safety Services
| Total in Figures |  |  |  |  | 1800048.00 |  | 1628980.00
Lowest Amount Quoted BY: AAGNI FIRE AGENCIES PRIVATE LIMITED(1628980.00)

## BOQ Summary
BOQ Summary Details Tender Title: ITC of Fire Fighting Fire Alarm and Detection System and other remaining Misc work for B type residential qtrs at Juhu Airport Mumbai Tender ID: 2025_AAI_239874_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AAGNI FIRE AGENCIES PRIVATE LIMITED (BID ID -872805) | 1628980.00 | L1
| 2 | Universal Fire And Safety Services (BID ID -876796) | 1800048.00 | L2