## BoQ1
Government eProcurement System Created By: Rohini Kumari Created Date/Time: 13-Aug-2025 01:20 PM Tender Title: Repairs to Fire Station ATC Tower Guest House and Officers Club at Juhu Airport SH Electrical Works. Tender ID: 2025_AAI_239877_1
Tender Inviting Authority: AAI
Name of work: Repairs to Fire Station, ATC Tower, Guest House and Officer's Club at Juhu Airport. SH : Electrical Works.
Tender ID : 2025_AAI_239877
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ramesh Electrical and Mechanical Works (GSTN-27ACKPS7682J1ZQ) BID ID -876820 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -876933 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -876966 |  | M/s Mahavir Electricals (GSTN-NA) BID ID -872067 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd (GSTN-NA) BID ID -874958
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Supply of recess mounted round 9-12 watt, panel LED luminaries complete with electronic driver, made in powder coated CRCA/Aluminium housing with opal/acrylic diffuser, having minimum efficacy of 100 lm/W, provided with Spring loaded clips for installation suitable to operate on 230V, 50Hz single phase AC supply etc, as required. (Model:TRIM LED PANEL SQUARE , Item Code: LHEBLEP7IN1W010 10W, Make : HAVELLS or equivalent approved make). | 60.00 | Each |  | 937.00 | 56220.00 | 1800.00 | 108000.00 | 754.00 | 45240.00 | 1000.00 | 60000.00 | 600.00 | 36000.00 | 36000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.20 | Supply of recess mounted 24 W (2'x2') square down LED luminaries complete with electronic driver, made in powder coated CRCA/Aluminium housing with opal/acrylic diffuser, having minimum efficacy of 100 lm/W suitable to operate on 230V, 50Hz single phase AC supply etc, as required. (Model:VENUSNEOHE2x2r24WlLED840PIRSENSOR, Make : HAVELLS or equivalent approved make). | 90.00 | Each |  | 2022.00 | 181980.00 | 2400.00 | 216000.00 | 1462.00 | 131580.00 | 2400.00 | 216000.00 | 1300.00 | 117000.00 | 117000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.30 | Supply of 120-150 W LED Highbay light luminaire made in high pressure die cast aluminium housing (IP66), polycarbonate optic material &Micro-lens optic in polycarbonate cover with minimum efficacy 110 lm/watt and suitable to operate in 230V, 50 Hz single phase AC supply with electronic driver and having protection against input surge voltage, over voltage etc. (Make: Bajaj Model: BRLEP 90W LED V3 or its equivalent) | 10.00 | Each |  | 5021.00 | 50210.00 | 14000.00 | 140000.00 | 5849.00 | 58490.00 | 9500.00 | 95000.00 | 4770.00 | 47700.00 | 47700.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.40 | Supply of electric ceiling fans 1200 mm sweep capacitor type with double balls bearing with 30 mm down rod, shackles, blades but without speed regulator, having 3 star energy efficient lable certified by Bureau of energy Efficiency (BEE) suitable for operation 230/240 V, 50 Hz. Single phase AC supply. Confirming to IS - 374/1979 with amendments 1,2,3 & 4 class - I and provided with functional insulation etc. as required of AAI approved makes. | 30.00 | Each |  | 2410.00 | 72300.00 | 3700.00 | 111000.00 | 3588.00 | 107640.00 | 2200.00 | 66000.00 | 2600.00 | 78000.00 | 66000.00 | M/s Mahavir Electricals
1.50 | Supply of Exhaust fan of 150 mm sweep, (1200-1400) RPM, having plastic body provided with Robust Motor for continuous running of fan, gravity shutter, louvers including all accessories and suitable to operate on single phase, 230 V, 50 Hz A.C. supply. | 15.00 | Each |  | 1875.00 | 28125.00 | 1800.00 | 27000.00 | 2392.00 | 35880.00 | 1350.00 | 20250.00 | 1500.00 | 22500.00 | 20250.00 | M/s Mahavir Electricals
1.60 | Installation, testing and commissioning of recessed type LED fittings complete with all accessories like GI chain, flexible conduit etc. and directly on false ceiling including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 150.00 | Job |  | 260.00 | 39000.00 | 250.00 | 37500.00 | 598.00 | 89700.00 | 200.00 | 30000.00 | 280.00 | 42000.00 | 30000.00 | M/s Mahavir Electricals
1.70 | Installation, testing and commissioning of LED highbay light luminaires complete with all accessories directly on ceiling / wall / parapet including connection with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 10.00 | Job |  | 390.00 | 3900.00 | 300.00 | 3000.00 | 1256.00 | 12560.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 2000.00 | M/s Mahavir Electricals
1.80 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 30.00 | Job |  | 282.00 | 8460.00 | 350.00 | 10500.00 | 598.00 | 17940.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 4500.00 | M/s Mahavir Electricals
1.90 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 30.00 | Each |  | 450.00 | 13500.00 | 400.00 | 12000.00 | 632.00 | 18960.00 | 350.00 | 10500.00 | 250.00 | 7500.00 | 7500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
2.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
2.10 | a) Upto 450 mm sweep | 15.00 | Each |  | 325.00 | 4875.00 | 1200.00 | 18000.00 | 718.00 | 10770.00 | 400.00 | 6000.00 | 500.00 | 7500.00 | 4875.00 | Ramesh Electrical and Mechanical Works
2.20 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 15.00 | Each |  | 201.00 | 3015.00 | 750.00 | 11250.00 | 598.00 | 8970.00 | 250.00 | 3750.00 | 100.00 | 1500.00 | 1500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
2.30 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc. as required.
2.40 | Group C | 205.00 | Point |  | 1422.00 | 291510.00 | 1400.00 | 287000.00 | 1340.00 | 274700.00 | 1050.00 | 215250.00 | 1350.00 | 276750.00 | 215250.00 | M/s Mahavir Electricals
2.50 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required.
2.60 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1000.00 | mtrs |  | 206.00 | 206000.00 | 250.00 | 250000.00 | 150.00 | 150000.00 | 210.00 | 210000.00 | 240.00 | 240000.00 | 150000.00 | SARASWAT ENGINEERING SERVICES
2.70 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 1400.00 | mtrs |  | 279.00 | 390600.00 | 350.00 | 490000.00 | 209.00 | 292600.00 | 230.00 | 322000.00 | 285.00 | 399000.00 | 292600.00 | SARASWAT ENGINEERING SERVICES
2.80 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 500.00 | mtrs |  | 411.00 | 205500.00 | 400.00 | 200000.00 | 311.00 | 155500.00 | 400.00 | 200000.00 | 410.00 | 205000.00 | 155500.00 | SARASWAT ENGINEERING SERVICES
2.90 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
3.00 | 3 Module (100mm X 75mm) | 130.00 | Each |  | 321.00 | 41730.00 | 150.00 | 19500.00 | 296.00 | 38480.00 | 300.00 | 39000.00 | 300.00 | 39000.00 | 19500.00 | Manish Electricals
3.10 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
3.20 | 5/6 amps switch | 130.00 | Each |  | 71.00 | 9230.00 | 60.00 | 7800.00 | 133.00 | 17290.00 | 60.00 | 7800.00 | 100.00 | 13000.00 | 7800.00 | M/s Mahavir Electricals, Manish Electricals
3.30 | 3 pin 5/6 amp socket outlet | 130.00 | Each |  | 116.00 | 15080.00 | 120.00 | 15600.00 | 224.00 | 29120.00 | 110.00 | 14300.00 | 120.00 | 15600.00 | 14300.00 | M/s Mahavir Electricals
3.40 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 70.00 | Each |  | 675.00 | 47250.00 | 70.00 | 4900.00 | 928.00 | 64960.00 | 450.00 | 31500.00 | 560.00 | 39200.00 | 4900.00 | Manish Electricals
3.50 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
3.60 | Single pole | 170.00 | Each |  | 197.00 | 33490.00 | 180.00 | 30600.00 | 220.00 | 37400.00 | 150.00 | 25500.00 | 220.00 | 37400.00 | 25500.00 | M/s Mahavir Electricals
3.70 | Triple Pole | 17.00 | Each |  | 922.00 | 15674.00 | 900.00 | 15300.00 | 952.00 | 16184.00 | 1000.00 | 17000.00 | 900.00 | 15300.00 | 15300.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, Manish Electricals
3.80 | Supplying and fixing double pole 40 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 17.00 | Each |  | 943.00 | 16031.00 | 480.00 | 8160.00 | 900.00 | 15300.00 | 900.00 | 15300.00 | 825.00 | 14025.00 | 8160.00 | Manish Electricals
3.90 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
4.00 | 40 Amps | 1.00 | Each |  | 801.00 | 801.00 | 800.00 | 800.00 | 904.00 | 904.00 | 1000.00 | 1000.00 | 950.00 | 950.00 | 800.00 | Manish Electricals
4.10 | 63 Amps | 5.00 | Each |  | 838.00 | 4190.00 | 900.00 | 4500.00 | 1010.00 | 5050.00 | 1050.00 | 5250.00 | 1000.00 | 5000.00 | 4190.00 | Ramesh Electrical and Mechanical Works
4.20 | Supplying and fixing following rating, four pole, 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 100 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
4.30 | 63 AMP | 5.00 | Each |  | 3130.00 | 15650.00 | 1400.00 | 7000.00 | 3666.00 | 18330.00 | 3500.00 | 17500.00 | 2700.00 | 13500.00 | 7000.00 | Manish Electricals
4.40 | 40 Amp | 1.00 | Each |  | 2730.00 | 2730.00 | 1200.00 | 1200.00 | 3242.00 | 3242.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 1200.00 | Manish Electricals
4.50 | Supplying and fixing following way, three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator/MCCB )
4.60 | 4 way (8 + 12), Double Door | 5.00 | Each |  | 5739.00 | 28695.00 | 6000.00 | 30000.00 | 5472.00 | 27360.00 | 3700.00 | 18500.00 | 3500.00 | 17500.00 | 17500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
4.70 | 6 way (8 + 18), Double door | 1.00 | Each |  | 6511.00 | 6511.00 | 9000.00 | 9000.00 | 6562.00 | 6562.00 | 4400.00 | 4400.00 | 4100.00 | 4100.00 | 4100.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
4.80 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
4.90 | 6 Way Double Door | 4.00 | Job |  | 3030.00 | 12120.00 | 4000.00 | 16000.00 | 3386.00 | 13544.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 8000.00 | M/s Mahavir Electricals, Krishsons International Engineers And Consultants (I) Pvt. Ltd
5.00 | 8 Way Double Door | 9.00 | Job |  | 3136.00 | 28224.00 | 4800.00 | 43200.00 | 3776.00 | 33984.00 | 2200.00 | 19800.00 | 2225.00 | 20025.00 | 19800.00 | M/s Mahavir Electricals
5.10 | 12 way Double Door | 4.00 | Job |  | 3449.00 | 13796.00 | 6500.00 | 26000.00 | 4565.00 | 18260.00 | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 10000.00 | M/s Mahavir Electricals, Krishsons International Engineers And Consultants (I) Pvt. Ltd
5.20 | Supplying and fixing TPN sheet steel enclosure on surface/ recess along with 16/25/32amps 415 volts "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | 2.00 | Job |  | 1889.00 | 3778.00 | 1200.00 | 2400.00 | 4102.00 | 8204.00 | 1400.00 | 2800.00 | 1800.00 | 3600.00 | 2400.00 | Manish Electricals
5.30 | Supplying and fixing 20 amps, 240 volts, SPN Industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 30.00 | Each |  | 1933.00 | 57990.00 | 1200.00 | 36000.00 | 2239.00 | 67170.00 | 900.00 | 27000.00 | 1800.00 | 54000.00 | 27000.00 | M/s Mahavir Electricals
5.40 | Supply of following sizes of XLPE insulated and PVC sheathed, Aluminiumr conductor armoured, power cable of 1.1 KV grade confirming to IS 7098 (Part - 2) amended upto date.
5.50 | 4 C x 25 sq.mm | 200.00 | Meter |  | 320.00 | 64000.00 | 350.00 | 70000.00 | 226.00 | 45200.00 | 350.00 | 70000.00 | 230.00 | 46000.00 | 45200.00 | SARASWAT ENGINEERING SERVICES
5.60 | 4 C x 16 sq.mm | 200.00 | Meter |  | 247.00 | 49400.00 | 200.00 | 40000.00 | 172.00 | 34400.00 | 275.00 | 55000.00 | 185.00 | 37000.00 | 34400.00 | SARASWAT ENGINEERING SERVICES
5.70 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall/surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 400.00 | Meter |  | 78.00 | 31200.00 | 90.00 | 36000.00 | 54.00 | 21600.00 | 70.00 | 28000.00 | 48.00 | 19200.00 | 19200.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
5.80 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 kv grade as required.
5.90 | 4 x 25 sq.mm (28mm) | 10.00 | set |  | 347.00 | 3470.00 | 560.00 | 5600.00 | 446.00 | 4460.00 | 550.00 | 5500.00 | 350.00 | 3500.00 | 3470.00 | Ramesh Electrical and Mechanical Works
6.00 | 4 x 16 sq.mm (28mm) | 2.00 | Set |  | 303.00 | 606.00 | 560.00 | 1120.00 | 434.00 | 868.00 | 550.00 | 1100.00 | 340.00 | 680.00 | 606.00 | Ramesh Electrical and Mechanical Works
6.10 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 10.00 | Each |  | 9635.00 | 96350.00 | 9000.00 | 90000.00 | 13395.00 | 133950.00 | 8000.00 | 80000.00 | 4000.00 | 40000.00 | 40000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
6.20 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe From earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 60.00 | Mtr |  | 992.00 | 59520.00 | 600.00 | 36000.00 | 833.00 | 49980.00 | 700.00 | 42000.00 | 600.00 | 36000.00 | 36000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, Manish Electricals
| Total in Figures |  |  |  |  | 2212711.00 |  | 2477930.00 |  | 2122332.00 |  | 2010500.00 |  | 1985030.00
Lowest Amount Quoted BY: Krishsons International Engineers And Consultants (I) Pvt. Ltd(1985030.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to Fire Station ATC Tower Guest House and Officers Club at Juhu Airport SH Electrical Works. Tender ID: 2025_AAI_239877_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Krishsons International Engineers And Consultants (I) Pvt. Ltd (BID ID -874958) | 1985030.00 | L1
| 2 | M/s Mahavir Electricals (BID ID -872067) | 2010500.00 | L2
| 3 | SARASWAT ENGINEERING SERVICES (BID ID -876966) | 2122332.00 | L3
| 4 | Ramesh Electrical and Mechanical Works (BID ID -876820) | 2212711.00 | L4
| 5 | Manish Electricals (BID ID -876933) | 2477930.00 | L5