## BoQ1
Government eProcurement System Created By: VIDYUT KESH SINGH Created Date/Time: 04-Sep-2025 03:44 PM Tender Title: Augmentation of power supply system at Srinagar Airport Tender ID: 2025_AAI_240343_1
Tender Inviting Authority: DGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Name of Work : Augumentation of power supply system atSrinagar Airport
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. T. ELECTRICALS PVT. LTD. (GSTN-27AAGCS6214D1ZK) BID ID -876901 |  | shiv electric (GSTN-07AACFS2722H1ZF) BID ID -877138 |  | S.L. ELECTROMECH PVT. LTD. (GSTN-07AAACR1317E2ZW) BID ID -879912 |  | MARIB CONSTRUCTIONS (GSTN-01AAOFM2287R1ZO) BID ID -880043 |  | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION (GSTN-09AOTPS2578C1ZC) BID ID -880898 |  | BUDHIRAJA ELECTRICALS (GSTN-NA) BID ID -877524 |  | Kulaswaminee Engineerrs (GSTN-NA) BID ID -869399 |  | M AND COMPANY ENGINEERS AND CONTRACTORS PRIVATE LIMITED (GSTN-NA) BID ID -881221 |  | A TO Z Service Solution (GSTN-NA) BID ID -877517 |  | JCC ENGINEERS PRIVATE LIMITED (GSTN-NA) BID ID -879967 |  | Ali Mohammad Baba & Sons (GSTN-NA) BID ID -876239
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 11 KV PANEL Supply, Installation, Testing and Commissioning of indoor type floor mounted metal clad. | 1.00 | set |  | 6858000.00 | 6858000.00 | 4375000.00 | 4375000.00 | 4424242.00 | 4424242.00 | 4900515.00 | 4900515.00 | 4000000.00 | 4000000.00 | 4130000.00 | 4130000.00 | 3714965.00 | 3714965.00 | 5027022.00 | 5027022.00 | 4950000.00 | 4950000.00 | 4000000.00 | 4000000.00 | 8135250.00 | 8135250.00 | 3714965.00 | Kulaswaminee Engineerrs
2.00 | Oil TYPE TRANSFORMER OF 1600KVA Supply, installation assembling, transporting, Loading, testing and commissioning of Outdoor oil type 1600 kVA 11/0.433 KV, 3 Phase, 50Hz, Dyn11 vector group. | 1.00 | set |  | 2540000.00 | 2540000.00 | 2200000.00 | 2200000.00 | 3136969.00 | 3136969.00 | 3655515.00 | 3655515.00 | 8800000.00 | 8800000.00 | 3300000.00 | 3300000.00 | 3556611.00 | 3556611.00 | 5879952.00 | 5879952.00 | 5045000.00 | 5045000.00 | 2500000.00 | 2500000.00 | 5000000.00 | 5000000.00 | 2200000.00 | shiv electric
3.00 | DG SET'S - 750KVA (with inbuilt PCC controller) SITC of 'Silent Type' Diesel Generating set having PCC controller alongwith having Prime Power Rating of 750KVA, 415V at 1500RPM, 0.8 lagging power factor at 415V suitable for 50Hz, 3 Phase system & for 0.85 Load Factor. | 1.00 | set |  | 7546999.00 | 7546999.00 | 7699782.00 | 7699782.00 | 7467424.00 | 7467424.00 | 7755515.00 | 7755515.00 | 10700000.00 | 10700000.00 | 7185000.00 | 7185000.00 | 7049704.00 | 7049704.00 | 11436984.00 | 11436984.00 | 7820000.00 | 7820000.00 | 8000000.00 | 8000000.00 | 7291000.00 | 7291000.00 | 7049704.00 | Kulaswaminee Engineerrs
4.00 | DG SET'S - 500KVA (with inbuilt PCC controller) SITC of 'Silent Type' Diesel Generating set having PCC controller alongwith having Prime Power Rating of 500KVA, 415V at 1500RPM, 0.8 lagging power factor at 415V suitable for 50Hz, 3 Phase system & for 0.85 Load Factor. | 1.00 | set |  | 5500000.00 | 5500000.00 | 5228000.00 | 5228000.00 | 5042424.00 | 5042424.00 | 7255515.00 | 7255515.00 | 8500000.00 | 8500000.00 | 4576000.00 | 4576000.00 | 4200599.00 | 4200599.00 | 7224984.00 | 7224984.00 | 5345000.00 | 5345000.00 | 4500000.00 | 4500000.00 | 4559000.00 | 4559000.00 | 4200599.00 | Kulaswaminee Engineerrs
5.00 | MAIN LT CUM DG SYNC. PANEL TTA Assembly (IEC-61439-Part 1&2) Supply, Installation, Testing and Commissioning of cubicle LT panel. | 1.00 | set |  | 11000000.00 | 11000000.00 | 8900000.00 | 8900000.00 | 9132484.00 | 9132484.00 | 9555515.00 | 9555515.00 | 3000000.00 | 3000000.00 | 8940000.00 | 8940000.00 | 10190841.00 | 10190841.00 | 1770725.00 | 1770725.00 | 12500000.00 | 12500000.00 | 10000000.00 | 10000000.00 | 12000000.00 | 12000000.00 | 1770725.00 | M AND COMPANY ENGINEERS AND CONTRACTORS PRIVATE LIMITED
6.00 | SCADA System Supply and installation of Window based scada software for visualization of SLD, Data Logging and Event Logging of DG, H.T. & L.T. System in Substation. | 1.00 | set |  | 1900000.00 | 1900000.00 | 1700000.00 | 1700000.00 | 1018181.00 | 1018181.00 | 1000515.00 | 1000515.00 | 2250000.00 | 2250000.00 | 970000.00 | 970000.00 | 617787.00 | 617787.00 | 3071952.00 | 3071952.00 | 3015000.00 | 3015000.00 | 800000.00 | 800000.00 | 1353000.00 | 1353000.00 | 617787.00 | Kulaswaminee Engineerrs
7.00 | HYBRID APFC PANEL IGBT based automatic Hybrid Power Factor Correction panel, 14% de-tuned filter (150Amp Active + 250kVAr Passive) consist of following switch gears and accessories. | 2.00 | set |  | 2800000.00 | 5600000.00 | 1305000.00 | 2610000.00 | 1330303.00 | 2660606.00 | 1025515.00 | 2051030.00 | 500000.00 | 1000000.00 | 1235000.00 | 2470000.00 | 1100558.00 | 2201116.00 | 1603087.00 | 3206174.00 | 2220000.00 | 4440000.00 | 1500000.00 | 3000000.00 | 1212000.00 | 2424000.00 | 1000000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
8.00 | Gas Based Fire Suppression System FIRE TUBE SUPPRESSION SYSTEM - ELECTRICAL PANELS
8.10 | SITC of 4 Kg, Clean Agent (FK 5-1-12), Fire Extinguisher Clean Agent with Zero Ozone Depletion Potential. Container along with valve assembly. | 5.00 | Nos |  | 4500.00 | 22500.00 | 35290.00 | 176450.00 | 27878.00 | 139390.00 | 55515.00 | 277575.00 | 4500.00 | 22500.00 | 40760.00 | 203800.00 | 51589.00 | 257945.00 | 61425.00 | 307125.00 | 60000.00 | 300000.00 | 30000.00 | 150000.00 | 120700.00 | 603500.00 | 22500.00 | S. T. ELECTRICALS PVT. LTD., PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
8.20 | SITC of Heat Sensor tube for automatic fire suppression system made by special modified Polyamide (PA), Colour Black, High grade HR quality, UV Stabilized, Inner diameter 4mm, Outer Diameter 6 MM. | 200.00 | RM |  | 1000.00 | 200000.00 | 600.00 | 120000.00 | 654.00 | 130800.00 | 1015.00 | 203000.00 | 1250.00 | 250000.00 | 930.00 | 186000.00 | 1225.00 | 245000.00 | 351.00 | 70200.00 | 1050.00 | 210000.00 | 500.00 | 100000.00 | 1875.00 | 375000.00 | 70200.00 | M AND COMPANY ENGINEERS AND CONTRACTORS PRIVATE LIMITED
8.30 | SITC of End of Line adapter for Pressure gauge fitting for Automatic fire suppression tube used for fitting at the end of the tube for pressurizing and repressurizing the tube. Maximum working pressure 25 Bars. | 10.00 | Nos |  | 3400.00 | 34000.00 | 2000.00 | 20000.00 | 1454.00 | 14540.00 | 3615.00 | 36150.00 | 2500.00 | 25000.00 | 1840.00 | 18400.00 | 2801.00 | 28010.00 | 5265.00 | 52650.00 | 6750.00 | 67500.00 | 2000.00 | 20000.00 | 3670.00 | 36700.00 | 14540.00 | S.L. ELECTROMECH PVT. LTD.
8.40 | SITC of End of Line Plug for Automatic fire suppression tube used for fitting at the tube end to terminate the point. Maximum working pressure 25 Bars. | 10.00 | Nos |  | 2450.00 | 24500.00 | 2000.00 | 20000.00 | 1454.00 | 14540.00 | 1515.00 | 15150.00 | 2000.00 | 20000.00 | 930.00 | 9300.00 | 1154.00 | 11540.00 | 5265.00 | 52650.00 | 6750.00 | 67500.00 | 1000.00 | 10000.00 | 1130.00 | 11300.00 | 9300.00 | BUDHIRAJA ELECTRICALS
8.50 | SITC of Pressure Switch | 5.00 | Nos |  | 6300.00 | 31500.00 | 3111.00 | 15555.00 | 2181.00 | 10905.00 | 5515.00 | 27575.00 | 1250.00 | 6250.00 | 5600.00 | 28000.00 | 3407.00 | 17035.00 | 8775.00 | 43875.00 | 18750.00 | 93750.00 | 4000.00 | 20000.00 | 540.00 | 2700.00 | 2700.00 | Ali Mohammad Baba & Sons
8.60 | SITC of Audio Visual Alarm | 5.00 | Nos |  | 12000.00 | 60000.00 | 4445.00 | 22225.00 | 2181.00 | 10905.00 | 15515.00 | 77575.00 | 1500.00 | 7500.00 | 5500.00 | 27500.00 | 9435.00 | 47175.00 | 8775.00 | 43875.00 | 3750.00 | 18750.00 | 3000.00 | 15000.00 | 36000.00 | 180000.00 | 7500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
9.00 | Bus Duct Supplying, installing by suspension on ceiling, testing and commissioning of following capacity Sandwich Type Bus Trunking
9.10 | 2500 amps 50KA SC for 1 sec | 100.00 | Mtr |  | 41000.00 | 4100000.00 | 37320.00 | 3732000.00 | 30224.00 | 3022400.00 | 38515.00 | 3851500.00 | 32000.00 | 3200000.00 | 47500.00 | 4750000.00 | 36636.00 | 3663600.00 | 10530.00 | 1053000.00 | 45000.00 | 4500000.00 | 40000.00 | 4000000.00 | 47990.00 | 4799000.00 | 1053000.00 | M AND COMPANY ENGINEERS AND CONTRACTORS PRIVATE LIMITED
10.00 | SAFETY EQUIPMENTS
10.10 | Supplying of Rubber hand gloves suitable for 11 kV. | 2.00 | Pair |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 606.00 | 1212.00 | 2015.00 | 4030.00 | 1200.00 | 2400.00 | 800.00 | 1600.00 | 1213.00 | 2426.00 | 13167.00 | 26334.00 | 850.00 | 1700.00 | 2000.00 | 4000.00 | 430.00 | 860.00 | 860.00 | Ali Mohammad Baba & Sons
10.20 | Supplying and fixing of Shock treatment chart both in Regional, Hindi & English.and framed with 5mm thick glass as required. | 2.00 | Each |  | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 969.00 | 1938.00 | 1015.00 | 2030.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 6784.00 | 13568.00 | 3510.00 | 7020.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 230.00 | 460.00 | 460.00 | Ali Mohammad Baba & Sons
10.30 | Supply & fixing HT danger notice plate of 250 mm x 200mm, made of mild steel sheet of at least 2mm thick & vitreous enamelled white on both sides and with inscription in signal red colour on front side as required. (11 kV) | 2.00 | Each |  | 100.00 | 200.00 | 700.00 | 1400.00 | 303.00 | 606.00 | 2515.00 | 5030.00 | 350.00 | 700.00 | 300.00 | 600.00 | 1818.00 | 3636.00 | 5265.00 | 10530.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 110.00 | 220.00 | 200.00 | S. T. ELECTRICALS PVT. LTD.
10.40 | Supply of First aid box containing material as prescribed by St. John Ambulance brigade OR Indian Red Cross complete as required. | 2.00 | Each |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1212.00 | 2424.00 | 1515.00 | 3030.00 | 1200.00 | 2400.00 | 2000.00 | 4000.00 | 1213.00 | 2426.00 | 13167.00 | 26334.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 6300.00 | 12600.00 | 1000.00 | JCC ENGINEERS PRIVATE LIMITED
10.50 | Providing of synthetic Insulation mat 1 meter wide & 25mm thick to withstand 12kV dielectric strength as per IS 15652- 2006 | 20.00 | RM |  | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 3636.00 | 72720.00 | 1015.00 | 20300.00 | 2000.00 | 40000.00 | 4000.00 | 80000.00 | 4121.00 | 82420.00 | 14040.00 | 280800.00 | 1050.00 | 21000.00 | 5000.00 | 100000.00 | 633.00 | 12660.00 | 12660.00 | Ali Mohammad Baba & Sons
10.60 | Providing Single Line Diagram on 5mm thick Aluminium sheet in A0 Size duly laminated. | 1.00 | Each |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 1818.00 | 1818.00 | 5515.00 | 5515.00 | 1200.00 | 1200.00 | 10000.00 | 10000.00 | 6664.00 | 6664.00 | 35100.00 | 35100.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 1200.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
10.70 | Providing Single Line Diagram on 5mm thick Aluminium sheet in A1 Size duly laminated. | 1.00 | Each |  | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 1818.00 | 1818.00 | 5515.00 | 5515.00 | 1500.00 | 1500.00 | 8000.00 | 8000.00 | 5787.00 | 5787.00 | 26235.00 | 26235.00 | 5000.00 | 5000.00 | 8000.00 | 8000.00 | 5500.00 | 5500.00 | 1500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
11.00 | EARTHING (SUB-STATION EQUIPMENTS & DG SET)
11.10 | Earthing with copper earth plate 600mm x 600mm x 3.0mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal and salt complete as required. | 10.00 | Set |  | 18000.00 | 180000.00 | 15000.00 | 150000.00 | 17575.00 | 175750.00 | 13515.00 | 135150.00 | 20000.00 | 200000.00 | 25000.00 | 250000.00 | 24621.00 | 246210.00 | 50751.00 | 507510.00 | 28000.00 | 280000.00 | 25000.00 | 250000.00 | 13900.00 | 139000.00 | 135150.00 | MARIB CONSTRUCTIONS
11.20 | Earthing with GI earth plate 600mm x 600mm x 6.0mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal and salt complete as required. | 5.00 | Set |  | 6000.00 | 30000.00 | 8000.00 | 40000.00 | 8485.00 | 42425.00 | 7515.00 | 37575.00 | 11000.00 | 55000.00 | 8500.00 | 42500.00 | 16065.00 | 80325.00 | 28818.00 | 144090.00 | 43500.00 | 217500.00 | 8000.00 | 40000.00 | 4335.00 | 21675.00 | 21675.00 | Ali Mohammad Baba & Sons
11.30 | Providing & fixing of 50mm x 5mm GI strip on surface or recess for earth connection as required. | 100.00 | RM |  | 225.00 | 22500.00 | 300.00 | 30000.00 | 315.00 | 31500.00 | 195.00 | 19500.00 | 850.00 | 85000.00 | 380.00 | 38000.00 | 287.00 | 28700.00 | 567.00 | 56700.00 | 155.00 | 15500.00 | 400.00 | 40000.00 | 285.00 | 28500.00 | 15500.00 | A TO Z Service Solution
11.40 | Providing & fixing of 65 mm x 8 mm GI strip on surface or recess for earth connection as required. | 100.00 | RM |  | 450.00 | 45000.00 | 526.00 | 52600.00 | 581.00 | 58100.00 | 385.00 | 38500.00 | 1050.00 | 105000.00 | 800.00 | 80000.00 | 589.00 | 58900.00 | 747.00 | 74700.00 | 320.00 | 32000.00 | 500.00 | 50000.00 | 514.00 | 51400.00 | 32000.00 | A TO Z Service Solution
11.50 | Providing & fixing of 75mm x 10mm GI strip on surface or recess for earth connection as required. | 100.00 | RM |  | 650.00 | 65000.00 | 700.00 | 70000.00 | 836.00 | 83600.00 | 555.00 | 55500.00 | 1250.00 | 125000.00 | 1000.00 | 100000.00 | 806.00 | 80600.00 | 918.00 | 91800.00 | 450.00 | 45000.00 | 650.00 | 65000.00 | 715.00 | 71500.00 | 45000.00 | A TO Z Service Solution
11.60 | Providing & fixing of 50mm x 5mm copper strip on surface or recess for earth connection as required. | 100.00 | RM |  | 2400.00 | 240000.00 | 2798.00 | 279800.00 | 2575.00 | 257500.00 | 2015.00 | 201500.00 | 1700.00 | 170000.00 | 3100.00 | 310000.00 | 2491.00 | 249100.00 | 2673.00 | 267300.00 | 780.00 | 78000.00 | 2000.00 | 200000.00 | 2890.00 | 289000.00 | 78000.00 | A TO Z Service Solution
11.70 | Supply and Laying of GI Pipe for running GI/Copper strip for earth connection as required and as per specifications. 80 mm inner dia | 100.00 | Mtr |  | 1000.00 | 100000.00 | 1406.00 | 140600.00 | 1454.00 | 145400.00 | 815.00 | 81500.00 | 1800.00 | 180000.00 | 1000.00 | 100000.00 | 1288.00 | 128800.00 | 918.00 | 91800.00 | 660.00 | 66000.00 | 800.00 | 80000.00 | 1550.00 | 155000.00 | 66000.00 | A TO Z Service Solution
12.00 | Supply of following sizes of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 11 kV grade conforming to IS 7098 (Part-II) amended upto date. 3 Core, 300 Sq.mm. | 200.00 | Mtr |  | 2100.00 | 420000.00 | 1938.00 | 387600.00 | 1445.00 | 289000.00 | 2115.00 | 423000.00 | 1600.00 | 320000.00 | 1815.00 | 363000.00 | 2274.00 | 454800.00 | 3159.00 | 631800.00 | 1725.00 | 345000.00 | 2800.00 | 560000.00 | 2106.00 | 421200.00 | 289000.00 | S.L. ELECTROMECH PVT. LTD.
13.00 | supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : 300 Sqmm | 12.00 | Set |  | 4300.00 | 51600.00 | 5000.00 | 60000.00 | 6612.00 | 79344.00 | 3015.00 | 36180.00 | 7500.00 | 90000.00 | 8000.00 | 96000.00 | 12525.00 | 150300.00 | 10845.00 | 130140.00 | 2275.00 | 27300.00 | 10000.00 | 120000.00 | 4000.00 | 48000.00 | 27300.00 | A TO Z Service Solution
14.00 | Supply and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 kV grade as required. 300 sqmm 11 kV XLPE cable | 2.00 | Each |  | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 11939.00 | 23878.00 | 6515.00 | 13030.00 | 22000.00 | 44000.00 | 23000.00 | 46000.00 | 25570.00 | 51140.00 | 10845.00 | 21690.00 | 5450.00 | 10900.00 | 8000.00 | 16000.00 | 8980.00 | 17960.00 | 10900.00 | A TO Z Service Solution
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing Cable tray as required. Above 185 sq. mm and upto 400 sq. mm | 50.00 | Mtr |  | 250.00 | 12500.00 | 200.00 | 10000.00 | 157.00 | 7850.00 | 75.00 | 3750.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 384.00 | 19200.00 | 270.00 | 13500.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 3750.00 | MARIB CONSTRUCTIONS
16.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing Cable tray as required. Above 120 sq. mm and upto 400 sq. mm | 50.00 | Mtr |  | 150.00 | 7500.00 | 200.00 | 10000.00 | 157.00 | 7850.00 | 75.00 | 3750.00 | 100.00 | 5000.00 | 360.00 | 18000.00 | 420.00 | 21000.00 | 270.00 | 13500.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 3750.00 | MARIB CONSTRUCTIONS
17.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 11 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. Above 120 sq.mm and upto 400 sq.mm. | 25.00 | Mtr |  | 600.00 | 15000.00 | 400.00 | 10000.00 | 484.00 | 12100.00 | 75.00 | 1875.00 | 300.00 | 7500.00 | 450.00 | 11250.00 | 720.00 | 18000.00 | 567.00 | 14175.00 | 450.00 | 11250.00 | 400.00 | 10000.00 | 622.00 | 15550.00 | 1875.00 | MARIB CONSTRUCTIONS
18.00 | Laying of one number additional PVC insulated and PVC sheathed/XLPE power cable of 11 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required. Above 120 sq.mm and upto 400 sq.mm. | 25.00 | Mtr |  | 500.00 | 12500.00 | 380.00 | 9500.00 | 351.00 | 8775.00 | 75.00 | 1875.00 | 350.00 | 8750.00 | 420.00 | 10500.00 | 720.00 | 18000.00 | 567.00 | 14175.00 | 450.00 | 11250.00 | 350.00 | 8750.00 | 622.00 | 15550.00 | 1875.00 | MARIB CONSTRUCTIONS
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC / HUME / METAL pipe as required. Above 120 sq.mm and upto 400 sq.mm. | 50.00 | Mtr |  | 175.00 | 8750.00 | 130.00 | 6500.00 | 145.00 | 7250.00 | 75.00 | 3750.00 | 125.00 | 6250.00 | 170.00 | 8500.00 | 468.00 | 23400.00 | 369.00 | 18450.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 110.00 | 5500.00 | 3750.00 | MARIB CONSTRUCTIONS
20.00 | Laying of PVC insulated and PVC sheathed/ XPLE power cable of 11 kV grade of following size in hard rock soil, including road, rock cutting, protective covering and refilling and making good cutting areas etc. as required. Above 120 sq.mm and upto 400 sq.mm. | 25.00 | Mtr |  | 750.00 | 18750.00 | 600.00 | 15000.00 | 969.00 | 24225.00 | 75.00 | 1875.00 | 2500.00 | 62500.00 | 420.00 | 10500.00 | 1260.00 | 31500.00 | 369.00 | 9225.00 | 450.00 | 11250.00 | 300.00 | 7500.00 | 822.00 | 20550.00 | 1875.00 | MARIB CONSTRUCTIONS
21.00 | Supplying of following sizes of 1.1 kV grade PVC insulated copper conductor armoured stranded Control Cable conforming to IS :1554 complete as required and as per specifications.
21.10 | 3 core, 2.5 Sq.mm. Cu. Conductor cable | 100.00 | Mtr |  | 131.00 | 13100.00 | 126.00 | 12600.00 | 202.00 | 20200.00 | 215.00 | 21500.00 | 398.00 | 39800.00 | 127.00 | 12700.00 | 115.00 | 11500.00 | 180.00 | 18000.00 | 135.00 | 13500.00 | 350.00 | 35000.00 | 144.00 | 14400.00 | 11500.00 | Kulaswaminee Engineerrs
21.20 | 4 core, 2.5 Sq.mm. Cu. Conductor cable | 100.00 | Mtr |  | 163.00 | 16300.00 | 163.00 | 16300.00 | 261.00 | 26100.00 | 295.00 | 29500.00 | 514.00 | 51400.00 | 176.00 | 17600.00 | 147.00 | 14700.00 | 234.00 | 23400.00 | 168.00 | 16800.00 | 400.00 | 40000.00 | 184.00 | 18400.00 | 14700.00 | Kulaswaminee Engineerrs
21.30 | 7 core, 2.5 Sq.mm. Cu. Conductor cable | 100.00 | Mtr |  | 280.00 | 28000.00 | 266.00 | 26600.00 | 426.00 | 42600.00 | 455.00 | 45500.00 | 838.00 | 83800.00 | 280.00 | 28000.00 | 230.00 | 23000.00 | 369.00 | 36900.00 | 255.00 | 25500.00 | 700.00 | 70000.00 | 297.00 | 29700.00 | 23000.00 | Kulaswaminee Engineerrs
21.40 | 12 core, 2.5 Sq.mm. Cu. Conductor cable | 100.00 | Mtr |  | 440.00 | 44000.00 | 369.00 | 36900.00 | 696.00 | 69600.00 | 615.00 | 61500.00 | 1368.00 | 136800.00 | 450.00 | 45000.00 | 387.00 | 38700.00 | 621.00 | 62100.00 | 397.00 | 39700.00 | 900.00 | 90000.00 | 482.00 | 48200.00 | 36900.00 | shiv electric
21.50 | 19 core, 2.5 Sq.mm. Cu. Conductor cable | 100.00 | Mtr |  | 675.00 | 67500.00 | 1972.00 | 197200.00 | 1083.00 | 108300.00 | 695.00 | 69500.00 | 2128.00 | 212800.00 | 700.00 | 70000.00 | 596.00 | 59600.00 | 972.00 | 97200.00 | 604.00 | 60400.00 | 1500.00 | 150000.00 | 748.00 | 74800.00 | 59600.00 | Kulaswaminee Engineerrs
22.00 | Supply of following size of 1.1kv grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part - I) with upto date amendments.
22.10 | 3.5 core, 400 Sq.mm. | 400.00 | Mtr |  | 1885.00 | 754000.00 | 1780.00 | 712000.00 | 1772.00 | 708800.00 | 2215.00 | 886000.00 | 2700.00 | 1080000.00 | 1695.00 | 678000.00 | 1572.00 | 628800.00 | 2655.00 | 1062000.00 | 1763.00 | 705200.00 | 2700.00 | 1080000.00 | 2080.00 | 832000.00 | 628800.00 | Kulaswaminee Engineerrs
22.20 | 3.5 core, 300 Sq.mm. | 500.00 | Mtr |  | 1450.00 | 725000.00 | 1393.00 | 696500.00 | 1384.00 | 692000.00 | 1715.00 | 857500.00 | 2000.00 | 1000000.00 | 1325.00 | 662500.00 | 1231.00 | 615500.00 | 2070.00 | 1035000.00 | 1357.00 | 678500.00 | 1800.00 | 900000.00 | 1630.00 | 815000.00 | 615500.00 | Kulaswaminee Engineerrs
22.30 | 3.5 core, 240 Sq.mm. | 200.00 | Mtr |  | 1174.00 | 234800.00 | 1132.00 | 226400.00 | 1127.00 | 225400.00 | 1415.00 | 283000.00 | 1800.00 | 360000.00 | 1080.00 | 216000.00 | 1041.00 | 208200.00 | 1755.00 | 351000.00 | 1102.00 | 220400.00 | 1700.00 | 340000.00 | 1350.00 | 270000.00 | 208200.00 | Kulaswaminee Engineerrs
22.40 | 3.5 core, 185 Sq.mm. | 100.00 | Mtr |  | 933.00 | 93300.00 | 902.00 | 90200.00 | 898.00 | 89800.00 | 1115.00 | 111500.00 | 1400.00 | 140000.00 | 860.00 | 86000.00 | 811.00 | 81100.00 | 1386.00 | 138600.00 | 875.00 | 87500.00 | 1500.00 | 150000.00 | 1085.00 | 108500.00 | 81100.00 | Kulaswaminee Engineerrs
22.50 | 3.5 core, 120 Sq.mm. | 100.00 | Mtr |  | 630.00 | 63000.00 | 601.00 | 60100.00 | 597.00 | 59700.00 | 725.00 | 72500.00 | 1000.00 | 100000.00 | 580.00 | 58000.00 | 558.00 | 55800.00 | 936.00 | 93600.00 | 600.00 | 60000.00 | 1000.00 | 100000.00 | 730.00 | 73000.00 | 55800.00 | Kulaswaminee Engineerrs
22.60 | 3.5 core, 95 Sq.mm. | 100.00 | Mtr |  | 500.00 | 50000.00 | 479.00 | 47900.00 | 477.00 | 47700.00 | 585.00 | 58500.00 | 800.00 | 80000.00 | 460.00 | 46000.00 | 446.00 | 44600.00 | 747.00 | 74700.00 | 475.00 | 47500.00 | 800.00 | 80000.00 | 586.00 | 58600.00 | 44600.00 | Kulaswaminee Engineerrs
22.70 | 3.5 core, 50 Sq.mm. | 100.00 | Mtr |  | 284.00 | 28400.00 | 285.00 | 28500.00 | 283.00 | 28300.00 | 345.00 | 34500.00 | 450.00 | 45000.00 | 280.00 | 28000.00 | 254.00 | 25400.00 | 441.00 | 44100.00 | 275.00 | 27500.00 | 500.00 | 50000.00 | 354.00 | 35400.00 | 25400.00 | Kulaswaminee Engineerrs
22.80 | 3.5 core, 35 Sq.mm. | 100.00 | Mtr |  | 216.00 | 21600.00 | 210.00 | 21000.00 | 209.00 | 20900.00 | 255.00 | 25500.00 | 300.00 | 30000.00 | 210.00 | 21000.00 | 191.00 | 19100.00 | 315.00 | 31500.00 | 210.00 | 21000.00 | 400.00 | 40000.00 | 266.00 | 26600.00 | 19100.00 | Kulaswaminee Engineerrs
22.90 | 3.5 core, 25 Sq.mm. | 100.00 | Mtr |  | 172.00 | 17200.00 | 173.00 | 17300.00 | 172.00 | 17200.00 | 215.00 | 21500.00 | 250.00 | 25000.00 | 173.00 | 17300.00 | 157.00 | 15700.00 | 270.00 | 27000.00 | 170.00 | 17000.00 | 300.00 | 30000.00 | 222.00 | 22200.00 | 15700.00 | Kulaswaminee Engineerrs
23.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE Power cable of 1.1kV grade of following sizes on existing cable tray etc.as required.
23.10 | Upto 35 sq. mm | 350.00 | Mtr |  | 50.00 | 17500.00 | 150.00 | 52500.00 | 49.00 | 17150.00 | 35.00 | 12250.00 | 100.00 | 35000.00 | 125.00 | 43750.00 | 44.00 | 15400.00 | 99.00 | 34650.00 | 180.00 | 63000.00 | 50.00 | 17500.00 | 50.00 | 17500.00 | 12250.00 | MARIB CONSTRUCTIONS
23.20 | Above 185 sq. mm and upto 400 sq. mm | 1500.00 | Mtr |  | 89.00 | 133500.00 | 200.00 | 300000.00 | 146.00 | 219000.00 | 75.00 | 112500.00 | 100.00 | 150000.00 | 220.00 | 330000.00 | 90.00 | 135000.00 | 333.00 | 499500.00 | 290.00 | 435000.00 | 50.00 | 75000.00 | 80.00 | 120000.00 | 75000.00 | JCC ENGINEERS PRIVATE LIMITED
24.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
24.10 | Upto 35 sq. mm | 50.00 | Mtr |  | 50.00 | 2500.00 | 70.00 | 3500.00 | 49.00 | 2450.00 | 35.00 | 1750.00 | 200.00 | 10000.00 | 65.00 | 3250.00 | 50.00 | 2500.00 | 135.00 | 6750.00 | 180.00 | 9000.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 1750.00 | MARIB CONSTRUCTIONS
24.20 | Above 185 sq. mm and upto 400 sq. mm | 400.00 | Mtr |  | 89.00 | 35600.00 | 120.00 | 48000.00 | 146.00 | 58400.00 | 75.00 | 30000.00 | 200.00 | 80000.00 | 170.00 | 68000.00 | 126.00 | 50400.00 | 414.00 | 165600.00 | 290.00 | 116000.00 | 50.00 | 20000.00 | 100.00 | 40000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
25.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kV grade of the following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
25.10 | Up to 35 sq.mm | 50.00 | Mtr |  | 50.00 | 2500.00 | 300.00 | 15000.00 | 363.00 | 18150.00 | 35.00 | 1750.00 | 350.00 | 17500.00 | 320.00 | 16000.00 | 720.00 | 36000.00 | 423.00 | 21150.00 | 180.00 | 9000.00 | 400.00 | 20000.00 | 100.00 | 5000.00 | 1750.00 | MARIB CONSTRUCTIONS
25.20 | above 185 sq.mm. and upto 400 sq.mm. | 100.00 | Mtr |  | 90.00 | 9000.00 | 350.00 | 35000.00 | 485.00 | 48500.00 | 75.00 | 7500.00 | 350.00 | 35000.00 | 385.00 | 38500.00 | 1092.00 | 109200.00 | 621.00 | 62100.00 | 290.00 | 29000.00 | 500.00 | 50000.00 | 622.00 | 62200.00 | 7500.00 | MARIB CONSTRUCTIONS
26.00 | Laying of one number additional PVC insulated and PVC sheathed/ XLPE power cable of 1.1 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushionning, protective covering and refilling the trench etc as required.
26.10 | Up to 35 sq.mm | 50.00 | Mtr |  | 96.00 | 4800.00 | 250.00 | 12500.00 | 242.00 | 12100.00 | 35.00 | 1750.00 | 100.00 | 5000.00 | 325.00 | 16250.00 | 720.00 | 36000.00 | 423.00 | 21150.00 | 180.00 | 9000.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 1750.00 | MARIB CONSTRUCTIONS
26.20 | above 185 sq.mm. and upto 400 sq.mm. | 100.00 | Mtr |  | 125.00 | 12500.00 | 300.00 | 30000.00 | 363.00 | 36300.00 | 75.00 | 7500.00 | 100.00 | 10000.00 | 400.00 | 40000.00 | 1092.00 | 109200.00 | 621.00 | 62100.00 | 290.00 | 29000.00 | 300.00 | 30000.00 | 300.00 | 30000.00 | 7500.00 | MARIB CONSTRUCTIONS
27.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct as required.
27.10 | Up to 35 sq.mm | 100.00 | Mtr |  | 50.00 | 5000.00 | 60.00 | 6000.00 | 48.00 | 4800.00 | 35.00 | 3500.00 | 100.00 | 10000.00 | 75.00 | 7500.00 | 50.00 | 5000.00 | 90.00 | 9000.00 | 180.00 | 18000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 3500.00 | MARIB CONSTRUCTIONS
27.20 | above 185 sq.mm. and upto 400 sq.mm. | 500.00 | Mtr |  | 125.00 | 62500.00 | 100.00 | 50000.00 | 146.00 | 73000.00 | 75.00 | 37500.00 | 150.00 | 75000.00 | 140.00 | 70000.00 | 126.00 | 63000.00 | 342.00 | 171000.00 | 290.00 | 145000.00 | 50.00 | 25000.00 | 50.00 | 25000.00 | 25000.00 | Ali Mohammad Baba & Sons, JCC ENGINEERS PRIVATE LIMITED
28.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE powercable of 1.1 kV grade of following size on wall surface as required.
28.10 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 100.00 | Mtr |  | 190.00 | 19000.00 | 200.00 | 20000.00 | 182.00 | 18200.00 | 75.00 | 7500.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 180.00 | 18000.00 | 531.00 | 53100.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 7500.00 | MARIB CONSTRUCTIONS
29.00 | Supplying and making end termination with double compression brass gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
29.10 | 3.5 core, 400 Sq.mm. | 20.00 | Set |  | 4500.00 | 90000.00 | 1500.00 | 30000.00 | 1212.00 | 24240.00 | 1115.00 | 22300.00 | 400.00 | 8000.00 | 1550.00 | 31000.00 | 3861.00 | 77220.00 | 14652.00 | 293040.00 | 1580.00 | 31600.00 | 1000.00 | 20000.00 | 1450.00 | 29000.00 | 8000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.20 | 3.5 core, 300 Sq.mm. | 10.00 | Set |  | 4000.00 | 40000.00 | 1300.00 | 13000.00 | 970.00 | 9700.00 | 1115.00 | 11150.00 | 300.00 | 3000.00 | 1400.00 | 14000.00 | 3331.00 | 33310.00 | 11772.00 | 117720.00 | 1150.00 | 11500.00 | 800.00 | 8000.00 | 1150.00 | 11500.00 | 3000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.30 | 3.5 core, 240 Sq.mm. | 10.00 | Set |  | 3500.00 | 35000.00 | 1100.00 | 11000.00 | 787.00 | 7870.00 | 1115.00 | 11150.00 | 240.00 | 2400.00 | 1250.00 | 12500.00 | 3117.00 | 31170.00 | 10251.00 | 102510.00 | 895.00 | 8950.00 | 700.00 | 7000.00 | 950.00 | 9500.00 | 2400.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.40 | 3.5 core, 185 Sq.mm. | 6.00 | Set |  | 2600.00 | 15600.00 | 1000.00 | 6000.00 | 787.00 | 4722.00 | 1115.00 | 6690.00 | 185.00 | 1110.00 | 1100.00 | 6600.00 | 3091.00 | 18546.00 | 8783.00 | 52698.00 | 735.00 | 4410.00 | 600.00 | 3600.00 | 750.00 | 4500.00 | 1110.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.50 | 3.5 core, 120 Sq.mm. | 6.00 | Set |  | 2200.00 | 13200.00 | 900.00 | 5400.00 | 545.00 | 3270.00 | 1115.00 | 6690.00 | 120.00 | 720.00 | 900.00 | 5400.00 | 2131.00 | 12786.00 | 7326.00 | 43956.00 | 645.00 | 3870.00 | 500.00 | 3000.00 | 600.00 | 3600.00 | 720.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.60 | 3.5 core, 95 Sq.mm. | 6.00 | Set |  | 1900.00 | 11400.00 | 800.00 | 4800.00 | 303.00 | 1818.00 | 755.00 | 4530.00 | 95.00 | 570.00 | 780.00 | 4680.00 | 2009.00 | 12054.00 | 5868.00 | 35208.00 | 555.00 | 3330.00 | 400.00 | 2400.00 | 500.00 | 3000.00 | 570.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.70 | 3.5 core, 50 Sq.mm. | 4.00 | Set |  | 1500.00 | 6000.00 | 700.00 | 2800.00 | 303.00 | 1212.00 | 755.00 | 3020.00 | 50.00 | 200.00 | 620.00 | 2480.00 | 1799.00 | 7196.00 | 4392.00 | 17568.00 | 480.00 | 1920.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 200.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.80 | 3.5 core, 35 Sq.mm. | 4.00 | Set |  | 1300.00 | 5200.00 | 600.00 | 2400.00 | 242.00 | 968.00 | 755.00 | 3020.00 | 35.00 | 140.00 | 525.00 | 2100.00 | 1786.00 | 7144.00 | 3690.00 | 14760.00 | 350.00 | 1400.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 140.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.90 | 3.5 core, 25 Sq.mm. | 4.00 | Set |  | 800.00 | 3200.00 | 500.00 | 2000.00 | 242.00 | 968.00 | 755.00 | 3020.00 | 25.00 | 100.00 | 490.00 | 1960.00 | 1786.00 | 7144.00 | 2934.00 | 11736.00 | 315.00 | 1260.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 100.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.00 | Supply and installing following size of galvanised iron Lader type cable trays with radil bends supports, reducers, tees, cross members and other accessories as required and duly suspended from the ceiling with GI suspenders etc as required. The size of MS angle support shall be 50mm X 50mm X 5mm and GI threaded rod shall be 12mm.
30.10 | 1000 mm width x 60mm depth x 2 mm thickness. | 100.00 | Mtr |  | 2500.00 | 250000.00 | 2790.00 | 279000.00 | 2490.00 | 249000.00 | 1515.00 | 151500.00 | 2200.00 | 220000.00 | 3000.00 | 300000.00 | 1945.00 | 194500.00 | 5940.00 | 594000.00 | 750.00 | 75000.00 | 4000.00 | 400000.00 | 820.00 | 82000.00 | 75000.00 | A TO Z Service Solution
30.20 | 600 mm width x 60mm depth x 2 mm thickness. | 100.00 | Mtr |  | 2000.00 | 200000.00 | 1774.00 | 177400.00 | 1850.00 | 185000.00 | 1015.00 | 101500.00 | 1800.00 | 180000.00 | 1750.00 | 175000.00 | 1381.00 | 138100.00 | 4950.00 | 495000.00 | 650.00 | 65000.00 | 3000.00 | 300000.00 | 675.00 | 67500.00 | 65000.00 | A TO Z Service Solution
31.00 | Supply and installing following size of galvanised iron perforated type cable trays including with perforation not more than 17.5%, in convenient sections horizontal and vertical bends, reducers, tees, cross members and other accessories as required and duly suspended from the ceiling with GI suspenders etc as required. The size of MS angle support shall be 50mm X 50mm X 5mm and GI threaded rod shall be 12mm.
31.10 | 450 mm width x 60mm depth x 2 mm thickness. | 100.00 | Mtr |  | 1000.00 | 100000.00 | 1266.00 | 126600.00 | 1454.00 | 145400.00 | 855.00 | 85500.00 | 1200.00 | 120000.00 | 1970.00 | 197000.00 | 1806.00 | 180600.00 | 3960.00 | 396000.00 | 550.00 | 55000.00 | 2000.00 | 200000.00 | 925.00 | 92500.00 | 55000.00 | A TO Z Service Solution
32.00 | Dismantling & shifting of existing DG set (03 nos of 500 KVA Rating) , DG panels and dismantling of existing AMF Panels, 11 KV HT Panels, APFC Panels, Isolator Panels, civil foundations and associated accessories etc. as per the site requirement including shifting the same from the AAI substation to dismantle items store located not more than 200 metres away. | 1.00 | JOB |  | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 141212.00 | 141212.00 | 155515.00 | 155515.00 | 400000.00 | 400000.00 | 120000.00 | 120000.00 | 180000.00 | 180000.00 | 900000.00 | 900000.00 | 200000.00 | 200000.00 | 20000.00 | 20000.00 | 200000.00 | 200000.00 | 20000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 49999999.00 |  | 41676412.00 |  | 41002923.00 |  | 45133490.00 |  | 48064190.00 |  | 41907520.00 |  | 40900000.00 |  | 49029472.00 |  | 52998790.00 |  | 43095450.00 |  | 51378635.00
Lowest Amount Quoted BY: Kulaswaminee Engineerrs(40900000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Augmentation of power supply system at Srinagar Airport Tender ID: 2025_AAI_240343_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Kulaswaminee Engineerrs (BID ID -869399) | 40900000.00 | L1
| 2 | S.L. ELECTROMECH PVT. LTD. (BID ID -879912) | 41002923.00 | L2
| 3 | shiv electric (BID ID -877138) | 41676412.00 | L3
| 4 | BUDHIRAJA ELECTRICALS (BID ID -877524) | 41907520.00 | L4
| 5 | JCC ENGINEERS PRIVATE LIMITED (BID ID -879967) | 43095450.00 | L5
| 6 | MARIB CONSTRUCTIONS (BID ID -880043) | 45133490.00 | L6
| 7 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION (BID ID -880898) | 48064190.00 | L7
| 8 | M AND COMPANY ENGINEERS AND CONTRACTORS PRIVATE LIMITED (BID ID -881221) | 49029472.00 | L8
| 9 | S. T. ELECTRICALS PVT. LTD. (BID ID -876901) | 49999999.00 | L9
| 10 | Ali Mohammad Baba & Sons (BID ID -876239) | 51378635.00 | L10
| 11 | A TO Z Service Solution (BID ID -877517) | 52998790.00 | L11