## BoQ1
Government eProcurement System Created By: Atul Semwal Created Date/Time: 31-Jul-2025 03:32 PM Tender Title: Renovation and replacement of sanitary fixtures for the city side staff and public toilets and other miscellaneous works at L.B.S.I Airport Varanasi Tender ID: 2025_AAI_240910_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Renovation & replacement of sanitary fixtures for the city side staff & public toilets and other miscellaneous works at L.B.S.I Airport Varanasi.
Contract No: 2025_AAI_ 240910_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POOJA BUILDCON CONSTRUCTION (GSTN-06AAWFP9068M1Z4) BID ID -874028 |  | M K CONSTRUCTION (GSTN-NA) BID ID -872976 |  | Patel kumar Patel (GSTN-NA) BID ID -874022 |  | MACLARGE INFRA ENGINEERING (GSTN-NA) BID ID -873855
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Demolishing cement concrete including disposal of material within 50 metres lead: 1:3:6 or richer mix | 8.25 | cum |  | 2500.00 | 20625.00 | 800.00 | 6600.00 | 1500.00 | 12375.00 | 2000.00 | 16500.00 | 6600.00 | M K CONSTRUCTION
1.02 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: a) Of area 3 sq. metres and below | 2.00 | each |  | 700.00 | 1400.00 | 300.00 | 600.00 | 1000.00 | 2000.00 | 700.00 | 1400.00 | 600.00 | M K CONSTRUCTION
1.03 | Dismantling stone slab/tiles flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 140.45 | sqm |  | 90.00 | 12640.50 | 18.00 | 2528.10 | 800.00 | 112360.00 | 200.00 | 28090.00 | 2528.10 | M K CONSTRUCTION
1.04 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: a) Up to 150 mm diameter metre | 30.00 | mtr |  | 180.00 | 5400.00 | 30.00 | 900.00 | 600.00 | 18000.00 | 200.00 | 6000.00 | 900.00 | M K CONSTRUCTION
1.05 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 5.00 | each |  | 397.00 | 1985.00 | 200.00 | 1000.00 | 900.00 | 4500.00 | 100.00 | 500.00 | 500.00 | MACLARGE INFRA ENGINEERING
1.06 | Dismantling of Sanitary fixtures & fittings including WC, Urinals, Wash Basins etc. including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 10.00 | each |  | 500.00 | 5000.00 | 350.00 | 3500.00 | 900.00 | 9000.00 | 350.00 | 3500.00 | 3500.00 | M K CONSTRUCTION, MACLARGE INFRA ENGINEERING
1.07 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing, false ceiling and toilet cubicles including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 65.30 | sqm |  | 250.00 | 16325.00 | 35.00 | 2285.50 | 150.00 | 9795.00 | 50.00 | 3265.00 | 2285.50 | M K CONSTRUCTION
1.08 | Dismantling G.I. pipes (internal work) including chasing wall after taking out the pipes, manually/ by mechanical means and making wall good with 1:3:6 concrete including stacking of pipes lead as per direction and satisfaction of Engineer-in-charge : 15 mm to 75 mm nominal bore | 50.00 | mtr |  | 200.00 | 10000.00 | 15.00 | 750.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 750.00 | M K CONSTRUCTION
1.09 | Dismantling or taking out fixed mirror in toilet including disposal of unserviceable surplus material and stacking of serviceable material at sutaible place as direction and satisfaction by Engineer-in-charge. | 3.90 | sqm |  | 975.00 | 3802.50 | 60.00 | 234.00 | 100.00 | 390.00 | 80.00 | 312.00 | 234.00 | M K CONSTRUCTION
1.10 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | .30 | sqm |  | 1200.00 | 360.00 | 200.00 | 60.00 | 1000.00 | 300.00 | 1800.00 | 540.00 | 60.00 | M K CONSTRUCTION
1.11 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in Cement mortar 1:4 (1 cement : 4 coarse sand) | 1.65 | cum |  | 10500.00 | 17325.00 | 5900.00 | 9735.00 | 8000.00 | 13200.00 | 8000.00 | 13200.00 | 9735.00 | M K CONSTRUCTION
1.12 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | 12.80 | sqm |  | 1050.00 | 13440.00 | 750.00 | 9600.00 | 1000.00 | 12800.00 | 1000.00 | 12800.00 | 9600.00 | M K CONSTRUCTION
1.13 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :"1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 6.15 | cum |  | 8500.00 | 52275.00 | 5800.00 | 35670.00 | 8000.00 | 49200.00 | 7000.00 | 43050.00 | 35670.00 | M K CONSTRUCTION
1.14 | Extra for providing and placing 2 nos. 6 mm dia M.S. bars at every third course of half brick masonry. | 5.60 | sqm |  | 250.00 | 1400.00 | 300.00 | 1680.00 | 500.00 | 2800.00 | 80.00 | 448.00 | 448.00 | MACLARGE INFRA ENGINEERING
1.15 | Providing and fixing 18 mm thick gang saw cut, mirror polished,premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size,approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite of any colour and shade. Area of slab over 0.50 sqm (Sample of granite is kept in the office of EIC) | 7.20 | sqm |  | 4320.00 | 31104.00 | 3200.00 | 23040.00 | 3000.00 | 21600.00 | 4000.00 | 28800.00 | 21600.00 | Patel kumar Patel
1.16 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:b) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 4.20 | sqm |  | 4200.00 | 17640.00 | 3500.00 | 14700.00 | 2500.00 | 10500.00 | 3000.00 | 12600.00 | 10500.00 | Patel kumar Patel
1.17 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters. (Overall area of shutter to be measured over item no. 21) | 4.20 | sqm |  | 500.00 | 2100.00 | 210.00 | 882.00 | 2000.00 | 8400.00 | 400.00 | 1680.00 | 882.00 | M K CONSTRUCTION
1.18 | Providing & fixing Stainless Steel tower bolts of OZONE TBS-10"/6" SS 304 grade or approved equivalent of grade 304 heavy duty with necessary Stainless Steel screws, etc. complete as per directions of Engineer-in- Chargea) 250 x 25 mm | 4.00 | each |  | 650.00 | 2600.00 | 840.00 | 3360.00 | 200.00 | 800.00 | 650.00 | 2600.00 | 800.00 | Patel kumar Patel
1.19 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position all complete | 112.50 | Kg |  | 160.00 | 18000.00 | 150.00 | 16875.00 | 80.00 | 9000.00 | 100.00 | 11250.00 | 9000.00 | Patel kumar Patel
1.20 | Providing and fixing expansion hold fasteners on C.C. /R.C.C./Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete.(a) Fastener with threaded dia 10 mm | 20.00 | each |  | 156.00 | 3120.00 | 20.00 | 400.00 | 200.00 | 4000.00 | 30.00 | 600.00 | 400.00 | M K CONSTRUCTION
1.21 | Providing and fixing 12-15 mm thick moulded Acryllic solid surface counter/ slab tops of Dupont/Samsung Staron/Avonite or approved equivalent for kitchen platforms , vanity counters,window sills, facias and similar location of required size of approved shade, colour and texture fixed over 12 mm thick base ply with seamless joints through thermoforming process including all fixing, sticking, moulding, bending, use of flexible ply (if required) as per requirements of the approved drawings etc. and as per the directions of the Engineer in charge complete at all levels.Solid surface of approved shade & company | 7.75 | sqm |  | 10500.00 | 81375.00 | 2500.00 | 19375.00 | 2000.00 | 15500.00 | 19000.00 | 147250.00 | 15500.00 | Patel kumar Patel
1.22 | Providing and laying in floors anti skid homogenous premium quality vitrified tiles with water absorption less than 0.08% and conforming to IS:15622 of approved Belgium Grey NITCO/Marbonite -Ash Grey/JOHNSON/ RAK CERAMICS brand/ manufacturer, of size 600 x 1200 mm in combination as per approved drawing without warpage of approved make and colour shades laid on 20 mm bed of cement mortar 1:4 (1 cement : 4 coarse sand) & pasting with polymer based tile adhesive including grouting the joints of thickness 1 to 3 mm with solid epoxy grout of PIDILITE / LATICRETE / BAL ENDURA / FERROUS CRETE or approved equivalent of desired shade etc. complete and as per pattern specified in approved drawings and specifications complete as per directions of Engineer-in-charge. (Note : -Basic price of vitrified Wall tiles shall not be less than Rs 55/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 41.15 | sqm |  | 1850.00 | 76127.50 | 1500.00 | 61725.00 | 2500.00 | 102875.00 | 1400.00 | 57610.00 | 57610.00 | MACLARGE INFRA ENGINEERING
1.23 | Providing and fixing Ist (premium) quality high gloss vetrified glazed wall tiles conforming to IS: 15622 of approved NITCO/Marbonite -Ash Grey/Porselano – Dew Grey JOHNSON/ Fresco Azul RAK brand/ (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size 600x1200 mm as approved by Engineer-in-Charge and as per approved drawing including 30% highlighter of individual toilet, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) & pasting with polymer based tile adhesive including grouting the joints of thickness 1 to 3 mm with solid epoxy grout of PIDILITE / LATICRETE / BAL ENDURA / FERROUS CRETE or approved equivalent of desired shade etc. complete and as per pattern specified in approved drawings and specifications complete as per directions of Engineer-in-charge. (Note : -Basic price of vitrified Wall tiles shall not be less than Rs 55/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 120.85 | sqm |  | 2240.00 | 270704.00 | 1200.00 | 145020.00 | 3000.00 | 362550.00 | 1600.00 | 193360.00 | 145020.00 | M K CONSTRUCTION
1.24 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/ partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification andalso including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :a) 12.5 mm thick tapered edge gypsum moisture resistant board | 41.15 | sqm |  | 1270.00 | 52260.50 | 2300.00 | 94645.00 | 2500.00 | 102875.00 | 1300.00 | 53495.00 | 52260.50 | POOJA BUILDCON CONSTRUCTION
1.25 | Providing & fixing of white vitreous China wall mounting cascade type water closet American standard Acacia E double vortex WC 2/4.2 L 3119 WT/ Proguard (sc.seat&cover),KHOLER Vitreous 28778IN-0, ROCA The GAP RS346477460 & RE801472464, JAQUAR O PS-WHT-15951 with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with flush valve American standard /Grohe WC 38987000,Kohler 7702IN-P-NA, Jaquar JCS-WHT-2400 Flushing cistern GD 2 & 38732000 Skate Cosmopolitan Wall plate/Kholer 8857IN-M-MS1 ROCA RE890195001 Jaquar JCP-CHR-392415 approved including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 2.00 | each |  | 38700.00 | 77400.00 | 18000.00 | 36000.00 | 12000.00 | 24000.00 | 23000.00 | 46000.00 | 24000.00 | Patel kumar Patel
1.26 | Providing & fixing of white vitreous china under counter wash basin/circular basin 550x450 American standard Activa modle no 600 mm WP-0440.000.04,KHOLER 2215IN-0 LADENA, 2240X-0 VINTAGE, JAQUAR FNS-WHT-40701 ,Hindware Q197150110 with CP brass waste assembly, CP cast brass bottle trap with extension piece (Jaquar ALD-CHR-769L300X190 / Grohe A-8107-D1Y / Kohler 7314IN-CP,Hindware F850004 , or approved equivalent), 450 mm long CP copper connections pipes (Jaquar Cat No. 803B or approved equivalent), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 6.00 | each |  | 11700.00 | 70200.00 | 15000.00 | 90000.00 | 12000.00 | 72000.00 | 9000.00 | 54000.00 | 54000.00 | MACLARGE INFRA ENGINEERING
1.27 | Providing & fixing Off white vitreous china flat back urinal with automatic flushing systems American Standard CP-6507.322.04\Concept 1.9 L Urinal HE2,KHOLER 16321T-M-0 PATIO TOUCHLESS, ROCA RS35945E000 EURET ,Hindware Q257630210 or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 4.00 | each |  | 21313.00 | 85252.00 | 15000.00 | 60000.00 | 13000.00 | 52000.00 | 40000.00 | 160000.00 | 52000.00 | Patel kumar Patel
1.28 | Providing & fixing C.P. hand spray with lever control (health faucet) American Standard TP 405, KHOLER 12925IN-CP, ROCA RF9060A1, JAQUAR ALD-CHR-573 ,Hindware F160187 or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 3.00 | each |  | 3930.00 | 11790.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 1700.00 | 5100.00 | 5100.00 | MACLARGE INFRA ENGINEERING
1.29 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. a) 15 mm dia nominal bore | 6.00 | each |  | 1450.00 | 8700.00 | 1500.00 | 9000.00 | 3000.00 | 18000.00 | 700.00 | 4200.00 | 4200.00 | MACLARGE INFRA ENGINEERING
1.30 | Providing & fixing 15 mm dia C.P. brass angle valve American Standard FLR 5053N A-4400, KHOLER 80155IN-4-CP CUFF, ROCA RF525159700, JAQUAR AQT-CHR-3057 ,HindwareQ123100126 with C.P. brass wall flange with any other items complete including cutting and making good the walls wherever required as per direction of Engineer-Incharge. | 10.00 | each |  | 1470.00 | 14700.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 1800.00 | 18000.00 | 14700.00 | POOJA BUILDCON CONSTRUCTION
1.31 | Providing and fixing plasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 8.00 | each |  | 254.00 | 2032.00 | 80.00 | 640.00 | 50.00 | 400.00 | 80.00 | 640.00 | 400.00 | Patel kumar Patel
1.32 | Providing & fixing stainless steel jumbo roll toilet tissue dispenser (Bobrick cat no. B2890 or approved equivalent) with stainless steel roller complete with accessories ,including cutting and making good the walls and floors wherever required as per direction of Engineer-Incharge. | 5.00 | each |  | 6370.00 | 31850.00 | 850.00 | 4250.00 | 4000.00 | 20000.00 | 10000.00 | 50000.00 | 4250.00 | M K CONSTRUCTION
1.33 | Providing & fixing recessed liquid soap dispenser (Bobrick cat no. B-822 or approved equivalent) as per direction of Engineer-Incharge. | 5.00 | each |  | 5600.00 | 28000.00 | 950.00 | 4750.00 | 600.00 | 3000.00 | 10000.00 | 50000.00 | 3000.00 | Patel kumar Patel
1.34 | Providing & fixing recessed paper towel dispenser and waste receptable (Bobrick cat no. B-3944 )or approved equivalent) as per direction of Engineer-Incharge. | 2.00 | each |  | 29375.00 | 58750.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 65000.00 | 130000.00 | 1000.00 | Patel kumar Patel
1.35 | Providing & fixing of modular toilet cubicles ( Titan Standard 12 mm series of Merino/ sturdo classique of greenlam industries or approved equivalent) consisting of high pressure 12 mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters(. The cubicle shall have dimensions of 1500 mm depth x 900 mm width x 2050 mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150 mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc.(all SS accessories shall be of Grade 304) as per direction of Engineer-Incharge.Note:- The quantity shall be calculated on basis of surface area of compact laminate board. | 27.60 | sqm |  | 5460.00 | 150696.00 | 25000.00 | 690000.00 | 4000.00 | 110400.00 | 12000.00 | 331200.00 | 110400.00 | Patel kumar Patel
1.36 | Providing & fixing Urinal Modesty Panels having standard dimension of 1200 mm Height x 450 -500 mm Width and 12 mm thickness (SS Series of Merino Industries /sturdo classique of greenlam industries or approved equivalent) Panel starts 500-600 mm above ground level, complete with compact Laminate Board: 12 mm thick Compact Laminate ( Titan Series of Merino Industries or approved equivalent) made as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard and should be heat, bacteria, water, chemical, scratch and impact resistant 12 mm thick solid compact laminate panels as per approved texture/shade. The product should have Green Guard Certificate. Including all accessories as per approval and direction of Engineer-in-Charge Modesty panels will be fixed with right angle bracket which will provided in stainless steel grade-304. (a) Right Angle Bracket b) Screws & Wall Plugs. Hardware & Fixing : All screws will of 304 Grade in stainless steel with satin finish & panel will be supported by right angle brackets & will be used to hold the panels with a clearance height upto 500-600 mm. The work includes all accessories, machineries, tools etc., complete as per direction of Engineer-in-charge. | 5.00 | each |  | 4250.00 | 21250.00 | 25000.00 | 125000.00 | 6000.00 | 30000.00 | 4000.00 | 20000.00 | 20000.00 | MACLARGE INFRA ENGINEERING
1.37 | Providing & fixing sanitary napkin dispenser (ELAN FEMININE) or approved equivalent) as per direction of Engineer-Incharge. | 2.00 | each |  | 15875.00 | 31750.00 | 800.00 | 1600.00 | 5000.00 | 10000.00 | 14000.00 | 28000.00 | 1600.00 | M K CONSTRUCTION
1.38 | Providing and fixing water closet squatting pan (Indian type W.C. Asian Pan Ultra White Parryware C01231C, CERA Orissa Pan S3020102) with 100 mm sand cast Iron P or S trap, with all fittings and fixtures complete,with flush valve American standard /Grohe WC 38987000,Kohler 7702IN-P-NA, Jaquar JCS-WHT-2400 Flushing cistern GD 2 & 38732000 Skate Cosmopolitan Wall plate/Kholer 8857IN-M-MS1 ROCA RE890195001 Jaquar JCP-CHR-392415 approved including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 3.00 | each |  | 12954.00 | 38862.00 | 7000.00 | 21000.00 | 7000.00 | 21000.00 | 10500.00 | 31500.00 | 21000.00 | M K CONSTRUCTION, Patel kumar Patel
1.39 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge Internal work - Exposed on wall 20 mm nominal dia Pipes. | 50.00 | mtr |  | 314.00 | 15700.00 | 250.00 | 12500.00 | 800.00 | 40000.00 | 300.00 | 15000.00 | 12500.00 | M K CONSTRUCTION
1.40 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge Internal work - Exposed on wall 32 mm nominal dia Pipes. | 25.00 | mtr |  | 465.00 | 11625.00 | 450.00 | 11250.00 | 1000.00 | 25000.00 | 520.00 | 13000.00 | 11250.00 | M K CONSTRUCTION
1.41 | Providing, fixing, joints and testing in position the following UPVC Pipe confirming to IS:4985 of 6kg sqcm for sanitary and sewage system cut to required length pipe to be laid below level in trenches up to required depth, including excavation in all kind of soil (hard rock) dewatering, refilling, watering, ramming and removing the surplus excavated material and putting 100 m sand all-round and making good the same. 50 mm OD | 10.00 | mtr |  | 300.00 | 3000.00 | 560.00 | 5600.00 | 1000.00 | 10000.00 | 265.00 | 2650.00 | 2650.00 | MACLARGE INFRA ENGINEERING
1.42 | Providing, fixing, joints and testing in position the following UPVC Pipe confirming to IS:4985 of 6kg sqcm for sanitary and sewage system cut to required length pipe to be laid below level in trenches up to required depth, including excavation in all kind of soil (hard rock) dewatering, refilling, watering, ramming and removing the surplus excavated material and putting 100 m sand all-round and making good the same. 75 mm OD | 10.00 | mtr |  | 560.00 | 5600.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 350.00 | 3500.00 | 3500.00 | MACLARGE INFRA ENGINEERING
1.43 | Providing, fixing, joints and testing in position the following UPVC Pipe confirming to IS:4985 of 6kg sqcm for sanitary and sewage system cut to required length pipe to be laid below level in trenches up to required depth, including excavation in all kind of soil (hard rock) dewatering, refilling, watering, ramming and removing the surplus excavated material and putting 100 m sand all-round and making good the same. 110 mm OD | 25.00 | mtr |  | 770.00 | 19250.00 | 1300.00 | 32500.00 | 2000.00 | 50000.00 | 850.00 | 21250.00 | 19250.00 | POOJA BUILDCON CONSTRUCTION
1.44 | Providing and fixing beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 4.20 | sqm |  | 960.00 | 4032.00 | 3500.00 | 14700.00 | 2000.00 | 8400.00 | 2000.00 | 8400.00 | 4032.00 | POOJA BUILDCON CONSTRUCTION
1.45 | Providing and fixing 100 mm stainless steel (304 Grade) grating with cockroach floor These floor trap feature a hinged grating top that can be opened or closed. The hinged design allows for easy access to the drain for cleaning and maintenance purposes. When closed, the grating top provides a barrier, preventing debris and odour from escaping while still allowing water to flow into the drain. | 5.00 | each |  | 900.00 | 4500.00 | 25.00 | 125.00 | 4000.00 | 20000.00 | 1500.00 | 7500.00 | 125.00 | M K CONSTRUCTION
1.46 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .16 | cum |  | 46195.00 | 7391.20 | 9000.00 | 1440.00 | 100000.00 | 16000.00 | 150000.00 | 24000.00 | 1440.00 | M K CONSTRUCTION
1.47 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5mm thick | 3.90 | sqm |  | 1080.00 | 4212.00 | 275.00 | 1072.50 | 3000.00 | 11700.00 | 900.00 | 3510.00 | 1072.50 | M K CONSTRUCTION
1.48 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete.200mm | 4.00 | each |  | 460.00 | 1840.00 | 250.00 | 1000.00 | 900.00 | 3600.00 | 838.00 | 3352.00 | 1000.00 | M K CONSTRUCTION
1.49 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 2.00 | each |  | 2100.00 | 4200.00 | 1250.00 | 2500.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 2500.00 | M K CONSTRUCTION
1.50 | Provinding and placing SS 304 Padalbin 7ltr Dustbin in Terminal building at required places as per direction of EIC. | 8.00 | each |  | 2080.00 | 16640.00 | 1500.00 | 12000.00 | 5000.00 | 40000.00 | 2100.00 | 16800.00 | 12000.00 | M K CONSTRUCTION
1.51 | Providing and fixing SS 304 grade Gutterman channel of size 100x30 mm with Top Grating of load class Human load . Steel tray (drip tray) of standard design with necessary fabrication, hanger and support under the horizontal suspended soil / waste header. Tray shall be installed in slope with drain connection at end. The installation shall be to the satisfaction / approval of Engineer-in-charge. The installation shall be to the satisfaction / approval of Engineer-in-charge. | 6.40 | mtr |  | 1900.00 | 12160.00 | 1800.00 | 11520.00 | 1000.00 | 6400.00 | 10000.00 | 64000.00 | 6400.00 | Patel kumar Patel
1.52 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 6.00 | cum |  | 1800.00 | 10800.00 | 150.00 | 900.00 | 500.00 | 3000.00 | 242.00 | 1452.00 | 900.00 | M K CONSTRUCTION
1.53 | Providing and fixing CP quarter turn pillar cock of Kholer, Roca, Jaquar ,Hindware Q403114120 or equivalent 15mm nominal bore as per satisfaction of EIC. | 5.00 | each |  | 1450.00 | 7250.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 16000.00 | 80000.00 | 7250.00 | POOJA BUILDCON CONSTRUCTION
1.54 | Providing and fixing CP bib cock long nose with wall flange and aerator of CERA F-1017152 or equivalent 15mm nominal bore as per satisfaction of EIC. | 8.00 | each |  | 1650.00 | 13200.00 | 1900.00 | 15200.00 | 3000.00 | 24000.00 | 3800.00 | 30400.00 | 13200.00 | POOJA BUILDCON CONSTRUCTION
1.55 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :(a) Two or more coats on new work | 8.00 | sqm |  | 220.00 | 1760.00 | 70.00 | 560.00 | 200.00 | 1600.00 | 135.00 | 1080.00 | 560.00 | M K CONSTRUCTION
1.56 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour Two coats | 41.14 | sqm |  | 170.00 | 6993.80 | 75.00 | 3085.50 | 200.00 | 8228.00 | 120.00 | 4936.80 | 3085.50 | M K CONSTRUCTION
1.57 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 41.14 | sqm |  | 61.00 | 2509.54 | 55.00 | 2262.70 | 200.00 | 8228.00 | 140.00 | 5759.60 | 2262.70 | M K CONSTRUCTION
1.58 | Carriage of material By Mechanical Transport (Tractor with trolly) including loading,unloading and stacking of serviceable material at designated locations/Store and disposal of unserviceable material as per direction of EIC. | 2.00 | trip |  | 3500.00 | 7000.00 | 4900.00 | 9800.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 3000.00 | Patel kumar Patel
1.59 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling at all levels. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing fron the site in the presence of Engineer-in-charge or his authorised representative all complete. (the rate (minus) multiple by executed quantity and derived amount shall be deducted from firm's bill amount) | 10.00 | Kg |  | 135.00 | -1350.00 | 350.00 | -3500.00 | 100.00 | -1000.00 | 230.00 | -2300.00 | -3500.00 | M K CONSTRUCTION
1.60 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. [the rate (minus) multiple by executed quantity and derived amount shall be deducted from firm's bill amount] | 20.00 | Kg |  | 30.00 | -600.00 | 40.00 | -800.00 | 200.00 | -4000.00 | 18.00 | -360.00 | -4000.00 | Patel kumar Patel
1.61 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (a) Areca Palm-Cat No:KH1186 of height 6.5 Ft (From pot base to top most part) | 2.00 | Each |  | 13000.00 | 26000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 11000.00 | 22000.00 | 8000.00 | Patel kumar Patel
1.62 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (b) Areca Palm-Cat No:KH1162 of height 5.5 Ft (From pot base to top most part) | 2.00 | Each |  | 11000.00 | 22000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 6000.00 | Patel kumar Patel
1.63 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (c) Banyan Tree-Cat No:KH1183 of height 5Ft (From pot base to top most part) | 2.00 | Each |  | 9255.00 | 18510.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 7500.00 | 15000.00 | 6000.00 | Patel kumar Patel
1.64 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (d) Sapota Tree-Cat No:KH1151 of height 5.5 Ft (From pot base to top most part) | 2.00 | Each |  | 10160.00 | 20320.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 7800.00 | 15600.00 | 10000.00 | Patel kumar Patel
1.65 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (e) Rubber Plant-Cat No:KH1046 of height 5Ft (From pot base to top most part) | 2.00 | Each |  | 9144.00 | 18288.00 | 10000.00 | 20000.00 | 1000.00 | 2000.00 | 4800.00 | 9600.00 | 2000.00 | Patel kumar Patel
1.66 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (f) Ficus Tree-Cat No:KH1127 of height 5.3Ft (From pot base to top most part) | 2.00 | Each |  | 8744.00 | 17488.00 | 9000.00 | 18000.00 | 1500.00 | 3000.00 | 11200.00 | 22400.00 | 3000.00 | Patel kumar Patel
1.67 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (g) Bougainvillea Tree-Cat No:KH1051 of height 5.6 Ft (From pot base to top most part) | 2.00 | Each |  | 10414.00 | 20828.00 | 15000.00 | 30000.00 | 1500.00 | 3000.00 | 9800.00 | 19600.00 | 3000.00 | Patel kumar Patel
1.68 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (h) Banana Tree-Cat No:KH1087 of height 5Ft (From pot base to top most part) | 2.00 | Each |  | 9255.00 | 18510.00 | 15000.00 | 30000.00 | 3000.00 | 6000.00 | 5500.00 | 11000.00 | 6000.00 | Patel kumar Patel
1.69 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (i) Banana Tree-Cat No:KH1086 of height 5.4 Ft (From pot base to top most part) | 2.00 | Each |  | 9255.00 | 18510.00 | 16000.00 | 32000.00 | 3000.00 | 6000.00 | 7850.00 | 15700.00 | 6000.00 | Patel kumar Patel
1.70 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative pot/basket marble finish as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (j) Coconut Tree-Cat No:KH1211 of height 7.5Ft (From pot base to top most part) | 2.00 | Each |  | 13843.00 | 27686.00 | 18000.00 | 36000.00 | 5000.00 | 10000.00 | 17480.00 | 34960.00 | 10000.00 | Patel kumar Patel
1.71 | Supplying and installation of one seater moduler toilet of size 4*4 with 1000ltr bio-disester including Toilet Patform, 1 no 200 ltr water tank with all conection and all standard sanitary fitting Indian type / European type / handicapped as per manufacturer's specification & direction of Engineer-in-Charge. | 4.00 | Each |  | 103000.00 | 412000.00 | 30000.00 | 120000.00 | 30000.00 | 120000.00 | 21350.00 | 85400.00 | 85400.00 | MACLARGE INFRA ENGINEERING
1.72 | Supplying and installation of handicapped one seater moduler toilet of size 6*4ft with 1000ltr bio-disester including Toilet Patform, 1 no 200 ltr water tank with all conection and all standard sanitary fitting suitable WC and washbasin adequate for disabled person as per manufacturer's specification & direction of Engineer-in-Charge. | 1.00 | Each |  | 142000.00 | 142000.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 200000.00 | 200000.00 | 35000.00 | M K CONSTRUCTION
1.73 | Providing SS 304 grade satin finish L shaped grab bar with Ǿ 73mm inner cap and Ǿ 75mm outer cap of KICH Make (GB213224S) size Ǿ 32 x 600 (L) x 600 (W) mm including Anchor Fastening fixing System with necessary fixing Accessoties as per drawing and as directed by Engineer-In-Charge. | 1.00 | Each |  | 3800.00 | 3800.00 | 12000.00 | 12000.00 | 25000.00 | 25000.00 | 3300.00 | 3300.00 | 3300.00 | MACLARGE INFRA ENGINEERING
1.74 | Providing SS 304 grade satin finish Swing -Wall Mounted grab bar of KICH Make (GB3132325S) size Ǿ 32 x 800 (L) x 187 (W) mm including Anchor Fastening fixing System with necessary fixing Accessoties as per drawing and as directed by Engineer-In-Charge. | 2.00 | Each |  | 4800.00 | 9600.00 | 15000.00 | 30000.00 | 18000.00 | 36000.00 | 7800.00 | 15600.00 | 9600.00 | POOJA BUILDCON CONSTRUCTION
1.75 | Providing SS 304 grade satin straight grab bar with Ǿ 73 mm inner cap and Ǿ 75 mm Outer Cap of KICH Make (GB513216S) size Ǿ 32 x 400 (c/c) x 432 (T/L) including Anchor Fastening fixing System with necessary fixing Accessoties as per drawing and as directed by Engineer-In-Charge. | 1.00 | Each |  | 2600.00 | 2600.00 | 16000.00 | 16000.00 | 15000.00 | 15000.00 | 1400.00 | 1400.00 | 1400.00 | MACLARGE INFRA ENGINEERING
1.76 | Providing and fixing sun control film (Cosmo sunshield or equivalent) of ultra cool series CS 650-AC 7090.after thorough cleaning on glass surface, the rate include installation, cleaning of glass, scaffolding wherever required. | 36.80 | Sqm |  | 317.00 | 11665.60 | 1200.00 | 44160.00 | 2000.00 | 73600.00 | 21500.00 | 791200.00 | 11665.60 | POOJA BUILDCON CONSTRUCTION
2.00 | Electricial works :
2.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 14.00 | Point |  | 950.00 | 13300.00 | 2608.00 | 36512.00 | 1500.00 | 21000.00 | 2.00 | 28.00 | 28.00 | MACLARGE INFRA ENGINEERING
2.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 18.00 | Point |  | 650.00 | 11700.00 | 1347.00 | 24246.00 | 1500.00 | 27000.00 | 3.00 | 54.00 | 54.00 | MACLARGE INFRA ENGINEERING
2.03 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a)(2 X 2.5 sq. mm +1 X 2.5 sq. mm earth wire) | 65.00 | Meter |  | 190.00 | 12350.00 | 279.00 | 18135.00 | 1000.00 | 65000.00 | 4.00 | 260.00 | 260.00 | MACLARGE INFRA ENGINEERING
2.04 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess , including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 5.00 | Each |  | 750.00 | 3750.00 | 937.00 | 4685.00 | 600.00 | 3000.00 | 2.00 | 10.00 | 10.00 | MACLARGE INFRA ENGINEERING
2.05 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 60.00 | Metre |  | 240.00 | 14400.00 | 362.00 | 21720.00 | 800.00 | 48000.00 | 5.00 | 300.00 | 300.00 | MACLARGE INFRA ENGINEERING
2.06 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.(Conduit 25 mm) | 15.00 | Meter |  | 240.00 | 3600.00 | 259.00 | 3885.00 | 800.00 | 12000.00 | 1.00 | 15.00 | 15.00 | MACLARGE INFRA ENGINEERING
2.07 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)8 way SPN DB, Double door | 2.00 | Meter |  | 2950.00 | 5900.00 | 2408.00 | 4816.00 | 1500.00 | 3000.00 | 3.00 | 6.00 | 6.00 | MACLARGE INFRA ENGINEERING
2.08 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.(Single pole MCB 6-32 Amp) | 8.00 | Each |  | 690.00 | 5520.00 | 276.00 | 2208.00 | 1200.00 | 9600.00 | 5.00 | 40.00 | 40.00 | MACLARGE INFRA ENGINEERING
2.09 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, Miniature circuit breaker (MCB), in the existing MCB DB complete with connections, testing and commissioning etc. as required.(40 amps) | 2.00 | Each |  | 1300.00 | 2600.00 | 1062.00 | 2124.00 | 2000.00 | 4000.00 | 6.00 | 12.00 | 12.00 | MACLARGE INFRA ENGINEERING
2.10 | Supply of recessed mounted LED circular downlighter of rated capacity of 15W to 20 W, pre die- cast aluminium housing, integrated driver and suitable to operate on 230-240V, 50Hz AC supply complete as per technical specification etc as required. | 24.00 | Each |  | 1300.00 | 31200.00 | 2625.00 | 63000.00 | 1500.00 | 36000.00 | 7.00 | 168.00 | 168.00 | MACLARGE INFRA ENGINEERING
2.11 | Supply of approx 4 feet length recessed LED luminaire of rated capacity 14 W to 20 W, with pre-wired luminaire, aluminium extruded linear lighting luminaires, internal wiring, integral electronic control driver complete etc. as required. | 4.00 | Each |  | 2140.00 | 8560.00 | 250.00 | 1000.00 | 2500.00 | 10000.00 | 8.00 | 32.00 | 32.00 | MACLARGE INFRA ENGINEERING
2.12 | Supplying , installation , testing and commissioning of Passive Infrared(PIR) technology based occupancy sensor having high performace , non regulated programmable type , suitable for connected load upto 10Amp , for mounting height up to 2.8 mtr and for 5 m diameter coverage area along with necessary fixing arrangements i/c programming at site etc. complete as required. | 2.00 | Each |  | 3400.00 | 6800.00 | 15672.00 | 31344.00 | 2000.00 | 4000.00 | 2.00 | 4.00 | 4.00 | MACLARGE INFRA ENGINEERING
2.13 | Installation, testing and commissioning of pre-wired, LED Recess/ surface Mounted,15-20W LED fitting etc of item mentioned above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / surface/ including connection as per site requirement. | 24.00 | Each |  | 480.00 | 11520.00 | 250.00 | 6000.00 | 1300.00 | 31200.00 | 1.00 | 24.00 | 24.00 | MACLARGE INFRA ENGINEERING
2.14 | Installation, testing and commissioning of pre-wired,14-20 watt LED Recess/ surface Mounted,LED light etc of item as mentioned above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface including connection as per site requirement. | 4.00 | Each |  | 370.00 | 1480.00 | 250.00 | 1000.00 | 1500.00 | 6000.00 | 4.00 | 16.00 | 16.00 | MACLARGE INFRA ENGINEERING
2.15 | Supply of following sizes of Power Cables, multi stranded conductor, XLPE Insulated, cores laid up, PVC tape / Extruded Inner sheathed , Armour, FRLS at outer sheathed,1100V grade as per IS 7098(Part 1) 1988(a) 3 CORE 10 sq.mm. CU Ar. XLPE cable) | 25.00 | Meter |  | 490.00 | 12250.00 | 507.00 | 12675.00 | 2000.00 | 50000.00 | 5.00 | 125.00 | 125.00 | MACLARGE INFRA ENGINEERING
2.16 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 0.55mm thick saddle) | 10.00 | Meter |  | 65.00 | 650.00 | 140.00 | 1400.00 | 2000.00 | 20000.00 | 6.00 | 60.00 | 60.00 | MACLARGE INFRA ENGINEERING
2.17 | Laying and fixing of one number PVC insulated and PVC sheathed power cable of 1.1 KV grade of following size on wall surface as requird.Upto 35 sq mm (clamped with 0.55mm thick saddle) | 15.00 | Meter |  | 65.00 | 975.00 | 140.00 | 2100.00 | 1500.00 | 22500.00 | 7.00 | 105.00 | 105.00 | MACLARGE INFRA ENGINEERING
2.18 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. (a)(3C X 10 sq. mm) | 2.00 | Each |  | 490.00 | 980.00 | 671.00 | 1342.00 | 2000.00 | 4000.00 | 9.00 | 18.00 | 18.00 | MACLARGE INFRA ENGINEERING
2.19 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.100 mm width X 50 mm depth X 1.6 mm thickness | 15.00 | Meter |  | 610.00 | 9150.00 | 738.00 | 11070.00 | 900.00 | 13500.00 | 7.00 | 105.00 | 105.00 | MACLARGE INFRA ENGINEERING
2.20 | Supply & fixing of Heavy duty, Wall mounted,fully Automatic Hand Dryers suitable to operate on single phase,230V,50Hz AC supply having Stainless steel body,motor speed upto 2500 RPM, noise level upto 70dB,etc. | 3.00 | Each |  | 9525.00 | 28575.00 | 23000.00 | 69000.00 | 3000.00 | 9000.00 | 6.00 | 18.00 | 18.00 | MACLARGE INFRA ENGINEERING
2.21 | Providing and fixing illuminated signs for washroom and drinking water (refer design drawing 2.4a-S, 2.4a-G, Tata Elxsi Limited guidelines) including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.Wall mounted/ Wall hanging (Single side content-Sign Face: acrylic & Back:3mm ACP)a) Wall Mounted/ Wall hanging Utility Sign as per Tata elexi Guide Lines for Toilets Gents/ Ladies/ Drinking Water / PH Toilet (if required). (450mm x 450mm x 50mm)Sign faceSign face shall be made in 8mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge.Sign FrameProviding and fixing sign frame 50mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to recieve the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side.The panel should be made easily openable for maintainance.LightingAll internal illumination shall be using Power LED Lights from Osram or equivalent (Edge lighting - 6500K, 12/ 24 v, with optimal homogenious backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels. Cost to include all internal connections and Wiring, terminating and connecting the incoming cable/ wire at the site.The actual structural design of the sign for its stability shall be responsibility of the contractor. Secret fixing methods should be used to fix parts together.Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing. | 4.00 | Each |  | 11430.00 | 45720.00 | 22250.00 | 89000.00 | 40000.00 | 160000.00 | 4.00 | 16.00 | 16.00 | MACLARGE INFRA ENGINEERING
2.22 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. (Thickness 0.63 mm sheet) | 80.00 | Sqmtr. |  | 1300.00 | 104000.00 | 3000.00 | 240000.00 | 1000.00 | 80000.00 | 6.00 | 480.00 | 480.00 | MACLARGE INFRA ENGINEERING
2.23 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required (Thickness 0.80 mm sheet) | 15.00 | Sqmtr. |  | 1524.00 | 22860.00 | 3800.00 | 57000.00 | 1000.00 | 15000.00 | 7.00 | 105.00 | 105.00 | MACLARGE INFRA ENGINEERING
2.24 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 1.50 | Sqmtr. |  | 3048.00 | 4572.00 | 1550.00 | 2325.00 | 10000.00 | 15000.00 | 6.00 | 9.00 | 9.00 | MACLARGE INFRA ENGINEERING
2.25 | Supplying, installation, testing and commissioning of heavy duty inline exhaust fan with centrifugal blower and motor encased in sheet metal casing. The motor shall be suitable for 220 volt, 1 phase, 50 Hz, AC supply. The price shall include fan speed regulator etc. as required as per specification of following sizes.(2700 CFM With 15 mm static pressure) | 1.00 | Each |  | 37000.00 | 37000.00 | 30007.00 | 30007.00 | 4000.00 | 4000.00 | 4.00 | 4.00 | 4.00 | MACLARGE INFRA ENGINEERING
| Total in Figures |  |  |  |  | 2695172.14 |  | 2889974.30 |  | 2647176.00 |  | 3171194.40
Lowest Amount Quoted BY: Patel kumar Patel(2647176.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation and replacement of sanitary fixtures for the city side staff and public toilets and other miscellaneous works at L.B.S.I Airport Varanasi Tender ID: 2025_AAI_240910_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Patel kumar Patel (BID ID -874022) | 2647176.00 | L1
| 2 | POOJA BUILDCON CONSTRUCTION (BID ID -874028) | 2695172.14 | L2
| 3 | M K CONSTRUCTION (BID ID -872976) | 2889974.30 | L3
| 4 | MACLARGE INFRA ENGINEERING (BID ID -873855) | 3171194.40 | L4