## BoQ1
Government eProcurement System Created By: Atul Semwal Created Date/Time: 29-Jul-2025 12:16 PM Tender Title: Misc. Unforeseen works at LBSI Airport, Varanasi during year 2025-26 Tender ID: 2025_AAI_240913_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Misc. Unforeseen works at LBSI Airport, Varanasi during year 2025-26.
Contract No: 2025_AAI_ 240913_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MACLARGE INFRA ENGINEERING (GSTN-NA) BID ID -873767 |  | Patel kumar Patel (GSTN-NA) BID ID -874054 |  | Utkarsh Enterprises (GSTN-NA) BID ID -873924 |  | M K CONSTRUCTION (GSTN-NA) BID ID -872982
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Cleaning of manholes and gully trap by deploying sewerman and using require machinery i.e scrapers, brushes, and other required tools used to remove debris and removing silt and sediment from the manhole i/c bottle, plastic, mortar etc and disposal outside AAI premises with all lead and lift as per local MC norms. Complete in all respect as per the direction & satisfaction of Engineer-in-Charge. | 75.00 | Each |  | 600.00 | 45000.00 | 4500.00 | 337500.00 | 700.00 | 52500.00 | 500.00 | 37500.00 | 37500.00 | M K CONSTRUCTION
2.00 | Cleaning of chocked sewer line by diesel running vehicle mounting hydraulic operated high pressure suction cum jetting sewer cleaning machine fitted with pump having 4000 litres suction capacity and 6000 litres water jetting tank capacity including skilled operator, supervising engineer etc. for cleaning and partial desilting of manholes and dechocking of sewer lines. Dechocking and flushing of sewer line from one manhole to another by high pressure jetting system of 2200 PSI for sewer line from 150mm dia upto 300mm i/c disposal outside AAI premises with all lead and lift as per local MC norms. Complete in all respect as per the direction & satisfaction of Engineer-in-Charge. | 1027.00 | Mtr |  | 400.00 | 410800.00 | 200.00 | 205400.00 | 330.00 | 338910.00 | 55.00 | 56485.00 | 56485.00 | M K CONSTRUCTION
3.00 | Cleaning of service duct approximate area shall be 6.25 sqm by deploying required number of swerman / sweeper with scrapers, brushes, and other required tools used to remove debris and removing silt and sediment material i/c bottle, plastic, mortar, cloths etc. Agency shall be responsible for complete cleaning, suction, disposal activity outside AAI premises with all lead and lift. Complete in all respect as per the direction & satisfaction of Engineer-in-Charge. | 6.00 | Each |  | 1800.00 | 10800.00 | 2000.00 | 12000.00 | 5500.00 | 33000.00 | 5000.00 | 30000.00 | 10800.00 | MACLARGE INFRA ENGINEERING
4.00 | Cleaning of Septic Tank / Collection Chamber/Sewage Treatment Plant Tanks and disposal of sludge outside AAI premises. Agency shall be responsible safe disposal of sludge in accordance with local Corporations norms. Quoted rate shall be including dealing with MC office , obtaining necessary permissions etc. complete. Nothing extra shall be paid separately. Agency shall be responsible for complete cleaning, suction, disposal activity and thereafter. Agency shall ensure and implement safe working conditions for his labourers during execution , all necessary safety measures and harness shall be used before taking-up work. Suitable lighting and ventilation should be provided by the Agency before cleaning of covered tanks. Agency shall be solitary responsible for the lapses in the safety during work and allied compensations. Nothing extra shall be paid separately, etc. complete as per direction of Engineer In-charge. Cleaning activity shall be started with emptying tanks by Sludge Suction Tanker , brushing of RCC walls with Nylon brush , use of appropriate cleaning solution , cleaning detergent with water to ensure no fungus or algae remains on walls. Work shall be taken-up as per sequential manner as per schedule decided by representative of Engg-In-Charge. Quoted rate shall be cleaning of walls, base , roof, corners , funnels, removal of media etc. complete. The equipment is a Truck Mounted Mobile Unit suitable for suctioning the Sludge / slurry from sewer manholes, gully pits, septic tanks etc. by Vacuum Suction System and discharging the collected sludge by Hydraulic Tipping of the Tank, alternatively through Blow-back Arrangement. Disposal of sludge by Sludge Suction Pump and Tanker of Tanker Capacity more than 4000 Liters with disposal as per corporation norms including deploying 6 Nos sewer man. 1 solitary responsible for the lapses in the safety during work and allied compensations. Nothing extra shall be paid separately, etc. complete as per direction of Engineer In-charge, IISER PUNE. Cleaning activity shall be started with emptying tanks by Sludge Suction Tanker , brushing of RCC walls with Nylon brush , use of appropriate cleaning solution , cleaning detergent with water to ensure no fungus or algae remains on walls. Work shall be taken-up as per sequential manner as per schedule given by STP AMC agency. Quoted rate shall be cleaning of walls, base , roof, corners , funnels , removal of media etc. complete. Cleaning Cycle shall be as per the schedule issued by IISER Pune. Quoted rates shall be including GST. | 20.00 | Each Trip |  | 5000.00 | 100000.00 | 7000.00 | 140000.00 | 5200.00 | 104000.00 | 5500.00 | 110000.00 | 100000.00 | MACLARGE INFRA ENGINEERING
5.00 | Cleaning and de-silting of covered RCC Service horizontal duct used for electrical cable, firefighting line, AC pipe line. The silt /sludge shall be disposed outside AAI premises. Agency shall be responsible safe disposal of silt / sludge in accordance with local Corporations norms. Quoted rate shall be including dealing with MC office , obtaining necessary permissions etc. complete. Nothing extra shall be paid separately. Agency shall be responsible for complete cleaning, suction, disposal activity. Agency shall ensure and implement safe working conditions for his labourers during execution , all necessary safety measures and harness shall be used before taking-up work. Suitable lighting and ventilation should be provided by the Agency before cleaning of RCC Drain. Agency shall be solitary responsible for the lapses in the safety during work and allied compensations. Nothing extra shall be paid separately, etc. complete as per direction of Engineer In-charge. Cleaning activity shall be started with emptying of water (Paid seprately), brushing of RCC walls with Nylon brush , use of appropriate cleaning solution. Work shall be taken-up as per sequential manner as per schedule decided by representative of Engg-In-Charge with full lighting arrangement and dragon search torch. Quoted rate shall be cleaning of walls, base, removal of media etc. complete. The silt / sludge shall be disposed outside AAI premises with all lead and lift as per local MC norms. 1 solitary responsible for the lapses in the safety during work and allied compensations. Nothing extra shall be paid separately, etc. complete as per direction of Engineer In-charge, IISER PUNE. Cleaning activity shall be started with emptying tanks by Sludge Suction Tanker , brushing of RCC walls with Nylon brush , use of appropriate cleaning solution , cleaning detergent with water to ensure no fungus or algae remains on walls. Work shall be taken-up as per sequential manner as per schedule given by STP AMC agency. Quoted rate shall be cleaning of walls, base , roof, corners , funnels , removal of media etc. complete. Cleaning Cycle shall be as per the schedule issued by IISER Pune. Quoted rates shall be including GST. | 200.00 | Mtr |  | 3500.00 | 700000.00 | 500.00 | 100000.00 | 400.00 | 80000.00 | 300.00 | 60000.00 | 60000.00 | M K CONSTRUCTION
6.00 | Pumping out sewage from septic tank, soak pit, sumpwell / flooded water with the help of centrifugal pump not less than 3 HP i/c providing minimum 15mtr. Suction pipe and 100mtr delevery pipe etc complete in all respect as per direction and satisfaction of Engineer-in-charge. (Note : Rate quoted shall include sewerage pumping machine, transporation charge, fuel and operator, suction and delivery pipe) | 72.00 | Hrs |  | 900.00 | 64800.00 | 800.00 | 57600.00 | 400.00 | 28800.00 | 5200.00 | 374400.00 | 28800.00 | Utkarsh Enterprises
7.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain white color board for backing of cup boards and bathroom/kitchen cabinets etc. of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel screws etc. all as per direction of Engineer-In- Charge. (Note: stainless steel screws shall be paid separately) 12 mm thick | 48.00 | Sqm |  | 1800.00 | 86400.00 | 2500.00 | 120000.00 | 1200.00 | 57600.00 | 1700.00 | 81600.00 | 57600.00 | Utkarsh Enterprises
8.00 | Providing and fixing of 6mm thick annealed Saint Gobain Planilaque Evolution lacquered glass from Saint-Gobain or of approved equivalent, fixed with SGG Plan FIX (compatible neutral core silicon / double sided tape) on the existing surface after neatly cleaninga which is mounted on the RCC wall/any other structure. Lacquered glass must be made industrially (via curtain coating process); opaque (if viewed against a support wall), coated with PU lacquer as float glass as per the detailed drawings and as approved by Engineer In Charge. Note:The rates are inclusive of adhesive, wastage, manpowers, scaffolding, transportation, loading and unloading etc | 48.00 | Sqm |  | 900.00 | 43200.00 | 2000.00 | 96000.00 | 6200.00 | 297600.00 | 2450.00 | 117600.00 | 43200.00 | MACLARGE INFRA ENGINEERING
9.00 | Providing and fixing SS 304 grade corner angle of size 25x25x2mm to be fixed on adjoining corner of glass to glass or tiles to tiles or glass to tiles with stainless adhesive / high grade silicon. The installation shall be to the satisfaction / approval of Engineer-in-charge. | 72.00 | Sqm |  | 4200.00 | 302400.00 | 800.00 | 57600.00 | 910.00 | 65520.00 | 250.00 | 18000.00 | 18000.00 | M K CONSTRUCTION
10.00 | Providing and fixing stainless steel ( Grade 304) Trolly fender / railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts,fasteners etc.). | 1131.00 | Kg |  | 700.00 | 791700.00 | 500.00 | 565500.00 | 615.00 | 695565.00 | 550.00 | 622050.00 | 565500.00 | Patel kumar Patel
11.00 | Providing and fixing decorative etchiing glazing / partitions of 12mm toughened glass of saint gobain or approved equivalent in partitions, curtain wall i/c holes / polishing / sealing of glass joints with dow corning, or equivalent glass silicon sealant as per direction and approval of Engineer-incharge. | 69.00 | Sqm |  | 600.00 | 41400.00 | 2500.00 | 172500.00 | 3000.00 | 207000.00 | 5800.00 | 400200.00 | 41400.00 | MACLARGE INFRA ENGINEERING
12.00 | Providing & fixing in position water proof, stainproof, weather proof, Scrap guard, fire ristance, green product of stone polymer composite flooring with planks sizes 1220mm length and 225 mm wide and 6mm thick in approved colour, texture and finish of welspun brand or equivalent. The flooring shall be fixed with tongue and groove interlocking system complete as per direction of the Engineer in-charge. | 85.00 | Sqm |  | 800.00 | 68000.00 | 800.00 | 68000.00 | 2950.00 | 250750.00 | 2100.00 | 178500.00 | 68000.00 | MACLARGE INFRA ENGINEERING, Patel kumar Patel
| Total in Figures |  |  |  |  | 2664500.00 |  | 1932100.00 |  | 2211245.00 |  | 2086335.00
Lowest Amount Quoted BY: Patel kumar Patel(1932100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Unforeseen works at LBSI Airport, Varanasi during year 2025-26 Tender ID: 2025_AAI_240913_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Patel kumar Patel (BID ID -874054) | 1932100.00 | L1
| 2 | M K CONSTRUCTION (BID ID -872982) | 2086335.00 | L2
| 3 | Utkarsh Enterprises (BID ID -873924) | 2211245.00 | L3
| 4 | MACLARGE INFRA ENGINEERING (BID ID -873767) | 2664500.00 | L4