## BoQ1
Government eProcurement System Created By: RAVICHANDRAN SEETHARAMAN Created Date/Time: 11-Aug-2025 05:02 PM Tender Title: Development of NDB building and Antenna Site at Salem Airport SH Electrical works Tender ID: 2025_AAI_241178_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-E). Airports Authority of India, Salem Airport, Salem- 636 309
Name of Work: Development of NDB building and Antenna Site at Salem Airport. SH: Electrical works.
Contract No: 2025_AAI_241178_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS (GSTN-33ALUPD3531C1ZI) BID ID -878510 |  | SKYLINE ENGINEERS (GSTN-27APZPD0679L1Z4) BID ID -881405 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -881461 |  | S K ENGINEERING AND CONSTRUCTION COMPANY INDIA PVT LTD (GSTN-NA) BID ID -881187
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning, of self operated Aerosol based/clean agent based fire Extinguisher for the protection of approx 54 cubic metres of space using 500 grm of Aerosol/clean agent including necessary mounting provision as per OEM standards in the existing ceiling/false ceiling as required. Model: EPOTOS or equivalent of FCDT SOYUZ /Pyrogen or As per the list of preferred / approved makes complete as required inline with tender document. | 6.00 | Each |  | 60000.00 | 360000.00 | 66500.00 | 399000.00 | 91000.00 | 546000.00 | 26250.00 | 157500.00 | 157500.00 | S K ENGINEERING AND CONSTRUCTION COMPANY INDIA PVT LTD
2.00 | Supply, Installation, Testing and Commissioning of Single phase Surge Protection Device (SPD) of operating voltage 240V AC (Phase to Neutral), surge rating In 40 kA, 8/20 micro second, between line to Neutral earth with protection level of 1.5 kV shall be provided on the mains power entry point at the incomers in parallel modes and shall be of plug in type, including suitable enclosure for mounting the SPD with all accessories cabling, MCB etc as required. | 2.00 | Each |  | 4000.00 | 8000.00 | 60450.00 | 120900.00 | 73500.00 | 147000.00 | 10500.00 | 21000.00 | 8000.00 | DEEPAKELECTRICALS
3.00 | Providing and making brazing of earthing pit / strips joints complete as required. | 200.00 | Nos |  | 100.00 | 20000.00 | 162.50 | 32500.00 | 320.00 | 64000.00 | 262.00 | 52400.00 | 20000.00 | DEEPAKELECTRICALS
4.00 | Supply of XLPE insulated and PVC sheathed armoured aluminium conductor UG power cable of 1.1 KV grade of following sizes confirming to IS 7098(Part -1/1988) with upto date amendments etc complete as required. 3.5C x 95 Sqmm | 500.00 | Mtrs |  | 750.00 | 375000.00 | 600.00 | 300000.00 | 520.00 | 260000.00 | 1155.00 | 577500.00 | 260000.00 | surbhi association
5.00 | Supply and Laying of 90 mm dia HDPE pipe of PE 80 PN 6 ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984 complete with fittings and cutting, jointing etc, complete as required including laying direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 350.00 | Mtrs |  | 350.00 | 122500.00 | 437.00 | 152950.00 | 200.00 | 70000.00 | 262.00 | 91700.00 | 70000.00 | surbhi association
6.00 | Supply and Laying of 90 mm dia HDPE pipe of PE 80 PN 6 ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984 complete with fittings and cutting, jointing etc, in the existing trench complete as required. | 100.00 | Mtrs |  | 200.00 | 20000.00 | 307.00 | 30700.00 | 150.00 | 15000.00 | 262.00 | 26200.00 | 15000.00 | surbhi association
7.00 | Supplying and fixing of 8 Way, Double door single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each |  | 1200.00 | 1200.00 | 2149.00 | 2149.00 | 2000.00 | 2000.00 | 6825.00 | 6825.00 | 1200.00 | DEEPAKELECTRICALS
8.00 | Supplying and fixing of 4 Way (8+12), Double door surface/recess mounting, vertical type 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 As tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's as required. | 1.00 | Each |  | 13000.00 | 13000.00 | 7590.00 | 7590.00 | 5000.00 | 5000.00 | 4200.00 | 4200.00 | 4200.00 | S K ENGINEERING AND CONSTRUCTION COMPANY INDIA PVT LTD
9.00 | Supplying and fixing of SP MCB 5A to 32A rating, 240/415 Volts, 10kA, "C" curve miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 20.00 | Each |  | 200.00 | 4000.00 | 208.00 | 4160.00 | 150.00 | 3000.00 | 367.00 | 7340.00 | 3000.00 | surbhi association
10.00 | Supplying and fixing of DP MCB 5A to 32A rating, 240/415 Volts, 10kA, "C" curve miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 550.00 | 2750.00 | 715.00 | 3575.00 | 450.00 | 2250.00 | 787.00 | 3935.00 | 2250.00 | surbhi association
11.00 | Supplying and fixing of 63A, 415 volts, rating Four Pole MCB, "C" curve in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 1700.00 | 1700.00 | 2058.00 | 2058.00 | 1750.00 | 1750.00 | 2100.00 | 2100.00 | 1700.00 | DEEPAKELECTRICALS
12.00 | Supplying and fixing DP sheet steel enclosure on surface / recess along with 25/32 A, 240 volts "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 900.00 | 3600.00 | 421.00 | 1684.00 | 300.00 | 1200.00 | 945.00 | 3780.00 | 1200.00 | surbhi association
13.00 | Supply of LED luminaries of size 2' x 2' , recess mounted having minimum lumen output of 3600 lm, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 12.00 | Nos |  | 5000.00 | 60000.00 | 2110.00 | 25320.00 | 1750.00 | 21000.00 | 3150.00 | 37800.00 | 21000.00 | surbhi association
14.00 | Supply of LED luminaries of size 2' x 2', surface mounted having minimum lumen output of 3600lm, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 4.00 | Nos |  | 5000.00 | 20000.00 | 2683.00 | 10732.00 | 1850.00 | 7400.00 | 3150.00 | 12600.00 | 7400.00 | surbhi association
15.00 | Supply of LED luminaries of size 1' x 1', surface mounted having minimum lumen output of 1800lm, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 4.00 | Nos |  | 2000.00 | 8000.00 | 1765.00 | 7060.00 | 1000.00 | 4000.00 | 1890.00 | 7560.00 | 4000.00 | surbhi association
16.00 | Supply of 45 W Street Light luminaries having, minimum lumen output of 7700lm , system efficacy not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 4kV surge suppressor, fitting made up of high pressure die cast aluminium/ standard alloy suitable thermal management arrangement, toughened glass with IP65 protection, suitable to operate on 230V, 50 Hz, single phase AC supply, hook/eye bolt for mounting the fixture inline with technical specifications attached with 5 years warrenty complete as required. | 10.00 | Nos |  | 5000.00 | 50000.00 | 1582.00 | 15820.00 | 1850.00 | 18500.00 | 4200.00 | 42000.00 | 15820.00 | SKYLINE ENGINEERS
17.00 | Supply of 1200 mm sweep, minimum BEE 3 star rated ceiling fans suitable for 230 volt 50 HZ Supply, with standard down rod and other accessories with out regulator etc. as required. | 4.00 | Each |  | 6000.00 | 24000.00 | 3000.00 | 12000.00 | 2450.00 | 9800.00 | 3675.00 | 14700.00 | 9800.00 | surbhi association
18.00 | Supply of 300 mm sweep, metallic heavyduty exhaust fan, minimum 1300 rpm, suitable for 230 volt 50 HZ Supply including all acessories etc. as required. | 2.00 | Each |  | 4500.00 | 9000.00 | 4500.00 | 9000.00 | 3200.00 | 6400.00 | 4200.00 | 8400.00 | 6400.00 | surbhi association
19.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of length upto 30 cm with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required.​ | 4.00 | Each |  | 150.00 | 600.00 | 400.00 | 1600.00 | 120.00 | 480.00 | 1050.00 | 4200.00 | 480.00 | surbhi association
20.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 300 mm sweep | 2.00 | Each |  | 300.00 | 600.00 | 600.00 | 1200.00 | 120.00 | 240.00 | 1050.00 | 2100.00 | 240.00 | surbhi association
21.00 | Wiring for circuit/submain wiring along with earth wire with the following size of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required. 2X2.5 sq.mm + 1X2.5 sq.mm earth wire | 50.00 | Mtrs |  | 220.00 | 11000.00 | 204.00 | 10200.00 | 240.00 | 12000.00 | 1050.00 | 52500.00 | 10200.00 | SKYLINE ENGINEERS
22.00 | Wiring for circuit/submain wiring along with earth wire with the following size of FRLS PVC insulated copper conductor, single core cable in surface / recessed medium class PVC conduit as required. 2X4 sq.mm + 1X4 sq.mm earth wire | 50.00 | Mtrs |  | 290.00 | 14500.00 | 310.00 | 15500.00 | 260.00 | 13000.00 | 1050.00 | 52500.00 | 13000.00 | surbhi association
23.00 | Supplying and fixing following size of / modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 10.00 | Each |  | 350.00 | 3500.00 | 150.00 | 1500.00 | 230.00 | 2300.00 | 210.00 | 2100.00 | 1500.00 | SKYLINE ENGINEERS
24.00 | Supplying and fixing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 20.00 | Each |  | 100.00 | 2000.00 | 120.00 | 2400.00 | 120.00 | 2400.00 | 262.00 | 5240.00 | 2000.00 | DEEPAKELECTRICALS
25.00 | Supplying and fixing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 15/16 A socket outlet | 20.00 | Each |  | 140.00 | 2800.00 | 180.00 | 3600.00 | 180.00 | 3600.00 | 262.00 | 5240.00 | 2800.00 | DEEPAKELECTRICALS
26.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 / 5 kV grade of following size in the existing RCC/ HUME/ DUCT/ METAL/DWC /HDPE pipe / cable trench as required. Above 35 sq.mm and upto 95 sq.mm | 600.00 | Mtrs |  | 25.00 | 15000.00 | 80.00 | 48000.00 | 35.00 | 21000.00 | 210.00 | 126000.00 | 15000.00 | DEEPAKELECTRICALS
27.00 | Supplying and making end termination with brass single compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 95 sq. mm (45mm) | 2.00 | Set |  | 450.00 | 900.00 | 695.00 | 1390.00 | 750.00 | 1500.00 | 1050.00 | 2100.00 | 900.00 | DEEPAKELECTRICALS
28.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal / coke and salt as required. | 3.00 | Nos |  | 23000.00 | 69000.00 | 14000.00 | 42000.00 | 17500.00 | 52500.00 | 15750.00 | 47250.00 | 42000.00 | SKYLINE ENGINEERS
29.00 | Earthing with G.I earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal / coke and salt as required. | 4.00 | Nos |  | 11000.00 | 44000.00 | 8500.00 | 34000.00 | 9000.00 | 36000.00 | 10500.00 | 42000.00 | 34000.00 | SKYLINE ENGINEERS
30.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with FRP cover plate of mini 2.5 ton capacity, 18x18 mini size and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Nos |  | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 9000.00 | 36000.00 | 10500.00 | 42000.00 | 32000.00 | DEEPAKELECTRICALS, SKYLINE ENGINEERS
| Total in Figures |  |  |  |  | 1298650.00 |  | 1330588.00 |  | 1365320.00 |  | 1460770.00
Lowest Amount Quoted BY: DEEPAKELECTRICALS(1298650.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of NDB building and Antenna Site at Salem Airport SH Electrical works Tender ID: 2025_AAI_241178_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAKELECTRICALS (BID ID -878510) | 1298650.00 | L1
| 2 | SKYLINE ENGINEERS (BID ID -881405) | 1330588.00 | L2
| 3 | surbhi association (BID ID -881461) | 1365320.00 | L3
| 4 | S K ENGINEERING AND CONSTRUCTION COMPANY INDIA PVT LTD (BID ID -881187) | 1460770.00 | L4