## BoQ1
Government eProcurement System Created By: V SHOWJENDRA KUMAR REDDY Created Date/Time: 22-Aug-2025 03:12 PM Tender Title: Painting of Technical Block including other Miscellaneous works at Kadapa Airport Tender ID: 2025_AAI_241207_1
Tender Inviting Authority: Sr.Manager (E-C), AAI, Kadapa Airport.
Name of Work: Painting of Technical Block including other Miscellaneous works at Kadapa Airport
Contract No: 2025_AAI_241207_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NIRMAAN PROJECTS (GSTN-37AYDPC2245E1ZX) BID ID -885578 |  | M/s. L Umamaheshreddy (GSTN-NA) BID ID -884742
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 2135.00 | Sqm | 19.75 | 12.00 | 25620.00 | 10.62 | 22673.70 | 22673.70 | M/s. L Umamaheshreddy
1.02 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-harge. With cement mortar 1:4 (1 cement : 4 fine sand). | 200.00 | Sqm | 670.95 | 350.00 | 70000.00 | 359.67 | 71934.00 | 70000.00 | NIRMAAN PROJECTS
1.03 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 2135.00 | Sqm | 160.60 | 150.00 | 320250.00 | 86.09 | 183802.15 | 183802.15 | M/s. L Umamaheshreddy
1.04 | Applying priming coats with primer of approved brand and manufacture, With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 650.00 | Sqm | 73.95 | 50.00 | 32500.00 | 39.68 | 25792.00 | 25792.00 | M/s. L Umamaheshreddy
1.05 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 650.00 | Sqm | 116.90 | 60.00 | 39000.00 | 62.69 | 40748.50 | 39000.00 | NIRMAAN PROJECTS
1.06 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 200.00 | Sqm | 156.05 | 80.00 | 16000.00 | 83.66 | 16732.00 | 16000.00 | NIRMAAN PROJECTS
1.07 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound) content less than 50 grams/ litre. of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats. | 2760.00 | Sqm | 142.80 | 110.00 | 303600.00 | 76.53 | 211222.80 | 211222.80 | M/s. L Umamaheshreddy
1.08 | Painting with black anti-corrosive bitumastic paint of approved brand and manufacture to give an even shade : Old work (one or more coats) . | 180.00 | Sqm | 93.70 | 90.00 | 16200.00 | 50.31 | 9055.80 | 9055.80 | M/s. L Umamaheshreddy
1.09 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement-All work up to plinth level: 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 2.00 | Cum | 9045.75 | 7000.00 | 14000.00 | 6286.61 | 12573.22 | 12573.22 | M/s. L Umamaheshreddy
1.10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (a) Thermo-Mechanically Treated bars or more | 170.00 | kg | 107.85 | 80.00 | 13600.00 | 74.96 | 12743.20 | 12743.20 | M/s. L Umamaheshreddy
1.11 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 165.00 | Sqm | 141.20 | 100.00 | 16500.00 | 98.22 | 16206.30 | 16206.30 | M/s. L Umamaheshreddy
1.12 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). 12 mm average thickness. | 700.00 | Sqm | 388.65 | 400.00 | 280000.00 | 270.15 | 189105.00 | 189105.00 | M/s. L Umamaheshreddy
1.13 | Providing and laying SBR Polymer modified (of approved make @ minimum 2% by wt. of cement used) plain/ reinforced concrete jacket for the structural members e.g. columns, pillars, piers, beams etc with concrete having the specified minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10mm maximum size in proportion as per design criteria] with specified average thickness all-round existing core of RCC member. Note: Rates shall be for finished surface area of concrete and shall include the cost of making holes in existing RCC slab, if required, for pouring concrete in shuttering mould of jacket and appropriate approved Super-Plasticiser for rendering concrete as flowable self compacting and SBR polymer but shall exclude cost of reinforcement, bond coat, Shear Keys, centering and shuttering, strutting, propping etc. (Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding/tapping with a blunt metal instrument) 50mm thick in Grade M 25 with cement content not less than 330 kg/cum | 350.00 | Sqm | 569.15 | 500.00 | 175000.00 | 395.56 | 138446.00 | 138446.00 | M/s. L Umamaheshreddy
1.14 | Providing and injecting approved grout in proportion recommended by the manufacturer into cracks/honey-comb area of concrete/masonry by suitable gun/pump at required pressure including cutting of nipples after curing etc. complete as per directions of Engineer-in-Charge. (The payment shall be made on the basis of actual weight of approved grout injected.) Epoxy injection grout in concrete/RCC work of approved make. | 100.00 | kg | 553.40 | 800.00 | 80000.00 | 384.69 | 38469.00 | 38469.00 | M/s. L Umamaheshreddy
1.15 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in : Cement mortar 1:6 (1 cement : 6 coarse sand) cum 9105.95 | 18.00 | Cum | 8752.55 | 7200.00 | 129600.00 | 6082.95 | 109493.10 | 109493.10 | M/s. L Umamaheshreddy
1.16 | 12 mm cement plaster of mix : (a) 1:6 (1 cement: 6 fine sand) | 72.00 | Sqm | 333.35 | 350.00 | 25200.00 | 231.72 | 16683.84 | 16683.84 | M/s. L Umamaheshreddy
1.17 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 24.00 | Nos. | 150.35 | 800.00 | 19200.00 | 104.54 | 2508.96 | 2508.96 | M/s. L Umamaheshreddy
1.18 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. a) 110 mm | 75.00 | Nos. | 371.30 | 50.00 | 3750.00 | 2581.74 | 193630.50 | 3750.00 | NIRMAAN PROJECTS
1.19 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 145.00 | Mtr | 377.40 | 450.00 | 65250.00 | 262.32 | 38036.40 | 38036.40 | M/s. L Umamaheshreddy
1.20 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 15.00 | Nos. | 54.70 | 400.00 | 6000.00 | 38.05 | 570.75 | 570.75 | M/s. L Umamaheshreddy
1.21 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS: 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. 1. Shoe (Plain) | 25.00 | Nos. | 131.85 | 500.00 | 12500.00 | 91.65 | 2291.25 | 2291.25 | M/s. L Umamaheshreddy
1.22 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.5 kg/sqm) | 80.00 | Sqm | 1505.25 | 900.00 | 72000.00 | 1046.12 | 83689.60 | 72000.00 | NIRMAAN PROJECTS
1.23 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 80.00 | kg | 530.90 | 600.00 | 48000.00 | 369.01 | 29520.80 | 29520.80 | M/s. L Umamaheshreddy
1.24 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron | 14.00 | kg | 634.45 | 600.00 | 8400.00 | 440.95 | 6173.30 | 6173.30 | M/s. L Umamaheshreddy
1.25 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 14.00 | Sqm | 1115.40 | 1000.00 | 14000.00 | 775.20 | 10852.80 | 10852.80 | M/s. L Umamaheshreddy
1.26 | Providing and fixing ISI marked aluminium butt hinges anodised (anodiccoating not less than grade AC 10 as per IS: 1868) transparent or dyedto required colour or shade with necessary screws etc. complete: 100x75x4 mm | 30.00 | each | 115.40 | 100.00 | 3000.00 | 80.27 | 2408.10 | 2408.10 | M/s. L Umamaheshreddy
1.27 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868 ) transparent or dyedto required colour or shade, with necessary screws etc. complete : 200x10 mm | 20.00 | each | 99.70 | 200.00 | 4000.00 | 69.40 | 1388.00 | 1388.00 | M/s. L Umamaheshreddy
1.28 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 10.00 | each | 983.15 | 2500.00 | 25000.00 | 683.30 | 6833.00 | 6833.00 | M/s. L Umamaheshreddy
1.29 | Providing and fixing aluminium handles, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 10.00 | each | 66.25 | 200.00 | 2000.00 | 46.14 | 461.40 | 461.40 | M/s. L Umamaheshreddy
1.30 | Providing and fixing aluminium hanging floor door stopper, ISI marked,anodised (anodic coating not less than grade AC 10 as per IS : 1868)transparent or dyed to required colour and shade, with necessary screwsetc. complete. Twin rubber stopper | 10.00 | each | 72.35 | 100.00 | 1000.00 | 50.31 | 503.10 | 503.10 | M/s. L Umamaheshreddy
1.31 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | 10.00 | each | 868.95 | 1000.00 | 10000.00 | 603.90 | 6039.00 | 6039.00 | M/s. L Umamaheshreddy
1.32 | Providing and fixing factory made uPVC glazed/wire mesh windows/ doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Casement door double panel with French (False) Mullionwith zinc alloy (zamak) 3D hinges, multi-point locking systemwith cylinder, zinc alloy (zamak) powder coated handles on both sides. 1 Usin g R3 series with frame (55 mm & above) x (50 mm & above) & sash (55 mm & above) x (85 mm & above) & French (False) mullion (55 mm & above) x (60 mm & above). (Height upto 2.5 metre). | 18.00 | Sqm | 11903.75 | 5000.00 | 90000.00 | 8272.92 | 148912.56 | 90000.00 | NIRMAAN PROJECTS
1.33 | Demolishing brick bat coba/Lean concrete/ Cement mortar etc in terrace including disposal of unserviceable material beyond airport premises as per the direction of Engineer in charge. | 90.00 | Cum | 1375.16 | 800.00 | 72000.00 | 955.73 | 86015.70 | 72000.00 | NIRMAAN PROJECTS
1.34 | Removing and refixing aluminium doors and windows including repleacement of EPDM rubber neopreme gasket, aluminum cleats/snap beeding and disposal of unserviceable materials beyond Airport premisis as per the directions of EIC. (Any requirement of float glasss and particle boards shall be paid separately) | 200.00 | Sqm | 752.94 | 500.00 | 100000.00 | 523.37 | 104674.00 | 100000.00 | NIRMAAN PROJECTS
| Total in Figures |  |  |  |  | 2113170.00 |  | 1840189.83
Lowest Amount Quoted BY: M/s. L Umamaheshreddy(1840189.83)

## BOQ Summary
BOQ Summary Details Tender Title: Painting of Technical Block including other Miscellaneous works at Kadapa Airport Tender ID: 2025_AAI_241207_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. L Umamaheshreddy (BID ID -884742) | 1840189.83 | L1
| 2 | NIRMAAN PROJECTS (BID ID -885578) | 2113170.00 | L2