## BoQ1
Government eProcurement System Created By: Rohini Kumari Created Date/Time: 08-Dec-2025 12:46 PM Tender Title: Renovation of Maharashtra Hanger at Juhu Airport. SH Electrical Works. Tender ID: 2025_AAI_241645_1
Tender Inviting Authority: AAI
Name of work: Renovation of Maharashtra Hanger at Juhu Airport. SH : Electrical Works
Tender ID : 2025_AAI_241645
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -927480 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd (GSTN-NA) BID ID -927360
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS/HFFR PVC insulated copper conductor single core cable etc. as required.
1.10 | Group C | 130.00 | Point |  | 1250.00 | 162500.00 | 1000.00 | 130000.00 | 130000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
2.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS/HFFR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
2.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1000.00 | Mtr |  | 280.00 | 280000.00 | 240.00 | 240000.00 | 240000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
2.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 900.00 | Mtr |  | 325.00 | 292500.00 | 285.00 | 256500.00 | 256500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
2.30 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 300.00 | Mtr |  | 375.00 | 112500.00 | 376.00 | 112800.00 | 112500.00 | Manish Electricals
2.40 | 4 x 6 sq. mm + 2 x 6 sq. mm earth wire | 200.00 | Mtr |  | 575.00 | 115000.00 | 600.00 | 120000.00 | 115000.00 | Manish Electricals
3.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
3.10 | 3 Module (100mm X 75mm) | 110.00 | Each |  | 375.00 | 41250.00 | 275.00 | 30250.00 | 30250.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
4.00 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
4.10 | 5/6 amps switch | 110.00 | Each |  | 70.00 | 7700.00 | 50.00 | 5500.00 | 5500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
4.20 | 3 pin 5/6 amp socket outlet | 110.00 | Each |  | 140.00 | 15400.00 | 90.00 | 9900.00 | 9900.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
5.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 15.00 | Each |  | 350.00 | 5250.00 | 300.00 | 4500.00 | 4500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
6.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 17.00 | Each |  | 350.00 | 5950.00 | 200.00 | 3400.00 | 3400.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
7.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
7.10 | Single pole | 50.00 | Each |  | 180.00 | 9000.00 | 150.00 | 7500.00 | 7500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
7.20 | Double Pole | 8.00 | Each |  | 525.00 | 4200.00 | 500.00 | 4000.00 | 4000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
7.30 | Triple Pole | 2.00 | Each |  | 1250.00 | 2500.00 | 720.00 | 1440.00 | 1440.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
8.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
8.10 | 40 Amps | 1.00 | Each |  | 1400.00 | 1400.00 | 725.00 | 725.00 | 725.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
8.20 | 63 Amps | 1.00 | Each |  | 1550.00 | 1550.00 | 750.00 | 750.00 | 750.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
8.30 | 100 Amps | 1.00 | Each |  | 1950.00 | 1950.00 | 990.00 | 990.00 | 990.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
9.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections,testing and commissioning etc. as required.
9.10 | 100 Amps | 1.00 | Each |  | 4800.00 | 4800.00 | 4600.00 | 4600.00 | 4600.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
9.20 | 63 AMP | 1.00 | Each |  | 4000.00 | 4000.00 | 2300.00 | 2300.00 | 2300.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
9.30 | 40 Amp | 1.00 | Each |  | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
10.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
10.10 | 4 way (4 + 12), Double Door | 2.00 | Each |  | 7000.00 | 14000.00 | 3000.00 | 6000.00 | 6000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
10.20 | 8 way (4 + 24), Double Door | 1.00 | Each |  | 9800.00 | 9800.00 | 3250.00 | 3250.00 | 3250.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
11.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
11.10 | 8 Way Double Door | 1.00 | Each |  | 3000.00 | 3000.00 | 1097.00 | 1097.00 | 1097.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
11.20 | 12 way Double Door | 2.00 | Each |  | 4800.00 | 9600.00 | 1300.00 | 2600.00 | 2600.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
12.00 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 300.00 | 600.00 | 1300.00 | 2600.00 | 600.00 | Manish Electricals
13.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 16.00 | Each |  | 1200.00 | 19200.00 | 890.00 | 14240.00 | 14240.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
14.00 | Supply of Four core, 25 Sq.mm. sizes of XLPE insulated and PVC sheathed, Aluminiumr conductor armoured, power cable of 1.1 KV grade confirming to IS 7098 (Part - 2) amended upto date. | 100.00 | Meter |  | 360.00 | 36000.00 | 230.00 | 23000.00 | 23000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall/surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Meter |  | 150.00 | 15000.00 | 50.00 | 5000.00 | 5000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
16.00 | Supply and making end termination with brass compression gland and aluminium lugs for size 4 X 25 sq. mm (28 mm) of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kv grade as required. | 2.00 | set |  | 550.00 | 1100.00 | 300.00 | 600.00 | 600.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
17.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 2.00 | Each |  | 9000.00 | 18000.00 | 4000.00 | 8000.00 | 8000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
18.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe From earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 20.00 | Meter |  | 550.00 | 11000.00 | 600.00 | 12000.00 | 11000.00 | Manish Electricals
19.00 | Percentage above or below on the rates of DSR (E&M) -2025 (CPWD) items worth totalling 100000/- for execution of items except BOQ items mentioned in Sl no 1 to 18 on requirement basis. The rates quoted shall be without GST. (The payment will be made after deducting GST from DSR rate and adding labour cess of 1%). (Rate to be paid = (DSR rate/1.18 x R)+labour cess @1% ie, if the quoted rate is 1.25 then R = 1.25 and if quoted rate is 0.75, R=0.75 | 1.00 | job |  | 90000.00 | 90000.00 | 71000.00 | 71000.00 | 71000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
| Total in Figures |  |  |  |  | 1298250.00 |  | 1086542.00
Lowest Amount Quoted BY: Krishsons International Engineers And Consultants (I) Pvt. Ltd(1086542.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Maharashtra Hanger at Juhu Airport. SH Electrical Works. Tender ID: 2025_AAI_241645_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Krishsons International Engineers And Consultants (I) Pvt. Ltd (BID ID -927360) | 1086542.00 | L1
| 2 | Manish Electricals (BID ID -927480) | 1298250.00 | L2