## BoQ1
Government eProcurement System Created By: Ashwini Kumar Created Date/Time: 28-Aug-2025 12:14 PM Tender Title: Construction of DVOR building and allied works at Katihar Airport, Katihar Tender ID: 2025_AAI_242349_1
Tender Inviting Authority: AGM (E-C)
Name of Work: Construction of DVOR building and allied works at Katihar Airport, Katihar.
Contract No: 2025_AAI_242349_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER (GSTN-07ACCFM9140P1ZQ) BID ID -885012 |  | M/s. Sharma Traders (GSTN-19ADIFS2532G1Z0) BID ID -885827 |  | M/S SARADA CONSTRUCTION (GSTN-NA) BID ID -886574
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | Civil Works
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil. | 607.00 | Cum |  | 200.00 | 121400.00 | 145.00 | 88015.00 | 40.00 | 24280.00 | 24280.00 | M/S SARADA CONSTRUCTION
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 53.00 | Cum |  | 200.00 | 10600.00 | 160.00 | 8480.00 | 40.00 | 2120.00 | 2120.00 | M/S SARADA CONSTRUCTION
3.00 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | 684.00 | Mtr |  | 200.00 | 136800.00 | 275.00 | 188100.00 | 40.00 | 27360.00 | 27360.00 | M/S SARADA CONSTRUCTION
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 660.00 | Cum |  | 120.00 | 79200.00 | 120.00 | 79200.00 | 60.00 | 39600.00 | 39600.00 | M/S SARADA CONSTRUCTION
5.00 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials. All kinds of soil. | 182.00 | Cum |  | 100.00 | 18200.00 | 90.00 | 16380.00 | 64.00 | 11648.00 | 11648.00 | M/S SARADA CONSTRUCTION
6.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 175.00 | Cum |  | 1200.00 | 210000.00 | 1200.00 | 210000.00 | 800.00 | 140000.00 | 140000.00 | M/S SARADA CONSTRUCTION
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural lsources). | 6.00 | Cum |  | 5500.00 | 33000.00 | 5500.00 | 33000.00 | 6000.00 | 36000.00 | 33000.00 | M/S M L BROTHER, M/s. Sharma Traders
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural lsources). | 269.00 | Cum |  | 5200.00 | 1398800.00 | 5300.00 | 1425700.00 | 5100.00 | 1371900.00 | 1371900.00 | M/S SARADA CONSTRUCTION
9.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns. | 141.00 | Sqm |  | 400.00 | 56400.00 | 275.00 | 38775.00 | 200.00 | 28200.00 | 28200.00 | M/S SARADA CONSTRUCTION
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform. | 39.00 | Sqm |  | 400.00 | 15600.00 | 290.00 | 11310.00 | 200.00 | 7800.00 | 7800.00 | M/S SARADA CONSTRUCTION
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 84.00 | Sqm |  | 400.00 | 33600.00 | 295.00 | 24780.00 | 200.00 | 16800.00 | 16800.00 | M/S SARADA CONSTRUCTION
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts. | 264.00 | Sqm |  | 400.00 | 105600.00 | 298.00 | 78672.00 | 240.00 | 63360.00 | 63360.00 | M/S SARADA CONSTRUCTION
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls. Under 20 cm wide. | 51.00 | Mtr |  | 100.00 | 5100.00 | 200.00 | 10200.00 | 400.00 | 20400.00 | 5100.00 | M/S M L BROTHER
14.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5120.00 | Kg |  | 90.00 | 460800.00 | 84.00 | 430080.00 | 75.00 | 384000.00 | 384000.00 | M/S SARADA CONSTRUCTION
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D ormore. | 7810.00 | Kg |  | 90.00 | 702900.00 | 85.00 | 663850.00 | 80.00 | 624800.00 | 624800.00 | M/S SARADA CONSTRUCTION
16.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 67.00 | Mtr |  | 100.00 | 6700.00 | 100.00 | 6700.00 | 800.00 | 53600.00 | 6700.00 | M/S M L BROTHER, M/s. Sharma Traders
17.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level. Concrete of M25 grade with minimum cement content of 330 kg /cum. | 64.00 | Cum |  | 7000.00 | 448000.00 | 8100.00 | 518400.00 | 7000.00 | 448000.00 | 448000.00 | M/S M L BROTHER, M/S SARADA CONSTRUCTION
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level. Concrete of M25 grade with minimum cement content of 330 kg /cum. | 71.00 | Cum |  | 7000.00 | 497000.00 | 8200.00 | 582200.00 | 6700.00 | 475700.00 | 475700.00 | M/S SARADA CONSTRUCTION
19.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand). | 83.00 | Cum |  | 9000.00 | 747000.00 | 6500.00 | 539500.00 | 4800.00 | 398400.00 | 398400.00 | M/S SARADA CONSTRUCTION
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 100.00 | Cum |  | 9000.00 | 900000.00 | 6700.00 | 670000.00 | 4700.00 | 470000.00 | 470000.00 | M/S SARADA CONSTRUCTION
21.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand). | 20.00 | Sqm |  | 700.00 | 14000.00 | 1200.00 | 24000.00 | 400.00 | 8000.00 | 8000.00 | M/S SARADA CONSTRUCTION
22.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 20.00 | Sqm |  | 150.00 | 3000.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 3000.00 | M/S M L BROTHER
23.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood. | .79 | Cum |  | 100000.00 | 79000.00 | 130000.00 | 102700.00 | 80000.00 | 63200.00 | 63200.00 | M/S SARADA CONSTRUCTION
24.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 22.00 | Sqm |  | 3500.00 | 77000.00 | 2600.00 | 57200.00 | 2400.00 | 52800.00 | 52800.00 | M/S SARADA CONSTRUCTION
25.00 | Extra if louvers (not exceeding 0.2 sqm) are provided in flush door shutters (overall area of door shutters to be measured). Decorative type door. | 3.00 | Sqm |  | 500.00 | 1500.00 | 400.00 | 1200.00 | 2400.00 | 7200.00 | 1200.00 | M/s. Sharma Traders
26.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm. | 9.00 | Each |  | 250.00 | 2250.00 | 400.00 | 3600.00 | 400.00 | 3600.00 | 2250.00 | M/S M L BROTHER
27.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 150x10 mm. | 3.00 | Each |  | 100.00 | 300.00 | 300.00 | 900.00 | 800.00 | 2400.00 | 300.00 | M/S M L BROTHER
28.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 6.00 | Each |  | 200.00 | 1200.00 | 150.00 | 900.00 | 400.00 | 2400.00 | 900.00 | M/s. Sharma Traders
29.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 6.00 | Each |  | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 4000.00 | 24000.00 | 6000.00 | M/S M L BROTHER
30.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm. | 9.00 | Each |  | 300.00 | 2700.00 | 250.00 | 2250.00 | 1200.00 | 10800.00 | 2250.00 | M/s. Sharma Traders
31.00 | Providing and fixing pre-laminated medium density fibre board exterior grade (Grade-I) IS:14587:1998 marked, to frame, backing or studding with screws etc. complete (Frames, backing or studding to be paid separately). Pre-laminated with decorative lamination on both side exterior Grade - I MDF Board 12 mm thick conforming to IS:14587. | 78.00 | Sqm |  | 1100.00 | 85800.00 | 850.00 | 66300.00 | 2300.00 | 179400.00 | 66300.00 | M/s. Sharma Traders
32.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125 mm. | 14.00 | Each |  | 100.00 | 1400.00 | 170.00 | 2380.00 | 800.00 | 11200.00 | 1400.00 | M/S M L BROTHER
33.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete. | 3555.00 | Kg |  | 100.00 | 355500.00 | 95.00 | 337725.00 | 75.00 | 266625.00 | 266625.00 | M/S SARADA CONSTRUCTION
34.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides. | 1.00 | Sqm |  | 100.00 | 100.00 | 5000.00 | 5000.00 | 2400.00 | 2400.00 | 100.00 | M/S M L BROTHER
35.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm. | 64.00 | Sqm |  | 1000.00 | 64000.00 | 1050.00 | 67200.00 | 1600.00 | 102400.00 | 64000.00 | M/S M L BROTHER
36.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm. | 11.00 | Sqm |  | 1000.00 | 11000.00 | 800.00 | 8800.00 | 1600.00 | 17600.00 | 8800.00 | M/s. Sharma Traders
37.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase. | 34.00 | Mtr |  | 300.00 | 10200.00 | 205.00 | 6970.00 | 800.00 | 27200.00 | 6970.00 | M/s. Sharma Traders
38.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter. | 15.00 | Mtr |  | 400.00 | 6000.00 | 320.00 | 4800.00 | 800.00 | 12000.00 | 4800.00 | M/s. Sharma Traders
39.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend. | 5.00 | Each |  | 300.00 | 1500.00 | 200.00 | 1000.00 | 400.00 | 2000.00 | 1000.00 | M/s. Sharma Traders
40.00 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on interlocking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. | 52.00 | Sqm |  | 1500.00 | 78000.00 | 1310.00 | 68120.00 | 6300.00 | 327600.00 | 68120.00 | M/s. Sharma Traders
40.10 | Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanized butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
40.20 | 8 mm thick fully perforated calcium silicate board made with Calcareous & Siliceous materials reinforced with cellulose fiber manufactured through autoclaving process to give stable crystalline structure with minimum compressive strength 225 kg/ sq. cm, bending strength 100 kg/sq. cm , of size 595x595 mm, having perforation of dia. 10 mm with minimum perforated area 18 % with non woven tissue on the back side, having an NRC ( Noise Reduction Coefficient) of 0.85, with 50 mm thick rockwool of 48 kg /cum backing.
41.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand). | 259.00 | Sqm |  | 220.00 | 56980.00 | 325.00 | 84175.00 | 120.00 | 31080.00 | 31080.00 | M/S SARADA CONSTRUCTION
42.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand). | 273.00 | Sqm |  | 250.00 | 68250.00 | 350.00 | 95550.00 | 120.00 | 32760.00 | 32760.00 | M/S SARADA CONSTRUCTION
43.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand). | 100.00 | Sqm |  | 200.00 | 20000.00 | 300.00 | 30000.00 | 120.00 | 12000.00 | 12000.00 | M/S SARADA CONSTRUCTION
44.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOCcontent less than 50 gram/litre, of approved manufacturer and of requiredshade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including waterthinnable priming coat with cement primer having VOC contentless than 50 gram/litre. | 596.00 | Sqm |  | 80.00 | 47680.00 | 65.00 | 38740.00 | 240.00 | 143040.00 | 38740.00 | M/s. Sharma Traders
45.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @0.90 litre/ 10 sqm). | 2064.00 | Sqm |  | 80.00 | 165120.00 | 95.00 | 196080.00 | 80.00 | 165120.00 | 165120.00 | M/S M L BROTHER, M/S SARADA CONSTRUCTION
46.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitableshade with ordinary paint of approved brand and manufacture | 100.00 | Sqm |  | 100.00 | 10000.00 | 60.00 | 6000.00 | 80.00 | 8000.00 | 6000.00 | M/s. Sharma Traders
47.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 532.00 | Sqm |  | 80.00 | 42560.00 | 95.00 | 50540.00 | 120.00 | 63840.00 | 42560.00 | M/S M L BROTHER
48.00 | Repair to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sqm and under, including cutting the patch in proper shape, raking out joints and preparing plastering the wall surface with white cement based polymer modified self curing mortar, including disposal of rubbish, all complete as per the direction of Engineer-In-Charge. | 500.00 | Sqm |  | 350.00 | 175000.00 | 420.00 | 210000.00 | 400.00 | 200000.00 | 175000.00 | M/S M L BROTHER
49.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick. | 188.00 | Sqm |  | 800.00 | 150400.00 | 400.00 | 75200.00 | 2400.00 | 451200.00 | 75200.00 | M/s. Sharma Traders
50.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 50.00 | Cum |  | 800.00 | 40000.00 | 2100.00 | 105000.00 | 400.00 | 20000.00 | 20000.00 | M/S SARADA CONSTRUCTION
51.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 50.00 | Cum |  | 600.00 | 30000.00 | 1500.00 | 75000.00 | 400.00 | 20000.00 | 20000.00 | M/S SARADA CONSTRUCTION
52.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 39.00 | Cum |  | 5000.00 | 195000.00 | 5100.00 | 198900.00 | 5500.00 | 214500.00 | 195000.00 | M/S M L BROTHER
53.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5 mm thick) wire of high tensile strength of 165 kg/ sq. mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately). | 740.00 | Mtr |  | 350.00 | 259000.00 | 360.00 | 266400.00 | 800.00 | 592000.00 | 259000.00 | M/S M L BROTHER
54.00 | Providing and laying factory made chamfered edge Cement Concretepaver blocks in footpath, parks, lawns, drive ways or light traffic parkingetc, of required strength, thickness & size/ shape, made by table vibratorymethod using PU mould, laid in required colour & pattern over 50 mmthick compacted bed of sand, compacting and proper embedding/layingof inter locking paver blocks into the sand bedding layer through vibratorycompaction by using plate vibrator, filling the joints with sand and cuttingof paver blocks as per required size and pattern, finishing and sweepingextra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 1182.00 | Sqm |  | 800.00 | 945600.00 | 1140.00 | 1347480.00 | 1600.00 | 1891200.00 | 945600.00 | M/S M L BROTHER
55.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests. | 1.00 | Each |  | 4000.00 | 4000.00 | 5100.00 | 5100.00 | 1600.00 | 1600.00 | 1600.00 | M/S SARADA CONSTRUCTION
56.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps. | 1.00 | Each |  | 2500.00 | 2500.00 | 3500.00 | 3500.00 | 1600.00 | 1600.00 | 1600.00 | M/S SARADA CONSTRUCTION
57.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board. 510x1040 mm bowl depth 250 mm. | 1.00 | Each |  | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 1600.00 | 1600.00 | 1600.00 | M/S SARADA CONSTRUCTION
58.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe. 32 mm dia. | 1.00 | Each |  | 100.00 | 100.00 | 200.00 | 200.00 | 400.00 | 400.00 | 100.00 | M/S M L BROTHER
59.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each |  | 1000.00 | 2000.00 | 550.00 | 1100.00 | 400.00 | 800.00 | 800.00 | M/S SARADA CONSTRUCTION
60.00 | Providing and fixing toilet paper holder : C.P. brass. | 1.00 | Each |  | 500.00 | 500.00 | 500.00 | 500.00 | 400.00 | 400.00 | 400.00 | M/S SARADA CONSTRUCTION
61.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Sand cast iron S&S pipe as per IS: 1729. | 45.00 | Mtr |  | 1000.00 | 45000.00 | 1100.00 | 49500.00 | 400.00 | 18000.00 | 18000.00 | M/S SARADA CONSTRUCTION
62.00 | Providing and fixing soil, waste and vent pipes : 75 mm diameter. Sand cast iron S&S pipe as per IS: 1729. | 65.00 | Mtr |  | 700.00 | 45500.00 | 1050.00 | 68250.00 | 400.00 | 26000.00 | 26000.00 | M/S SARADA CONSTRUCTION
63.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 1.00 | Each |  | 300.00 | 300.00 | 450.00 | 450.00 | 240.00 | 240.00 | 240.00 | M/S SARADA CONSTRUCTION
64.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes. | 50.00 | Mtr |  | 250.00 | 12500.00 | 295.00 | 14750.00 | 400.00 | 20000.00 | 12500.00 | M/S M L BROTHER
65.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes. | 50.00 | Mtr |  | 250.00 | 12500.00 | 325.00 | 16250.00 | 400.00 | 20000.00 | 12500.00 | M/S M L BROTHER
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work. 32 mm nominal outer dia Pipes. | 50.00 | Mtr |  | 300.00 | 15000.00 | 400.00 | 20000.00 | 400.00 | 20000.00 | 15000.00 | M/S M L BROTHER
67.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank complete in all respects. | 1000.00 | Per litre |  | 9.00 | 9000.00 | 12.00 | 12000.00 | 400.00 | 400000.00 | 9000.00 | M/S M L BROTHER
68.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore. | 2.00 | Each |  | 1000.00 | 2000.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 1400.00 | M/s. Sharma Traders
69.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15mm nominal bore. | 1.00 | Each |  | 800.00 | 800.00 | 500.00 | 500.00 | 800.00 | 800.00 | 500.00 | M/s. Sharma Traders
70.00 | Providing and fixing PTMT soap dish holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | 1.00 | Each |  | 600.00 | 600.00 | 550.00 | 550.00 | 400.00 | 400.00 | 400.00 | M/S SARADA CONSTRUCTION
71.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 1.00 | Each |  | 2000.00 | 2000.00 | 2450.00 | 2450.00 | 800.00 | 800.00 | 800.00 | M/S SARADA CONSTRUCTION
72.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 3.00 | Each |  | 12000.00 | 36000.00 | 11500.00 | 34500.00 | 4000.00 | 12000.00 | 12000.00 | M/S SARADA CONSTRUCTION
73.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 1.00 | Each |  | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 8000.00 | 8000.00 | 8000.00 | M/S SARADA CONSTRUCTION
74.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron). | 85.00 | Kg |  | 600.00 | 51000.00 | 520.00 | 44200.00 | 480.00 | 40800.00 | 40800.00 | M/S SARADA CONSTRUCTION
75.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron). | 34.00 | Kg |  | 600.00 | 20400.00 | 540.00 | 18360.00 | 480.00 | 16320.00 | 16320.00 | M/S SARADA CONSTRUCTION
76.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm). | 3.00 | Sqm |  | 1000.00 | 3000.00 | 1100.00 | 3300.00 | 800.00 | 2400.00 | 2400.00 | M/S SARADA CONSTRUCTION
77.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 47.00 | Kg |  | 600.00 | 28200.00 | 500.00 | 23500.00 | 480.00 | 22560.00 | 22560.00 | M/S SARADA CONSTRUCTION
78.00 | Grading roof for water proofing treatment with Cement mortar 1:4 (1cement : 4 coarse sand). | 3.00 | Cum |  | 7000.00 | 21000.00 | 6000.00 | 18000.00 | 5500.00 | 16500.00 | 16500.00 | M/S SARADA CONSTRUCTION
79.00 | Construction of embankment/filling in Plinth with approved materials soil obtained from borrow pits (outside airport premises) with all lifts and leads, trasnporting to site, spreadig grading to required slope and compacting to achieve the desired compactions as specified in technical specifications (based on MORTH) etc complete in all respects and as directed by Engineer-in-charge. All kind of soil. | 2292.00 | Cum |  | 400.00 | 916800.00 | 705.00 | 1615860.00 | 240.00 | 550080.00 | 550080.00 | M/S SARADA CONSTRUCTION
80.00 | Providing and fixing Jaquar's handshower (ALD-573) (Health Faucet with brass handle and tube) with 8mm dia, 1 meter long flexible tube and wall hook or equivalent. | 1.00 | Each |  | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 800.00 | 800.00 | 800.00 | M/S SARADA CONSTRUCTION
81.00 | Porviding and operating 3D hydraulic excavator with back hoe (JCB or equivalent) including fuel, driver and others for removal of wild growth, jungle, and heaps etc. as per the direction and satisfaction of EIC (measurement shall be based on per hour of effective operation). | 20.00 | Per hour |  | 1000.00 | 20000.00 | 1600.00 | 32000.00 | 800.00 | 16000.00 | 16000.00 | M/S SARADA CONSTRUCTION
81.10 | Electrical Works
82.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit/raceways, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required. (a) Group C | 20.00 | Point |  | 600.00 | 12000.00 | 1400.00 | 28000.00 | 600.00 | 12000.00 | 12000.00 | M/S M L BROTHER, M/S SARADA CONSTRUCTION
83.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit/raceways, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. | 25.00 | Point |  | 600.00 | 15000.00 | 1300.00 | 32500.00 | 800.00 | 20000.00 | 15000.00 | M/S M L BROTHER
84.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit/raceways i/c supply and laying of suitabel size medium class steel conduit complete as required. 2 x 2.5 Sq.mm + 1 x 2.5 Sq.mm Earth Wire | 150.00 | Mtr |  | 250.00 | 37500.00 | 225.00 | 33750.00 | 270.00 | 40500.00 | 33750.00 | M/s. Sharma Traders
85.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit/raceways i/c supply and laying of suitabel size medium class steel conduit complete as required. 2 x 4 Sq.mm + 1 x 4 Sq.mm Earth Wire | 150.00 | Mtr |  | 250.00 | 37500.00 | 240.00 | 36000.00 | 360.00 | 54000.00 | 36000.00 | M/s. Sharma Traders
86.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit/raceways i/c supply and laying of suitabel size meduim class steel conduit complete as required. 2 x 6 Sq.mm + 1 x 6 Sq.mm Earth Wire | 100.00 | Mtr |  | 350.00 | 35000.00 | 330.00 | 33000.00 | 460.00 | 46000.00 | 33000.00 | M/s. Sharma Traders
87.00 | Wiring for light/ power plug with 2X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit/raceways alongwith 1 No 4 sq. mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 350.00 | Mtr |  | 300.00 | 105000.00 | 220.00 | 77000.00 | 470.00 | 164500.00 | 77000.00 | M/s. Sharma Traders
88.00 | Supplying and fixing of following sizes of steel conduit along with accessorice in surface/recessed including painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 30.00 | Mtr |  | 100.00 | 3000.00 | 150.00 | 4500.00 | 220.00 | 6600.00 | 3000.00 | M/S M L BROTHER
89.00 | Supplying and fixing of 25 mm sizes of steel conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 30.00 | Mtr |  | 100.00 | 3000.00 | 160.00 | 4800.00 | 300.00 | 9000.00 | 3000.00 | M/S M L BROTHER
90.00 | Supply and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. 2 x 1.5 sq.mm. | 30.00 | Mtr |  | 250.00 | 7500.00 | 50.00 | 1500.00 | 320.00 | 9600.00 | 1500.00 | M/s. Sharma Traders
91.00 | Supply and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. 3 x 4.0 sq.mm. | 30.00 | Mtr |  | 300.00 | 9000.00 | 120.00 | 3600.00 | 330.00 | 9900.00 | 3600.00 | M/s. Sharma Traders
92.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet 15/16 A modular switch, including connections etc. complete as required. | 55.00 | Each |  | 250.00 | 13750.00 | 440.00 | 24200.00 | 310.00 | 17050.00 | 13750.00 | M/S M L BROTHER
93.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (A). Telephone Socket Outlet | 3.00 | Each |  | 250.00 | 750.00 | 120.00 | 360.00 | 220.00 | 660.00 | 360.00 | M/s. Sharma Traders
94.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.(A). 15/16 A Switch | 5.00 | Each |  | 300.00 | 1500.00 | 130.00 | 650.00 | 270.00 | 1350.00 | 650.00 | M/s. Sharma Traders
95.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (A). 6 pin 15/16 A socket outlet | 5.00 | Each |  | 250.00 | 1250.00 | 170.00 | 850.00 | 320.00 | 1600.00 | 850.00 | M/s. Sharma Traders
96.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mm x 75mm) | 5.00 | Each |  | 250.00 | 1250.00 | 245.00 | 1225.00 | 200.00 | 1000.00 | 1000.00 | M/S SARADA CONSTRUCTION
97.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 5.00 | Each |  | 300.00 | 1500.00 | 250.00 | 1250.00 | 260.00 | 1300.00 | 1250.00 | M/s. Sharma Traders
98.00 | Supplying and fixing of following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 6 Module (200 mm x 75 mm) | 5.00 | Each |  | 350.00 | 1750.00 | 330.00 | 1650.00 | 410.00 | 2050.00 | 1650.00 | M/s. Sharma Traders
99.00 | Supplying and fixing of following ways surface/recess mounting, vertical type, 415 volts, IP 43, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 100 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer) as required. 8 way (4 + 24), double door | 2.00 | Each |  | 7000.00 | 14000.00 | 11000.00 | 22000.00 | 9500.00 | 19000.00 | 14000.00 | M/S M L BROTHER
100.00 | Supplying and fixing of 12 way (2+10), Double Door, Metal , Single pole and neutral (SPN), Metalica MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing , blanking plates etc. as required. (But without MCB/RCCB/Isolator) | 5.00 | Each |  | 10000.00 | 50000.00 | 2400.00 | 12000.00 | 5500.00 | 27500.00 | 12000.00 | M/s. Sharma Traders
101.00 | Supplying and fixing of 6 way (2+4), Double Door, Metal , Single pole and neutral (SPN), Metalica MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing , blanking plates etc. as required. (But without MCB/RCCB/Isolator) | 2.00 | Each |  | 6000.00 | 12000.00 | 1600.00 | 3200.00 | 4500.00 | 9000.00 | 3200.00 | M/s. Sharma Traders
102.00 | Supplying and fixing 63A rating, 415 V, 10 kA, 4 Pole MCB suitable for inductive load in the existing TPN MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 1305.00 | 2610.00 | 2000.00 | M/s. Sharma Traders
103.00 | Supplying and fixing 63A rating, 240/415 V, 10 kA, "C" curve, DP miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 3000.00 | 18000.00 | 700.00 | 4200.00 | 1550.00 | 9300.00 | 4200.00 | M/s. Sharma Traders
104.00 | Supplying and fixing 40A rating, 240/415 V, 10 kA, "C" curve, DP miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 2500.00 | 5000.00 | 900.00 | 1800.00 | 850.00 | 1700.00 | 1700.00 | M/S SARADA CONSTRUCTION
105.00 | Supplying and fixing 5 A to 32 A rating SP MCB, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 106.00 | Each |  | 250.00 | 26500.00 | 210.00 | 22260.00 | 950.00 | 100700.00 | 22260.00 | M/s. Sharma Traders
106.00 | Supply and Fixing of Modular type Socket Residual Current Device (SRCD) Socket with steel enclosure 25 Amps DP MCB having Over current protection suitable for 1.5 TR Inverter AC complete as required. | 8.00 | Each |  | 5000.00 | 40000.00 | 850.00 | 6800.00 | 900.00 | 7200.00 | 6800.00 | M/s. Sharma Traders
107.00 | Supply of Recessed mounting 2' x 2' LED panel Luminaire, 36W, IP 20, 6500K CRCA deep-drawn housing suitable for 600 mm X 600 mm modular ceiling complete as per technical specifications. | 12.00 | Each |  | 3500.00 | 42000.00 | 2200.00 | 26400.00 | 750.00 | 9000.00 | 9000.00 | M/S SARADA CONSTRUCTION
108.00 | Supply of Recessed mounting 2' x 2' LED panel Luminaire, 36W, IP 20, 6500K CRCA deep-drawn housing suitable for 600 mm X 600 mm modular ceiling having battery back up complete as per technical specifications. | 10.00 | Each |  | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 850.00 | 8500.00 | 8500.00 | M/S SARADA CONSTRUCTION
109.00 | Supply of 18 W LED BATTEN type Luminaire of 4ft long having minimum system Lumen output of 1800 lumen , epoxy powder coated white CRCA housing for efficient dissipation equipped with high efficiency long life LED module to ensure better lumen output, Milky white, polycarbonate diffuser for glare-free efficient light distribution, elegantly designed white coloured end caps to enhance the aesthetic view of the fixture, integral electronic driver (SMPS based constant current supply) with output short-circuit protection, surge protection & other safety tests as per latest IS specification having battery back up complete as per technical specifications suitable for fixing directly on the wall / ceiling by mounting SS clips provided with the fixture complete as required as per technical specification of the item. | 4.00 | Each |  | 800.00 | 3200.00 | 900.00 | 3600.00 | 395.00 | 1580.00 | 1580.00 | M/S SARADA CONSTRUCTION
110.00 | Supply of 35 Watt LED type Road/ Street light with minimum protection level IP 66, pressure die cast housing with epoxy power coated prismatic poly carbonate cover with individual LED lenses and complete assembly with LED, driver and accessories pre-wired up to terminal block i/c suitable mounting accessories etc. as required. | 14.00 | Each |  | 5000.00 | 70000.00 | 2600.00 | 36400.00 | 7500.00 | 105000.00 | 36400.00 | M/s. Sharma Traders
111.00 | Supply of single Dome LED type Aviation Obsctruction light as per ICAO requirement suitable to operate on 1Phase, 50 Hz, AC supply with all accessories complete as required .(Bajaj model no BGJV 302 or equivalent) | 2.00 | Each |  | 5500.00 | 11000.00 | 5100.00 | 10200.00 | 10000.00 | 20000.00 | 10200.00 | M/s. Sharma Traders
112.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types, complete with all accessories etc. directly on/in ceiling/ wall, including connection with 1.5 Sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 28.00 | Each |  | 500.00 | 14000.00 | 200.00 | 5600.00 | 475.00 | 13300.00 | 5600.00 | M/s. Sharma Traders
113.00 | Fixing of LED street light fitting on pole / wall including supply and bending the 40mm GI pipe upto 2.00 mtr length to the required shape, iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint including connection with 1.5 Sq.mm PVC insulated copper conductor single core cable, testing and commissioning complete as required. | 14.00 | Each |  | 300.00 | 4200.00 | 9500.00 | 133000.00 | 565.00 | 7910.00 | 4200.00 | M/S M L BROTHER
114.00 | Supply of 1200 mm sweep five star BLDC ceiling fan of rating from 26 watt to 32 watt and all standard accessories etc., complete as required. | 3.00 | Each |  | 4000.00 | 12000.00 | 6000.00 | 18000.00 | 6500.00 | 19500.00 | 12000.00 | M/S M L BROTHER
115.00 | Supplying and fixing 5 stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 3.00 | Each |  | 500.00 | 1500.00 | 800.00 | 2400.00 | 405.00 | 1215.00 | 1215.00 | M/S SARADA CONSTRUCTION
116.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 Sq.mm FRLSH PVC insulated, copper conductor, single core cable etc. as required. | 3.00 | Each |  | 200.00 | 600.00 | 800.00 | 2400.00 | 350.00 | 1050.00 | 600.00 | M/S M L BROTHER
117.00 | Supplying and fixing extra down rod of 10 cm length G.I. pipe ,15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 3.00 | Each |  | 500.00 | 1500.00 | 750.00 | 2250.00 | 395.00 | 1185.00 | 1185.00 | M/S SARADA CONSTRUCTION
118.00 | Supply of 230 v , 50 Hz industrial heavy duty exhaust fan with louver having 300 mm sweep 1400 rev/minute indculing Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each |  | 3500.00 | 7000.00 | 7100.00 | 14200.00 | 5950.00 | 11900.00 | 7000.00 | M/S M L BROTHER
119.00 | Supply of 230 v , 50 Hz industrial heavy duty exhaust fan with louver having 450 mm sweep 1400 rev/minute indculing Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 1.00 | Each |  | 5009.99 | 5009.99 | 9500.00 | 9500.00 | 6506.00 | 6506.00 | 5009.99 | M/S M L BROTHER
| Total in Figures |  |  |  |  | 10933399.99 |  | 11853717.00 |  | 11599999.00
Lowest Amount Quoted BY: M/S M L BROTHER(10933399.99)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR building and allied works at Katihar Airport, Katihar Tender ID: 2025_AAI_242349_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S M L BROTHER (BID ID -885012) | 10933399.99 | L1
| 2 | M/S SARADA CONSTRUCTION (BID ID -886574) | 11599999.00 | L2
| 3 | M/s. Sharma Traders (BID ID -885827) | 11853717.00 | L3