## BoQ1
Government eProcurement System Created By: Bhavbhooti Devam Created Date/Time: 21-Aug-2025 02:40 PM Tender Title: Renovation of Conference Room at Second Floor, B block, R.G. Bhawan, New Delhi Tender ID: 2025_AAI_242522_1
Tender Inviting Authority: Sr. Manager (E-C)-IMU
Name of Work: Renovation of Conference Room at Second Floor, B block, R.G. Bhawan, New Delhi.
Contract No: 2025_AAI_242522_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | singhfurncraft pvt ltd (GSTN-07AARCS0625H1Z8) BID ID -879573 |  | CREATORS ENGINEERS AND INTERIORS (GSTN-07AAGFC0762R2Z1) BID ID -882439 |  | SAMTA INTERIORS (GSTN-07AALPB7815K1ZJ) BID ID -882845
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head-I Civil works Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 Mtrs lead. | 90.00 | Sqm |  | 54.00 | 4860.00 | 50.00 | 4500.00 | 50.00 | 4500.00 | 4500.00 | CREATORS ENGINEERS AND INTERIORS, SAMTA INTERIORS
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 Mtrs lead. For thickness of tiles 10 mm to 25 mm | 70.00 | Sqm |  | 88.00 | 6160.00 | 200.00 | 14000.00 | 70.00 | 4900.00 | 4900.00 | SAMTA INTERIORS
3.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 Mtrs lead : Of area 3 sq. Mtrs and below | 5.00 | Each |  | 175.00 | 875.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 875.00 | singhfurncraft pvt ltd
4.00 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 Mtrs lead : Thickness above 10 mm up to 25 mm | 50.00 | Sqm |  | 161.00 | 8050.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 2500.00 | CREATORS ENGINEERS AND INTERIORS
5.00 | Dismantling wood work in frames, trusses, purlins and rafters up to 10 Mtrs span and 5 Mtrs height including stacking the material within 50 Mtrs lead : Of sectional area below 40 square centiMtrs | 400.00 | Mtr |  | 110.00 | 44000.00 | 30.00 | 12000.00 | 25.00 | 10000.00 | 10000.00 | SAMTA INTERIORS
6.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineerin-charge. | 70.00 | Sqm |  | 150.00 | 10500.00 | 200.00 | 14000.00 | 130.00 | 9100.00 | 9100.00 | SAMTA INTERIORS
7.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 Mtr.s lead as per direction of Engineer-in-charge. In cement mortar. | 5.00 | Cum |  | 1361.00 | 6805.00 | 500.00 | 2500.00 | 1800.00 | 9000.00 | 2500.00 | CREATORS ENGINEERS AND INTERIORS
8.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 1 0 km for all lifts, complete as per directions of Engineer-in-charge. Note • item to be applicable in urban areas having directions for restricted hours for movement/ plying of load carrying motor vehicle of 3.5 cum or more. | 20.00 | Cum |  | 850.00 | 17000.00 | 500.00 | 10000.00 | 1100.00 | 22000.00 | 10000.00 | CREATORS ENGINEERS AND INTERIORS
9.00 | Dismantling wooden flooring including cleaning the surface all complete including stacking up dismantled servicable material and disposing waste material, within 50 Mtrs lead as per direction of EIC | 70.00 | sqm |  | 88.00 | 6160.00 | 200.00 | 14000.00 | 75.00 | 5250.00 | 5250.00 | SAMTA INTERIORS
10.00 | Providing and laying Glazed Vitrified floor tiles of size 2.4m X 1.2m of make Kajaria (Eternity Series) or equivalent with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. (Basic Tile Rate considered is ₹100 per sq.ft excluding GST. Cost adjustment shall be done in case of any variation in the cost of the tile actually approved by EIC and used in the work.) | 70.00 | Sqm |  | 2100.00 | 147000.00 | 1850.00 | 129500.00 | 2400.00 | 168000.00 | 129500.00 | CREATORS ENGINEERS AND INTERIORS
11.00 | Providing and laying thick Glazed Vitrified Wall tiles of size 2.4m X 1.2m of make Kajaria (Eternity Series) or equivalent, with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in dado, skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. (Basic Tile Rate considered is ₹100 per sq.ft excluding GST. Cost adjustment shall be done in case of any variation in the cost of the tile actually approved by EIC and used in the work.) | 5.00 | Sqm |  | 2100.00 | 10500.00 | 1850.00 | 9250.00 | 2500.00 | 12500.00 | 9250.00 | CREATORS ENGINEERS AND INTERIORS
12.00 | Deduct for not using 20 mm thick cement mortar 1 :4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 75.00 | Sqm |  | 48.70 | 3652.50 | 5.00 | 375.00 | 210.00 | 15750.00 | 375.00 | CREATORS ENGINEERS AND INTERIORS
13.00 | Fixing glazed/ Ceramic/Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive {Water based) conforming to IS: 15477, in average 3 mm thickness. | 75.00 | Sqm |  | 189.00 | 14175.00 | 250.00 | 18750.00 | 325.00 | 24375.00 | 14175.00 | singhfurncraft pvt ltd
14.00 | Providing and fixing false ceiling at all heights including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25 mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : a)12.5 mm thick tapered edge Glass Reinforced Gypsum (GRG) board conforming to IS: 2095- (Part 3):1996 (Boards with BIS certification marks) | 75.00 | Sqm |  | 945.00 | 70875.00 | 1150.00 | 86250.00 | 1250.00 | 93750.00 | 70875.00 | singhfurncraft pvt ltd
15.00 | Providing and fixing of U-shaped aluminium shadow/ hat profiles (3m Length, 12mm wide, 20mm height) at the junctions of gypsum ceiling and wall surfaces or at ceiling bends, to create a neat and recessed shadow gap, enhancing the overall aesthetic and articulation of the ceiling design. The shadow profile shall be extruded aluminium of approved make and quality, and as specified in the drawings. The surface finish shall be mill finish, anodized, or powder-coated in black or grey. The profile shall be fixed at the wall-to-ceiling edge or along designed bends during the ceiling execution, using concealed screws or fasteners through the ceiling framework, ensuring a firm and flush fit. The ceiling shall be finished up to the edge of the profile from the ceiling side, maintaining a clean and consistent shadow line throughout the length, as per directions of EIC | 31.00 | Mtr |  | 155.00 | 4805.00 | 50.00 | 1550.00 | 245.00 | 7595.00 | 1550.00 | CREATORS ENGINEERS AND INTERIORS
16.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 90.00 | Sqm |  | 39.75 | 3577.50 | 190.00 | 17100.00 | 175.00 | 15750.00 | 3577.50 | singhfurncraft pvt ltd
17.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 100.00 | Sqm |  | 72.55 | 7255.00 | 100.00 | 10000.00 | 160.00 | 16000.00 | 7255.00 | singhfurncraft pvt ltd
18.00 | Finishing walls with ready mixed Premium acrylic emulsion paint (Company Depot Tinted) having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade with silicon additives. New work (Two or more coats applied @ 1.43 litre/ 10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm. | 20.00 | Sqm |  | 159.00 | 3180.00 | 190.00 | 3800.00 | 190.00 | 3800.00 | 3180.00 | singhfurncraft pvt ltd
19.00 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc. Kiln seasoned and chemically treated hallock wood | 5.00 | Cum |  | 39500.00 | 197500.00 | 40000.00 | 200000.00 | 95000.00 | 475000.00 | 197500.00 | singhfurncraft pvt ltd
20.00 | Providing and fixing in wall lining 18mm thick Moisture Resistant (MR) Grade plyboard, including priming coat on unexposed arrangement and screws, nails, bolts, rawl plugs etc. ensuring plumb and levelled finish. The plyboard shall be of Gurjan face of approved make, free from delamination, warping, or visible defects. Plywood shall be glue-line bonded, termite-resistant, and of reputed ISI-certified brand all complete as per directions and satisfaction of EIC. | 60.00 | Sqm |  | 1341.00 | 80460.00 | 4500.00 | 270000.00 | 1350.00 | 81000.00 | 80460.00 | singhfurncraft pvt ltd
21.00 | Providing and fixing 4mm thick natural veneer panelling in Light Oak finish, from approved make such as Decowood, Greenlam, Century Veneers, or Timex, over prepared plywood substrate. Veneer to be fixed using Fevicol SH or equivalent approved synthetic resin adhesive, ensuring proper grain matching and orientation. All exposed surfaces shall be sanded and finished with clear matte open grain PU polish (minimum 3-coat system including sanding sealer), applied in a dust-free environment to retain the natural texture and achieve a uniform, durable finish. Edges shall be neatly aligned and finished, with all joints flush and free from gaps. Item includes cutting, adhesive, finishing, cleaning, and approval of samples, complete as per architectural drawings and the directions of Engineer-in-Charge. Note: Cost of plywood substrate is not included in this item and shall be measured separately. Veneer make and finish sample to be got approved prior to execution by E-I-C. | 23.00 | Sqm |  | 4323.00 | 99429.00 | 2800.00 | 64400.00 | 5250.00 | 120750.00 | 64400.00 | CREATORS ENGINEERS AND INTERIORS
22.00 | Providing and fixing 12mm thick Solid Surface Material sheet (make: DuPont:Corian / LG HI-MACS / Tristone or equivalent) on vertical wall surfaces. Solid Surface Material sheets shall be of approved shade and finish, factory-calibrated, and thermoformed wherever required to follow the design curvature or wall geometry. Sheets shall be bonded to the substrate using two-part epoxy adhesive (e.g., Fevicol SFS or equivalent), and reinforced with stainless steel screws where necessary. All vertical and horizontal joints shall be seamlessly finished using manufacturer-approved Solid Surface Material jointing adhesive, followed by sanding and buffing to achieve a smooth, monolithic appearance. The scope includes all necessary edge returns, cutouts for electrical points, notches, and provisions for embedded fixtures, complete with edge finishing, chamfering, and polishing as specified. Work to be carried out as per approved architectural drawings and to the satisfaction of the Engineer-in-Charge. | 20.00 | Sqm |  | 15000.00 | 300000.00 | 8500.00 | 170000.00 | 17000.00 | 340000.00 | 170000.00 | CREATORS ENGINEERS AND INTERIORS
23.00 | Providing and fixing 20mm Quartz stone slab of make Eternal (Glow series) or Relay or equivalent, finish, and colour, as approved by E-I-C to match the design intent, on internal and external window ledges,kitchen platforms, vanity counters, facias and similar locations of required size including machine cutting to size, edge finishing, and secure fixing. The stone shall be machine-cut with chamfered/polished edges, fixed over a properly leveled and cleaned cementitious base using high-strength stone adhesive (Roff Stonefix, MYK Laticrete, or equivalent), ensuring firm bonding. All joints shall be filled with colour-matched epoxy grout, and edge alignment shall be neat and consistent. For external ledges, the slab shall be laid with a minimum slope of 1:50 away from the wall to ensure proper water drainage. Work shall be executed ensuring seamless finish, accurate dimensions, and clean lines as per detailed architectural drawings and instructions of Engineer-in-Charge. Quartz to be first-quality grade, free from cracks, pits, or blemishes. Ensure edge profiles (chamfer, half-round, etc.) match across all ledges. Protective covering to be applied post-installation to prevent site damage. Basic Quartz Rate: ₹610/sq.ft. (NOTE: Cost adjustment shall be done as per market rate in case of any variation in the cost of stone actually approved by EIC and used in the work. The agency has to produce GST invoice to establish the actual purchase cost) | 8.00 | Sqm |  | 11130.00 | 89040.00 | 5500.00 | 44000.00 | 9500.00 | 76000.00 | 44000.00 | CREATORS ENGINEERS AND INTERIORS
24.00 | Providing and fixing 18–19 mm thick Adhunik Grey Granite Stone at window jambs, sills, lintel levels, facias and similar locations as per approved architectural drawings and specifications. The granite shall be of approved shade, texture, and quality, free from cracks, fissures, or surface defects, and shall be uniformly machine-polished on the exposed surface to achieve a high-quality finish. The sill and lintel pieces shall be fixed with cement mortar 1:4 (1 cement : 4 coarse sand) over a leveled bed and anchored securely to the masonry or concrete structure using stainless steel cramps or adhesive as per site requirement. All granite edges shall be machine-cut with a 6mm chamfer or pencil edge finish to ensure neat, safe edges. Joints, if any, shall be narrow and neatly filled with matching epoxy grout or white cement with pigment. Proper care must be taken to ensure plumb vertical alignment for jambs and correct slope for water drainage on sills. All installations must be carried out as per standard masonry practices as per the direction of the Engineer-in-Charge. Note: Granite samples to be approved by EIC prior to installation. | 8.00 | Sqm |  | 2982.00 | 23856.00 | 4500.00 | 36000.00 | 3600.00 | 28800.00 | 23856.00 | singhfurncraft pvt ltd
25.00 | Providing, fabricating, and fixing AC grill panel of required size made from 12mm thick BWP grade plywood conforming to IS:303, as per architectural drawing and HVAC requirement. The panel shall be routed with continuous linear slots/openings to allow airflow, using CNC routing or precision cutting to ensure uniformity and alignment. All exposed surfaces shall be finished with spray-applied PU paint in approved shade, including surface preparation with sanding, application of wood filler/putty, one coat of PU sealer, and two coats of pigmented PU topcoat in matte/satin finish. All edges and slot interiors shall be uniformly painted, with edges smoothed and chamfered to avoid sharpness. The grill shall be fixed flush to wall or ceiling surface using concealed cleats or SS brackets, ensuring no visible screws, and the junctions with adjoining surfaces shall be filled and finished for a seamless look. All ply surfaces, including concealed areas, shall be sealed with PU primer to prevent warping or moisture ingress, and the entire assembly shall be completed as per drawing and directions of Engineer-in-Charge. | 2.00 | Sqm |  | 5500.00 | 11000.00 | 2000.00 | 4000.00 | 4500.00 | 9000.00 | 4000.00 | CREATORS ENGINEERS AND INTERIORS
26.00 | Providing and fixing solid hardwood door, single shutter with frame, fabricated from seasoned and chemically treated hardwood (such as ash/ maple) with a door shutter thickness of minimum 35 mm. The door shall be factory-made or site-assembled using solid stiles and rails with mortise and tenon joints, and infill panels as per approved design — either solid core, raised panel, or flush style. All visible surfaces shall be machine-finished, sanded smooth, and finished with PU polish or approved natural wood stain in desired tone and sheen. The door shall be mounted on a matching hardwood frame of minimum section 100x75mm (or as specified), fixed in the wall opening using MS holdfasts and PU foam/anchor fasteners. Heavy-duty stainless steel concealed hinges (minimum 3 per shutter), door stopper, and tower bolts — all in satin/matt finish — shall be included. The door assembly shall be aligned properly, tested for smooth operation, and finished to high joinery standards. Rate to include all materials, door frame, shutter, hardware, polishing, fittings, transportation, and installation — complete in all respects as per approved drawing and instructions of the architect/engineer-in-charge. | 2.50 | Sqm |  | 19250.00 | 48125.00 | 15000.00 | 37500.00 | 19000.00 | 47500.00 | 37500.00 | CREATORS ENGINEERS AND INTERIORS
27.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 2.50 | Sqm |  | 486.00 | 1215.00 | 50.00 | 125.00 | 450.00 | 1125.00 | 125.00 | CREATORS ENGINEERS AND INTERIORS
28.00 | Providing and Fixing 32x600 mm DESIGNER D-type Handle Material of make OZONE (model:OGH-11) or equivalent in Satin Stainless Steel (SSS) finish all complete as per the direction of Engineer-in-charge. | 1.00 | Each |  | 1945.00 | 1945.00 | 4500.00 | 4500.00 | 4500.00 | 4500.00 | 1945.00 | singhfurncraft pvt ltd
29.00 | Providing and Fixing Dead lock Back set- 50 mm with Key to Knob cylinder of make OZONE (model:OZML-DL1-E & OMC-22E-K2N) or equivalent all complete as per the direction of Engineer-in-charge | 1.00 | Each |  | 1506.00 | 1506.00 | 1500.00 | 1500.00 | 2200.00 | 2200.00 | 1500.00 | CREATORS ENGINEERS AND INTERIORS
30.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with lSi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 1.00 | Each |  | 2000.00 | 2000.00 | 2200.00 | 2200.00 | 1600.00 | 1600.00 | 1600.00 | SAMTA INTERIORS
31.00 | Providing and fixing factory-fabricated aluminium windows of Bhoruka IWIN-S series or equivalent, using aluminium extruded profiles grade 6063 T6 as per EN standard having approx. 1.6 mm wall thickness, approx. frame depth 50 mm and of required size, comprising of 3 panels with all fixed glass panels. The window system shall be finished with factory-applied fluoropolymer (PVDF) coating or anodizing (minimum 20 microns anodizing or 60 microns powder coating) in approved shade. The system consist of 2 vertical muleins and 4 side frame. Glazing shall be 22 mm thick DGU (double glazed unit) consisting of 6 mm reflective toughened outer glass + 12 mm air gap + 4 mm toughened inner glass, sealed with primary and secondary silicone and mounted using EPDM gaskets for optimal thermal and acoustic insulation. The system shall be equipped with stainless steel/zinc alloy hardware including concealed hinges, multipoint locking handles, and durable accessories tested for over 10,000 operating cycles. Double sealing with co-extruded EPDM gaskets shall ensure superior air, water, and sound resistance. A concealed drainage system with pressure equalization chambers shall be integrated. The assembly must comply with performance standards of air infiltration <1.5 m³/hr/m² at 75 Pa, water penetration ≥300 Pa, wind load resistance ≥1600 Pa, and acoustic rating ≥32 dB STC, with all components tested as per norms. The rate shall include complete labour, all necessary framing, materials, accessories, glazing, inbuilt beading in bottom section, 90- degree joints with Sealer pads, Shim receiver profile at bottom track, sleeves, stainless steel screws, and gaskets for weather sealing, transportation, installation, PU foam, sealants, staging, and finishing as per approved architectural drawings and manufacturer’s specifications, with a 10-year warranty on profiles and 5 years on hardware, as per directions of EIC. | 3.50 | Sqm |  | 8100.00 | 28350.00 | 10000.00 | 35000.00 | 9500.00 | 33250.00 | 28350.00 | singhfurncraft pvt ltd
32.00 | Providing and fixing factory-fabricated aluminium windows of Bhoruka IWIN-S series or equivalent, using aluminium extruded profiles grade 6063 T6 as per EN standard having approx. 1.6 mm wall thickness, approx. frame depth 50 mm and of required size, comprising of 3 panels with central fixed glass panel and hinged openable shutters on either side. The openable area of the windows shall be 66% ± 10% out of the total area. The window system shall be finished with factory-applied fluoropolymer (PVDF) coating or anodizing (minimum 20 microns anodizing or 60 microns powder coating) in approved shade. The system consist of 2 vertical muleins and 4 side frame. Glazing shall be 22 mm thick DGU (double glazed unit) consisting of 6 mm reflective toughened outer glass + 12 mm air gap + 4 mm toughened inner glass, sealed with primary and secondary silicone and mounted using EPDM gaskets for optimal thermal and acoustic insulation. The system shall be equipped with stainless steel/zinc alloy hardware including concealed hinges, multipoint locking handles, and durable accessories tested for over 10,000 operating cycles. Double sealing with co-extruded EPDM gaskets shall ensure superior air, water, and sound resistance. A concealed drainage system with pressure equalization chambers shall be integrated. The assembly must comply with performance standards of air infiltration <1.5 m³/hr/m² at 75 Pa, water penetration ≥300 Pa, wind load resistance ≥1600 Pa, and acoustic rating ≥32 dB STC, with all components tested as per norms. The rate shall include complete labour, all necessary framing, materials, accessories, glazing, inbuilt beading in bottom section, 90- degree joints with Sealer pads, Shim receiver profile at bottom track, sleeves, stainless steel screws, and gaskets for weather sealing, transportation, installation, PU foam, sealants, staging, and finishing as per approved architectural drawings and manufacturer’s specifications, with a 10-year warranty on profiles and 5 years on hardware, as per directions of EIC | 7.00 | Sqm |  | 8100.00 | 56700.00 | 10000.00 | 70000.00 | 11500.00 | 80500.00 | 56700.00 | singhfurncraft pvt ltd
33.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. A) Upto 5mm depth and 5 mm width | 50.00 | Mtr |  | 55.00 | 2750.00 | 5.00 | 250.00 | 100.00 | 5000.00 | 250.00 | CREATORS ENGINEERS AND INTERIORS
34.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:3:6 (1 cement : 3 coarse sand (zone-Ill) derived from natural sources: 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum |  | 5800.00 | 5800.00 | 2000.00 | 2000.00 | 8500.00 | 8500.00 | 2000.00 | CREATORS ENGINEERS AND INTERIORS
35.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in: Cement mortar 1 :4 (1 cement : 4 coarse sand) | 1.00 | Cum |  | 6400.00 | 6400.00 | 2000.00 | 2000.00 | 8500.00 | 8500.00 | 2000.00 | CREATORS ENGINEERS AND INTERIORS
36.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | 10.00 | Sqm |  | 1200.00 | 12000.00 | 500.00 | 5000.00 | 1200.00 | 12000.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
37.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 20.00 | Sqm |  | 350.00 | 7000.00 | 100.00 | 2000.00 | 450.00 | 9000.00 | 2000.00 | CREATORS ENGINEERS AND INTERIORS
38.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 20.00 | Sqm |  | 400.00 | 8000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 2000.00 | CREATORS ENGINEERS AND INTERIORS
39.00 | Providing and fixing Emblem of India (Ashoka Lion Capital), 400mm (W) x 600mm (H)(approx.), fabricated from 20mm thick SS 314 sheet, machine-cut using laser cutting or CNC waterjet technology to match precise contours as per approved Government of India emblem standards. The emblem shall have a depth of 20mm, giving a three-dimensional relief effect, and shall be finished in satin or mirror finish gold/silver/black PVD coating on exposed faces. Edges to be rounded and burr-free, with the surface prepared to be free of visible welds, scratches, or distortions. The emblem shall be fixed on vertical surface (wall/panel) using concealed stainless steel studs and epoxy chemical anchor bolts for a floating effect with 10-20mm offset from surface (as per design intent). Mounting surface preparation to be done to receive emblem, including leveling and cleaning. Installation shall be carried out as per Engineer-in-Charge's instructions, and alignment shall be strictly maintained as per drawings as provided by EIC. | 1.00 | Each |  | 7000.00 | 7000.00 | 15000.00 | 15000.00 | 32000.00 | 32000.00 | 7000.00 | singhfurncraft pvt ltd
40.00 | Providing and fixing factory-made 3D logo of MINISTRY OF CIVIL AVIATION, size 1600mm x 400mm (approx.), fabricated from SS 314 grade sheet with 20mm depth, finished in brushed PVD coating (gold/silver/black as per design). The signage shall be precision laser-cut as per approved design, CNC-bent and TIG welded to form uniform edges. All surfaces shall be buffed and polished to achieve uniform finish with no visible weld marks. The signage shall be securely fixed on the wall/facade using concealed SS stud anchors and epoxy gel or bracket supports as per structural requirement, ensuring plumb, alignment, and firm bonding. All materials, adhesives, fasteners, tools, scaffolding, and finishing (including edge treatment and anti-corrosive protection) are included in the scope. Work to be executed as per approved sample and instructions of Engineer-in-Charge. | 1.00 | Each |  | 30000.00 | 30000.00 | 24000.00 | 24000.00 | 16500.00 | 16500.00 | 16500.00 | SAMTA INTERIORS
41.00 | Providing & Placing in Position Custom made concealed type cabinet/ filing unit of 300mm depth and size all complete as per direction and satisfaction of Engineer-in- charge. : a) The carcase and shelves shall be made with 18 mm thick commercial ply and back with 8 mm thick commercial plywood. The shelves are to be provided at an approximate gap of 300 to 400 mm as per direction of EIC. The edges of commercial plywood shall be covered with PVC Edge Tape. b) All outer surface (except back side) shall be finished with 4 mm thick oak veneer with 03 coats of PU polish and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. c) All inner surfaces and shelves shall be finished with 0.65 mm thick liner laminate in suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. d) Shutters shall be made with 19 mm thick commercial board and to be fixed with 2 / 3 nos. SS soft closing concealed hinges, concealed groove handle, tower bolt. f) The shelves should be supported with two numbers SS shelf pin on each side. (Note: The item includes cost of all material, labour and fixing charges as per the site requirements. For payment purpose Front area to be measured.) | 10.00 | Sqm |  | 21500.00 | 215000.00 | 15000.00 | 150000.00 | 13500.00 | 135000.00 | 135000.00 | SAMTA INTERIORS
42.00 | Providing and fixing custom made TV drawer unit of approximate size 2900mm (width) × 250mm (height) × 375mm (depth) consisting of 4 equal drawers, made with 18mm thick MR-grade plywood (IS:303) for carcass, drawer sides, bottoms and back. Drawer fronts and all visible surfaces to be fixed with 4mm thick natural oak veneer (approved shade) having minimum 3 coats of PU polish to achieve desired shade. All exposed edges to be finished with matching veneer edge band or lipping. Each drawer to be mounted on telescopic/soft-close drawer channels and includes concealed groove handle or minimal hardware as per design. The item includes all required accessories, adhesives, SS screws, complete fitting, and finishing in all respects as per drawing and direction of Engineer-in-Charge. For the purpose of payment, front area shall be measured. | 1.00 | Sqm |  | 23500.00 | 23500.00 | 30000.00 | 30000.00 | 40000.00 | 40000.00 | 23500.00 | singhfurncraft pvt ltd
43.00 | Providing and fixing custom made conference table of approx. size 6200mm (L) x 1600mm (W) x 750mm (H) made using 18mm thick MR plyboard pasted over MS framed structure of required strength, dimension & size with top (i/c edges) finished in 12mm thick Solid surface material (LG Himacs Aurora Cotton or equivalent) having oak veneer at the centre panel of approx. size 5000mm x 400mm, base finished in oak veneer, complete in all respects as per approved design and drawing. The veneer shall be finished with 3 coats of PU polish to achieve desired shade. The bottom portion of the table shall have space to conceal wiring arrangements as per approved design. For the purpose of payment, plan area of the table top shall be measured. | 10.00 | Sqm |  | 17500.00 | 175000.00 | 15500.00 | 155000.00 | 29000.00 | 290000.00 | 155000.00 | CREATORS ENGINEERS AND INTERIORS
44.00 | Sub Head-II Electrical Works Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. GROUP C | 8.00 | Point |  | 1109.00 | 8872.00 | 2000.00 | 16000.00 | 1900.00 | 15200.00 | 8872.00 | singhfurncraft pvt ltd
45.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed Steel conduit as required.
45.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 70.00 | Mtr |  | 259.00 | 18130.00 | 280.00 | 19600.00 | 350.00 | 24500.00 | 18130.00 | singhfurncraft pvt ltd
45.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Mtr |  | 334.00 | 16700.00 | 380.00 | 19000.00 | 425.00 | 21250.00 | 16700.00 | singhfurncraft pvt ltd
45.30 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 40.00 | Mtr |  | 518.00 | 20720.00 | 320.00 | 12800.00 | 550.00 | 22000.00 | 12800.00 | CREATORS ENGINEERS AND INTERIORS
45.40 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 30.00 | Mtr |  | 654.00 | 19620.00 | 390.00 | 11700.00 | 700.00 | 21000.00 | 11700.00 | CREATORS ENGINEERS AND INTERIORS
46.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. GROUP C | 22.00 | Point |  | 897.00 | 19734.00 | 900.00 | 19800.00 | 1500.00 | 33000.00 | 19734.00 | singhfurncraft pvt ltd
47.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
47.10 | 5/6 A switch | 14.00 | Each |  | 64.00 | 896.00 | 100.00 | 1400.00 | 150.00 | 2100.00 | 896.00 | singhfurncraft pvt ltd
47.20 | 15/16 A switch | 6.00 | Each |  | 120.00 | 720.00 | 200.00 | 1200.00 | 250.00 | 1500.00 | 720.00 | singhfurncraft pvt ltd
47.30 | 3 pin 5/6 A socket outlet | 14.00 | Each |  | 115.00 | 1610.00 | 200.00 | 2800.00 | 180.00 | 2520.00 | 1610.00 | singhfurncraft pvt ltd
47.40 | 6 pin 15/16 A socket outlet | 6.00 | Each |  | 175.00 | 1050.00 | 300.00 | 1800.00 | 350.00 | 2100.00 | 1050.00 | singhfurncraft pvt ltd
48.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
48.10 | 5/6 A switch | 5.00 | Each |  | 64.00 | 320.00 | 90.00 | 450.00 | 450.00 | 2250.00 | 320.00 | singhfurncraft pvt ltd
48.20 | 15/16 A switch | 10.00 | Each |  | 120.00 | 1200.00 | 150.00 | 1500.00 | 465.00 | 4650.00 | 1200.00 | singhfurncraft pvt ltd
48.30 | 3 pin 5/6 A socket outlet | 5.00 | Each |  | 115.00 | 575.00 | 180.00 | 900.00 | 710.00 | 3550.00 | 575.00 | singhfurncraft pvt ltd
49.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
49.10 | 25 mm dia | 50.00 | Mtr |  | 71.00 | 3550.00 | 140.00 | 7000.00 | 110.00 | 5500.00 | 3550.00 | singhfurncraft pvt ltd
49.20 | 32 mm dia | 30.00 | Mtr |  | 100.00 | 3000.00 | 100.00 | 3000.00 | 130.00 | 3900.00 | 3000.00 | singhfurncraft pvt ltd, CREATORS ENGINEERS AND INTERIORS
50.00 | Supply and Fixing of MCB DB box having IP 65 rating including 25A DP MCB, connections etc. complete as required. | 4.00 | Set |  | 1650.00 | 6600.00 | 850.00 | 3400.00 | 1800.00 | 7200.00 | 3400.00 | CREATORS ENGINEERS AND INTERIORS
51.00 | SITC of 15 Watt LED Down Lighter made of powder coated die cast Aluminium, Efficacy 110 lm/w, 4000K DALI DIMMABLE with Complete accessories as required. | 10.00 | Nos. |  | 3100.00 | 31000.00 | 4200.00 | 42000.00 | 1750.00 | 17500.00 | 17500.00 | SAMTA INTERIORS
52.00 | SITC of 30 Watt/ meter recessed maunted LED profile linear fixture made of powder coated die cast Aluminium, Efficacy 110 lm/w, 4000K CCT, DALI DIMMABLE driver with Complete accessories as required. | 15.00 | Mtr |  | 1950.00 | 29250.00 | 3000.00 | 45000.00 | 3500.00 | 52500.00 | 29250.00 | singhfurncraft pvt ltd
53.00 | SITC of 2/3 Watt COB LED recess maunted, Efficacy 110lm/w, 4000K with Complete accessories as required. | 10.00 | Nos. |  | 625.00 | 6250.00 | 800.00 | 8000.00 | 500.00 | 5000.00 | 5000.00 | SAMTA INTERIORS
54.00 | Providing, making and fixing of customised stretch fabric (ECO FRIENDLY RoHS) ceiling with premium EU UV pirnted translucent fabric, stretch ceilling membrane includes supply of premium stretch ceilling model EU -1111 or fabric or equivalent made as dimesion with the exact dimension with rib premium aluminum gripper for a finished job as per detailed drawings and specifications etc., complete. a) The ceilling must be stretched and hooked into premium aluminium grippers insuring good rigidity, to be inturn fixed to the Plywood /Wood /MS /Aluminium fabricated structure, with an optimum depth of 150MM at the specified level. a pvc hook for tension mounting is welded on the outline of the ceilling membrane with all new and updated technology. (b) The Ceiling Material to be Stretchable Fabric shall be max width upto 15 ft, weight 250 gm/m2 ;transmission: 75 % thickness 0.25 micron. (c) The work also includes provision of SITC of 18 W/mtr LED Module lights, 4000 K CCT, for uniform light distribution along with suitable DALI dimmeable electronic driver fixed to the internal side of the Plywood Boxing, suspension supports & all fixing accessories as per drawings and directions etc., complete as per site requirement. | 84.00 | Sq ft |  | 7500.00 | 630000.00 | 1200.00 | 100800.00 | 6500.00 | 546000.00 | 100800.00 | CREATORS ENGINEERS AND INTERIORS
55.00 | Provision of lighting management system with DALI Dimeable system including integration of light fixtures and SITC of following items complete as required.
55.10 | Supply of powpak DALI module with 32 fixtures, radio frequency (RF) control electronic ballasts. Communication utilizing RF technology with RF input devices such as DL sensors, Occupancy sensors, & wireless Keypads. Similar to Lutron RMNS-DAL4/32-SZ. | 3.00 | Nos. |  | 28750.00 | 86250.00 | 60000.00 | 180000.00 | 30000.00 | 90000.00 | 86250.00 | singhfurncraft pvt ltd
55.20 | Supply of 6 button with raise and lower wall mounted wireless keypad. No back box should be required for the same and should be mountable on any surface. No sperate power 230V power supply should be required for this keypad. The device should be with battery life 8-10 years and dedicated frequency less than 1 GHz, Similar to Lutron PN2 3BRL TAW L01 X2 + LPFP S2 TAW. | 2.00 | Nos |  | 18750.00 | 37500.00 | 90000.00 | 180000.00 | 18500.00 | 37000.00 | 37000.00 | SAMTA INTERIORS
55.30 | Supply of Wireless Celing mounted Occupancy Sensor with radio frequency and connect with single channel DALI module / relay module wirelessly. The sensors should not interfare with any other wireless devices. The device should be with battery life 8-10 years and dedicated frequency less than 1 GHz. Similar to Lutron LRF5 OCR2B WH. | 3.00 | Nos |  | 13750.00 | 41250.00 | 5500.00 | 16500.00 | 10500.00 | 31500.00 | 16500.00 | CREATORS ENGINEERS AND INTERIORS
56.00 | Providing and Laying of Factory Fabricated GI Raceways with removable cover of following sizes including fixing arrangement, hook, etc as required.
56.10 | 50 MM wide x 38mm deep | 10.00 | RM |  | 400.00 | 4000.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 2500.00 | CREATORS ENGINEERS AND INTERIORS
56.20 | 100 MM wide x 38mm deep | 10.00 | RM |  | 477.00 | 4770.00 | 650.00 | 6500.00 | 400.00 | 4000.00 | 4000.00 | SAMTA INTERIORS
57.00 | Supply, installation, testing and commissioning of 3 KVA, single Phase input and single Phase output online UPS alongwith sealed maintenance free batteries giving a back up of minimum 30 min. at full load as per specification alongwith all accessories including interconnecting cables, lugs, Base Frames, Battery Rack & Battery Circuit breaker complete as required. | 1.00 | Jobs |  | 45000.00 | 45000.00 | 45000.00 | 45000.00 | 55000.00 | 55000.00 | 45000.00 | singhfurncraft pvt ltd, CREATORS ENGINEERS AND INTERIORS
58.00 | Sub Head-III HVAC Works Supply of One way 2.0 TR Capacity (Minimum rated cooling capacity 7100W) Inverter type Cassette type room air conditioner (Minimum 3 Star) having Indoor unit of sixe suitable for fixing in false ceiling cut-out, with copper condenser, eco-friendly refrigerant complete with cordless remote, suitable for operation on 220 Volts +/- 10% 50HZ, single phase AC supply or 415V, 3 phase AC supply as per OEM and capable of performing standard functions, with standard packing of unit complete in all respect from preferred make list of AAI and as per the technical specification/ conditions as specified. | 3.00 | Nos |  | 60500.00 | 181500.00 | 105000.00 | 315000.00 | 98500.00 | 295500.00 | 181500.00 | singhfurncraft pvt ltd
59.00 | Installation, Testing & Commissioning of 2 TR Cassette type Inverter based Hi-wall unit with complete indoor & outdoor unit & cordless remote complete in all respect. | 3.00 | Nos |  | 10000.00 | 30000.00 | 4500.00 | 13500.00 | 6000.00 | 18000.00 | 13500.00 | CREATORS ENGINEERS AND INTERIORS
60.00 | Supply, Installtion, Testing & Commissioning of 20 SWG copper (Suction+ Discharge) refrigerant piping for 2 TR Cassette type AC with its necessary accessories and close cell nitrile rubber insulation, copper cable, copper pipes Insulation in the exposed area to be covered with Weather Proof Protective Layer mase of Glass Cloth & painted with Star bond chemical complete in all respect. | 30.00 | Mtr |  | 1250.00 | 37500.00 | 1800.00 | 54000.00 | 1500.00 | 45000.00 | 37500.00 | singhfurncraft pvt ltd
61.00 | CPVC Condensate Drain Pipe with Insulation
61.10 | 25 mm | 30.00 | Mtr |  | 225.00 | 6750.00 | 150.00 | 4500.00 | 210.00 | 6300.00 | 4500.00 | CREATORS ENGINEERS AND INTERIORS
61.20 | 40 mm | 20.00 | Mtr |  | 285.00 | 5700.00 | 20.00 | 400.00 | 270.00 | 5400.00 | 400.00 | CREATORS ENGINEERS AND INTERIORS
62.00 | Supply, Installtion, Testing & Commissioning of 4 x 2.5 sqmm copper flixible cable as control cable from indoor to outdoor in PVC conduit complete as required. | 100.00 | Mtr |  | 199.00 | 19900.00 | 10.00 | 1000.00 | 200.00 | 20000.00 | 1000.00 | CREATORS ENGINEERS AND INTERIORS
63.00 | SITC of MS Outdoor Unit Stand of angle size 40x40x5 mm including Fabrication, Coating of Primer & Painting complete as per site requirement. | 3.00 | Nos |  | 7500.00 | 22500.00 | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 3000.00 | CREATORS ENGINEERS AND INTERIORS
64.00 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers complete as specification. | 1.00 | Sqm |  | 12500.00 | 12500.00 | 2500.00 | 2500.00 | 7000.00 | 7000.00 | 2500.00 | CREATORS ENGINEERS AND INTERIORS
65.00 | Supplying & fixing of powder coated extruded aluminium Return/Exhaust Air Grills with louvers but without volume control dampers complete as required. | 2.00 | Sqm |  | 9000.00 | 18000.00 | 2000.00 | 4000.00 | 6200.00 | 12400.00 | 4000.00 | CREATORS ENGINEERS AND INTERIORS
| Total in Figures |  |  |  |  | 3175923.00 |  | 2825600.00 |  | 3728815.00
Lowest Amount Quoted BY: CREATORS ENGINEERS AND INTERIORS(2825600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Conference Room at Second Floor, B block, R.G. Bhawan, New Delhi Tender ID: 2025_AAI_242522_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CREATORS ENGINEERS AND INTERIORS (BID ID -882439) | 2825600.00 | L1
| 2 | singhfurncraft pvt ltd (BID ID -879573) | 3175923.00 | L2
| 3 | SAMTA INTERIORS (BID ID -882845) | 3728815.00 | L3