## BoQ1
Government eProcurement System Created By: Pushpendra Singh Created Date/Time: 25-Aug-2025 03:00 PM Tender Title: Renovation of Official residence and Camp Office of HMoSCA at 18, MTC, New Delhi. SH Provision of ACs Tender ID: 2025_AAI_242583_1
Tender Inviting Authority: AGM. (Engg. – Elect)- IMU, AAI, CHQ, R.G. Bhawan, New Delhi-110003
Name of Work: Renovation of Official residence and Camp Office of HMoSCA at “18, MTC”, New Delhi. SH: Provision of ACs.
Tender ID:- (2025_AAI_242583_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHARDA INFRA ENGINEERS PVT LTD (GSTN-07AAPCS8168P1Z7) BID ID -883709 |  | AIR DESIGN SOLUTIONS (GSTN-NA) BID ID -880974 |  | MKSK OFFICE SOLUTIONS LLP (GSTN-NA) BID ID -884125
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of the following Split type Inverter based Hi-wall unit with complete indoor & outdoor unit, cordless remote and all accessories with unit complete in all respect. (Make: Daikin, Mitsubishi, O-General)
1.01 | Min. 6 KW Rated Cooling Capacity & Min. 6 KW Rated Heating Capacity , Wall Mounted Hiwall Unit Heating & Cooling (Min. 3 Star) | 10.00 | Nos. | 10.00 | 44000.00 | 440000.00 | 45225.00 | 452250.00 | 55425.00 | 554250.00 | 440000.00 | SHARDA INFRA ENGINEERS PVT LTD
1.02 | Min. 5 KW Rated Cooling Capacity & Min. 5.28 KW Rated Heating Capacity, Wall Mounted Hiwall Unit Heating & Cooling (Min. 4 Star) | 8.00 | Nos. | 10.00 | 48000.00 | 384000.00 | 49696.00 | 397568.00 | 55050.00 | 440400.00 | 384000.00 | SHARDA INFRA ENGINEERS PVT LTD
2.00 | Unloading, Shifting, Installtion, Testing & Commissioning of the following Split type Inverter based Hi-wall unit with complete indoor & outdoor unit & cordless remote complete in all respect.
2.01 | 2.0 TR Wall Mounted Hiwall Unit Heating & Cooling | 10.00 | Nos. | 10.00 | 3500.00 | 35000.00 | 1650.00 | 16500.00 | 3060.00 | 30600.00 | 16500.00 | AIR DESIGN SOLUTIONS
2.02 | 1.5 TR Wall Mounted Hiwall Unit Heating & Cooling | 8.00 | Nos. | 10.00 | 3500.00 | 28000.00 | 1650.00 | 13200.00 | 2700.00 | 21600.00 | 13200.00 | AIR DESIGN SOLUTIONS
3.00 | Supply, Installtion, Testing & Commissioning of 20 SWG copper (Suction+ Discharge) refrigerant piping with its necessary accessories and close cell nitrile rubber insulation, copper cable, copper pipes Insulation in the exposed area to be covered with Weather Proof Protective Layer mase of Glass Cloth & painted with Star bond chemical complete in all respect. Note: This will be measured if, additional pipe required beyond the refrigerant pipe supplied with unit.
3.01 | 2.0 TR - 13 mm thick Insulation | 50.00 | Mtr. | 10.00 | 1200.00 | 60000.00 | 1375.00 | 68750.00 | 1302.00 | 65100.00 | 60000.00 | SHARDA INFRA ENGINEERS PVT LTD
3.02 | 1.5 TR - 13 mm thick Insulation | 40.00 | Mtr. | 10.00 | 1200.00 | 48000.00 | 1265.00 | 50600.00 | 1170.00 | 46800.00 | 46800.00 | MKSK OFFICE SOLUTIONS LLP
4.00 | CPVC Condensate Drain Pipe with 9 mm thick Insulation
4.01 | 25 mm | 140.00 | Mtr. | 10.00 | 750.00 | 105000.00 | 181.00 | 25340.00 | 198.00 | 27720.00 | 25340.00 | AIR DESIGN SOLUTIONS
4.02 | 32 mm | 20.00 | Mtr. | 10.00 | 750.00 | 15000.00 | 214.00 | 4280.00 | 222.00 | 4440.00 | 4280.00 | AIR DESIGN SOLUTIONS
5.00 | Spare PCB of IDU and ODU for 2 TR AC (Hot & Cold) for item No. 1.01 | 2.00 | Set | 10.00 | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 25935.00 | 51870.00 | 30000.00 | AIR DESIGN SOLUTIONS
6.00 | Spare PCB of IDU and ODU for 1.5 TR AC (Hot & Cold) for item No. 1.02 | 2.00 | Set | 10.00 | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 23982.00 | 47964.00 | 30000.00 | AIR DESIGN SOLUTIONS
7.00 | SITC of MS stand for Outdoor unit of MS angle size min. 40 mm x40 mm x5 mm including fabrication,cleaning, rubbing, primer and painting complete as per site requirement. | 200.00 | Kg | 10.00 | 140.00 | 28000.00 | 154.00 | 30800.00 | 358.00 | 71600.00 | 28000.00 | SHARDA INFRA ENGINEERS PVT LTD
8.00 | Supply, Installtion, Testing & Commissioning of 4x2.5 sqmm copper flexible cable as control cable from indoor to outdoor in PVC conduit complete as required. | 400.00 | Mtr | 10.00 | 150.00 | 60000.00 | 264.00 | 105600.00 | 234.00 | 93600.00 | 60000.00 | SHARDA INFRA ENGINEERS PVT LTD
9.00 | SITC of min. 16 A, IP 66 weather proof Industrial type surface mounting Socket and straight plug (2P+E) suitable for 230 V single phase supply. Make- Legrand, P17 Tempra Pro or equivalent as per preferred make of AAI. | 18.00 | Each | 10.00 | 1800.00 | 32400.00 | 550.00 | 9900.00 | 3105.00 | 55890.00 | 9900.00 | AIR DESIGN SOLUTIONS
| Total in Figures |  |  |  |  | 1307400.00 |  | 1234788.00 |  | 1511834.00
Lowest Amount Quoted BY: AIR DESIGN SOLUTIONS(1234788.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Official residence and Camp Office of HMoSCA at 18, MTC, New Delhi. SH Provision of ACs Tender ID: 2025_AAI_242583_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AIR DESIGN SOLUTIONS (BID ID -880974) | 1234788.00 | L1
| 2 | SHARDA INFRA ENGINEERS PVT LTD (BID ID -883709) | 1307400.00 | L2
| 3 | MKSK OFFICE SOLUTIONS LLP (BID ID -884125) | 1511834.00 | L3