## BoQ1
Government eProcurement System Created By: Semreichui Duidang Created Date/Time: 16-Sep-2025 06:25 PM Tender Title: Provision of Main, Standby LT, HT Feeder Power Cables at Imphal International Airport. Tender ID: 2025_AAI_243370_1
Tender Inviting Authority: Sr. Manager (Engg-Elect), AAI, Imphal (I) Airport.
Name of Work: Provision of Main/Standby LT/HT Feeder Power Cables at Imphal International Airport.
Contract No: 2025_AAI_243370_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | UNIVERSAL ELECTRICAL AND ELECTRONICS (GSTN-18ABWPD1808N1Z6) BID ID -891895 |  | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -891943 |  | D.D.METAL CORPORATION (GSTN-18ACGPD4624F2ZW) BID ID -897437 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -897583 |  | Airfield Solutions India pvt Ltd (GSTN-NA) BID ID -889711 |  | thangtech global infra pvt ltd (GSTN-NA) BID ID -891749 |  | Shiva Enterprises (GSTN-NA) BID ID -893116 |  | M/S RAHUL ENGINEERS (GSTN-NA) BID ID -891875
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LT Power Cable of 1.1 KV grade of following size aluminium conductor XLPE insulated PVC sheathed armoured cable conforming to IS 7098 Part-1 with up-to-date amendments as required.
1.01 | 4 x 16 Sq.mm | 985.00 | Mtr | 0.00 | 138.00 | 135930.00 | 250.00 | 246250.00 | 380.00 | 374300.00 | 157.00 | 154645.00 | 181.00 | 178285.00 | 145.00 | 142825.00 | 151.00 | 148735.00 | 300.00 | 295500.00 | 135930.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
1.02 | 3.5 x 95 Sq.mm | 321.00 | Mtr | 0.00 | 517.00 | 165957.00 | 600.00 | 192600.00 | 1290.00 | 414090.00 | 563.00 | 180723.00 | 630.00 | 202230.00 | 494.00 | 158574.00 | 514.00 | 164994.00 | 700.00 | 224700.00 | 158574.00 | thangtech global infra pvt ltd
1.03 | 3.5 x 185 Sq.mm | 1983.00 | Mtr | 0.00 | 917.00 | 1818411.00 | 1200.00 | 2379600.00 | 2100.00 | 4164300.00 | 1039.00 | 2060337.00 | 1180.00 | 2339940.00 | 794.00 | 1574502.00 | 965.00 | 1913595.00 | 1000.00 | 1983000.00 | 1574502.00 | thangtech global infra pvt ltd
2.00 | Supply of following LT Control Cables, Solid Copper Conductor, XLPE Insulated, PVC Inner sheathed, armoured 650 V/1100 V Grade as per IS 7098 (Part 1) 1988 with up-to-date amendments as required.
2.01 | 3 C x 2.5 Sq.mm | 680.00 | Mtr | 0.00 | 136.00 | 92480.00 | 200.00 | 136000.00 | 300.00 | 204000.00 | 141.00 | 95880.00 | 156.00 | 106080.00 | 120.00 | 81600.00 | 125.00 | 85000.00 | 500.00 | 340000.00 | 81600.00 | thangtech global infra pvt ltd
2.02 | 12 C x 2.5 Sq. mm | 1481.00 | Mtr | 0.00 | 384.00 | 568704.00 | 600.00 | 888600.00 | 1200.00 | 1777200.00 | 507.00 | 750867.00 | 525.00 | 777525.00 | 412.00 | 610172.00 | 425.00 | 629425.00 | 700.00 | 1036700.00 | 568704.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
3.00 | Supply of 6 Sq.mm, 5 KV grade, stranded annealed plane copper conductor PVC insulated and PVC sheathed, unarmored underground, anti-rodent anti termite treated airfield lighting cable, confirming to IS 1554 Part II with up-to-date amendments as required. | 839.00 | Mtr | 0.00 | 98.00 | 82222.00 | 150.00 | 125850.00 | 110.00 | 92290.00 | 120.00 | 100680.00 | 117.00 | 98163.00 | 102.00 | 85578.00 | 115.00 | 96485.00 | 499.00 | 418661.00 | 82222.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
4.00 | Supply of 2C x 6 Sq.mm, 5 KV grade, stranded annealed plane copper conductor PVC insulated and PVC sheathed, unarmored underground, anti-rodent anti termite treated airfield lighting cable, confirming to IS 1554 Part II with up-to-date amendments as required. | 11019.00 | Mtr | 0.00 | 221.00 | 2435199.00 | 350.00 | 3856650.00 | 235.00 | 2589465.00 | 255.00 | 2809845.00 | 244.00 | 2688636.00 | 218.00 | 2402142.00 | 240.00 | 2644560.00 | 500.00 | 5509500.00 | 2402142.00 | thangtech global infra pvt ltd
5.00 | Supply of following sizes 5 KV grade dry type plug receptacle of type I, class 'B' primary connector kit with field attachment and suitable for 5 KV grade single core copper conductor, copper braided, XLPE insulated PE outer sheathed shielded cable, complete as required as per technical specifications.
5.01 | 6 Sq.mm | 50.00 | Set | 0.00 | 840.00 | 42000.00 | 1410.00 | 70500.00 | 700.00 | 35000.00 | 635.00 | 31750.00 | 500.00 | 25000.00 | 500.00 | 25000.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 25000.00 | Airfield Solutions India pvt Ltd, thangtech global infra pvt ltd
5.02 | 2 x 6 Sq.mm | 50.00 | Set | 0.00 | 900.00 | 45000.00 | 2520.00 | 126000.00 | 1200.00 | 60000.00 | 1269.00 | 63450.00 | 500.00 | 25000.00 | 600.00 | 30000.00 | 1900.00 | 95000.00 | 2000.00 | 100000.00 | 25000.00 | Airfield Solutions India pvt Ltd
6.00 | Supply of High-Density Polyethylene (HDPE) pipe with pressure rating PN 6 grade PE 63 confirming to IS 4984:2016 with latest amendment, complete with all associated accessories like couplers, bends, tee etc., complete as per site requirement as per technical specifications.
6.01 | 63 mm dia. | 11810.00 | Mtr | 0.00 | 148.00 | 1747880.00 | 138.00 | 1629780.00 | 111.00 | 1310910.00 | 199.00 | 2350190.00 | 135.00 | 1594350.00 | 450.00 | 5314500.00 | 120.00 | 1417200.00 | 100.00 | 1181000.00 | 1181000.00 | M/S RAHUL ENGINEERS
6.02 | 90 mm dia. | 2096.00 | Mtr | 0.00 | 298.00 | 624608.00 | 242.00 | 507232.00 | 224.00 | 469504.00 | 404.00 | 846784.00 | 275.00 | 576400.00 | 550.00 | 1152800.00 | 240.00 | 503040.00 | 150.00 | 314400.00 | 314400.00 | M/S RAHUL ENGINEERS
7.00 | Laying, Jointing and Commissioning of HDPE pipe by trenchless method by carrying out Horizontal Directional Drilling (HDD) along or across various flexible or rigid pavement like Runway or Taxiway and service Road or Drain etc., at various site or location as per the drawing approved by AAI including survey, information collection regarding underground utilities, sensing of utilities by sensing equipment, pit making, pilot drilling, pre-reaming, pulling the supplied duct of various size as the design invert level and providing barricades and necessary warning signal lights, restoration of paved surfaces or Utilities etc., as required.
7.01 | 63 mm dia | 11810.00 | Mtr | 0.00 | 276.00 | 3259560.00 | 300.00 | 3543000.00 | 300.00 | 3543000.00 | 284.00 | 3354040.00 | 230.00 | 2716300.00 | 400.00 | 4724000.00 | 350.00 | 4133500.00 | 100.00 | 1181000.00 | 1181000.00 | M/S RAHUL ENGINEERS
7.02 | 90 mm dia | 2096.00 | Mtr | 0.00 | 396.00 | 830016.00 | 300.00 | 628800.00 | 400.00 | 838400.00 | 405.00 | 848880.00 | 255.00 | 534480.00 | 400.00 | 838400.00 | 380.00 | 796480.00 | 150.00 | 314400.00 | 314400.00 | M/S RAHUL ENGINEERS
8.00 | Supply following dia G.I. Pipe (medium class) completed as required.
8.01 | 40 mm dia | 12.00 | Mtr | 0.00 | 720.00 | 8640.00 | 512.00 | 6144.00 | 500.00 | 6000.00 | 608.00 | 7296.00 | 600.00 | 7200.00 | 120.00 | 1440.00 | 480.00 | 5760.00 | 400.00 | 4800.00 | 1440.00 | thangtech global infra pvt ltd
9.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/DWC/HDPE/METAL pipe as required.
9.01 | Up to 35 Sq.mm | 2836.00 | Mtr | 0.00 | 60.00 | 170160.00 | 50.00 | 141800.00 | 40.00 | 113440.00 | 68.00 | 192848.00 | 55.00 | 155980.00 | 90.00 | 255240.00 | 65.00 | 184340.00 | 100.00 | 283600.00 | 113440.00 | D.D.METAL CORPORATION
9.02 | Above 35 Sq.mm and up to 95 sq.mm | 221.00 | Mtr | 0.00 | 84.00 | 18564.00 | 60.00 | 13260.00 | 50.00 | 11050.00 | 88.00 | 19448.00 | 64.00 | 14144.00 | 90.00 | 19890.00 | 75.00 | 16575.00 | 400.00 | 88400.00 | 11050.00 | D.D.METAL CORPORATION
9.03 | Above 95 Sq.mm and up to 185 sq.mm | 1883.00 | Mtr | 0.00 | 144.00 | 271152.00 | 80.00 | 150640.00 | 170.00 | 320110.00 | 102.00 | 192066.00 | 75.00 | 141225.00 | 90.00 | 169470.00 | 110.00 | 207130.00 | 100.00 | 188300.00 | 141225.00 | Airfield Solutions India pvt Ltd
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on cable tray as required.
10.01 | Up to 35 sq.mm | 100.00 | Mtr | 0.00 | 96.00 | 9600.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 68.00 | 6800.00 | 55.00 | 5500.00 | 90.00 | 9000.00 | 50.00 | 5000.00 | 400.00 | 40000.00 | 5000.00 | Shiva Enterprises
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size in the existing RCC/HUME/DWC/HDPE/METAL pipe as required.
11.01 | Up to 35 sq.mm | 10858.00 | Mtr | 0.00 | 36.00 | 390888.00 | 40.00 | 434320.00 | 30.00 | 325740.00 | 41.00 | 445178.00 | 55.00 | 597190.00 | 90.00 | 977220.00 | 40.00 | 434320.00 | 70.00 | 760060.00 | 325740.00 | D.D.METAL CORPORATION
12.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
12.01 | 3.5 x 185 Sq.mm | 4.00 | Nos | 0.00 | 4800.00 | 19200.00 | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 9450.00 | 37800.00 | 10000.00 | 40000.00 | 4538.00 | 18152.00 | 3200.00 | 12800.00 | 7500.00 | 30000.00 | 12800.00 | Shiva Enterprises
13.00 | Supplying and making end termination with double compression brass gland and Al. lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
13.01 | 4 x 16 Sq.mm | 4.00 | Nos | 0.00 | 960.00 | 3840.00 | 600.00 | 2400.00 | 800.00 | 3200.00 | 574.00 | 2296.00 | 750.00 | 3000.00 | 309.00 | 1236.00 | 450.00 | 1800.00 | 9000.00 | 36000.00 | 1236.00 | thangtech global infra pvt ltd
13.02 | 3.5 x 95 Sq.mm | 2.00 | Nos | 0.00 | 1080.00 | 2160.00 | 756.00 | 1512.00 | 2000.00 | 4000.00 | 1283.00 | 2566.00 | 2700.00 | 5400.00 | 588.00 | 1176.00 | 650.00 | 1300.00 | 15000.00 | 30000.00 | 1176.00 | thangtech global infra pvt ltd
13.03 | 3.5 x 185 Sq.mm | 2.00 | Nos | 0.00 | 1800.00 | 3600.00 | 956.00 | 1912.00 | 4000.00 | 8000.00 | 2005.00 | 4010.00 | 3000.00 | 6000.00 | 875.00 | 1750.00 | 950.00 | 1900.00 | 25000.00 | 50000.00 | 1750.00 | thangtech global infra pvt ltd
14.00 | Supplying and making end termination with double compression brass gland and copper lugs for following size of PVC insulated and PVC sheathed armoured cable of 1.1 KV grade as required.
14.01 | 6 C x 2.5 Sq.mm | 4.00 | Nos | 0.00 | 600.00 | 2400.00 | 400.00 | 1600.00 | 800.00 | 3200.00 | 696.00 | 2784.00 | 750.00 | 3000.00 | 1554.00 | 6216.00 | 550.00 | 2200.00 | 500.00 | 2000.00 | 1600.00 | DOSHI ELECTRIC ENGG. CO.
14.02 | 12 C x 2.5 Sq. mm | 10.00 | Nos | 0.00 | 1200.00 | 12000.00 | 600.00 | 6000.00 | 1000.00 | 10000.00 | 912.00 | 9120.00 | 900.00 | 9000.00 | 1600.00 | 16000.00 | 750.00 | 7500.00 | 800.00 | 8000.00 | 6000.00 | DOSHI ELECTRIC ENGG. CO.
15.00 | Making field connections by crimping 6/16 sq.mm. plug and receptable with the existing 16/6sq.mm. single core PVC insulted copper conductor cable including filling the gap with water sealant material, applying PVC insulation tape complete as required. | 87.00 | Each | 0.00 | 500.00 | 43500.00 | 200.00 | 17400.00 | 200.00 | 17400.00 | 1215.00 | 105705.00 | 750.00 | 65250.00 | 500.00 | 43500.00 | 150.00 | 13050.00 | 1000.00 | 87000.00 | 13050.00 | Shiva Enterprises
16.00 | Supplying and laying SWG G.I wire at 0.75 mtr below ground level along with cable and connect to conductor earth electrode including connection/termination with GI thimble etc., as required. | 30.00 | Mtr | 0.00 | 60.00 | 1800.00 | 10.00 | 300.00 | 40.00 | 1200.00 | 102.00 | 3060.00 | 60.00 | 1800.00 | 120.00 | 3600.00 | 35.00 | 1050.00 | 2000.00 | 60000.00 | 300.00 | DOSHI ELECTRIC ENGG. CO.
17.00 | Earthing with G.I. earth pipe 4.5 mtr long, 40 mm dia. including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 10.00 | Set | 0.00 | 7200.00 | 72000.00 | 6500.00 | 65000.00 | 8000.00 | 80000.00 | 8100.00 | 81000.00 | 9000.00 | 90000.00 | 7500.00 | 75000.00 | 8500.00 | 85000.00 | 25000.00 | 250000.00 | 65000.00 | DOSHI ELECTRIC ENGG. CO.
18.00 | Constructing of double bond brick masonry manhole of 100 x 100 x 75 cm in cement mortar 1:4 (1 cement : 4 coarse sand) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). With common burnt clay F.P.S. (non-modular) bricks of class designation 7.5 along with MS cover 6 mm thick hinged on angle frame for support with lockable arrangement. | 26.00 | Cum | 0.00 | 10800.00 | 280800.00 | 15000.00 | 390000.00 | 22000.00 | 572000.00 | 47250.00 | 1228500.00 | 26700.00 | 694200.00 | 7000.00 | 182000.00 | 18000.00 | 468000.00 | 5000.00 | 130000.00 | 130000.00 | M/S RAHUL ENGINEERS
| Total in Figures |  |  |  |  | 13158271.00 |  | 15615150.00 |  | 17385799.00 |  | 15988548.00 |  | 13701278.00 |  | 18920983.00 |  | 14125739.00 |  | 14997021.00
Lowest Amount Quoted BY: UNIVERSAL ELECTRICAL AND ELECTRONICS(13158271.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Main, Standby LT, HT Feeder Power Cables at Imphal International Airport. Tender ID: 2025_AAI_243370_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | UNIVERSAL ELECTRICAL AND ELECTRONICS (BID ID -891895) | 13158271.00 | L1
| 2 | Airfield Solutions India pvt Ltd (BID ID -889711) | 13701278.00 | L2
| 3 | Shiva Enterprises (BID ID -893116) | 14125739.00 | L3
| 4 | M/S RAHUL ENGINEERS (BID ID -891875) | 14997021.00 | L4
| 5 | DOSHI ELECTRIC ENGG. CO. (BID ID -891943) | 15615150.00 | L5
| 6 | Yash Energy Pvt. Ltd (BID ID -897583) | 15988548.00 | L6
| 7 | D.D.METAL CORPORATION (BID ID -897437) | 17385799.00 | L7
| 8 | thangtech global infra pvt ltd (BID ID -891749) | 18920983.00 | L8