## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 15-Sep-2025 03:51 PM Tender Title: Provision of standby cable for both PAPI units at Dimapur Airport Tender ID: 2025_AAI_244156_1
Tender Inviting Authority: AGM(E-E) AAI, Dimapur Airport.
Name of Work: Provision of standby cable for both PAPI units at Dimapur Airport
Contract No: 2025_AAI_244156_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -893766 |  | REWINDER TECHNO ELECTRICALS (GSTN-18AAFFR7457K1ZL) BID ID -896010 |  | MS BHARAT ELECTRICALS (GSTN-NA) BID ID -890908 |  | Airfield Solutions India pvt Ltd (GSTN-NA) BID ID -889716
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2 x 16 Sq. mm size 5 KV grade Airfield Lighting Cable copper conductor XLPE insulated, PVC sheathed, unshielded, anti-termite and rodent treated, UG airfield lighting cable generally confirming to IS:7098 (Part-II) with up to date amendments and particular specifications of the following sizes as required: | 2600.00 | mtr |  | 550.00 | 1430000.00 | 630.00 | 1638000.00 | 570.00 | 1482000.00 | 535.00 | 1391000.00 | 1391000.00 | Airfield Solutions India pvt Ltd
2.00 | Supply of 50mm size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205 Part 24 complete etc., as required. | 2600.00 | mtr |  | 90.00 | 234000.00 | 80.00 | 208000.00 | 95.00 | 247000.00 | 90.00 | 234000.00 | 208000.00 | REWINDER TECHNO ELECTRICALS
3.00 | Laying of DWC HDPE pipe up to 50 mm size complete with fitting and cutting, jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 2400.00 | mtr |  | 100.00 | 240000.00 | 80.00 | 192000.00 | 84.00 | 201600.00 | 150.00 | 360000.00 | 192000.00 | REWINDER TECHNO ELECTRICALS
4.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 5 KV/1.1KV grade of upto 35 sq.mm in the existing RCC/HUME/STONE WARE/METAL/DWC-HDPE pipe as required. | 2400.00 | mtr |  | 30.00 | 72000.00 | 4.00 | 9600.00 | 14.00 | 33600.00 | 45.00 | 108000.00 | 9600.00 | REWINDER TECHNO ELECTRICALS
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV/5 KVgrade of upto 35 sqmm size in the existing masonry open duct as required. | 100.00 | mtr |  | 31.00 | 3100.00 | 4.00 | 400.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 400.00 | REWINDER TECHNO ELECTRICALS
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV/5kV grade of size upto 35 sqmm (clamped with 1mm thick saddle) on cable tray/surface as required. | 100.00 | mtr |  | 42.00 | 4200.00 | 4.00 | 400.00 | 30.00 | 3000.00 | 55.00 | 5500.00 | 400.00 | REWINDER TECHNO ELECTRICALS
7.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 meter in width, and lift upto 1.5 meter, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 meter. | 120.00 | cum |  | 740.00 | 88800.00 | 40.00 | 4800.00 | 400.00 | 48000.00 | 900.00 | 108000.00 | 4800.00 | REWINDER TECHNO ELECTRICALS
8.00 | Supply, Installation, Testing and Commissioning of smart RFID based electronic cable marker 220 mm dia, 1.5 m depth range 10 digit hexadecimal ID code. | 150.00 | Each |  | 2765.00 | 414750.00 | 2200.00 | 330000.00 | 2300.00 | 345000.00 | 4000.00 | 600000.00 | 330000.00 | REWINDER TECHNO ELECTRICALS
9.00 | Supply, Installation, Testing and Commissioning of RFID Marker Locator with built in GPS module, 1.5 M depth range 4x20 digit LCD Display for 134 KHz Power marker complete with marker database software and cloud data storagae facility. | 1.00 | Each |  | 307545.00 | 307545.00 | 50000.00 | 50000.00 | 200000.00 | 200000.00 | 350000.00 | 350000.00 | 50000.00 | REWINDER TECHNO ELECTRICALS
10.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ sub main wiring/ cable as required. | 2600.00 | mtr |  | 30.00 | 78000.00 | 15.00 | 39000.00 | 24.00 | 62400.00 | 65.00 | 169000.00 | 39000.00 | REWINDER TECHNO ELECTRICALS
11.00 | Supply and mechanised laying of 200 mm dia high density polyethylene (HDPE) pipe PE 80 complete with accessories like couplers, bends etc through horizontal direct drilling(HDD) Upto depth of 3.0 mtr including coupling / jointing of pipe. Complete as required. | 920.00 | mtr |  | 1350.00 | 1242000.00 | 2200.00 | 2024000.00 | 1650.00 | 1518000.00 | 1190.00 | 1094800.00 | 1094800.00 | Airfield Solutions India pvt Ltd
12.00 | Supply and mechanized laying of 90 mm dia high density polyethylene (HDPE) pipe PE 80 complete with accessories like couplers, bends etc through horizontal direct drilling(HDD) upto 3.0 mtr depth including coupling / jointing of pipe complete as required. | 320.00 | mts |  | 1020.00 | 326400.00 | 1300.00 | 416000.00 | 850.00 | 272000.00 | 1190.00 | 380800.00 | 272000.00 | MS BHARAT ELECTRICALS
13.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | each |  | 865.00 | 3460.00 | 1000.00 | 4000.00 | 4800.00 | 19200.00 | 9500.00 | 38000.00 | 3460.00 | Genesis
14.00 | Supplying and laying 25 mm X 5 mm GI strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm). | 40.00 | mtrs |  | 255.00 | 10200.00 | 50.00 | 2000.00 | 140.00 | 5600.00 | 290.00 | 11600.00 | 2000.00 | REWINDER TECHNO ELECTRICALS
15.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 16.00 | mtrs |  | 100.80 | 1612.80 | 100.00 | 1600.00 | 190.00 | 3040.00 | 975.00 | 15600.00 | 1600.00 | REWINDER TECHNO ELECTRICALS
16.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each |  | 7200.00 | 28800.00 | 2000.00 | 8000.00 | 4800.00 | 19200.00 | 9500.00 | 38000.00 | 8000.00 | REWINDER TECHNO ELECTRICALS
17.00 | Constructing brick masonary manhole inside size 120 x 120 cm and 100 cm deep with common burnt clay F.P.S. (non modular) bricks, cement mortar 1:6 ( 1 cement : 6 coarse sand ), 150 mm thick foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:6 (1 cement : 6 fine sand) including supply and fixing MS cover made of 5 mm thick MS sheet with handles on both sides, 50 x 50 x 5 mm main angle frame and 35 x 35 x 5 mm angle frame with sheet etc including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | 11.00 | Each |  | 16000.00 | 176000.00 | 9000.00 | 99000.00 | 10000.00 | 110000.00 | 21000.00 | 231000.00 | 99000.00 | REWINDER TECHNO ELECTRICALS
| Total in Figures |  |  |  |  | 4660867.80 |  | 5026800.00 |  | 4571640.00 |  | 5139800.00
Lowest Amount Quoted BY: MS BHARAT ELECTRICALS(4571640.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of standby cable for both PAPI units at Dimapur Airport Tender ID: 2025_AAI_244156_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MS BHARAT ELECTRICALS (BID ID -890908) | 4571640.00 | L1
| 2 | Genesis (BID ID -893766) | 4660867.80 | L2
| 3 | REWINDER TECHNO ELECTRICALS (BID ID -896010) | 5026800.00 | L3
| 4 | Airfield Solutions India pvt Ltd (BID ID -889716) | 5139800.00 | L4