## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 19-Sep-2025 06:39 PM Tender Title: Miscellaneous minor civil capital works in non-operational area at Aurangabad Airport (2025-26) Tender ID: 2025_AAI_244825_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport, Chhatrapati Sambhajinagar
Name of Work: Miscellaneous minor civil capital works in non-operational area at Aurangabad Airport (2025-26)
Contract No: 2025_AAI_244825_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shrikrishna Construction (GSTN-27ACJPS2472B1ZM) BID ID -894095 |  | LAXMI CONSTRUCTION CO (GSTN-27AABFL2005R1Z8) BID ID -896829 |  | Parikh Kashyap Indulal (GSTN-24ADFPP9401N1Z9) BID ID -897012 |  | ROHIT BHONGADDE (GSTN-NA) BID ID -897236
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 200 metres within Airport premises including all leads and lift up to 1.5m, as directed by Engineer-in-charge. All kinds of soil (Note: This item is to be executed for general civil works except roadworks location) | 1100.00 | cum | 100.00 | 90.00 | 99000.00 | 180.00 | 198000.00 | 300.00 | 330000.00 | 100.00 | 110000.00 | 99000.00 | Shrikrishna Construction
2.00 | Filling available good earth / muroom in trenches, plinth, sides of foundations etc. in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, within airport premises including all leads and lifts. (Note: This item is to be executed for general civil works except roadworks location) | 290.00 | cum | 100.00 | 90.00 | 26100.00 | 80.00 | 23200.00 | 300.00 | 87000.00 | 50.00 | 14500.00 | 14500.00 | ROHIT BHONGADDE
3.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | 5970.00 | sqm | 100.00 | 15.00 | 89550.00 | 10.00 | 59700.00 | 35.00 | 208950.00 | 4.00 | 23880.00 | 23880.00 | ROHIT BHONGADDE
4.00 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. (Note: This item is to be executed for general civil works except roadworks location) | 3000.00 | sqm | 100.00 | 30.00 | 90000.00 | 30.00 | 90000.00 | 30.00 | 90000.00 | 10.00 | 30000.00 | 30000.00 | ROHIT BHONGADDE
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement: 2 coarse sand : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 600.00 | cum | 100.00 | 4900.00 | 2940000.00 | 6500.00 | 3900000.00 | 6000.00 | 3600000.00 | 5000.00 | 3000000.00 | 2940000.00 | Shrikrishna Construction
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 Coarse sand : 8 graded stone aggregate 20 mm nominal size derived from natural sources) | 25.00 | cum | 100.00 | 4800.00 | 120000.00 | 5800.00 | 145000.00 | 4800.00 | 120000.00 | 4000.00 | 100000.00 | 100000.00 | ROHIT BHONGADDE
7.00 | Extra for providing and mixing water proofing material in cement concrete of make such as Dr. Fixit Pidiproof LW+ or equivalent work in doses by weight of cement as per manufacturer’s specification. | 10.00 | per bag of 50 kg cement used | 100.00 | 550.00 | 5500.00 | 20.00 | 200.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 200.00 | LAXMI CONSTRUCTION CO
8.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 70.00 | cum | 100.00 | 5400.00 | 378000.00 | 6700.00 | 469000.00 | 6200.00 | 434000.00 | 7000.00 | 490000.00 | 378000.00 | Shrikrishna Construction
9.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | cum | 100.00 | 5600.00 | 56000.00 | 7000.00 | 70000.00 | 6500.00 | 65000.00 | 6500.00 | 65000.00 | 56000.00 | Shrikrishna Construction
10.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 35.00 | cum | 100.00 | 5500.00 | 192500.00 | 7200.00 | 252000.00 | 6500.00 | 227500.00 | 6500.00 | 227500.00 | 192500.00 | Shrikrishna Construction
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 380.00 | sqm | 100.00 | 300.00 | 114000.00 | 400.00 | 152000.00 | 475.00 | 180500.00 | 500.00 | 190000.00 | 114000.00 | Shrikrishna Construction
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform | 135.00 | sqm | 100.00 | 400.00 | 54000.00 | 900.00 | 121500.00 | 475.00 | 64125.00 | 500.00 | 67500.00 | 54000.00 | Shrikrishna Construction
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 145.00 | sqm | 100.00 | 400.00 | 58000.00 | 700.00 | 101500.00 | 475.00 | 68875.00 | 500.00 | 72500.00 | 58000.00 | Shrikrishna Construction
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :Columns, Pillars, Piers, Abutments, Posts and Struts | 245.00 | sqm | 100.00 | 400.00 | 98000.00 | 900.00 | 220500.00 | 475.00 | 116375.00 | 200.00 | 49000.00 | 49000.00 | ROHIT BHONGADDE
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6940.00 | kg | 100.00 | 90.00 | 624600.00 | 107.00 | 742580.00 | 95.00 | 659300.00 | 85.00 | 589900.00 | 589900.00 | ROHIT BHONGADDE
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2490.00 | kg | 100.00 | 90.00 | 224100.00 | 107.00 | 266430.00 | 90.00 | 224100.00 | 85.00 | 211650.00 | 211650.00 | ROHIT BHONGADDE
17.00 | Half brick masonry with common burnt clay non modular bricks of class designation 5 in superstructure above plinth level up to floor V level : Cement mortar 1:3 (1 cement : 3 coarse sand) | 42.00 | sqm | 100.00 | 600.00 | 25200.00 | 950.00 | 39900.00 | 1500.00 | 63000.00 | 1500.00 | 63000.00 | 25200.00 | Shrikrishna Construction
18.00 | Brick work with common burnt clay non modular bricks of class designation 5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 45.00 | cum | 100.00 | 6200.00 | 279000.00 | 7500.00 | 337500.00 | 8000.00 | 360000.00 | 7500.00 | 337500.00 | 279000.00 | Shrikrishna Construction
19.00 | Brick work with common burnt clay non modular bricks of class designation 5 in superstructure above plinth level up to floor V level in all shapes and sizes in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 55.00 | cum | 100.00 | 6300.00 | 346500.00 | 8500.00 | 467500.00 | 8000.00 | 440000.00 | 7500.00 | 412500.00 | 346500.00 | Shrikrishna Construction
20.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut granite for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid with cement based high polymer modified quick set stone adhesive of approved make, joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | 45.00 | sqm | 100.00 | 3200.00 | 144000.00 | 3200.00 | 144000.00 | 3800.00 | 171000.00 | 4700.00 | 211500.00 | 144000.00 | Shrikrishna Construction, LAXMI CONSTRUCTION CO
21.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 8.00 | each | 100.00 | 350.00 | 2800.00 | 1000.00 | 8000.00 | 2500.00 | 20000.00 | 500.00 | 4000.00 | 2800.00 | Shrikrishna Construction
22.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick. | 38.00 | sqm | 100.00 | 800.00 | 30400.00 | 900.00 | 34200.00 | 1500.00 | 57000.00 | 1300.00 | 49400.00 | 30400.00 | Shrikrishna Construction
23.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 6790.00 | kg | 100.00 | 90.00 | 611100.00 | 128.00 | 869120.00 | 100.00 | 679000.00 | 85.00 | 577150.00 | 577150.00 | ROHIT BHONGADDE
24.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 10140.00 | kg | 100.00 | 90.00 | 912600.00 | 140.00 | 1419600.00 | 115.00 | 1166100.00 | 85.00 | 861900.00 | 861900.00 | ROHIT BHONGADDE
25.00 | Supplying and spreading 6mm stone grit at required location as per the direction of Engineer-in-Charge | 10.00 | cum | 100.00 | 1500.00 | 15000.00 | 900.00 | 9000.00 | 2000.00 | 20000.00 | 1400.00 | 14000.00 | 9000.00 | LAXMI CONSTRUCTION CO
26.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 3% and conforming to IS: 15622, of approved make such as Kajaria//Grancier/DonatoSomani, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.. Size of Tile ranging from 500x500 mm -1200x1200 mm. | 40.00 | sqm | 100.00 | 890.00 | 35600.00 | 1600.00 | 64000.00 | 1600.00 | 64000.00 | 1350.00 | 54000.00 | 35600.00 | Shrikrishna Construction
27.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 3% and conforming to IS: 15622, of approved brand & manufacturer such as Kajaria/Grancier/Donato/Somani or equivalent, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints Size of tile ranging from 500x500 mm - 1200x1200 mm | 210.00 | sqm | 100.00 | 890.00 | 186900.00 | 1650.00 | 346500.00 | 1600.00 | 336000.00 | 1350.00 | 283500.00 | 186900.00 | Shrikrishna Construction
28.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 1140.00 | sqm | 100.00 | 550.00 | 627000.00 | 750.00 | 855000.00 | 850.00 | 969000.00 | 950.00 | 1083000.00 | 627000.00 | Shrikrishna Construction
29.00 | Providing and fixing precoated galvanised steel sheet roofing accessories of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 130.00 | metre | 100.00 | 500.00 | 65000.00 | 550.00 | 71500.00 | 600.00 | 78000.00 | 100.00 | 13000.00 | 13000.00 | ROHIT BHONGADDE
30.00 | Cement Plaster in fine sand. 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 290.00 | sqm | 100.00 | 300.00 | 87000.00 | 350.00 | 101500.00 | 500.00 | 145000.00 | 200.00 | 58000.00 | 58000.00 | ROHIT BHONGADDE
31.00 | Cement Plaster in fine sand. 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 660.00 | sqm | 100.00 | 400.00 | 264000.00 | 380.00 | 250800.00 | 600.00 | 396000.00 | 350.00 | 231000.00 | 231000.00 | ROHIT BHONGADDE
32.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a)Two or more coats on new work | 805.00 | sqm | 100.00 | 130.00 | 104650.00 | 160.00 | 128800.00 | 90.00 | 72450.00 | 80.00 | 64400.00 | 64400.00 | ROHIT BHONGADDE
33.00 | Distempering with 1st quality acrylic distemper (ready mixed) of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : Two or more coats over and including water thinnable priming coat with interior grade primer. | 470.00 | sqm | 100.00 | 90.00 | 42300.00 | 80.00 | 37600.00 | 60.00 | 28200.00 | 80.00 | 37600.00 | 28200.00 | Parikh Kashyap Indulal
34.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 260.00 | sqm | 100.00 | 150.00 | 39000.00 | 160.00 | 41600.00 | 90.00 | 23400.00 | 80.00 | 20800.00 | 20800.00 | ROHIT BHONGADDE
35.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 330.00 | sqm | 100.00 | 110.00 | 36300.00 | 160.00 | 52800.00 | 120.00 | 39600.00 | 90.00 | 29700.00 | 29700.00 | ROHIT BHONGADDE
36.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material upto 200 m lead within Airport premises as per directions of Engineer - in - charge. All types of nominal concrete or equivalent design mix. | 265.00 | cum | 100.00 | 450.00 | 119250.00 | 1800.00 | 477000.00 | 650.00 | 172250.00 | 500.00 | 132500.00 | 119250.00 | Shrikrishna Construction
37.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground upto 200 m lead within Airport premises. | 260.00 | sqm | 100.00 | 50.00 | 13000.00 | 75.00 | 19500.00 | 20.00 | 5200.00 | 100.00 | 26000.00 | 5200.00 | Parikh Kashyap Indulal
38.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material upto 200 m lead within Airport premises as per directions of Engineer-in-charge. - In cement mortar | 15.00 | cum | 100.00 | 500.00 | 7500.00 | 1600.00 | 24000.00 | 300.00 | 4500.00 | 300.00 | 4500.00 | 4500.00 | Parikh Kashyap Indulal, ROHIT BHONGADDE
39.00 | Dismantling and taking away doors, windows and clerestory windows (steel or wood) shutter etc. including disposal of unserviceable surplus material as directed by Engineer-in-charge - Of area 3 sq. metres and below | 18.00 | each | 100.00 | 400.00 | 7200.00 | 350.00 | 6300.00 | 1000.00 | 18000.00 | 100.00 | 1800.00 | 1800.00 | ROHIT BHONGADDE
40.00 | Dismantling stone slab /granite/marble laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 200 metres lead of Airport premises. | 20.00 | sqm | 100.00 | 90.00 | 1800.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 40.00 | 800.00 | 800.00 | ROHIT BHONGADDE
41.00 | Dismantling tile work in floors and walls laid in cement mortar including stacking material upto 200 m lead within Airport premises. | 187.43 | sqm | 100.00 | 30.00 | 5622.90 | 50.00 | 9371.50 | 50.00 | 9371.50 | 40.00 | 7497.20 | 5622.90 | Shrikrishna Construction
42.00 | Dismantling W.C. Pan, Urinals, wash basins and wall mixer of all sizes all complete and disposal of dismantled materials within Airport premises i/c malba all complete as per the directions of Engineer-in-Charge. (Note: This item includes dismantling and disposal of associated flush tank, bib cocks, angle valve, connection pipe, plumbing & drainage lines) | 23.00 | each | 100.00 | 100.00 | 2300.00 | 125.00 | 2875.00 | 500.00 | 11500.00 | 100.00 | 2300.00 | 2300.00 | Shrikrishna Construction, ROHIT BHONGADDE
43.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond initial lead of respective item, for all leads including all lifts involved. | 700.00 | cum | 100.00 | 300.00 | 210000.00 | 140.00 | 98000.00 | 250.00 | 175000.00 | 300.00 | 210000.00 | 98000.00 | LAXMI CONSTRUCTION CO
44.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length - 15 mm nominal bore | 35.00 | each | 100.00 | 250.00 | 8750.00 | 125.00 | 4375.00 | 100.00 | 3500.00 | 50.00 | 1750.00 | 1750.00 | ROHIT BHONGADDE
45.00 | Providing and fixing 15 mm nominal bore C.P. brass bib cock of approved make and quality as per the directions of Engineer-in-Charge. | 7.00 | each | 100.00 | 1200.00 | 8400.00 | 500.00 | 3500.00 | 1200.00 | 8400.00 | 500.00 | 3500.00 | 3500.00 | LAXMI CONSTRUCTION CO, ROHIT BHONGADDE
46.00 | Providing and fixing (C.P.) chrome plated pillar cock for wash basin of approved make such as Cera F1015101 or equivalent of approved quality as per the direction of Engineer-in-Charge: 15 mm nominal bore | 9.00 | each | 100.00 | 1500.00 | 13500.00 | 650.00 | 5850.00 | 1800.00 | 16200.00 | 3000.00 | 27000.00 | 5850.00 | LAXMI CONSTRUCTION CO
47.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent exposed on walls including including fixing the pipe with clamps at 1.00 m spacing, cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement & testing of joints complete as per direction of Engineer in Charge. - 15 mm nominal dia Pipes | 35.00 | metre | 100.00 | 150.00 | 5250.00 | 250.00 | 8750.00 | 300.00 | 10500.00 | 60.00 | 2100.00 | 2100.00 | ROHIT BHONGADDE
48.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent exposed on walls including including fixing the pipe with clamps at 1.00 m spacing, cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement & testing of joints complete as per direction of Engineer in Charge. - 25 mm nominal dia Pipes | 35.00 | metre | 100.00 | 200.00 | 7000.00 | 350.00 | 12250.00 | 450.00 | 15750.00 | 80.00 | 2800.00 | 2800.00 | ROHIT BHONGADDE
49.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent exposed on walls including including fixing the pipe with clamps at 1.00 m spacing, cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement & testing of joints complete as per direction of Engineer in Charge. - 32 mm nominal dia Pipes | 35.00 | metre | 100.00 | 250.00 | 8750.00 | 400.00 | 14000.00 | 500.00 | 17500.00 | 130.00 | 4550.00 | 4550.00 | ROHIT BHONGADDE
50.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent exposed on walls including including fixing the pipe with clamps at 1.00 m spacing, cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement & testing of joints complete as per direction of Engineer in Charge. - 40 mm nominal dia Pipes | 35.00 | metre | 100.00 | 300.00 | 10500.00 | 500.00 | 17500.00 | 600.00 | 21000.00 | 150.00 | 5250.00 | 5250.00 | ROHIT BHONGADDE
51.00 | Providing and fixing Zoloto make or equivalent brass forged ball valve with handle lever of approved quality 25 mm nominal bore as per the direction of Enginner-in-Charge. | 10.00 | each | 100.00 | 2500.00 | 25000.00 | 500.00 | 5000.00 | 1500.00 | 15000.00 | 800.00 | 8000.00 | 5000.00 | LAXMI CONSTRUCTION CO
52.00 | Providing and fixing Zoloto make or equivalent brass forged ball valve with handle lever of approved quality 32 mm nominal bore as per the direction of Enginner-in-Charge | 10.00 | each | 100.00 | 3500.00 | 35000.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 10000.00 | ROHIT BHONGADDE
53.00 | Providing and fixing Zoloto make or equivalent brass forged ball valve with handle lever of approved quality 40 mm nominal bore as per the direction of Enginner-in-Charge | 5.00 | each | 100.00 | 5500.00 | 27500.00 | 2600.00 | 13000.00 | 3500.00 | 17500.00 | 1800.00 | 9000.00 | 9000.00 | ROHIT BHONGADDE
54.00 | Providing and fixing in position factory made precast RCC door frame of minimum 110 mm width and 60 mm depth fixing with hold fast having excellent smooth finish, providing suitable arrangement for recieving sliding door bolts and tower bolt etc. all complete, as per the directions of Engineer-in-Charge. | 70.00 | metre | 100.00 | 200.00 | 14000.00 | 750.00 | 52500.00 | 400.00 | 28000.00 | 250.00 | 17500.00 | 14000.00 | Shrikrishna Construction
55.00 | Providing and fixing to existing door frames. 30 mm thick fiber flush door shutter in approved make and finish with all necessary fixing arrangements, hardware accessories such as SS coat hook, SS butt hinges, tower bolts and door bolts complete as per directions of Engineer-in-charge. | 20.00 | sqm | 100.00 | 3000.00 | 60000.00 | 2600.00 | 52000.00 | 2500.00 | 50000.00 | 2500.00 | 50000.00 | 50000.00 | Parikh Kashyap Indulal, ROHIT BHONGADDE
56.00 | Providing & fixing commercial waterproof plywood of ISI approved brand and make to be fixed at any location with all necessary fixing accessories, painting of edges with primer complete as per the directions of Engineer-in-charge. a) 18 mm thick plywood | 57.00 | sqm | 100.00 | 1250.00 | 71250.00 | 1600.00 | 91200.00 | 1650.00 | 94050.00 | 1500.00 | 85500.00 | 71250.00 | Shrikrishna Construction
57.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 15 mm nominal dia Pipes | 50.00 | metre | 100.00 | 150.00 | 7500.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 65.00 | 3250.00 | 3250.00 | ROHIT BHONGADDE
58.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes of 20 mm nominal dia having thermal stability for hot & cold water supply of approved make such as Astral/Supreme/Prince or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc | 25.00 | metre | 100.00 | 200.00 | 5000.00 | 335.00 | 8375.00 | 380.00 | 9500.00 | 150.00 | 3750.00 | 3750.00 | ROHIT BHONGADDE
59.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 25 mm nominal dia Pipes | 70.00 | metre | 100.00 | 200.00 | 14000.00 | 375.00 | 26250.00 | 350.00 | 24500.00 | 160.00 | 11200.00 | 11200.00 | ROHIT BHONGADDE
60.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 32 mm nominal dia Pipes | 75.00 | metre | 100.00 | 250.00 | 18750.00 | 425.00 | 31875.00 | 410.00 | 30750.00 | 200.00 | 15000.00 | 15000.00 | ROHIT BHONGADDE
61.00 | Providing and fixing RCC drainage cover to be fixed over chamber/manhole top including all fixing materials complete as per direction of Engineer-in-Charge. | .25 | cum | 100.00 | 15000.00 | 3750.00 | 16000.00 | 4000.00 | 15000.00 | 3750.00 | 8000.00 | 2000.00 | 2000.00 | ROHIT BHONGADDE
62.00 | Providing & applying 2 component (1 polymer; 2 powder) acrylic cementitious, polymer modified flexible, negative side waterproofing & protective coating composed of Portland cement, graded aggregates, additives & acrylic emulsion polymer as a binder on interior wall plaster surface in two coats of Dr. Fixit Pidifin 2K make or equivalent @ 1.78 kg / sqm. 1st coat application with a stiff nylon brush, then providing 50 gsm glass fibre mesh over the angle fillet after the 1st coat applicatio. 2nd coat application in a direction perpendicular to the 1st coat after 6-8 hrs of drying followed by air curing for 3-5 days (surface must be protected from sunlight by providing moist hessian cloth), after scrapping and properly cleaning the surface to remove pre-existing paint film & loose particles till plaster is visible complete in all respect as per the direction of Engineer-in-Charge. | 10.00 | sqm | 100.00 | 150.00 | 1500.00 | 600.00 | 6000.00 | 600.00 | 6000.00 | 1800.00 | 18000.00 | 1500.00 | Shrikrishna Construction
63.00 | Providing and fixing white vitreous china flat back urinal of min size 315x330x420 mm of Astral, Cera, make or equivalent with fittings and standard accessories, standard size C.P. brass flush pipe, spreaders, waste coupling with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, waste trap with outlet grating and other couplings in C.P. brass, painting, fitting, cutting and making good the walls and floors wherever required as per satisfation of Engineer-in-Charge. | 9.00 | each | 100.00 | 5500.00 | 49500.00 | 5000.00 | 45000.00 | 2490.00 | 22410.00 | 7000.00 | 63000.00 | 22410.00 | Parikh Kashyap Indulal
64.00 | Providing and fixing floor mounted vitreous china single piece double traps syphonic water closet (EWC) of approved colour with soft close seat cover of min size 640 x 345 x 730 mm of Cera S1013217 make or equivalent consisting of 5D flush, siphonic jet flushing, curvy design, D-shaped bowl, Concealed S Trap including integrated white vitreous china cistern of min capacity 9 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, cutting, making and good the walls and floors wherever required complete in all respect as per directions of Engineer-in-Charge. | 7.00 | each | 100.00 | 10000.00 | 70000.00 | 15000.00 | 105000.00 | 23300.00 | 163100.00 | 14000.00 | 98000.00 | 70000.00 | Shrikrishna Construction
65.00 | Providing and fixing vitreous china Orissa pattern W.C. pan of approved colour of min size 580x440x250 mm with integral type foot rests (Indian type WC pan) of Astral, Cera, make or equivalent including P trap/S trap, minimum 9 litre PVC flushing cistern with flush pipe with manually controlled device (handle lever), all other fittings and fixtures complete including cutting, making and good the walls and floors wherever required as per directions of Engineer-in-charge | 2.00 | each | 100.00 | 3000.00 | 6000.00 | 7500.00 | 15000.00 | 3250.00 | 6500.00 | 5000.00 | 10000.00 | 6000.00 | Shrikrishna Construction
66.00 | Providing and fixing CP Brass Push/pressmatic Pillar cock with Auto-closing system of Astral, Cera, make or equivalent including making connection, etc. complete as per directions of Engineer-in-Charge. | 9.00 | each | 100.00 | 1500.00 | 13500.00 | 1500.00 | 13500.00 | 2500.00 | 22500.00 | 1520.00 | 13680.00 | 13500.00 | Shrikrishna Construction, LAXMI CONSTRUCTION CO
67.00 | Providing and fixing CP Brass Angular Stop Cock with wall flange of make such as Cera F1015201 or equivalent as per directions of Engineer-in-charge. | 26.00 | each | 100.00 | 1200.00 | 31200.00 | 1200.00 | 31200.00 | 1170.00 | 30420.00 | 650.00 | 16900.00 | 16900.00 | ROHIT BHONGADDE
68.00 | Providing and fixing CP Brass bottle trap of 32 mm size of Cera F8060401 make or equivalent including 300 mm and 190 mm long wall connection pipes with wall flanges and making connection, etc. all complete as per directions of Engineer-in-charge | 9.00 | each | 100.00 | 1500.00 | 13500.00 | 2000.00 | 18000.00 | 1500.00 | 13500.00 | 1500.00 | 13500.00 | 13500.00 | Shrikrishna Construction, Parikh Kashyap Indulal, ROHIT BHONGADDE
69.00 | Providing and fixing CP (Chrome plated) pressmatic auto closing concealed urinal flush valve of approved make and model such as Cera F8010109 or equivalent as per the direction of Engineer-in-Charge. | 9.00 | each | 100.00 | 3000.00 | 27000.00 | 1500.00 | 13500.00 | 3750.00 | 33750.00 | 3000.00 | 27000.00 | 13500.00 | LAXMI CONSTRUCTION CO
70.00 | Supplying health faucet / hand shower ABS body with 1 metre SS braided connection pipe of 15 mm nominal bore of approved make such as Cera F8030105AB or equivalent as per the directions of Engineer-in-Charge. | 9.00 | each | 100.00 | 1800.00 | 16200.00 | 1200.00 | 10800.00 | 1295.00 | 11655.00 | 1500.00 | 13500.00 | 10800.00 | LAXMI CONSTRUCTION CO
71.00 | Providing and fixing vitreous china wall hung wash basin of approved colour of Cera S2040126 make or equivalent of size 475 x 370 x 195 mm including waste coupling, fixing accessories, painting of fittings, cutting and making good the walls wherever required as per directions of Engineer-in-charge | 9.00 | each | 100.00 | 3000.00 | 27000.00 | 4500.00 | 40500.00 | 2550.00 | 22950.00 | 3500.00 | 31500.00 | 22950.00 | Parikh Kashyap Indulal
72.00 | Providing and fixing 2 way bib cock with wall flange of approved make such as Cera F1015163 or Equivalent including making connection, etc as per direction of Engineer-in-Charge. | 10.00 | each | 100.00 | 1500.00 | 15000.00 | 1200.00 | 12000.00 | 2015.00 | 20150.00 | 500.00 | 5000.00 | 5000.00 | ROHIT BHONGADDE
73.00 | Providing and fixing concealed diverter consisting of exposed part of 150 mm dia of Cera F1015721 make or equivalent (lever, tip ton knob, 2 mm sheet flange) and concealed part Cera F4030101 make or equivalent (45 mm cartridge with button assembly, cartridge sleeve) including making connection, cutting, making and good the walls and floors wherever required etc complete as per directions of Engineer-in-Charge. | 5.00 | each | 100.00 | 2000.00 | 10000.00 | 7500.00 | 37500.00 | 8000.00 | 40000.00 | 5000.00 | 25000.00 | 10000.00 | Shrikrishna Construction
74.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm size | 6.00 | sqm | 100.00 | 1500.00 | 9000.00 | 750.00 | 4500.00 | 600.00 | 3600.00 | 500.00 | 3000.00 | 3000.00 | ROHIT BHONGADDE
75.00 | Providing and fixing (C.P.) chrome plated towel rail 600 mm long of approved make and quality as per the direction of Engineer-in-charge. | 5.00 | each | 100.00 | 1800.00 | 9000.00 | 1200.00 | 6000.00 | 1462.00 | 7310.00 | 3000.00 | 15000.00 | 6000.00 | LAXMI CONSTRUCTION CO
76.00 | Providing and fixing mirror of superior glass minimum 4 mm thick of approved brand, quality and of required shape and size. Mirror to be fixed over framework consisting of Aluminum member minimum 50 mm x 20 mm x 2 mm along the borders, vertical members (one per 1.2 metre length) minimum 50 mm x 10 mm x 2 mm on the backside of mirror with protective vinyl sheet on opposite (wall side) of mirror with necessary arrangement for screw holes to be fixed over screws over walls including all necessary fixing accesories and arrangements complete as per directions of Engineer-in-charge. | 6.00 | sqm | 100.00 | 950.00 | 5700.00 | 1500.00 | 9000.00 | 3543.00 | 21258.00 | 600.00 | 3600.00 | 3600.00 | ROHIT BHONGADDE
77.00 | Providing and fixing SWR PVC pipes having minimum working pressure 4kgf/sqcm of approved make or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 110 mm dia. | 55.00 | metre | 100.00 | 250.00 | 13750.00 | 350.00 | 19250.00 | 400.00 | 22000.00 | 350.00 | 19250.00 | 13750.00 | Shrikrishna Construction
78.00 | Providing and fixing SWR PVC pipes having minimum working pressure 4kgf/sqcm of approved make or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 75 mm dia. | 65.00 | metre | 100.00 | 220.00 | 14300.00 | 310.00 | 20150.00 | 350.00 | 22750.00 | 250.00 | 16250.00 | 14300.00 | Shrikrishna Construction
79.00 | Providing and fixing PVC pipes of 40 mm dia of approved make or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per directions of Engineer In Charge. | 35.00 | metre | 100.00 | 150.00 | 5250.00 | 500.00 | 17500.00 | 195.00 | 6825.00 | 200.00 | 7000.00 | 5250.00 | Shrikrishna Construction
80.00 | Providing and fixing in position 30 mm thick machine cut Cuddapah stone for platform, shelves, counters, stand etc. complete at all levels as per the directions of Engineer-in-charge. | 30.00 | sqm | 100.00 | 150.00 | 4500.00 | 1400.00 | 42000.00 | 1280.00 | 38400.00 | 100.00 | 3000.00 | 3000.00 | ROHIT BHONGADDE
81.00 | Providing and fixing SS jali (grating) with or without hole for waste pipe for floor / Nahani trap 100 mm diameter including sealing with white cement as per the directions of Engineer-in-charge | 25.00 | each | 100.00 | 300.00 | 7500.00 | 100.00 | 2500.00 | 150.00 | 3750.00 | 100.00 | 2500.00 | 2500.00 | LAXMI CONSTRUCTION CO, ROHIT BHONGADDE
82.00 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades for all types of floors such as tile/granite flooring, footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | 100.00 | sqm | 100.00 | 1200.00 | 120000.00 | 1500.00 | 150000.00 | 1370.00 | 137000.00 | 800.00 | 80000.00 | 80000.00 | ROHIT BHONGADDE
83.00 | Providing and laying 80 mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with cement, sand etc. all complete as per the direction of Engineer-in-charge. | 890.00 | sqm | 100.00 | 690.00 | 614100.00 | 1050.00 | 934500.00 | 800.00 | 712000.00 | 700.00 | 623000.00 | 614100.00 | Shrikrishna Construction
84.00 | Structural Consultancy charges for preparation of detailed structural design, drawing & bar bending schedule for Car Parking structure and RCC frame Electrical store building on the basis of relevant IS code & sound engineering practices and same to be approved by any Govt. accredited Engineering college/NIT/IIT including site visit whenever required during execution of work. | 1.00 | job | 100.00 | 208931.10 | 208931.10 | 75000.00 | 75000.00 | 75000.00 | 75000.00 | 5000.00 | 5000.00 | 5000.00 | ROHIT BHONGADDE
85.00 | Excavation in all kinds of Soil with hydraulic excavator of 0.90 cum bucket capacity including cutting and loading in tippers, triming bottom and side slopes, transporting the excavated earth to the filling locations within 1500 metres distance including all leads and lifts, breaking clods, levelling fine dressing in accordance with requirements of lines, grades and cross sections, compaction by rolling with vibratory road roller etc complete for excavation and filling locations both as per the direction of Engineer-in-Charge. (Note: The lead for this item is considered as 1500 metres because the excavated material will be disposed in nearby areas) | 2690.00 | cum | 100.00 | 250.00 | 672500.00 | 225.00 | 605250.00 | 190.00 | 511100.00 | 250.00 | 672500.00 | 511100.00 | Parikh Kashyap Indulal
86.00 | Providing and laying stone soling with 6'' to 9'' (150 to 230 mm) boulders including watering and consolidation, spreading of granular material gravel or moorum in voids etc. complete as per the directions of Engineer-in-Charge | 430.00 | cum | 100.00 | 1200.00 | 516000.00 | 1800.00 | 774000.00 | 1500.00 | 645000.00 | 1050.00 | 451500.00 | 451500.00 | ROHIT BHONGADDE
87.00 | Supply of granular material (moorum) obtained from borrow pits with all lifts, leads and transportation to Airport site complete as per the direction of Engineer-in-Charge. | 720.00 | cum | 100.00 | 700.00 | 504000.00 | 900.00 | 648000.00 | 500.00 | 360000.00 | 200.00 | 144000.00 | 144000.00 | ROHIT BHONGADDE
88.00 | Laying, spreading and compaction of available moorum including spreading in layers not exceeding 20 cm in depth, consolidating each deposited layer by ramming and watering, for all leads and lifts complete as per the direction of Engineer-in-Charge | 720.00 | cum | 100.00 | 90.00 | 64800.00 | 50.00 | 36000.00 | 120.00 | 86400.00 | 100.00 | 72000.00 | 36000.00 | LAXMI CONSTRUCTION CO
89.00 | Providing and laying non-pressure NP3 class R.C.C. pipes spigot and socket type, jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete - 450 mm dia. R.C.C. pipe. | 75.00 | metre | 100.00 | 900.00 | 67500.00 | 2000.00 | 150000.00 | 4000.00 | 300000.00 | 1500.00 | 112500.00 | 67500.00 | Shrikrishna Construction
90.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 175.00 | cum | 100.00 | 2200.00 | 385000.00 | 2200.00 | 385000.00 | 1500.00 | 262500.00 | 1200.00 | 210000.00 | 210000.00 | ROHIT BHONGADDE
91.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels over 200 micron (minimum) polythene sheet with overlaps of not less than 50 mm longitudinally and 75 mm transversly spread flat over finished surface, spreading and compacting mechanically by using needle and surface vibrators, finishing with required texture using trimix equipments, curing, making provision for contraction joints / expansion joints, construction & longitudinal joints by groove cutting machine complete. The item for execution shall also include the following operations: i) Side shuttering required to lay concrete in camber as per site conditions. ii) Mechanically cutting joints 3 mm wide x 1/3rd thickness of slab which is subsequently widened to 10 mm for the top 25mm depth and construction joints 10 mm wide x 25mm deep as per specification. (Note:- Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately) | 330.00 | cum | 100.00 | 4900.00 | 1617000.00 | 7250.00 | 2392500.00 | 6100.00 | 2013000.00 | 6500.00 | 2145000.00 | 1617000.00 | Shrikrishna Construction
92.00 | Providing and laying in position expansion joint, 25mm thick Synthetic joint filler board of approved make conforming to IS:1838(part 3)-2011, upto depth as specified by EIC all complete as per particular specifications and directions of Engineer-in-charge. (Note: For purpose of payment, quantity (length (m) x depth (m) ) of filler board will be measured). | 10.00 | sqm | 100.00 | 200.00 | 2000.00 | 440.00 | 4400.00 | 850.00 | 8500.00 | 15.00 | 150.00 | 150.00 | ROHIT BHONGADDE
93.00 | Providing and laying in position Polysulphide sealant of approved make conforming to BS-5212-1990 or IS: 11433-1995 in expansion/ construction/dummy joints including rounding off edges, applying 2 coats of approved primer compatible with the brand of Polysulphide and preparing the surface and applying masking tape along the edge of joint to prevent accidental spillage of sealant on top surface and to give neat finish to the sealant and removing the masking tape after application of sealant etc. complete as per direction of Engineer in-Charge & particular specifications. [Note: For purpose of payment, quantity (Length (in m) x Width (in cm) x Depth (in cm)) of Polysulphide sealant only will be measured.] i) Expansion Joints of size 25 mm wide and 10 mm deep over 30 mm dia closed-cell Polyethylene foam back-up rod, as per specifications. ii) Construction Joints of size 10 mm wide and 10 mm deep over 12 mm dia closed-cell Polyethylene foam back-up rod, as per specifications. iii) Dummy Joints of size 10 mm wide and 10 mm deep over 12 mm dia closed-cell Polyethylene foam back-up rod, as per specifications. | 445.00 | per cm depth per cm width per metre length | 100.00 | 100.00 | 44500.00 | 80.00 | 35600.00 | 150.00 | 66750.00 | 50.00 | 22250.00 | 22250.00 | ROHIT BHONGADDE
| Total in Figures |  |  |  |  | 14900004.00 |  | 19775651.50 |  | 18096274.50 |  | 15239507.20
Lowest Amount Quoted BY: Shrikrishna Construction(14900004.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous minor civil capital works in non-operational area at Aurangabad Airport (2025-26) Tender ID: 2025_AAI_244825_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shrikrishna Construction (BID ID -894095) | 14900004.00 | L1
| 2 | ROHIT BHONGADDE (BID ID -897236) | 15239507.20 | L2
| 3 | Parikh Kashyap Indulal (BID ID -897012) | 18096274.50 | L3
| 4 | LAXMI CONSTRUCTION CO (BID ID -896829) | 19775651.50 | L4