## BoQ1
Government eProcurement System Created By: KESHAV AUTADE Created Date/Time: 04-Nov-2025 05:28 PM Tender Title: Construction of Guest House and Transit / Hostel Accommodation at Kolhapur Airport. Tender ID: 2025_AAI_245111_1
Tender Inviting Authority: <SM (Engg.-Civil), AAI, Kolhapur Airport >
Name of Work: <Construction of Guest House and Transit/ Hostel Accommodation at Kolhapur Airport.>
Contract No: <2025_AAI_245111_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Oracle Construction And Infrastructure Company (GSTN-27AACFO9324M1ZU) BID ID -900002 |  | Shri Laxminarayan Construction (GSTN-27AKIPR6504J1ZT) BID ID -900751 |  | M/s P N Nagane (GSTN-NA) BID ID -904353 |  | ABHAY SHASHIKANT TENDULKAR (GSTN-NA) BID ID -904824 |  | Manan Constructions (GSTN-NA) BID ID -902157
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge. All kinds of soil | 1098.00 | cum |  | 175.00 | 192150.00 | 70.00 | 76860.00 | 150.00 | 164700.00 | 170.00 | 186660.00 | 175.00 | 192150.00 | 76860.00 | Shri Laxminarayan Construction
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Ordinary rock | 1299.00 | cum |  | 500.00 | 649500.00 | 310.00 | 402690.00 | 200.00 | 259800.00 | 480.00 | 623520.00 | 500.00 | 649500.00 | 259800.00 | M/s P N Nagane
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. Hard Rock (blasting prohibited) | 13.00 | cum |  | 944.00 | 12272.00 | 1000.00 | 13000.00 | 800.00 | 10400.00 | 1395.00 | 18135.00 | 1100.00 | 14300.00 | 10400.00 | M/s P N Nagane
4.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lifts, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 170.00 | cum |  | 250.00 | 42500.00 | 90.00 | 15300.00 | 220.00 | 37400.00 | 247.00 | 41990.00 | 200.00 | 34000.00 | 15300.00 | Shri Laxminarayan Construction
5.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 190.00 | cum |  | 777.00 | 147630.00 | 310.00 | 58900.00 | 525.00 | 99750.00 | 605.00 | 114950.00 | 550.00 | 104500.00 | 58900.00 | Shri Laxminarayan Construction
6.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Hard Rock (blasting prohibited) | 210.00 | cum |  | 1326.00 | 278460.00 | 900.00 | 189000.00 | 700.00 | 147000.00 | 1450.00 | 304500.00 | 1100.00 | 231000.00 | 147000.00 | M/s P N Nagane
7.00 | Excavating trenches by mechinical / manual means of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 230.00 | meter |  | 111.00 | 25530.00 | 180.00 | 41400.00 | 250.00 | 57500.00 | 300.00 | 69000.00 | 200.00 | 46000.00 | 25530.00 | Oracle Construction And Infrastructure Company
8.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | 2660.00 | cum |  | 175.00 | 465500.00 | 500.00 | 1330000.00 | 150.00 | 399000.00 | 165.00 | 438900.00 | 175.00 | 465500.00 | 399000.00 | M/s P N Nagane
9.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 13800.00 | sqm |  | 80.00 | 1104000.00 | 5.00 | 69000.00 | 5.00 | 69000.00 | 32.00 | 441600.00 | 8.00 | 110400.00 | 69000.00 | Shri Laxminarayan Construction, M/s P N Nagane
10.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 21.00 | cum |  | 4995.00 | 104895.00 | 6000.00 | 126000.00 | 6500.00 | 136500.00 | 7700.00 | 161700.00 | 5800.00 | 121800.00 | 104895.00 | Oracle Construction And Infrastructure Company
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 85.00 | cum |  | 4662.00 | 396270.00 | 5000.00 | 425000.00 | 5500.00 | 467500.00 | 6500.00 | 552500.00 | 4600.00 | 391000.00 | 391000.00 | Manan Constructions
12.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 120.00 | cum |  | 5217.00 | 626040.00 | 6800.00 | 816000.00 | 7000.00 | 840000.00 | 8700.00 | 1044000.00 | 7000.00 | 840000.00 | 626040.00 | Oracle Construction And Infrastructure Company
13.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 9.00 | cum |  | 5772.00 | 51948.00 | 6800.00 | 61200.00 | 9000.00 | 81000.00 | 10200.00 | 91800.00 | 8000.00 | 72000.00 | 51948.00 | Oracle Construction And Infrastructure Company
14.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 10.00 | cum |  | 9990.00 | 99900.00 | 6800.00 | 68000.00 | 9501.00 | 95010.00 | 11000.00 | 110000.00 | 8000.00 | 80000.00 | 68000.00 | Shri Laxminarayan Construction
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 639.00 | sqm |  | 800.00 | 511200.00 | 250.00 | 159750.00 | 400.00 | 255600.00 | 350.00 | 223650.00 | 700.00 | 447300.00 | 159750.00 | Shri Laxminarayan Construction
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 377.00 | sqm |  | 800.00 | 301600.00 | 650.00 | 245050.00 | 600.00 | 226200.00 | 800.00 | 301600.00 | 700.00 | 263900.00 | 226200.00 | M/s P N Nagane
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies, and access platform | 490.00 | sqm |  | 800.00 | 392000.00 | 500.00 | 245000.00 | 650.00 | 318500.00 | 900.00 | 441000.00 | 700.00 | 343000.00 | 245000.00 | Shri Laxminarayan Construction
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 940.00 | sqm |  | 800.00 | 752000.00 | 500.00 | 470000.00 | 450.00 | 423000.00 | 700.00 | 658000.00 | 700.00 | 658000.00 | 423000.00 | M/s P N Nagane
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 790.00 | sqm |  | 800.00 | 632000.00 | 500.00 | 395000.00 | 500.00 | 395000.00 | 900.00 | 711000.00 | 700.00 | 553000.00 | 395000.00 | Shri Laxminarayan Construction, M/s P N Nagane
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls Under 20 cm wide | 102.00 | meter |  | 555.00 | 56610.00 | 120.00 | 12240.00 | 183.00 | 18666.00 | 180.00 | 18360.00 | 700.00 | 71400.00 | 12240.00 | Shri Laxminarayan Construction
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform with water proof ply 12mm thick | 11.00 | sqm |  | 800.00 | 8800.00 | 750.00 | 8250.00 | 900.00 | 9900.00 | 975.00 | 10725.00 | 700.00 | 7700.00 | 7700.00 | Manan Constructions
22.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 18415.00 | kg |  | 79.00 | 1454785.00 | 85.00 | 1565275.00 | 80.00 | 1473200.00 | 104.00 | 1915160.00 | 78.00 | 1436370.00 | 1436370.00 | Manan Constructions
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 24260.00 | kg |  | 79.00 | 1916540.00 | 85.00 | 2062100.00 | 80.00 | 1940800.00 | 104.00 | 2523040.00 | 79.00 | 1916540.00 | 1916540.00 | Oracle Construction And Infrastructure Company, Manan Constructions
24.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 71.50 | cum |  | 7770.00 | 555555.00 | 7000.00 | 500500.00 | 8000.00 | 572000.00 | 9400.00 | 672100.00 | 9000.00 | 643500.00 | 500500.00 | Shri Laxminarayan Construction
25.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto V level Concrete of M30 grade with minimum cement content of 350 kg /cum | 190.00 | cum |  | 7659.00 | 1455210.00 | 7600.00 | 1444000.00 | 8200.00 | 1558000.00 | 9800.00 | 1862000.00 | 9500.00 | 1805000.00 | 1444000.00 | Shri Laxminarayan Construction
26.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 94.00 | quintal |  | 777.00 | 73038.00 | 500.00 | 47000.00 | 500.00 | 47000.00 | 685.00 | 64390.00 | 600.00 | 56400.00 | 47000.00 | Shri Laxminarayan Construction, M/s P N Nagane
27.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 210.00 | sqm |  | 1134.00 | 238140.00 | 900.00 | 189000.00 | 1100.00 | 231000.00 | 1175.00 | 246750.00 | 1400.00 | 294000.00 | 189000.00 | Shri Laxminarayan Construction
28.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 3.00 | cum |  | 177600.00 | 532800.00 | 100000.00 | 300000.00 | 120000.00 | 360000.00 | 134790.00 | 404370.00 | 175000.00 | 525000.00 | 300000.00 | Shri Laxminarayan Construction
29.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Ply wood 7 ply, 9 mm thick Decorative plywood one side decorative veneer and commercial veneer on other face (Type 1) conforming to IS 1328 BWR Type | 30.00 | sqm |  | 7770.00 | 233100.00 | 2500.00 | 75000.00 | 2540.00 | 76200.00 | 2700.00 | 81000.00 | 6000.00 | 180000.00 | 75000.00 | Shri Laxminarayan Construction
30.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 40.00 | sqm |  | 6105.00 | 244200.00 | 2800.00 | 112000.00 | 3036.00 | 121440.00 | 3350.00 | 134000.00 | 6000.00 | 240000.00 | 112000.00 | Shri Laxminarayan Construction
31.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 60.00 | sqm |  | 389.00 | 23340.00 | 400.00 | 24000.00 | 403.00 | 24180.00 | 370.00 | 22200.00 | 100.00 | 6000.00 | 6000.00 | Manan Constructions
32.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 25 mm dia | 30.00 | meter |  | 222.00 | 6660.00 | 450.00 | 13500.00 | 458.00 | 13740.00 | 480.00 | 14400.00 | 250.00 | 7500.00 | 6660.00 | Oracle Construction And Infrastructure Company
33.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 1040.00 | kg |  | 111.00 | 115440.00 | 120.00 | 124800.00 | 160.00 | 166400.00 | 200.00 | 208000.00 | 130.00 | 135200.00 | 115440.00 | Oracle Construction And Infrastructure Company
34.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 40.00 | each |  | 278.00 | 11120.00 | 350.00 | 14000.00 | 385.00 | 15400.00 | 390.00 | 15600.00 | 400.00 | 16000.00 | 11120.00 | Oracle Construction And Infrastructure Company
35.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete : 300x16x5 mm | 70.00 | each |  | 3108.00 | 217560.00 | 350.00 | 24500.00 | 282.00 | 19740.00 | 292.00 | 20440.00 | 600.00 | 42000.00 | 19740.00 | M/s P N Nagane
36.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 20.00 | each |  | 1998.00 | 39960.00 | 950.00 | 19000.00 | 983.00 | 19660.00 | 930.00 | 18600.00 | 1375.00 | 27500.00 | 18600.00 | ABHAY SHASHIKANT TENDULKAR
37.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 40.00 | each |  | 2775.00 | 111000.00 | 800.00 | 32000.00 | 873.00 | 34920.00 | 875.00 | 35000.00 | 1600.00 | 64000.00 | 32000.00 | Shri Laxminarayan Construction
38.00 | Providing and fixing special quality chromium plated brass cupboard locks with six levers of approved quality including necessary screws etc. complete. Size 50 mm | 20.00 | each |  | 1221.00 | 24420.00 | 275.00 | 5500.00 | 291.00 | 5820.00 | 285.00 | 5700.00 | 600.00 | 12000.00 | 5500.00 | Shri Laxminarayan Construction
39.00 | Providing and fixing chromium plated brass 50 mm cupboard or wardrobe knobs with nuts complete. | 50.00 | each |  | 1665.00 | 83250.00 | 90.00 | 4500.00 | 132.00 | 6600.00 | 130.00 | 6500.00 | 200.00 | 10000.00 | 4500.00 | Shri Laxminarayan Construction
40.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 70.00 | each |  | 555.00 | 38850.00 | 175.00 | 12250.00 | 203.00 | 14210.00 | 195.00 | 13650.00 | 350.00 | 24500.00 | 12250.00 | Shri Laxminarayan Construction
41.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 100 mm | 40.00 | each |  | 444.00 | 17760.00 | 180.00 | 7200.00 | 180.00 | 7200.00 | 185.00 | 7400.00 | 300.00 | 12000.00 | 7200.00 | Shri Laxminarayan Construction, M/s P N Nagane
42.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 30.00 | each |  | 167.00 | 5010.00 | 150.00 | 4500.00 | 64.00 | 1920.00 | 60.00 | 1800.00 | 275.00 | 8250.00 | 1800.00 | ABHAY SHASHIKANT TENDULKAR
43.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 80.00 | sqm |  | 1332.00 | 106560.00 | 150.00 | 12000.00 | 784.00 | 62720.00 | 800.00 | 64000.00 | 4500.00 | 360000.00 | 12000.00 | Shri Laxminarayan Construction
44.00 | Providing and fixing cupboard shutter with 19mm thick one side decorative and other side balancing lamination factory pressed BWP grade marine ply as per IS 710 of approved brand including 2mm thick PVC edge banding tape with hot glue by edge bending machine etc. with auto closing spring loaded hinges (hydraulic type) etc. complete as per direction of Engineer-in-charge.(Payment of providing and fixing auto closing hinges shall be paid separately) | 60.00 | sqm |  | 2775.00 | 166500.00 | 2400.00 | 144000.00 | 2473.00 | 148380.00 | 2650.00 | 159000.00 | 4000.00 | 240000.00 | 144000.00 | Shri Laxminarayan Construction
45.00 | Providing and fixing 19mm thick both side balancing lamination factory pressed BWP grade marine ply as per IS 710 of approved brand boxes,shelves,racks,almirah,cupboard and drawer etc. including necessary nails,screws etc. complete as per direction of Engineer-in-charge. | 150.00 | sqm |  | 2220.00 | 333000.00 | 3100.00 | 465000.00 | 2268.00 | 340200.00 | 2350.00 | 352500.00 | 4000.00 | 600000.00 | 333000.00 | Oracle Construction And Infrastructure Company
46.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 6200.00 | kg |  | 122.00 | 756400.00 | 90.00 | 558000.00 | 110.00 | 682000.00 | 110.00 | 682000.00 | 100.00 | 620000.00 | 558000.00 | Shri Laxminarayan Construction
47.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 250.00 | kg |  | 722.00 | 180500.00 | 575.00 | 143750.00 | 675.00 | 168750.00 | 730.00 | 182500.00 | 800.00 | 200000.00 | 143750.00 | Shri Laxminarayan Construction
48.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 90.00 | sqm |  | 1998.00 | 179820.00 | 2200.00 | 198000.00 | 1702.00 | 153180.00 | 1850.00 | 166500.00 | 1500.00 | 135000.00 | 135000.00 | Manan Constructions
49.00 | Extra for pre finished nosing in treads of steps of Kota stone/ sand stone slab. | 260.00 | meter |  | 111.00 | 28860.00 | 150.00 | 39000.00 | 168.00 | 43680.00 | 170.00 | 44200.00 | 150.00 | 39000.00 | 28860.00 | Oracle Construction And Infrastructure Company
50.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 350.00 | sqm |  | 1332.00 | 466200.00 | 1200.00 | 420000.00 | 1359.00 | 475650.00 | 1470.00 | 514500.00 | 1400.00 | 490000.00 | 420000.00 | Shri Laxminarayan Construction
51.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved brand and manufacturer, in all colours & shades, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to I.S. 15477, in average 6mm thickness, including grouting of joints (payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 40.00 | sqm |  | 1776.00 | 71040.00 | 1200.00 | 48000.00 | 1656.00 | 66240.00 | 1800.00 | 72000.00 | 1500.00 | 60000.00 | 48000.00 | Shri Laxminarayan Construction
52.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab of colour Black, Cherry/Ruby Red or equivalent | 60.00 | sqm |  | 4440.00 | 266400.00 | 3200.00 | 192000.00 | 3916.00 | 234960.00 | 4250.00 | 255000.00 | 3200.00 | 192000.00 | 192000.00 | Shri Laxminarayan Construction, Manan Constructions
53.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 10.00 | each |  | 1110.00 | 11100.00 | 500.00 | 5000.00 | 267.00 | 2670.00 | 270.00 | 2700.00 | 300.00 | 3000.00 | 2670.00 | M/s P N Nagane
54.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 10.00 | each |  | 1110.00 | 11100.00 | 100.00 | 1000.00 | 260.00 | 2600.00 | 270.00 | 2700.00 | 2500.00 | 25000.00 | 1000.00 | Shri Laxminarayan Construction
55.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 50.00 | meter |  | 389.00 | 19450.00 | 300.00 | 15000.00 | 329.00 | 16450.00 | 335.00 | 16750.00 | 475.00 | 23750.00 | 15000.00 | Shri Laxminarayan Construction
56.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 4.00 | each |  | 389.00 | 1556.00 | 150.00 | 600.00 | 131.00 | 524.00 | 150.00 | 600.00 | 200.00 | 800.00 | 524.00 | M/s P N Nagane
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 4.00 | each |  | 389.00 | 1556.00 | 110.00 | 440.00 | 114.00 | 456.00 | 130.00 | 520.00 | 150.00 | 600.00 | 440.00 | Shri Laxminarayan Construction
58.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 4.00 | each |  | 167.00 | 668.00 | 300.00 | 1200.00 | 48.00 | 192.00 | 50.00 | 200.00 | 200.00 | 800.00 | 192.00 | M/s P N Nagane
59.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 1060.00 | sqm |  | 611.00 | 647660.00 | 280.00 | 296800.00 | 303.00 | 321180.00 | 315.00 | 333900.00 | 375.00 | 397500.00 | 296800.00 | Shri Laxminarayan Construction
60.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 930.00 | sqm |  | 555.00 | 516150.00 | 280.00 | 260400.00 | 291.00 | 270630.00 | 290.00 | 269700.00 | 490.00 | 455700.00 | 260400.00 | Shri Laxminarayan Construction
61.00 | 15 mm cement plaster 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. | 710.00 | sqm |  | 666.00 | 472860.00 | 450.00 | 319500.00 | 442.00 | 313820.00 | 430.00 | 305300.00 | 500.00 | 355000.00 | 305300.00 | ABHAY SHASHIKANT TENDULKAR
62.00 | 6mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 410.00 | sqm |  | 611.00 | 250510.00 | 250.00 | 102500.00 | 262.00 | 107420.00 | 255.00 | 104550.00 | 360.00 | 147600.00 | 102500.00 | Shri Laxminarayan Construction
63.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 1640.00 | sqm |  | 278.00 | 455920.00 | 125.00 | 205000.00 | 140.00 | 229600.00 | 150.00 | 246000.00 | 160.00 | 262400.00 | 205000.00 | Shri Laxminarayan Construction
64.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 330.00 | sqm |  | 250.00 | 82500.00 | 120.00 | 39600.00 | 198.00 | 65340.00 | 185.00 | 61050.00 | 175.00 | 57750.00 | 39600.00 | Shri Laxminarayan Construction
65.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1470.00 | sqm |  | 67.00 | 98490.00 | 130.00 | 191100.00 | 137.00 | 201390.00 | 135.00 | 198450.00 | 100.00 | 147000.00 | 98490.00 | Oracle Construction And Infrastructure Company
66.00 | Wall painting with premium acrylic emulsion paint of interior grade having VOC (Volatile Organic Compound) content less than 50 grams/litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 1470.00 | sqm |  | 278.00 | 408660.00 | 125.00 | 183750.00 | 124.00 | 182280.00 | 130.00 | 191100.00 | 300.00 | 441000.00 | 182280.00 | M/s P N Nagane
67.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length (total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 261.00 | meter |  | 1332.00 | 347652.00 | 375.00 | 97875.00 | 328.00 | 85608.00 | 350.00 | 91350.00 | 1200.00 | 313200.00 | 85608.00 | M/s P N Nagane
68.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade. | 280.00 | sqm |  | 722.00 | 202160.00 | 900.00 | 252000.00 | 932.00 | 260960.00 | 1000.00 | 280000.00 | 1200.00 | 336000.00 | 202160.00 | Oracle Construction And Infrastructure Company
69.00 | Providing and laying C.C. pavement of mix M-25 with ready mixed concrete from batching plant. The ready mixed concrete shall be laid and finished with screed board vibrator , vacuum dewatering process and finally finished by floating, brooming with wire brush etc. complete as per specifications and directions of Engineer-incharge. (The panel shuttering work shall be paid for separately). (Note:- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/ recoverable separately). | 590.00 | cum |  | 7770.00 | 4584300.00 | 7000.00 | 4130000.00 | 8000.00 | 4720000.00 | 9600.00 | 5664000.00 | 8000.00 | 4720000.00 | 4130000.00 | Shri Laxminarayan Construction
70.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge | 600.00 | cum |  | 2442.00 | 1465200.00 | 2500.00 | 1500000.00 | 2200.00 | 1320000.00 | 2800.00 | 1680000.00 | 1800.00 | 1080000.00 | 1080000.00 | Manan Constructions
71.00 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineer-in- charge. | 380.00 | cum |  | 4440.00 | 1687200.00 | 3500.00 | 1330000.00 | 3200.00 | 1216000.00 | 3950.00 | 1501000.00 | 3400.00 | 1292000.00 | 1216000.00 | M/s P N Nagane
72.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-35 grade with approved color design and pattern. | 490.00 | sqm |  | 888.00 | 435120.00 | 750.00 | 367500.00 | 850.00 | 416500.00 | 1090.00 | 534100.00 | 890.00 | 436100.00 | 367500.00 | Shri Laxminarayan Construction
73.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 8.00 | each |  | 16650.00 | 133200.00 | 7500.00 | 60000.00 | 6997.00 | 55976.00 | 7900.00 | 63200.00 | 20000.00 | 160000.00 | 55976.00 | M/s P N Nagane
74.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 10.00 | each |  | 11100.00 | 111000.00 | 5000.00 | 50000.00 | 3461.00 | 34610.00 | 2550.00 | 25500.00 | 6000.00 | 60000.00 | 25500.00 | ABHAY SHASHIKANT TENDULKAR
75.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 5.00 | each |  | 12210.00 | 61050.00 | 5000.00 | 25000.00 | 6070.00 | 30350.00 | 6600.00 | 33000.00 | 14000.00 | 70000.00 | 25000.00 | Shri Laxminarayan Construction
76.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 15.00 | each |  | 111.00 | 1665.00 | 90.00 | 1350.00 | 105.00 | 1575.00 | 100.00 | 1500.00 | 500.00 | 7500.00 | 1350.00 | Shri Laxminarayan Construction
77.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 10.00 | each |  | 1110.00 | 11100.00 | 1500.00 | 15000.00 | 1405.00 | 14050.00 | 1405.00 | 14050.00 | 2000.00 | 20000.00 | 11100.00 | Oracle Construction And Infrastructure Company
78.00 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 10.00 | each |  | 222.00 | 2220.00 | 900.00 | 9000.00 | 947.00 | 9470.00 | 900.00 | 9000.00 | 1200.00 | 12000.00 | 2220.00 | Oracle Construction And Infrastructure Company
79.00 | Providing and fixing toilet paper holder : C.P. brass | 8.00 | each |  | 1110.00 | 8880.00 | 650.00 | 5200.00 | 704.00 | 5632.00 | 760.00 | 6080.00 | 1600.00 | 12800.00 | 5200.00 | Shri Laxminarayan Construction
80.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 50 mm nominal dia Pipes | 80.00 | meter |  | 666.00 | 53280.00 | 650.00 | 52000.00 | 816.00 | 65280.00 | 870.00 | 69600.00 | 500.00 | 40000.00 | 40000.00 | Manan Constructions
81.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 100.00 | meter |  | 389.00 | 38900.00 | 550.00 | 55000.00 | 548.00 | 54800.00 | 575.00 | 57500.00 | 260.00 | 26000.00 | 26000.00 | Manan Constructions
82.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 100.00 | meter |  | 500.00 | 50000.00 | 650.00 | 65000.00 | 647.00 | 64700.00 | 675.00 | 67500.00 | 320.00 | 32000.00 | 32000.00 | Manan Constructions
83.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External Work 80 mm nominal dia Pipes | 150.00 | meter |  | 1221.00 | 183150.00 | 1800.00 | 270000.00 | 1893.00 | 283950.00 | 1950.00 | 292500.00 | 850.00 | 127500.00 | 127500.00 | Manan Constructions
84.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 30.00 | each |  | 167.00 | 5010.00 | 90.00 | 2700.00 | 85.00 | 2550.00 | 76.00 | 2280.00 | 200.00 | 6000.00 | 2280.00 | ABHAY SHASHIKANT TENDULKAR
85.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 10.00 | each |  | 555.00 | 5550.00 | 350.00 | 3500.00 | 170.00 | 1700.00 | 475.00 | 4750.00 | 1500.00 | 15000.00 | 1700.00 | M/s P N Nagane
86.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 8000.00 | per litre |  | 13.00 | 104000.00 | 9.00 | 72000.00 | 9.00 | 72000.00 | 9.00 | 72000.00 | 9.00 | 72000.00 | 72000.00 | Shri Laxminarayan Construction, Manan Constructions, M/s P N Nagane, ABHAY SHASHIKANT TENDULKAR
87.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 10.00 | each |  | 1332.00 | 13320.00 | 750.00 | 7500.00 | 717.00 | 7170.00 | 770.00 | 7700.00 | 1500.00 | 15000.00 | 7170.00 | M/s P N Nagane
88.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 20.00 | each |  | 1665.00 | 33300.00 | 750.00 | 15000.00 | 586.00 | 11720.00 | 575.00 | 11500.00 | 1500.00 | 30000.00 | 11500.00 | ABHAY SHASHIKANT TENDULKAR
89.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 200 mm diameter | 100.00 | meter |  | 944.00 | 94400.00 | 1050.00 | 105000.00 | 848.00 | 84800.00 | 840.00 | 84000.00 | 600.00 | 60000.00 | 60000.00 | Manan Constructions
90.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 200 mm diameter S.W. pipe | 100.00 | meter |  | 133.00 | 13300.00 | 950.00 | 95000.00 | 1202.00 | 120200.00 | 1270.00 | 127000.00 | 2500.00 | 250000.00 | 13300.00 | Oracle Construction And Infrastructure Company
91.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type. With common burnt clay F.P.S. (non modular) bricks of class designation 3.5. | 10.00 | each |  | 3885.00 | 38850.00 | 5000.00 | 50000.00 | 2366.00 | 23660.00 | 2550.00 | 25500.00 | 3000.00 | 30000.00 | 23660.00 | M/s P N Nagane
92.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 125.00 | meter |  | 833.00 | 104125.00 | 750.00 | 93750.00 | 870.00 | 108750.00 | 870.00 | 108750.00 | 1200.00 | 150000.00 | 93750.00 | Shri Laxminarayan Construction
93.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 3.5. | 10.00 | each |  | 19980.00 | 199800.00 | 8000.00 | 80000.00 | 9500.00 | 95000.00 | 11000.00 | 110000.00 | 10000.00 | 100000.00 | 80000.00 | Shri Laxminarayan Construction
94.00 | Extra for depth for manholes : Size 90x80 cm With common burnt clay F.P.S. (non modular) bricks of class designation 3.5. | 10.00 | meter |  | 1110.00 | 11100.00 | 8000.00 | 80000.00 | 7713.00 | 77130.00 | 8100.00 | 81000.00 | 900.00 | 9000.00 | 9000.00 | Manan Constructions
95.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 400.00 | kg |  | 611.00 | 244400.00 | 450.00 | 180000.00 | 450.00 | 180000.00 | 560.00 | 224000.00 | 600.00 | 240000.00 | 180000.00 | Shri Laxminarayan Construction, M/s P N Nagane
96.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 40.00 | sqm |  | 1110.00 | 44400.00 | 1200.00 | 48000.00 | 1315.00 | 52600.00 | 1350.00 | 54000.00 | 900.00 | 36000.00 | 36000.00 | Manan Constructions
97.00 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | 40.00 | sqm |  | 2442.00 | 97680.00 | 550.00 | 22000.00 | 673.00 | 26920.00 | 690.00 | 27600.00 | 1400.00 | 56000.00 | 22000.00 | Shri Laxminarayan Construction
98.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 140.00 | sqm |  | 1998.00 | 279720.00 | 1100.00 | 154000.00 | 1472.00 | 206080.00 | 1590.00 | 222600.00 | 1200.00 | 168000.00 | 154000.00 | Shri Laxminarayan Construction
99.00 | Brickwork with fly ash bricks of class designation 5.0 in foundation and plinth in all shapes and sizes in: Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 71.00 | cum |  | 7770.00 | 551670.00 | 6800.00 | 482800.00 | 6030.00 | 428130.00 | 7500.00 | 532500.00 | 7000.00 | 497000.00 | 428130.00 | M/s P N Nagane
100.00 | Brick work with fly ash bricks of class designation 5.0 in superstructure above plinth level upto floor V level in all shapes and sizes in : Cement Mortar 1:6 (1 cement : 6 coarse sand) | 180.00 | cum |  | 8325.00 | 1498500.00 | 7500.00 | 1350000.00 | 6205.00 | 1116900.00 | 7600.00 | 1368000.00 | 8000.00 | 1440000.00 | 1116900.00 | M/s P N Nagane
101.00 | Providing and Fixing 15 mm nominal bore CP Brass two way bib cock complete wherever required. Make :(Jaquar FLR-CHR-5041N) / (Kohler 16094IN-4-CP) / (Hindware F570005CP) | 10.00 | each |  | 1332.00 | 13320.00 | 2250.00 | 22500.00 | 1398.00 | 13980.00 | 1000.00 | 10000.00 | 2300.00 | 23000.00 | 10000.00 | ABHAY SHASHIKANT TENDULKAR
102.00 | Providing and fixing C.P cast brass Double coat hook as approved with C.P. brass screws complete as per instructions of the engineer‐in‐charge. Make: (Jaquar ACN‐CHR‐1161N) / (Kohler 25073IN-CP) / (Hindware F880004CP) | 20.00 | each |  | 389.00 | 7780.00 | 900.00 | 18000.00 | 918.00 | 18360.00 | 3000.00 | 60000.00 | 600.00 | 12000.00 | 7780.00 | Oracle Construction And Infrastructure Company
103.00 | Providing and fixing fly proof galvanized M.S. wire gauge to aluminium windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. | 20.00 | sqm |  | 389.00 | 7780.00 | 450.00 | 9000.00 | 4370.00 | 87400.00 | 2400.00 | 48000.00 | 1500.00 | 30000.00 | 7780.00 | Oracle Construction And Infrastructure Company
104.00 | Preparation and submission of detailed structural design and drawings for RCC members of Guest house & transit/ hostel accommodation, community hall and culverts , carrying out detailed soil investigation of site, submission of report in the prescribed format, finalisation of formation levels of roads, buildings and boundary wall. The consultant must have rendered similar structural consultancy works i.e building works design directly to central Govt./ State Govt./ PSU/ Reputed firms (in case of experience with private firms, TDS certificate from the client shall be enclosed). The structural drawings and designs as submitted by the consultant shall have to be got vetted/ approved by any of the IITs/ NIT/ Govt. Engg. Colleges and fee for the same shall be paid directly by AAI. The cost as incurred towards the same will be adjusted out of the fee payable to the consultant. The contractor/consultant shall intimate authority the details of IITs/NITs/Govt. Engg. College from where structural designs and drawings will be got approved/vetted. The consultant & contractor shall coordinate the time schedule to be taken by IIT/NIT/Govt. Engg. College so as to ensure adherence of overall time of submission by the Consultant & Contractor as specified. No additional time period or any cost shall be allowed to the contractor for IIT/NIT/Govt. Engg. College vetting of design and drawings. Major Engineering decision and specification shall be reviewed by AAI to the extent desired. Approval of any design/system by IIT/NIT/Govt. Engg. College AAI shall, however, not relieve the consultant & contractor in discharging his responsibilities regarding the adequacy of design and proper execution of the work. The consultant/contractor shall be fully responsible for adequacy, accuracy and quality of the entire services performed by him shall be in accordance with the accepted standards of safety, environment and public health. The consultant shall be solely responsible for the adequacy of the structural design, and safety of the structure. The item includes Engineering drawings, Structural drawings of RCC structures (Guest house & transit/ hostel accommodation, community hall and culverts), based on IS codes and soundengineering practices. to be prepared by a structural consultant, and as per the architectural/conceptual drawings issued by AAI. Also include preparation of the detailed estimate for community hall. | 1.00 | each |  | 388500.00 | 388500.00 | 170000.00 | 170000.00 | 200000.00 | 200000.00 | 30000.00 | 30000.00 | 500000.00 | 500000.00 | 30000.00 | ABHAY SHASHIKANT TENDULKAR
105.00 | Supply, installation, commissioning of 5 KLD capacity compact portable, ready to install type STP as per following technical specifications, terms and conditions .The process of sewage treatment plant shall be MBBR and compartments included in seperation & sedimentation tank, Anaerobic Chamber, Aerobic Chamber and sedimentation chamber. Specifications and materials include in 5 KLD capacity Compact STP FRP (MBBR Type) :- a) FRP packaged STP (5KLD, size- 3.48 m (L) x 1.16m (W) x 1.63m (D)) b) Air Blower for STP 02 no's (4.8 M3/Hr Each, 0.10 HP Each) . c) Air Blower for mixing in Equalization Tank 1 no (4.8 M3/Hr Each, 0.1 HP Each). d) Sewage Lift Pump (Submersible)- 2nos - (8.70 m3/Hr, Head 12 m, 0.5-1.02 HP & Kirloskar/ Equivalent ) e) Filter Feed Pump 02no's- (3.24 m3/Hr, Head 22 m, 1.02 HP & Kirloskar/ Equivalent. f) Plumbing & Misc. Erection & Commissioning Material:-Up to 6 meters Length; as per requirement. g) Electrical Panel (Automated);-TBD as per requirement. h) Ozonation system- 10gm/hr, corona discharge i) Pressure Sand Filter (PSF) with Media & Accessories:-1 no.- 13" Diam. X 54" HOS & FRP. j) Activated Carbon Filter (ACF) with Media & Accessories:-1 no.- 13" Diam. X 54" HOS & FRP. Note:-The cost of RCC Equalization tank, RCC treated water tank and concrete area for placing the compact STP not included in this item. The item is including with transportation and installation of STP and one year warranty for STP Air blowers & 03 years for FRP STP Body and 01 year maintenance for all STP installation. | 1.00 | each |  | 777000.00 | 777000.00 | 800000.00 | 800000.00 | 675000.00 | 675000.00 | 250000.00 | 250000.00 | 850000.00 | 850000.00 | 250000.00 | ABHAY SHASHIKANT TENDULKAR
106.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 122.00 | Point |  | 2130.00 | 259860.00 | 1800.00 | 219600.00 | 2100.00 | 256200.00 | 500.00 | 61000.00 | 2375.00 | 289750.00 | 61000.00 | ABHAY SHASHIKANT TENDULKAR
107.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 26.00 | Point |  | 1930.00 | 50180.00 | 1033.00 | 26858.00 | 2508.00 | 65208.00 | 750.00 | 19500.00 | 1758.00 | 45708.00 | 19500.00 | ABHAY SHASHIKANT TENDULKAR
108.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 6.00 | Point |  | 2130.00 | 12780.00 | 1500.00 | 9000.00 | 2563.00 | 15378.00 | 700.00 | 4200.00 | 2375.00 | 14250.00 | 4200.00 | ABHAY SHASHIKANT TENDULKAR
109.00 | Wiring for light/ power plug with 4 x 4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 300.00 | Mtr |  | 520.00 | 156000.00 | 500.00 | 150000.00 | 542.00 | 162600.00 | 950.00 | 285000.00 | 653.00 | 195900.00 | 150000.00 | Shri Laxminarayan Construction
110.00 | Wiring for light/ power plug with 2 x 4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Mtr |  | 366.00 | 54900.00 | 350.00 | 52500.00 | 378.00 | 56700.00 | 115.00 | 17250.00 | 523.00 | 78450.00 | 17250.00 | ABHAY SHASHIKANT TENDULKAR
111.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 250.00 | Mtr |  | 285.00 | 71250.00 | 300.00 | 75000.00 | 330.00 | 82500.00 | 170.00 | 42500.00 | 428.00 | 107000.00 | 42500.00 | ABHAY SHASHIKANT TENDULKAR
112.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2X6sq.mm+ 1X6 sq. mm earth wire | 80.00 | Mtr |  | 416.00 | 33280.00 | 450.00 | 36000.00 | 447.00 | 35760.00 | 95.00 | 7600.00 | 665.00 | 53200.00 | 7600.00 | ABHAY SHASHIKANT TENDULKAR
113.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSont on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required | 48.00 | Job |  | 410.00 | 19680.00 | 1300.00 | 62400.00 | 546.00 | 26208.00 | 843.00 | 40464.00 | 5225.00 | 250800.00 | 19680.00 | Oracle Construction And Infrastructure Company
114.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 12.00 | Each |  | 1030.00 | 12360.00 | 1100.00 | 13200.00 | 573.00 | 6876.00 | 3700.00 | 44400.00 | 713.00 | 8556.00 | 6876.00 | M/s P N Nagane
115.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each |  | 40.00 | 400.00 | 60.00 | 600.00 | 44.00 | 440.00 | 320.00 | 3200.00 | 42.00 | 420.00 | 400.00 | Oracle Construction And Infrastructure Company
116.00 | Supply of 18/20 watts LED tubelight fixture, suitable for operation at 230V, 50Hz AC supply as per list of approved makes etc complete as required. | 36.00 | Nos. |  | 1295.00 | 46620.00 | 375.00 | 13500.00 | 1092.00 | 39312.00 | 320.00 | 11520.00 | 356.00 | 12816.00 | 11520.00 | ABHAY SHASHIKANT TENDULKAR
117.00 | Supply of 10 watts LED tubelight fixture, suitable for operation at 230V, 50Hz AC supply as per list of approved makes etc complete as required. | 13.00 | Nos. |  | 1200.00 | 15600.00 | 300.00 | 3900.00 | 874.00 | 11362.00 | 295.00 | 3835.00 | 368.00 | 4784.00 | 3835.00 | ABHAY SHASHIKANT TENDULKAR
118.00 | Supply of luminaire of 18 watt LED recces mounted type or equivalent downlighter suitable for operation at 230V, 50Hz AC supply etc. supply complete as required.. (Havells - 18 W LED 6500 K or equivalent as per approved makes) | 46.00 | Nos. |  | 1180.00 | 54280.00 | 600.00 | 27600.00 | 1500.00 | 69000.00 | 370.00 | 17020.00 | 2375.00 | 109250.00 | 17020.00 | ABHAY SHASHIKANT TENDULKAR
119.00 | Supply of surface mounting 10 W (nominal capacity), IP 65, Bulkhead LED light fitting, complete with accessories suitable for use on 230 volts, 50 Hz, single phase, A.C. supply complete as required. | 3.00 | Nos. |  | 1120.00 | 3360.00 | 1000.00 | 3000.00 | 983.00 | 2949.00 | 200.00 | 600.00 | 1900.00 | 5700.00 | 600.00 | ABHAY SHASHIKANT TENDULKAR
120.00 | Supply, installation, testing and commissioning of 100 W LED Flood Light luminaire with IP 66 protected, die-cast aluminium housing with heat resistant diffuser and MS powder coated bracket suitable to operate on 240 V, 50 Hz AC complete as required suitable for Apron High Mast. | 12.00 | Nos. |  | 9075.00 | 108900.00 | 1800.00 | 21600.00 | 7800.00 | 93600.00 | 5600.00 | 67200.00 | 3028.00 | 36336.00 | 21600.00 | Shri Laxminarayan Construction
121.00 | Installation,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 110.00 | Job |  | 250.00 | 27500.00 | 90.00 | 9900.00 | 437.00 | 48070.00 | 1800.00 | 198000.00 | 190.00 | 20900.00 | 9900.00 | Shri Laxminarayan Construction
122.00 | Supplying of capacitor type 1200 mm sweep ceiling fan complete with blades, shakle etc. with high breeze, high speed for operation on 230V, 50 Cy. Single phase A.C. supply confirming to IS 374-1979 and with double ball bearing system The fan shall be 5 Star rated as per latest BEE norms. | 12.00 | Nos. |  | 3500.00 | 42000.00 | 4500.00 | 54000.00 | 3005.00 | 36060.00 | 2700.00 | 32400.00 | 4750.00 | 57000.00 | 32400.00 | ABHAY SHASHIKANT TENDULKAR
123.00 | Supply of metallic body 450 mm sweep wall fan having Aerodynamically designed & Blanced Blade, 120 Ribs guard safety, thermal overload protection, jerk free ocillation and smooth running etc. complete as required. (Make: Havells, Model V3 or equivalent) | 2.00 | Nos. |  | 1200.00 | 2400.00 | 4000.00 | 8000.00 | 5500.00 | 11000.00 | 1070.00 | 2140.00 | 6709.00 | 13418.00 | 2140.00 | ABHAY SHASHIKANT TENDULKAR
124.00 | Suppy of capacitor type 300 mm sweep heavy duty exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 18.00 | Job |  | 850.00 | 15300.00 | 200.00 | 3600.00 | 4208.00 | 75744.00 | 1200.00 | 21600.00 | 2315.00 | 41670.00 | 3600.00 | Shri Laxminarayan Construction
125.00 | Installation, testing and commissioning of ceiling fan/exhaust fan/wall fan including wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 32.00 | Each |  | 350.00 | 11200.00 | 200.00 | 6400.00 | 437.00 | 13984.00 | 3800.00 | 121600.00 | 71.00 | 2272.00 | 2272.00 | Manan Constructions
126.00 | SITC of BEE 5 Star, 1.5 TR Hi-wall Inverter type Split Air conditioners with 4 kVA voltage stabilizer operating on refrigerant R-32/ R-410A/ R-407A/equivalent Non CFC refrigerant as per latest standards suitable for operation on 230 V, 50 Hz, Single phase, capable of performing cooling, dehumidifying, air-circulating, filtering etc., interconection between indoor and out door units including installing the outdoor by making PCC foundation/M.S. Stand, minor civil works as per the site conditions and as directed by the Engineer-In-Charge etc. complete as required. | 8.00 | Each |  | 80000.00 | 640000.00 | 51000.00 | 408000.00 | 60000.00 | 480000.00 | 45000.00 | 360000.00 | 71250.00 | 570000.00 | 360000.00 | ABHAY SHASHIKANT TENDULKAR
127.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | 3.00 | Each |  | 8860.00 | 26580.00 | 7500.00 | 22500.00 | 5681.00 | 17043.00 | 4500.00 | 13500.00 | 6175.00 | 18525.00 | 13500.00 | ABHAY SHASHIKANT TENDULKAR
128.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way, Double door | 4.00 | Job |  | 3500.00 | 14000.00 | 2700.00 | 10800.00 | 6664.00 | 26656.00 | 350.00 | 1400.00 | 3325.00 | 13300.00 | 1400.00 | ABHAY SHASHIKANT TENDULKAR
129.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 3.00 | Job |  | 760.00 | 2280.00 | 2000.00 | 6000.00 | 1420.00 | 4260.00 | 750.00 | 2250.00 | 2375.00 | 7125.00 | 2250.00 | ABHAY SHASHIKANT TENDULKAR
130.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole. | 13.00 | Job |  | 340.00 | 4420.00 | 1000.00 | 13000.00 | 655.00 | 8515.00 | 750.00 | 9750.00 | 1425.00 | 18525.00 | 4420.00 | Oracle Construction And Infrastructure Company
131.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole. | 78.00 | Job |  | 190.00 | 14820.00 | 350.00 | 27300.00 | 252.00 | 19656.00 | 750.00 | 58500.00 | 209.00 | 16302.00 | 14820.00 | Oracle Construction And Infrastructure Company
132.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. 3.5C X 185 sq.mm | 1300.00 | Mtr |  | 1070.00 | 1391000.00 | 800.00 | 1040000.00 | 1050.00 | 1365000.00 | 78.00 | 101400.00 | 1175.00 | 1527500.00 | 101400.00 | ABHAY SHASHIKANT TENDULKAR
133.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. 4C X 16 Sqmm | 500.00 | Mtr |  | 162.00 | 81000.00 | 200.00 | 100000.00 | 219.00 | 109500.00 | 71.00 | 35500.00 | 176.00 | 88000.00 | 35500.00 | ABHAY SHASHIKANT TENDULKAR
134.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II etc. , complete as required. 90 mm dia | 600.00 | Mtr |  | 150.00 | 90000.00 | 150.00 | 90000.00 | 121.00 | 72600.00 | 195.00 | 117000.00 | 86.00 | 51600.00 | 51600.00 | Manan Constructions
135.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 90 mm dia | 1000.00 | Mtr |  | 80.00 | 80000.00 | 40.00 | 40000.00 | 350.00 | 350000.00 | 195.00 | 195000.00 | 333.00 | 333000.00 | 40000.00 | Shri Laxminarayan Construction
136.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. Above 95 sq. mm and upto 185 sq. mm | 160.00 | Mtr |  | 150.00 | 24000.00 | 120.00 | 19200.00 | 274.00 | 43840.00 | 215.00 | 34400.00 | 105.00 | 16800.00 | 16800.00 | Manan Constructions
137.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 95 sq. mm and upto 185 sq. mm | 40.00 | Mtr |  | 150.00 | 6000.00 | 100.00 | 4000.00 | 164.00 | 6560.00 | 200.00 | 8000.00 | 105.00 | 4200.00 | 4000.00 | Shri Laxminarayan Construction
138.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface/recess as required. Upto 35 sq. mm | 150.00 | Mtr |  | 40.00 | 6000.00 | 950.00 | 142500.00 | 109.00 | 16350.00 | 230.00 | 34500.00 | 81.00 | 12150.00 | 6000.00 | Oracle Construction And Infrastructure Company
139.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 95 sq. mm and upto 185 sq. mm | 1160.00 | Mtr |  | 110.00 | 127600.00 | 400.00 | 464000.00 | 168.00 | 194880.00 | 250.00 | 290000.00 | 105.00 | 121800.00 | 121800.00 | Manan Constructions
140.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 185 sq. mm | 4.00 | Each |  | 110.00 | 440.00 | 150.00 | 600.00 | 428.00 | 1712.00 | 220.00 | 880.00 | 1421.00 | 5684.00 | 440.00 | Oracle Construction And Infrastructure Company
141.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 x 16 Sqmm | 12.00 | Each |  | 480.00 | 5760.00 | 150.00 | 1800.00 | 262.00 | 3144.00 | 110.00 | 1320.00 | 475.00 | 5700.00 | 1320.00 | ABHAY SHASHIKANT TENDULKAR
142.00 | SITC of 80/60 litre capacity fully stainless steel body water cooler with Inbuilt UV and RO purifier having minimum 02 cold taps including making connections with existing water outlet points etc. complete as required. | 3.00 | Nos. |  | 72150.00 | 216450.00 | 80000.00 | 240000.00 | 120001.00 | 360003.00 | 32000.00 | 96000.00 | 70000.00 | 210000.00 | 96000.00 | ABHAY SHASHIKANT TENDULKAR
143.00 | PTTA PANEL Design, manufacture, supply, installation, testing and commissioning of outdoor compartmentalized type Panel 50 kA short circuit breaking capacity, having panel of suitable size, bus bars with SMC/DMC supports, made of 14 SWG CRCA sheet steel, totally enclosed, IP-65, free standing, floor / wall mounting, powder coated painting, suitable to the existing space, operation on 3 phase and neutral, 415V, 50 Hz AC system with bus bars, G.I flat Earth strip on both side , Removable gland plates at bottom with suitable size of predrilled holes for cables, cable interconnections, wiring, earthing, rotary handles & spreader links to all MCCBs, powder coated painting etc. with following items and installation on suitable channels /elevated concrete foundation as per site requirement etc. complete as required. INCOMER (i) MCCB of 160 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. - 02 Nos (ii) Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 02 Sets (iii) Digital Mulit functional meter suitable range for 3 phase, 4 wire with LED display and selector switch along with MCB of suitable ratings- 02 Sets,for 3 phase 4 wire with LED display and selector switch and cast resin CT ratio programmable and auto ranging along with 3 numbers of class 1.0, 15 VA suitable range CTs -02 Sets (iv) Electrical and mechanical interlocking arrangment between above 02 nos. incomers so that supply to busbar to be fed by only 01 incomer at a time. BUSBAR One set of 250 Amp TPN aluminium bus bars of 35 KA capacity OUTGOING (i) 02 Nos. FP, 120 A, 35 kA MCCB with extended terminal with real time timer of suitable rating, contactors and direct rotary handle etc as required (ii) 06 Nos. FP, 63 A, 35 kA MCCB with extended terminal with real time timer of suitable rating, contactors and direct rotary handle etc as required (iii) 06 Nos. DP, 32 A, 35 kA MCB directly connected to bus bar in separate compartment | 1.00 | Job |  | 160000.00 | 160000.00 | 230000.00 | 230000.00 | 550000.00 | 550000.00 | 73500.00 | 73500.00 | 325000.00 | 325000.00 | 73500.00 | ABHAY SHASHIKANT TENDULKAR
144.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | each |  | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 10379.00 | 41516.00 | 8000.00 | 32000.00 | 14250.00 | 57000.00 | 20000.00 | Shri Laxminarayan Construction
145.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 40.00 | Mtr |  | 260.00 | 10400.00 | 600.00 | 24000.00 | 662.00 | 26480.00 | 1100.00 | 44000.00 | 114.00 | 4560.00 | 4560.00 | Manan Constructions
146.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 100.00 | Mtr |  | 170.00 | 17000.00 | 200.00 | 20000.00 | 274.00 | 27400.00 | 1300.00 | 130000.00 | 114.00 | 11400.00 | 11400.00 | Manan Constructions
147.00 | Supply and fixing of lightining arrester (1 meter) with all accessories complete as required. | 2.00 | Job |  | 12000.00 | 24000.00 | 1800.00 | 3600.00 | 4900.00 | 9800.00 | 7600.00 | 15200.00 | 4500.00 | 9000.00 | 3600.00 | Shri Laxminarayan Construction
148.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required | 600.00 | Mtr |  | 60.00 | 36000.00 | 25.00 | 15000.00 | 30.00 | 18000.00 | 170.00 | 102000.00 | 45.00 | 27000.00 | 15000.00 | Shri Laxminarayan Construction
| Total in Figures |  |  |  |  | 37727185.00 |  | 31534538.00 |  | 32422545.00 |  | 35669599.00 |  | 36548561.00
Lowest Amount Quoted BY: Shri Laxminarayan Construction(31534538.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Guest House and Transit / Hostel Accommodation at Kolhapur Airport. Tender ID: 2025_AAI_245111_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shri Laxminarayan Construction (BID ID -900751) | 31534538.00 | L1
| 2 | M/s P N Nagane (BID ID -904353) | 32422545.00 | L2
| 3 | ABHAY SHASHIKANT TENDULKAR (BID ID -904824) | 35669599.00 | L3
| 4 | Manan Constructions (BID ID -902157) | 36548561.00 | L4
| 5 | Oracle Construction And Infrastructure Company (BID ID -900002) | 37727185.00 | L5