## BoQ1
Government eProcurement System Created By: SUNIL KUMAR GOUD Created Date/Time: 22-Sep-2025 10:46 AM Tender Title: Replacement of Faulty LT Cables of different locations at Lilabari Airport Tender ID: 2025_AAI_245202_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Replacement of Faulty LT Cables of different locations at Lilabari Airport.
Contract No: 2025_AAI_245202_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | North Eastern Engineers (GSTN-18AABFN4790M3ZP) BID ID -894529 |  | SHREE GOURI ELECTRIC ENTERPRISE (GSTN-19ADDPB4683J1ZE) BID ID -895976 |  | D.D.METAL CORPORATION (GSTN-18ACGPD4624F2ZW) BID ID -896582 |  | UNIVERSAL ELECTRICAL AND ELECTRONICS (GSTN-18ABWPD1808N1Z6) BID ID -896664 |  | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -896687 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -896860 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -896931 |  | Virtus Techno (GSTN-NA) BID ID -896853
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of XLPE insulated & PVC shethed armoured aluminium conductor under ground cable of 1.1 KV grade conforming to IS 7098 (Part-I) with upto date ammendments as per tender Technical Specifications.
1.01 | 3.5C x 185 Sq. mm. | 2100.00 | Mtr. | 0.00 | 838.76 | 1761396.00 | 1104.00 | 2318400.00 | 786.00 | 1650600.00 | 817.00 | 1715700.00 | 853.00 | 1791300.00 | 845.00 | 1774500.00 | 912.00 | 1915200.00 | 809.40 | 1699740.00 | 1650600.00 | D.D.METAL CORPORATION
1.02 | 3.5C x 150 Sq. mm. | 2300.00 | Mtr. | 0.00 | 662.54 | 1523842.00 | 890.00 | 2047000.00 | 621.00 | 1428300.00 | 645.00 | 1483500.00 | 680.00 | 1564000.00 | 695.00 | 1598500.00 | 721.00 | 1658300.00 | 638.40 | 1468320.00 | 1428300.00 | D.D.METAL CORPORATION
1.03 | 3.5C x 120 Sq. mm. | 3500.00 | Mtr. | 0.00 | 559.08 | 1956780.00 | 750.00 | 2625000.00 | 525.00 | 1837500.00 | 544.00 | 1904000.00 | 560.00 | 1960000.00 | 575.00 | 2012500.00 | 609.00 | 2131500.00 | 538.08 | 1883280.00 | 1837500.00 | D.D.METAL CORPORATION
1.04 | 4 x 16 Sq. mm | 1000.00 | Mtr. | 0.00 | 131.00 | 131000.00 | 170.00 | 170000.00 | 152.00 | 152000.00 | 128.00 | 128000.00 | 130.00 | 130000.00 | 125.00 | 125000.00 | 136.00 | 136000.00 | 119.70 | 119700.00 | 119700.00 | Virtus Techno
2.00 | Supply of following dia ISI marked DWC HDPE pipe along with all accessories like socket, bend, couplers and plug etc. conforming to IS:16205 Part-24 or amended complete as required.
2.01 | 63 mm (OD - 63 mm and ID - 51 mm nominal) | 560.00 | Mtr. | 0.00 | 244.00 | 136640.00 | 55.00 | 30800.00 | 75.00 | 42000.00 | 58.00 | 32480.00 | 66.00 | 36960.00 | 65.00 | 36400.00 | 74.00 | 41440.00 | 43.70 | 24472.00 | 24472.00 | Virtus Techno
2.02 | 90 mm (OD - 90 mm and ID - 76 mm nominal) | 7600.00 | Mtr. | 0.00 | 142.00 | 1079200.00 | 116.00 | 881600.00 | 117.00 | 889200.00 | 98.00 | 744800.00 | 125.00 | 950000.00 | 105.00 | 798000.00 | 129.00 | 980400.00 | 102.35 | 777860.00 | 744800.00 | UNIVERSAL ELECTRICAL AND ELECTRONICS
3.00 | Laying of one number DWC HDPE pipe of size upto 90 mm dia complete with fittings, cutting, jointing etc. direct in ground at a depth of 75 cm including excavation and refilling the trench etc. complete as required. | 8160.00 | Mtr. | 0.00 | 130.00 | 1060800.00 | 55.00 | 448800.00 | 165.00 | 1346400.00 | 120.00 | 979200.00 | 49.50 | 403920.00 | 120.00 | 979200.00 | 100.00 | 816000.00 | 103.50 | 844560.00 | 403920.00 | Genesis
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of the following size in the existing RCC / HUME / STONEWARE /METAL/ HDPE/DWC HDPE pipe as required:
4.01 | Upto 35 Sqmm | 560.00 | Mtr. | 0.00 | 45.00 | 25200.00 | 12.00 | 6720.00 | 50.00 | 28000.00 | 60.00 | 33600.00 | 150.00 | 84000.00 | 30.00 | 16800.00 | 25.00 | 14000.00 | 57.50 | 32200.00 | 6720.00 | SHREE GOURI ELECTRIC ENTERPRISE
4.02 | Above 95 sq. mm and upto 185 sq. mm | 7600.00 | Mtr. | 0.00 | 101.00 | 767600.00 | 14.00 | 106400.00 | 50.00 | 380000.00 | 60.00 | 456000.00 | 155.00 | 1178000.00 | 60.00 | 456000.00 | 50.00 | 380000.00 | 92.00 | 699200.00 | 106400.00 | SHREE GOURI ELECTRIC ENTERPRISE
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of the following size in the existing Masonary Open Duct as required:
5.01 | Upto 35 Sqmm | 30.00 | Mtr. | 0.00 | 80.00 | 2400.00 | 22.00 | 660.00 | 50.00 | 1500.00 | 60.00 | 1800.00 | 250.00 | 7500.00 | 30.00 | 900.00 | 20.00 | 600.00 | 57.50 | 1725.00 | 600.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | Above 95 sq. mm and upto 185 sq. mm | 160.00 | Mtr. | 0.00 | 220.00 | 35200.00 | 33.00 | 5280.00 | 100.00 | 16000.00 | 120.00 | 19200.00 | 280.00 | 44800.00 | 50.00 | 8000.00 | 40.00 | 6400.00 | 92.00 | 14720.00 | 5280.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.00 | Supplying and end making End Termination with Brass Compression Gland and Aluminum lugs for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1 KV grade as require:
6.01 | 3.5 X 185 Sq mm ( 57 mm) | 6.00 | Job | 0.00 | 2864.00 | 17184.00 | 659.00 | 3954.00 | 3000.00 | 18000.00 | 1200.00 | 7200.00 | 500.00 | 3000.00 | 800.00 | 4800.00 | 1465.00 | 8790.00 | 1437.50 | 8625.00 | 3000.00 | Genesis
6.02 | 3.5 x 150 Sq.mm. (50 mm) | 4.00 | Job | 0.00 | 2484.00 | 9936.00 | 659.00 | 2636.00 | 3000.00 | 12000.00 | 1200.00 | 4800.00 | 480.00 | 1920.00 | 650.00 | 2600.00 | 1194.00 | 4776.00 | 1322.50 | 5290.00 | 1920.00 | Genesis
6.03 | 3.5C x 120 Sq. mm. (50 mm) | 4.00 | Job | 0.00 | 2467.00 | 9868.00 | 549.00 | 2196.00 | 2000.00 | 8000.00 | 1080.00 | 4320.00 | 470.00 | 1880.00 | 550.00 | 2200.00 | 1046.00 | 4184.00 | 747.50 | 2990.00 | 1880.00 | Genesis
6.04 | 4 x 16 Sq. mm. (28 mm) | 6.00 | Job | 0.00 | 1282.00 | 7692.00 | 275.00 | 1650.00 | 600.00 | 3600.00 | 600.00 | 3600.00 | 350.00 | 2100.00 | 250.00 | 1500.00 | 446.00 | 2676.00 | 747.50 | 4485.00 | 1500.00 | Awasthi Electric Works
7.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1 KV grade as required.
7.01 | 3.5 X 185 Sq mm | 2.00 | Each | 0.00 | 4110.00 | 8220.00 | 2196.00 | 4392.00 | 6950.00 | 13900.00 | 4440.00 | 8880.00 | 3500.00 | 7000.00 | 6500.00 | 13000.00 | 4169.00 | 8338.00 | 3047.50 | 6095.00 | 4392.00 | SHREE GOURI ELECTRIC ENTERPRISE
7.02 | 3.5 x 150 Sq.mm. | 4.00 | Each | 0.00 | 3995.00 | 15980.00 | 2196.00 | 8784.00 | 6000.00 | 24000.00 | 4440.00 | 17760.00 | 3600.00 | 14400.00 | 6500.00 | 26000.00 | 4169.00 | 16676.00 | 3047.50 | 12190.00 | 8784.00 | SHREE GOURI ELECTRIC ENTERPRISE
7.03 | 3.5C x 120 Sq. mm. | 6.00 | Each | 0.00 | 3300.00 | 19800.00 | 2196.00 | 13176.00 | 5000.00 | 30000.00 | 4440.00 | 26640.00 | 3000.00 | 18000.00 | 6000.00 | 36000.00 | 3427.00 | 20562.00 | 3047.50 | 18285.00 | 13176.00 | SHREE GOURI ELECTRIC ENTERPRISE
8.00 | Supply and fixing of CPRI tested, ISI marked, Class A Electrical insulation mat having minimum thickness of 2mm for working voltage upto 3.3kV, confirming to IS: 15652:2006, infront of LT panels as per direction of E-I-C. | 60.00 | Sq Mtr. | 0.00 | 594.00 | 35640.00 | 330.00 | 19800.00 | 800.00 | 48000.00 | 1080.00 | 64800.00 | 800.00 | 48000.00 | 1000.00 | 60000.00 | 737.00 | 44220.00 | 920.00 | 55200.00 | 19800.00 | SHREE GOURI ELECTRIC ENTERPRISE
9.00 | Supply and fixing of CPRI tested, ISI marked, Class B Electrical insulation mat having minimum thickness of 2.5 mm for working voltage upto 11 kV, confirming to IS: 15652:2006, infront of HT panels, transformer rooms as per direction of E-I-C. | 12.00 | Sq Mtr. | 0.00 | 720.00 | 8640.00 | 384.00 | 4608.00 | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 600.00 | 7200.00 | 1150.00 | 13800.00 | 825.00 | 9900.00 | 690.00 | 8280.00 | 4608.00 | SHREE GOURI ELECTRIC ENTERPRISE
10.00 | Demolishing cement concrete / bituminous road / brick wall by manually / mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | 2.00 | Cum | 0.00 | 8050.00 | 16100.00 | 549.00 | 1098.00 | 12000.00 | 24000.00 | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 9775.00 | 19550.00 | 1098.00 | SHREE GOURI ELECTRIC ENTERPRISE
11.00 | Providing and laying in position cement concrete of specified grade 1:2:4(1 Cement:2Coarse sand :4 graded stonr aggregate 20mm nominal size) | 2.00 | Cum | 0.00 | 500.00 | 1000.00 | 4391.00 | 8782.00 | 15000.00 | 30000.00 | 8400.00 | 16800.00 | 7000.00 | 14000.00 | 9000.00 | 18000.00 | 7000.00 | 14000.00 | 6670.00 | 13340.00 | 1000.00 | North Eastern Engineers
12.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) with chained lid RCC top slab 1:1.5:3 mix (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 (1 cement: 5 fine sand: 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement: 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design. With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 12.00 | Each | 0.00 | 4500.00 | 54000.00 | 7685.00 | 92220.00 | 24000.00 | 288000.00 | 14400.00 | 172800.00 | 12500.00 | 150000.00 | 15000.00 | 180000.00 | 19500.00 | 234000.00 | 7475.00 | 89700.00 | 54000.00 | North Eastern Engineers
| Total in Figures |  |  |  |  | 8684118.00 |  | 8803956.00 |  | 8283000.00 |  | 7864280.00 |  | 8426980.00 |  | 8166700.00 |  | 8453962.00 |  | 7809807.00
Lowest Amount Quoted BY: Virtus Techno(7809807.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Faulty LT Cables of different locations at Lilabari Airport Tender ID: 2025_AAI_245202_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Virtus Techno (BID ID -896853) | 7809807.00 | L1
| 2 | UNIVERSAL ELECTRICAL AND ELECTRONICS (BID ID -896664) | 7864280.00 | L2
| 3 | Awasthi Electric Works (BID ID -896860) | 8166700.00 | L3
| 4 | D.D.METAL CORPORATION (BID ID -896582) | 8283000.00 | L4
| 5 | Genesis (BID ID -896687) | 8426980.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED (BID ID -896931) | 8453962.00 | L6
| 7 | North Eastern Engineers (BID ID -894529) | 8684118.00 | L7
| 8 | SHREE GOURI ELECTRIC ENTERPRISE (BID ID -895976) | 8803956.00 | L8