## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 07-Oct-2025 05:45 PM Tender Title: Trans installation of localizer and glide path at Madurai Airport. SH Electrical Works. Tender ID: 2025_AAI_245351_1
Tender Inviting Authority: Airports Authority of India, Madurai Airport, Madurai -625 022.
Name of Work: Transinstallation of localizer & glide path at Madurai Airport. SH: Electrical Works.
Contract No: 2025_AAI_245351_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -896675 |  | DEEPAKELECTRICALS (GSTN-33ALUPD3531C1ZI) BID ID -897949 |  | C P MONCHESTER ELECTRICALS (GSTN-33AJOPP7842E1ZY) BID ID -899497 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -899504 |  | Akshaya Associates (GSTN-33AAMFA0496N1Z4) BID ID -899591
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 36W recess mounted square type LED Downlight luminarie of size 2ftx2ft with aluminimum/alloy housing with inbuilt driver, LED lamp etc as per tender specification for the proposed GP& LLZ etc as required | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 2100.00 | 4200.00 | 1422.00 | 2844.00 | 2750.00 | 5500.00 | 2844.00 | Yash Energy Pvt. Ltd
2.00 | Supply of 1X18W LED tube light fitting (4ft) with all accessories including LED tube lamp as per tender specification for the proposed GP& LLZ as required. | 30.00 | Each | 0.00 | 675.00 | 20250.00 | 2300.00 | 69000.00 | 450.00 | 13500.00 | 297.00 | 8910.00 | 1100.00 | 33000.00 | 8910.00 | Yash Energy Pvt. Ltd
3.00 | Supply of 10W/12W surface mounted square/round LED downlight luminaire with inbuilt driver, LED lamp etc. as per tender specification for the proposed GP& LLZ etc. as required. | 4.00 | Each | 0.00 | 1175.00 | 4700.00 | 2200.00 | 8800.00 | 450.00 | 1800.00 | 534.00 | 2136.00 | 925.00 | 3700.00 | 1800.00 | C P MONCHESTER ELECTRICALS
4.00 | Supply of 45W LED roadway luminaire with high power LED as Light source, inbuilt driver with aluminium/suitable alloy housing etc. as per tender specification as required. The job also inculdes fabricating bracket on 40mm dia GI pipe upto a length of 2mtr including bending to the required angle with clamping arrangement by using 2nos of 35 X 6mm flat upto length of 20cm each etc. as required. | 8.00 | Each | 0.00 | 2400.00 | 19200.00 | 7000.00 | 56000.00 | 6000.00 | 48000.00 | 1600.00 | 12800.00 | 4750.00 | 38000.00 | 12800.00 | Yash Energy Pvt. Ltd
5.00 | Supply of following size of ceilling fan without regulator complete with double ball bearing, motor, blades, down rod upto a maximum length of 600mm, of 15mm dia 'B' class GI pipe canopy capacitor etc. complete as required. (five star rated) Size 1200mm | 2.00 | Each | 0.00 | 2800.00 | 5600.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 1896.00 | 3792.00 | 2450.00 | 4900.00 | 3792.00 | Yash Energy Pvt. Ltd
6.00 | SITC of 1.5 TR, 5 star rated (As per latest BEE guidelines) inverter type Hi-Wall split AC units fitted with copper wound motor, hermetically sealed rotary type compressor operating on 230V ± 10% ,50Hz supply with evaporator & condensing unit having copper coil including remote control, copper piping for both suction & discharge up to 5 meters, Interconnecting cabling, drain piping, first charge of refrigerant, providing raised platform/MS stand for outdoor units, suitable insulation should be provided for drain line & copper pipe etc. complete as required. | 10.00 | Each | 0.00 | 37500.00 | 375000.00 | 65000.00 | 650000.00 | 58000.00 | 580000.00 | 40273.00 | 402730.00 | 46500.00 | 465000.00 | 375000.00 | Awasthi Electric Works
7.00 | Supply and fixing of wall mounting type automatic electronic voltage stabilizer suitable for 1.5 TR split air conditioners having capacity 4KVA single phase, an input voltage range of 180-270V, with high/low voltage cut off, ON delay etc. complete as required. | 10.00 | Each | 0.00 | 4200.00 | 42000.00 | 4500.00 | 45000.00 | 3600.00 | 36000.00 | 18952.00 | 189520.00 | 3000.00 | 30000.00 | 30000.00 | Akshaya Associates
8.00 | Supply and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way, Double door | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 3436.00 | 6872.00 | 4200.00 | 8400.00 | 4000.00 | Awasthi Electric Works
9.00 | Supplying and fixing following way vertical type, three pole and neutral, sheet steel, MCB distribution board, with MCCB incomer, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCCB/MCB/RCCB/Isolator) 8 way, Double door | 2.00 | Each | 0.00 | 11500.00 | 23000.00 | 14000.00 | 28000.00 | 21000.00 | 42000.00 | 14748.00 | 29496.00 | 17500.00 | 35000.00 | 23000.00 | Awasthi Electric Works
10.00 | Supply and Fixing of surface mounted SMC Box with size (240 X 130 X 95mm) with suitable accessories including supply & fixing of 6A SP, 10KA, C series MCB etc. Complete as required. | 8.00 | Each | 0.00 | 1400.00 | 11200.00 | 900.00 | 7200.00 | 2100.00 | 16800.00 | 948.00 | 7584.00 | 2500.00 | 20000.00 | 7200.00 | DEEPAKELECTRICALS
11.00 | SITC of Digital time switch having 2 output 16A-250V ∼ 50/60Hz(Make Legrand 4126 41 or equivalent) including providing suitable enclosure and connecting the time switch with existing airconditioner by providing suitable wiring termination etc., complete as required. | 6.00 | Each | 0.00 | 9300.00 | 55800.00 | 6000.00 | 36000.00 | 4200.00 | 25200.00 | 7344.00 | 44064.00 | 5500.00 | 33000.00 | 25200.00 | C P MONCHESTER ELECTRICALS
12.00 | Supply of surface mounted rechargeable type 6W LED or better LED emergency light having back up time of minimum 1 hour complete etc., all as required. | 4.00 | Each | 0.00 | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 2100.00 | 8400.00 | 3317.00 | 13268.00 | 350.00 | 1400.00 | 1400.00 | Akshaya Associates
13.00 | Supply and fixing of hand held rechargable emergency LED light of 5W or better having back up time of minimum 1 hour complete etc. all as required. | 2.00 | Each | 0.00 | 7650.00 | 15300.00 | 5000.00 | 10000.00 | 2100.00 | 4200.00 | 3317.00 | 6634.00 | 1250.00 | 2500.00 | 2500.00 | Akshaya Associates
14.00 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 52.00 | Point | 0.00 | 1400.00 | 72800.00 | 1100.00 | 57200.00 | 1200.00 | 62400.00 | 1836.00 | 95472.00 | 1500.00 | 78000.00 | 57200.00 | DEEPAKELECTRICALS
15.00 | Wiring for light/power plug with 2 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 1 No. 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 70.00 | Mtr | 0.00 | 425.00 | 29750.00 | 400.00 | 28000.00 | 360.00 | 25200.00 | 237.00 | 16590.00 | 350.00 | 24500.00 | 16590.00 | Yash Energy Pvt. Ltd
16.00 | Wiring for light/power plug with 4 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 2 No. 4 sq.mm FR PVC insulated copper conductor single core cable for loop earthing as required. | 70.00 | Mtr | 0.00 | 635.00 | 44450.00 | 600.00 | 42000.00 | 900.00 | 63000.00 | 421.00 | 29470.00 | 750.00 | 52500.00 | 29470.00 | Yash Energy Pvt. Ltd
17.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in surface/recess steel conduit as required. a) 2x1.5sq.mm+ 1x1.5 sq.m earth wire | 60.00 | Mtr | 0.00 | 315.00 | 18900.00 | 220.00 | 13200.00 | 360.00 | 21600.00 | 137.00 | 8220.00 | 320.00 | 19200.00 | 8220.00 | Yash Energy Pvt. Ltd
18.00 | Supply and fixing metal box of 180mmx100mmx60mm.deep (nominal size)on surface or in recess with suitable size phenolic laminated sheet cover in the front including providing and fixing 6 pin 5/6 & 15/16 amps socket outlet and 15/16 amps piano type switch, connection, painting etc. as required. | 20.00 | Each | 0.00 | 450.00 | 9000.00 | 220.00 | 4400.00 | 900.00 | 18000.00 | 534.00 | 10680.00 | 450.00 | 9000.00 | 4400.00 | DEEPAKELECTRICALS
19.00 | Supply and fixing of piano type electronic step regulator, 6 position(Hum free) on existing box including connection, complete as required. | 2.00 | Each | 0.00 | 300.00 | 600.00 | 120.00 | 240.00 | 650.00 | 1300.00 | 391.00 | 782.00 | 300.00 | 600.00 | 240.00 | DEEPAKELECTRICALS
20.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable complete etc. as required. | 2.00 | Each | 0.00 | 150.00 | 300.00 | 120.00 | 240.00 | 300.00 | 600.00 | 356.00 | 712.00 | 250.00 | 500.00 | 240.00 | DEEPAKELECTRICALS
21.00 | Installation, testing and commissioning of prewired LED indoor/outdoor fittings of all types complete with all accessories and LED fitting etc. directly on ceilling wall/false ceiling including connection with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and earthing etc. as required. | 50.00 | Each | 0.00 | 100.00 | 5000.00 | 120.00 | 6000.00 | 150.00 | 7500.00 | 297.00 | 14850.00 | 150.00 | 7500.00 | 5000.00 | Awasthi Electric Works
22.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of singlepoles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 60.00 | Each | 0.00 | 200.00 | 12000.00 | 150.00 | 9000.00 | 240.00 | 14400.00 | 214.00 | 12840.00 | 275.00 | 16500.00 | 9000.00 | DEEPAKELECTRICALS
23.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of singlepoles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 2.00 | Each | 0.00 | 600.00 | 1200.00 | 450.00 | 900.00 | 720.00 | 1440.00 | 859.00 | 1718.00 | 800.00 | 1600.00 | 900.00 | DEEPAKELECTRICALS
24.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “B” curve, miniature circuit breaker suitable for inductive load of single poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 8.00 | Each | 0.00 | 200.00 | 1600.00 | 950.00 | 7600.00 | 240.00 | 1920.00 | 237.00 | 1896.00 | 250.00 | 2000.00 | 1600.00 | Awasthi Electric Works
25.00 | Supply and fixing following rating and breaking capactiy and pole MCCB with thermal magnetic release in the exisitng MCCB DB complete with connections, testing and commissioning etc. as required. 63Amps, 25KA, Four Pole MCCB | 2.00 | Each | 0.00 | 9000.00 | 18000.00 | 1350.00 | 2700.00 | 9000.00 | 18000.00 | 8766.00 | 17532.00 | 9500.00 | 19000.00 | 2700.00 | DEEPAKELECTRICALS
26.00 | Supply and Installation of 12 inch exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each | 0.00 | 3200.00 | 6400.00 | 3500.00 | 7000.00 | 3600.00 | 7200.00 | 2843.00 | 5686.00 | 4200.00 | 8400.00 | 5686.00 | Yash Energy Pvt. Ltd
27.00 | Supply and fixing of the louvers/shutter complete with frame for 12 inch exhaust fan complete as required. | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 650.00 | 1300.00 | 900.00 | 1800.00 | 948.00 | 1896.00 | 650.00 | 1300.00 | 1300.00 | DEEPAKELECTRICALS, Akshaya Associates
28.00 | Supply and fixing 20Amps, 240 volts, SPN, industrial type socket outlet, with 2pole and earth metal enclosed plug top alongwith 20amps, C-series, DP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 0.00 | 1350.00 | 13500.00 | 1500.00 | 15000.00 | 2700.00 | 27000.00 | 2310.00 | 23100.00 | 1200.00 | 12000.00 | 12000.00 | Akshaya Associates
29.00 | Fabrication and supply of indoor feeder pillar panel (with auto operation)with double door arrangement, outer shell made up of 10 SWG and inner front, top covers and all partitions made up of 14 aluminium SWG CRCA sheet steel, door dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing, including providing and fixing 250 A Aluminium Bus bar with all accessories suitable for operation at 415 V, 3 phase, 4 wire, 50 Hz, A.C. power supply system complete with all accessories, interconnection, connection, earthing, painting, grouting, providing pedastal, wiring with suitable wires etc. as required and comprising the following : INCOMER & BUS COUPLER: 250A FP, 25KA MCCB having thermal magnetic release with R<Y<B ON & OFF indication lamps, resin cast CTs with Digital Multi function meter with LCD display and RS485 communication with data logging system, SPD having maximum discharge current 100KA, 10/350μS Surge protection for incomer - 2 nos. 250A FP, 25KA MCCB having thermal magnetic release with R,Y,B ON & OFF indication lamps, as bus coupler - 1 no. 250A FP contactor,auto manual toggle switch, ON, OFF push button-3set. All other accessories interconnection required for auto operation of incomer and buscoupler including electrical interlock etc., -1set OUTGOINGS: 1) 100A FP, 25KA MCCB having thermal magnetic release with rotary handle - 1 no. 2) 63A FP, 25KA MCCB having thermal magnetic release with rotary handle - 3 nos. 3) Timer along with four pole 40A MCB C series 10KA, 32A three pole contactor & Auto/Manual toggle switch- 1set. With all accessories etc. complete as required including installation, testing and commissioning of LT panel. | 2.00 | Job | 0.00 | 655000.00 | 1310000.00 | 1340000.00 | 2680000.00 | 600000.00 | 1200000.00 | 485645.00 | 971290.00 | 485000.00 | 970000.00 | 970000.00 | Akshaya Associates
30.00 | Supply of 3.5C X 240 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with up to date amendments etc. as required. | 200.00 | Mtr | 0.00 | 1100.00 | 220000.00 | 1800.00 | 360000.00 | 1800.00 | 360000.00 | 1311.00 | 262200.00 | 2150.00 | 430000.00 | 220000.00 | Awasthi Electric Works
31.00 | Supply of 3.5C X 185 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with up to date amendments etc. as required. | 300.00 | Mtr | 0.00 | 900.00 | 270000.00 | 1600.00 | 480000.00 | 1400.00 | 420000.00 | 1045.00 | 313500.00 | 2000.00 | 600000.00 | 270000.00 | Awasthi Electric Works
32.00 | Supply of 3.5C X 35 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with up to date amendments etc. as required. | 30.00 | Mtr | 0.00 | 200.00 | 6000.00 | 300.00 | 9000.00 | 450.00 | 13500.00 | 249.00 | 7470.00 | 450.00 | 13500.00 | 6000.00 | Awasthi Electric Works
33.00 | Supply of 2C X 2.5 Sq.mm XLPE insulated PVC sheathed, armoured Copper conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with up to date amendments etc. as required. | 60.00 | Mtr | 0.00 | 105.00 | 6300.00 | 175.00 | 10500.00 | 720.00 | 43200.00 | 108.00 | 6480.00 | 250.00 | 15000.00 | 6300.00 | Awasthi Electric Works
34.00 | Supply of 110mm dia DWC HDPE pipe having pressure rating of 450NM with all accessories like socket / couplers, fitting & cutting, jointing etc. complete as required. | 500.00 | Mtr | 0.00 | 300.00 | 150000.00 | 220.00 | 110000.00 | 225.00 | 112500.00 | 107.00 | 53500.00 | 210.00 | 105000.00 | 53500.00 | Yash Energy Pvt. Ltd
35.00 | Laying of DWC HDPE pipe having pressure rating of 450NM with all accessories like socket / couplers, fitting & cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. | 500.00 | Mtr | 0.00 | 250.00 | 125000.00 | 135.00 | 67500.00 | 210.00 | 105000.00 | 220.00 | 110000.00 | 170.00 | 85000.00 | 67500.00 | DEEPAKELECTRICALS
36.00 | Providing & Fixing of 5mm thick chequered plate with necessary gas cutting works, welding works as directed by E-I-C and required width as per site condition with necessary lifiting hook including fabrications and fixing complete at site as required. This job also includes supply and fixing of 50 X 50 X 6mm MS iron angle throughout the cable trench on both side by grouting them inside the trench at regular 1 mtr interaval. The works also includes of painting the complete using 2 coats of black paint finish after 1 coat of red oxide primer etc. complete as required | 3.00 | Sq.Mtr | 0.00 | 6000.00 | 18000.00 | 1500.00 | 4500.00 | 6000.00 | 18000.00 | 5390.00 | 16170.00 | 12500.00 | 37500.00 | 4500.00 | DEEPAKELECTRICALS
37.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/GI/HDPE/DWC pipe etc. complete as required. a) above 95 sq.mm and up to 185 sq.mm | 300.00 | Mtr | 0.00 | 85.00 | 25500.00 | 40.00 | 12000.00 | 120.00 | 36000.00 | 154.00 | 46200.00 | 135.00 | 40500.00 | 12000.00 | DEEPAKELECTRICALS
38.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/GI/HDPE/DWC pipe etc. complete as required. a) above 185 sq.mm and up to 240 sq.mm | 200.00 | Mtr | 0.00 | 100.00 | 20000.00 | 45.00 | 9000.00 | 120.00 | 24000.00 | 143.00 | 28600.00 | 165.00 | 33000.00 | 9000.00 | DEEPAKELECTRICALS
39.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/GI/HDPE/DWC pipe etc. complete as required. a) upto 35 sq.mm | 30.00 | Mtr | 0.00 | 45.00 | 1350.00 | 25.00 | 750.00 | 120.00 | 3600.00 | 72.00 | 2160.00 | 65.00 | 1950.00 | 750.00 | DEEPAKELECTRICALS
40.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 15.00 | Mtr | 0.00 | 80.00 | 1200.00 | 40.00 | 600.00 | 120.00 | 1800.00 | 77.00 | 1155.00 | 100.00 | 1500.00 | 600.00 | DEEPAKELECTRICALS
41.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 240 Sq.mm | 3.00 | Set | 0.00 | 1250.00 | 3750.00 | 600.00 | 1800.00 | 3600.00 | 10800.00 | 1422.00 | 4266.00 | 1650.00 | 4950.00 | 1800.00 | DEEPAKELECTRICALS
42.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 185 Sq.mm | 9.00 | Set | 0.00 | 1050.00 | 9450.00 | 550.00 | 4950.00 | 3600.00 | 32400.00 | 1067.00 | 9603.00 | 1550.00 | 13950.00 | 4950.00 | DEEPAKELECTRICALS
43.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 35 Sq.mm | 4.00 | Set | 0.00 | 400.00 | 1600.00 | 350.00 | 1400.00 | 900.00 | 3600.00 | 474.00 | 1896.00 | 550.00 | 2200.00 | 1400.00 | DEEPAKELECTRICALS
44.00 | Supply & fixing cable route marker with nominal size of 10cmx10cmx5mm thick G.I plate with inscription thereon bolted/welded to 35mmx35mmx6mm angle iron, 60cm long and fixing the same in ground as required. | 10.00 | Each | 0.00 | 800.00 | 8000.00 | 350.00 | 3500.00 | 900.00 | 9000.00 | 1185.00 | 11850.00 | 900.00 | 9000.00 | 3500.00 | DEEPAKELECTRICALS
45.00 | Supply and fixing PVC Synthetic elastomer electrically insulating mat with class A insulation conforming to IS :15652-2006 & CPRI tested having 2 mm thickness up to 3.3 KV, etc. as required | 10.00 | Sq.Mtr | 0.00 | 1350.00 | 13500.00 | 1400.00 | 14000.00 | 3600.00 | 36000.00 | 474.00 | 4740.00 | 1750.00 | 17500.00 | 4740.00 | Yash Energy Pvt. Ltd
46.00 | Supply and installation of totally enclosed weather proof bus bar chamber/ Junction box consisting of 400A RYBN Aluminium busbar. JB shall be made of 14 SWG MS sheet of size 630mm x 400mm x 180mm, with all accessories such as weather proof hinges door, locking arrangement, gasket, detectable gland plate, mounting legs made of angle iron (minimum 5mm thick)and grouting the same by 1:2:4 PCC etc. complete as required. | 4.00 | Set | 0.00 | 25000.00 | 100000.00 | 8500.00 | 34000.00 | 36000.00 | 144000.00 | 7700.00 | 30800.00 | 22500.00 | 90000.00 | 30800.00 | Yash Energy Pvt. Ltd
47.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 0.00 | 25000.00 | 100000.00 | 14000.00 | 56000.00 | 21000.00 | 84000.00 | 25467.00 | 101868.00 | 16500.00 | 66000.00 | 56000.00 | DEEPAKELECTRICALS
48.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earthelectrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required.(at 0.5mtr below ground) | 42.00 | Mtr | 0.00 | 1650.00 | 69300.00 | 1500.00 | 63000.00 | 2100.00 | 88200.00 | 2085.00 | 87570.00 | 1900.00 | 79800.00 | 63000.00 | DEEPAKELECTRICALS
49.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc.as required. | 20.00 | Mtr | 0.00 | 1350.00 | 27000.00 | 1350.00 | 27000.00 | 1800.00 | 36000.00 | 1398.00 | 27960.00 | 1450.00 | 29000.00 | 27000.00 | Awasthi Electric Works, DEEPAKELECTRICALS
50.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 500.00 | Mtr | 0.00 | 32.00 | 16000.00 | 44.00 | 22000.00 | 21.00 | 10500.00 | 36.00 | 18000.00 | 50.00 | 25000.00 | 10500.00 | C P MONCHESTER ELECTRICALS
51.00 | SITC of three phase SPD,3P+N configuration having maximum discharge-current 40KA, 80/20microsecond surge provides protection for MCB DB etc. complete as required. | 2.00 | Each | 0.00 | 45000.00 | 90000.00 | 5500.00 | 11000.00 | 21000.00 | 42000.00 | 6634.00 | 13268.00 | 13500.00 | 27000.00 | 11000.00 | DEEPAKELECTRICALS
52.00 | Supplying & laying of 2Cx1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath to meet relavent IS standard complete as required. | 80.00 | Mtr | 0.00 | 160.00 | 12800.00 | 145.00 | 11600.00 | 210.00 | 16800.00 | 107.00 | 8560.00 | 225.00 | 18000.00 | 8560.00 | Yash Energy Pvt. Ltd
53.00 | Design, supply, installation, testing & commisioning of UL listed aerosal generator suitable for proposed building.Aerosol generator shall be provided with cealing mounted, bracket &gland. Aerosol system shall be suitable for Class A,B & C fire as per NFPA. | 2.00 | Job | 0.00 | 145000.00 | 290000.00 | 95000.00 | 190000.00 | 210000.00 | 420000.00 | 379555.00 | 759110.00 | 385000.00 | 770000.00 | 190000.00 | DEEPAKELECTRICALS
54.00 | Supply installation testing and commisioning of conventional type hooter with base place etc as required. | 2.00 | Each | 0.00 | 3800.00 | 7600.00 | 250.00 | 500.00 | 9000.00 | 18000.00 | 1473.00 | 2946.00 | 5750.00 | 11500.00 | 500.00 | DEEPAKELECTRICALS
55.00 | Supply & fixing of UL listed conventional type photometric smoke detector with dual LED for 360degree view along with mounting base, including connections etc as required. | 4.00 | Each | 0.00 | 1200.00 | 4800.00 | 50000.00 | 200000.00 | 2500.00 | 10000.00 | 853.00 | 3412.00 | 3250.00 | 13000.00 | 3412.00 | Yash Energy Pvt. Ltd
56.00 | Supply & fixing of UL listed conventional type rate of raise & fixed temperature heat detector with dual LED for 360degree view along with mounting base, including connections etc as required. | 4.00 | Each | 0.00 | 1500.00 | 6000.00 | 50000.00 | 200000.00 | 2500.00 | 10000.00 | 830.00 | 3320.00 | 3850.00 | 15400.00 | 3320.00 | Yash Energy Pvt. Ltd
57.00 | Supply & fixing of conventional type manual outdoor call point complete with all accessories, including connections etc as required. | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 3625.00 | 7250.00 | 830.00 | 1660.00 | 1900.00 | 3800.00 | 1660.00 | Yash Energy Pvt. Ltd
58.00 | SITC of autodialer suitable for sim card or landline connection(as directed by EIC) complete with all necessary accessories including interconnections etc as required | 2.00 | Each | 0.00 | 18000.00 | 36000.00 | 50000.00 | 100000.00 | 12000.00 | 24000.00 | 10187.00 | 20374.00 | 15500.00 | 31000.00 | 20374.00 | Yash Energy Pvt. Ltd
59.00 | SITC of micrprocessor based conventional UL listed / CE Mark fire alarm control panel having minimum of 4 zones suitable for connecting sensors, Manual Call points and hooters for operation on 230V AC supply,LCD display to indicate fire, Normal operation & power suppply status, Push button for accept & reset , automatic battery charger, 24V SMF batteries sufficient to provide backup in alarm condition and complete as per specification. Panel shall have necessary provision for connecting and functioning with auto dialer (Make: Ravel Model: RE 102 or equivalent) | 2.00 | Each | 0.00 | 32000.00 | 64000.00 | 75000.00 | 150000.00 | 36000.00 | 72000.00 | 5331.00 | 10662.00 | 22500.00 | 45000.00 | 10662.00 | Yash Energy Pvt. Ltd
60.00 | Supply of Water cooler having tank capacity 80 Ltrs (or) better self contained, fully stainless steel body, two taps, etc. includung inbuilt RO water purifier of capacity 50LPH or better , having recovery of pure water upto 70% with all accessories, suitable for operation on 230V, 50Hz single phase AC supply etc. complete as required. | 2.00 | Each | 0.00 | 105000.00 | 210000.00 | 210000.00 | 420000.00 | 150000.00 | 300000.00 | 104751.00 | 209502.00 | 192000.00 | 384000.00 | 209502.00 | Yash Energy Pvt. Ltd
61.00 | Supply of PAPI unit including tool kit with checking stick & bae plate, set of foundation frame and clinometer complete with all accessories and ready for installation (One set of 4 PAPI Units) etc. complete as required. (1 PAPI Units 4 Lamp ) | 1.00 | Job | 0.00 | 725000.00 | 725000.00 | 550000.00 | 550000.00 | 750000.00 | 750000.00 | 2100450.00 | 2100450.00 | 775000.00 | 775000.00 | 550000.00 | DEEPAKELECTRICALS
62.00 | ITC of new PAPI units (One set of 4 PAPI Units) at the relocated area including making necessray foundation, providing foundation bolts, allignment & installing the new PAPI sticks etc. complete with all accessories including demolishing the existing concrete, removing the existing PAPI units, handing over to AAI store & removing the demolished concrete from operational area to outside of operational area etc. complete as required. | 1.00 | Job | 0.00 | 50000.00 | 50000.00 | 55000.00 | 55000.00 | 120000.00 | 120000.00 | 71070.00 | 71070.00 | 65000.00 | 65000.00 | 50000.00 | Awasthi Electric Works
63.00 | Supply of 200 Watts, 6.6/6.6 Amps, 5 kV grade 50 Hz isolating transformers, series type encapsulated in polyster resin finally moulded in neoprene tube rubber with primary and secondary connections as specified in particular specifications and as required. | 16.00 | Each | 0.00 | 6000.00 | 96000.00 | 5500.00 | 88000.00 | 6000.00 | 96000.00 | 5331.00 | 85296.00 | 6550.00 | 104800.00 | 85296.00 | Yash Energy Pvt. Ltd
64.00 | Supply of CI Transformer Housing Box water tight, round shape of outside dia 330mm height 450mm made of 10mm thick all round except on top surface which is 15mm thick having a clear opening of 220mm at the top surface and 6 Nos. M10 tapped holes at the hole centre of 260mm to receive light fittings base plate and bolts. The box shall have two clear holes opposite and one additional hole for secondary lead as per the site requirement at periphery, centre at 75mm above bottom surface and suitable to receive 50mm dia B class GI pipe and check nuts and also have a clear hole on the same side , centre at 100mm above between two hole centre and suitable to receive 15mm dia B class G.I pipes and check nuts. The box shall have two earth bolts of M 10 X30mm inside near the hole(100mm above bottom surface) and a drain hole at the bottom suitably tapped to receive 1/2" dia., B class GI pipe as per drawing as required. (Double Hole). (For PAPI shifting) | 16.00 | Each | 0.00 | 7000.00 | 112000.00 | 4900.00 | 78400.00 | 6000.00 | 96000.00 | 9476.00 | 151616.00 | 7500.00 | 120000.00 | 78400.00 | DEEPAKELECTRICALS
65.00 | Installation of transformer housing box (450mm high) with a base concrete of 1:3:6 of size 530X530X100 mm thick all round concrete of 1:2:4, 150mm thick top sloped with 1:2:4 cement concrete including excavation of existing Bituminous road/ pavement /shoulder of the runway, disposal of material within 50 mtrs lead ,providing and fixing 300mm long 1/2" dia "B" class GI pipe with checknut for drainage of water including excavation of side shoulder and refilling. The boxes are alligned in such a way that the hole centres fall in straight line etc. complete as required. | 16.00 | Each | 0.00 | 3500.00 | 56000.00 | 2200.00 | 35200.00 | 4500.00 | 72000.00 | 5331.00 | 85296.00 | 2500.00 | 40000.00 | 35200.00 | DEEPAKELECTRICALS
66.00 | Supply of 6mm thick M.S. powder coated covering plate to cover the CI transformer housing box of 330mm dia outside dia having suitable holes to fastern the cover etc. as required. | 16.00 | Each | 0.00 | 1250.00 | 20000.00 | 650.00 | 10400.00 | 3000.00 | 48000.00 | 4146.00 | 66336.00 | 1000.00 | 16000.00 | 10400.00 | DEEPAKELECTRICALS
67.00 | Supply of M10 size stainless steel bolt of 30mm length with spring and plate washers suitable for the base plate of PAPI as required. | 100.00 | Each | 0.00 | 275.00 | 27500.00 | 45.00 | 4500.00 | 60.00 | 6000.00 | 711.00 | 71100.00 | 75.00 | 7500.00 | 4500.00 | DEEPAKELECTRICALS
68.00 | Supply of 2 C X 4 Sq.mm copper flexible secondary lead (male) for length of 3 mtr made out of multistranded, annealed, PVC sheathed, unshielded, EPR insulated, anti-termite & antirodent cable of 5KV grade with moulded plug and receptacle as required as per specifications. | 16.00 | Each | 0.00 | 6500.00 | 104000.00 | 780.00 | 12480.00 | 1800.00 | 28800.00 | 1244.00 | 19904.00 | 1500.00 | 24000.00 | 12480.00 | DEEPAKELECTRICALS
69.00 | Laying of one number PVC insulayed & PVC sheathed unarmoured Airfield Lighting cable of size not exceeding 35sq.mm in the existing RCC/HUME/METAL/GI/HDPE/DWC pipe etc. complete as required. | 120.00 | Mtr | 0.00 | 35.00 | 4200.00 | 25.00 | 3000.00 | 59.00 | 7080.00 | 48.00 | 5760.00 | 60.00 | 7200.00 | 3000.00 | DEEPAKELECTRICALS
70.00 | Supply Installation, testing & commissioning of factory made, IS/IEC complied modular cable management trunking system of size 100mm X 50mm with all accessories as per site requirement, manufactured from PVC suitable for carrying and segregating low voltage power and data communication cable etc. as required. | 50.00 | mtr | 0.00 | 1500.00 | 75000.00 | 290.00 | 14500.00 | 2100.00 | 105000.00 | 569.00 | 28450.00 | 2550.00 | 127500.00 | 14500.00 | DEEPAKELECTRICALS
71.00 | Supplying and fixing following modular switch / socket on the existing modular frame including connections but excluding modular plate etc. as required. 15/16 A switch | 60.00 | Each | 0.00 | 145.00 | 8700.00 | 140.00 | 8400.00 | 700.00 | 42000.00 | 237.00 | 14220.00 | 150.00 | 9000.00 | 8400.00 | DEEPAKELECTRICALS
72.00 | Supplying and fixing following modular switch / socket on the existing modular frame including connections but excluding modular plate etc. as required. 6 pin 5/6 A & 15/16 A socket outlet | 60.00 | Each | 0.00 | 235.00 | 14100.00 | 190.00 | 11400.00 | 1200.00 | 72000.00 | 237.00 | 14220.00 | 350.00 | 21000.00 | 11400.00 | DEEPAKELECTRICALS
73.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/PVC conduit as required. 3 X 4 sq.mm | 20.00 | Mtr | 0.00 | 200.00 | 4000.00 | 220.00 | 4400.00 | 300.00 | 6000.00 | 214.00 | 4280.00 | 200.00 | 4000.00 | 4000.00 | Awasthi Electric Works, Akshaya Associates
74.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/PVC conduit as required. 6 X 4 sq.mm | 20.00 | Mtr | 0.00 | 400.00 | 8000.00 | 350.00 | 7000.00 | 600.00 | 12000.00 | 415.00 | 8300.00 | 390.00 | 7800.00 | 7000.00 | DEEPAKELECTRICALS
75.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/PVC conduit as required. 9 X 4 sq.mm | 20.00 | Mtr | 0.00 | 500.00 | 10000.00 | 600.00 | 12000.00 | 900.00 | 18000.00 | 616.00 | 12320.00 | 570.00 | 11400.00 | 10000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 5373200.00 |  | 7312060.00 |  | 6263490.00 |  | 6860804.00 |  | 6262250.00
Lowest Amount Quoted BY: Awasthi Electric Works(5373200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Trans installation of localizer and glide path at Madurai Airport. SH Electrical Works. Tender ID: 2025_AAI_245351_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -896675) | 5373200.00 | L1
| 2 | Akshaya Associates (BID ID -899591) | 6262250.00 | L2
| 3 | C P MONCHESTER ELECTRICALS (BID ID -899497) | 6263490.00 | L3
| 4 | Yash Energy Pvt. Ltd (BID ID -899504) | 6860804.00 | L4
| 5 | DEEPAKELECTRICALS (BID ID -897949) | 7312060.00 | L5