## BoQ1
Government eProcurement System Created By: EMANI SHESHA RATNAM Created Date/Time: 08-Dec-2025 03:05 PM Tender Title: Miscellaneous Civil Works SH Renovation of Toilets in GAGAN Complex AAI Bangalore Civil and Electrical Tender ID: 2025_AAI_245581_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: “Miscellaneous Civil Works SH: Renovation of Toilets in GAGAN Complex, AAI, Bangalore (Civil and Electrical )”
Contract No: 2025_ AAI _245581 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S2H Power Solutions Private Limited (GSTN-NA) BID ID -900437
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: 1 CIVIL WORKS Demolishing cement concrete manually/ by mechanically means including disposal of material within 50 meters lead as per the direction of Engineer - in- charge. Nominal concrete 1:3:6 or richer mix (i/e equivalent design mix) | 19.77 | Cum |  | 2000.00 | 39540.00 | 39540.00 | S2H Power Solutions Private Limited
2.00 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 9.00 | Each |  | 400.00 | 3600.00 | 3600.00 | S2H Power Solutions Private Limited
3.00 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 81.00 | metre |  | 180.00 | 14580.00 | 14580.00 | S2H Power Solutions Private Limited
4.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (with in 50 metres lead) as per direction of Engineering-Charge. (a) Internal Work- Exposed on wall | 81.00 | metre |  | 2.00 | 162.00 | 162.00 | S2H Power Solutions Private Limited
5.00 | Demolishing brick work manually/by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per the direction of Engineer in charge In cement mortar | 5.15 | Cum |  | 1500.00 | 7725.00 | 7725.00 | S2H Power Solutions Private Limited
6.00 | Dismantling doors, windows and clerestory windows( steel or wood) shutter including chowkats, architrave, holdfasts etc. complete and stacking within 50 metres lead: of area 3 sqmetres and below | 18.00 | Each |  | 300.00 | 5400.00 | 5400.00 | S2H Power Solutions Private Limited
7.00 | Dismantling tile work in floors and roofs laid in cement mortar includiing stacking serviceable material within 50 metres lead: For thickness of tiles 10mm to 25mm | 374.49 | Sqm |  | 50.00 | 18724.38 | 18724.38 | S2H Power Solutions Private Limited
8.00 | Dismantling of flushing cistern of all types (CI/PVC/Vitreous china) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 9.00 | Each |  | 100.00 | 900.00 | 900.00 | S2H Power Solutions Private Limited
9.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 30.00 | Each |  | 100.00 | 3000.00 | 3000.00 | S2H Power Solutions Private Limited
10.00 | Providing and laying water proofing treatment in sunken portion of WCs,bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying :(a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 78.22 | Sqm |  | 580.00 | 45365.28 | 45365.28 | S2H Power Solutions Private Limited
11.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 6.29 | Cum |  | 7500.00 | 47175.00 | 47175.00 | S2H Power Solutions Private Limited
12.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 14.40 | sqm |  | 1000.00 | 14400.00 | 14400.00 | S2H Power Solutions Private Limited
13.00 | CEMENT PLASTER (IN COARSE SAND) 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand). | 16.84 | sqm |  | 270.00 | 4546.80 | 4546.80 | S2H Power Solutions Private Limited
14.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 271.62 | sqm |  | 350.00 | 95067.14 | 95067.14 | S2H Power Solutions Private Limited
15.00 | Providing and fixing white vitreous china wall mounted water closet of Jaquar/Euronics/Hindware/Cera or its Equivalent of approx. size 520x380x350 of approved shape including providing & fixing Concealed Cistern with Dual Flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 13.00 | Each |  | 14000.00 | 182000.00 | 182000.00 | S2H Power Solutions Private Limited
16.00 | Providing and fixing white vitreous china battery based infrared sensor operated urinal of Jaquar/Euronics/Hindware/Cera or its Equivalent approx. size 610 x 390 x 370 mm having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specification and direction of Engineer-in-charge. | 14.00 | Each |  | 7500.00 | 105000.00 | 105000.00 | S2H Power Solutions Private Limited
17.00 | Providing and fixing toilet paper holder: CP brass of Jaquar/Euronics/Hindware/Cera or its Equivalent. | 13.00 | Each |  | 750.00 | 9750.00 | 9750.00 | S2H Power Solutions Private Limited
18.00 | Providing and fixing unplasticised PVC connection pipe with brass unions: 45cm length 15mm nominal size | 33.00 | Each |  | 95.00 | 3135.00 | 3135.00 | S2H Power Solutions Private Limited
19.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia | 12.00 | Each |  | 100.00 | 1200.00 | 1200.00 | S2H Power Solutions Private Limited
20.00 | Providing and fixing CP brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931: 15mm nominal bore | 46.00 | Each |  | 500.00 | 23000.00 | 23000.00 | S2H Power Solutions Private Limited
21.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge | 34.00 | Each |  | 100.00 | 3400.00 | 3400.00 | S2H Power Solutions Private Limited
22.00 | Providing and fixing CP brass bib cock of approved quality conforming to IS 8921: 15mm nominal bore | 13.00 | Each |  | 450.00 | 5850.00 | 5850.00 | S2H Power Solutions Private Limited
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 81.00 | Metre |  | 500.00 | 40500.00 | 40500.00 | S2H Power Solutions Private Limited
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 15.00 | Metre |  | 400.00 | 6000.00 | 6000.00 | S2H Power Solutions Private Limited
25.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm. Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble | 10.80 | Sqm |  | 5000.00 | 54000.00 | 54000.00 | S2H Power Solutions Private Limited
26.00 | Extra for providing opening of required size & shape for wash basin/ Kitchen sink in kitchen platform, vanity counter and similar location in marble/Granite/stone work, including necessary holes for pillars taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 20.00 | Each |  | 930.00 | 18600.00 | 18600.00 | S2H Power Solutions Private Limited
27.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the Manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shade complete. | 328.24 | Sqm |  | 1125.00 | 369274.27 | 369274.27 | S2H Power Solutions Private Limited
28.00 | Steel reinforcement for R.C.C. work ready to use “cut and bend” rebars of approved make from factory/workshop to construction site including placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 74.60 | Kg |  | 90.00 | 6714.00 | 6714.00 | S2H Power Solutions Private Limited
29.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | .72 | cum |  | 10500.00 | 7560.00 | 7560.00 | S2H Power Solutions Private Limited
30.00 | Centering and shuttering including strutting, propping etc. and removal of form for Shelves (Cast in situ) | 8.88 | sqm |  | 800.00 | 7104.00 | 7104.00 | S2H Power Solutions Private Limited
31.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 123.00 | Sqm |  | 1300.00 | 159900.00 | 159900.00 | S2H Power Solutions Private Limited
32.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors: 100 mm inlet and 100 mm outlet Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 13.00 | Each |  | 800.00 | 10400.00 | 10400.00 | S2H Power Solutions Private Limited
33.00 | Providing and fixing soil, waste and vent pipes :75 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 21.00 | metres |  | 900.00 | 18900.00 | 18900.00 | S2H Power Solutions Private Limited
34.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 75 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 12.00 | Each |  | 400.00 | 4800.00 | 4800.00 | S2H Power Solutions Private Limited
35.00 | Providing and fixing plain bend of required degree. 75 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 12.00 | Each |  | 200.00 | 2400.00 | 2400.00 | S2H Power Solutions Private Limited
36.00 | Providing and fixing single equal plain junction of required degree : 75x75x75 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 6.00 | Each |  | 300.00 | 1800.00 | 1800.00 | S2H Power Solutions Private Limited
37.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 75 mm dia pipe | 6.00 | Each |  | 300.00 | 1800.00 | 1800.00 | S2H Power Solutions Private Limited
38.00 | Providing and fixing single equal plain invert branch of required degree : 75x75x75 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 6.00 | Each |  | 350.00 | 2100.00 | 2100.00 | S2H Power Solutions Private Limited
39.00 | Providing and fixing soil, waste and vent pipes :100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 18.00 | metres |  | 1050.00 | 18900.00 | 18900.00 | S2H Power Solutions Private Limited
40.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : For 100 mm dia pipe | 12.00 | Each |  | 300.00 | 3600.00 | 3600.00 | S2H Power Solutions Private Limited
41.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | S2H Power Solutions Private Limited
42.00 | Providing and fixing plain bend of required degree. 100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 6.00 | Each |  | 300.00 | 1800.00 | 1800.00 | S2H Power Solutions Private Limited
43.00 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 6.00 | Each |  | 500.00 | 3000.00 | 3000.00 | S2H Power Solutions Private Limited
44.00 | Providing and fixing single equal plain invert branch of required degree : 100x100x100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 6.00 | Each |  | 600.00 | 3600.00 | 3600.00 | S2H Power Solutions Private Limited
45.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 23.52 | Sqm |  | 1250.00 | 29400.00 | 29400.00 | S2H Power Solutions Private Limited
46.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 48.96 | Sqm |  | 2000.00 | 97920.00 | 97920.00 | S2H Power Solutions Private Limited
47.00 | Providing and fixing factory made solid Foam uPVC profile for kitchen cabinet frame (45 x 20 mm) of approved shade, quality and make. The profile shall be laminated on both sides, made from rigid foam sheets (Single extruded) having density 600 Kg/cum and the exposed edges sealed with PVC edge beading of same shade and colour. The frame shall be fire retardent with necessary screw holding capacity. Frame shall be fixed to wall using Expendable Fastner with necesary stainless steel screws, all complete as per direction of Engineer-in-charge. | 79.20 | metre |  | 400.00 | 31680.00 | 31680.00 | S2H Power Solutions Private Limited
48.00 | Providing and fixing factory made Kitchen Cabinet Shutter/Partition 20 mm nominal thickness of approved shade, quality and make, made from rigid foam sheets (Single extruded) having density 600 Kg/cum and laminated on both side by laminate Sheet/PVC foil lamination. The exposed edges shall be sealed with PVC edge beading of same shade and colour. The shutter shall be fire retardent having necessary screw holding capacity. Shutter shall be fixed to frame using approved hinges with necessary stainless steel screws, all complete as per direction of Engineer-in-charge. | 20.16 | sqm |  | 5000.00 | 100800.00 | 100800.00 | S2H Power Solutions Private Limited
49.00 | Providing and fixing concealed hinge of approved quality for 19-20 mm thick door with stainless steel screws complete : | 48.00 | Each |  | 100.00 | 4800.00 | 4800.00 | S2H Power Solutions Private Limited
50.00 | Providing and laying Cinder in the toilet floor for water proofing treatment as per Direction of Engineer in charge. | 6.29 | Cum |  | 3000.00 | 18870.00 | 18870.00 | S2H Power Solutions Private Limited
51.00 | Providing and fixing Under Counter Wash basin of Jaquar/Euronics/Hindware/Cera or its Equivalent with C.I. brackets, 15 mm C.P. brass Auto closing pillar tap , 32 mm C.P brass waste pop up type of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required. White Vitreous China Wash basin size 570mm X 420 mm with a single 15 mm C.P. brass pillar tap | 19.00 | Each |  | 3000.00 | 57000.00 | 57000.00 | S2H Power Solutions Private Limited
52.00 | Providing and fixing mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 21.60 | Sqm |  | 2000.00 | 43200.00 | 43200.00 | S2H Power Solutions Private Limited
53.00 | Providing and fixing Health Faucet of Jaquar/Euronics/Hindware/Cera or its Equivalent. along with 1 m long tube with Wall Hook. | 13.00 | Each |  | 720.00 | 9360.00 | 9360.00 | S2H Power Solutions Private Limited
54.00 | Providing and fixing Stainless Steel towel ring circular/trapezoidal shape Jaquar (Model No. ACN-CHR-1121BN) or its equivalent. | 12.00 | Each |  | 600.00 | 7200.00 | 7200.00 | S2H Power Solutions Private Limited
55.00 | Providing and fixing Automatic Soap dispenser of Jaquar (Model No. SDR-BLC-DJ0160ASN) or its equivalent. | 8.00 | Each |  | 2500.00 | 20000.00 | 20000.00 | S2H Power Solutions Private Limited
56.00 | Providing and fixing Automatic Paper Towel dispenser of Jaquar (Model No. PTD-SAP-DT0106CSN) or its equivalent. | 10.00 | Each |  | 4000.00 | 40000.00 | 40000.00 | S2H Power Solutions Private Limited
57.00 | Providing and fixing Stainless Steel grating of approved quality and colour. Circular type 100 mm nominal dia | 13.00 | Each |  | 100.00 | 1300.00 | 1300.00 | S2H Power Solutions Private Limited
58.00 | Supplying and Installing Modular Toilet Cubicles comprising of 18 mm HPL Boards of single standard compact colour in partition walls and doors. Size of the cubicle shall be 1400 mm x 1650 mm x 2100 mm (H), Door Size 1995 mm x 600 mm along with necessary Stainless Steel SS(304) fittings like a) SS "U" Channel SS "F" Channel ,SS Door Stopper Channel,SS Coat Hook,SS Privacy Thumb turn c/w Occupancy Indicator, SS Door Knob, SS Spring Loaded Butt Hinges with Cover, SS Shoe Box - 316 Grade, Rubber Lining for Door Stopper, Screws & Wall Plugs etc as per the directions of EIC. | 14.00 | Nos |  | 50000.00 | 700000.00 | 700000.00 | S2H Power Solutions Private Limited
59.00 | Providing and fixing Curved shaped urinal partition with frosted glass of thickness 10 mm of Jaquar/Euronics/Hindware/Cera or its Equivalent. | 17.00 | Each |  | 2500.00 | 42500.00 | 42500.00 | S2H Power Solutions Private Limited
60.00 | Credit Items for taking away the dismantled Materials and disposal outside Office premises of GAGAN Complex as per direction of Engineering-Charge. A) Doors, windows and clerestory windows | 18.00 | Each |  | 300.00 | -5400.00 | -5400.00 | S2H Power Solutions Private Limited
61.00 | Credit Item for Taking away the dismantled materials outside Office premises of GAGAN Complex 15 to 40 mm dia G.I. pipe as per direction of Engineering-Charge. | 81.00 | metre |  | 20.00 | -1620.00 | -1620.00 | S2H Power Solutions Private Limited
62.00 | Credit Items for taking away by the contactor the dismantled Materials and disposal outside Office premises of GAGAN Complex as per direction of Engineering-Charge. A) Flushing cistern of all types (CI/PVC/Vitreous china) | 9.00 | Each |  | 68.00 | -612.00 | -612.00 | S2H Power Solutions Private Limited
63.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) Toilet Paper Holder | 13.00 | Each |  | 6.00 | -78.00 | -78.00 | S2H Power Solutions Private Limited
64.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) Health Faucet-jaguar | 13.00 | Each |  | 13.00 | -169.00 | -169.00 | S2H Power Solutions Private Limited
65.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) C.P. Soap dispenser | 10.00 | Each |  | 10.00 | -100.00 | -100.00 | S2H Power Solutions Private Limited
66.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) CP Brass Bottle Trap | 34.00 | Each |  | 34.00 | -1156.00 | -1156.00 | S2H Power Solutions Private Limited
67.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) 15 mm C.P. brass Auto closing pillar tap/32 mm C.P brass waste pop | 19.00 | Each |  | 19.00 | -361.00 | -361.00 | S2H Power Solutions Private Limited
68.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) 32 mm C.P brass Waste Coupling | 6.00 | Each |  | 6.00 | -36.00 | -36.00 | S2H Power Solutions Private Limited
69.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) 15 mm C.P. brass Stop Cock | 6.00 | Each |  | 6.00 | -36.00 | -36.00 | S2H Power Solutions Private Limited
70.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) CP Brass bib cock | 6.00 | Each |  | 6.00 | -36.00 | -36.00 | S2H Power Solutions Private Limited
71.00 | Credit Items for (taking away by the contactor the dismantled Materials and disposal outside Airport premises. A) soil, waste and vent pipes | 21.00 | metres |  | 21.00 | -441.00 | -441.00 | S2H Power Solutions Private Limited
72.00 | SH-II ELECTRICAL WORKS Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed FRLS PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group C) | 12.00 | Each |  | 1400.00 | 16800.00 | 16800.00 | S2H Power Solutions Private Limited
73.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed FRLS PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required.(Group C) | 36.00 | Each |  | 850.00 | 30600.00 | 30600.00 | S2H Power Solutions Private Limited
74.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS PVC conduit as required a)2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 40.00 | metres |  | 250.00 | 10000.00 | 10000.00 | S2H Power Solutions Private Limited
75.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class FRLS PVC conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 90.00 | metres |  | 325.00 | 29250.00 | 29250.00 | S2H Power Solutions Private Limited
76.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 60.00 | metres |  | 125.00 | 7500.00 | 7500.00 | S2H Power Solutions Private Limited
77.00 | Supplying and fixing suitable size GI box with modular plate and cover in on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch with indicator, connection etc. as required | 10.00 | Each |  | 650.00 | 6500.00 | 6500.00 | S2H Power Solutions Private Limited
78.00 | Supply of Recess mounted LED downlight luminaire (Round Profile) having minimum 1800 lumen output complete with electronic driver, made out of powder coated CRCA/Aluminium housing suitable for operation on 230 Volt, 50 HZ AC complete as per technical specifications and with Five (5) year manufacturer warranty (for complete assembly) (Halonix HLDLR-R06-18-CW/Bajaj BGSLO Sleek Recess RD 18W WH LED or its equivalent from the list of preferred makes) | 32.00 | Each |  | 950.00 | 30400.00 | 30400.00 | S2H Power Solutions Private Limited
79.00 | Supply of 2 feet batten type LED light having minimum 1000 lumen output complete with electronic driver, made out of Aluminium die cast housing suitable for operation on 230 Volt, 50 Hz AC complete. (Halonix HLTLD-04-10-CW/BCLSB 10W WH or equivalent from list of preferred makes) | 16.00 | Each |  | 300.00 | 4800.00 | 4800.00 | S2H Power Solutions Private Limited
80.00 | Installation, testing and commissioning of pre-wired, compact LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 16.00 | Each |  | 200.00 | 3200.00 | 3200.00 | S2H Power Solutions Private Limited
81.00 | Installation, testing and commissioning of recessed type LED fittings of all types complete with all accessories like GI chain etc. including modification/cutting/finishing of existing cutouts of gypsum false ceiling to install the new fittings, connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. complete as required as per actual site requirements. | 32.00 | Each |  | 180.00 | 5760.00 | 5760.00 | S2H Power Solutions Private Limited
82.00 | Supply and Installation of Automatic Hand Driers made of stainless steel body suitable for low/moderate traffic with drying time ≤ 30sec, Noise level ≤ 65 dB etc suitable for operation on 230V, 50Hz AC supply complete all other accessories suitable for wall mounting. | 4.00 | Each |  | 9700.00 | 38800.00 | 38800.00 | S2H Power Solutions Private Limited
83.00 | Supply, Installation, Testing & Commissioning of In- line Direct Driven, SISW/DIDW forward curved centrifugal cabinet fan of following capacity with suitable motor with ducting from fan outlet, necessary supports / hanging arrangements etc for toilet exhaust complete in all respects as per specifications and as per the direction of the Engineer-in-charge. 1500 CFM with 25mm wg external static pressure. | 2.00 | Each |  | 30000.00 | 60000.00 | 60000.00 | S2H Power Solutions Private Limited
84.00 | Design, Supply, fabrication, handling and erection of ducting as per specifications and approved drawings complete with all fittings such as tees, bends and accessories etc. as required including providing suitable suspension and supporting arrangements etc., as required as per IS-655. 24 Gauge | 200.00 | Sqm |  | 1000.00 | 200000.00 | 200000.00 | S2H Power Solutions Private Limited
85.00 | Supply and fixing the following type machine made, powder coated aluminium grills as per specifications and as per approved drawings and in accordance with site conditions etc., as reqd. Grille without VCD | 2.00 | sqm |  | 5000.00 | 10000.00 | 10000.00 | S2H Power Solutions Private Limited
86.00 | Supply and fixing of low leakage non-return Gravity operated backdraft dampers made out of 20G 'C' channel frame and 22G GI blades, with blade edge seal and side seals at discharge side of exhaust fan to avoid air reverse from shaft | 1.00 | Sqm |  | 6500.00 | 6500.00 | 6500.00 | S2H Power Solutions Private Limited
| Total in Figures |  |  |  |  | 3033367.88
Lowest Amount Quoted BY: S2H Power Solutions Private Limited(3033367.88)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Works SH Renovation of Toilets in GAGAN Complex AAI Bangalore Civil and Electrical Tender ID: 2025_AAI_245581_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S2H Power Solutions Private Limited (BID ID -900437) | 3033367.88 | L1